## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 20202670158 | 2020-10-07 | 0.0006 | <0.0040 | 0.004 | 2333 |  |  |  | mg/L (as P) | Blank | No | PELW_20275B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2020 | 20202740038 | 2020-10-21 | 0.0004 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_20288A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20202810038 | 2020-10-21 | -0.001 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_20294A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20202870031 | 2020-11-04 | 0.0014 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_20295C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20202950005 | 2020-11-02 | -0.0001 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_20303A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20203010146 | 2020-11-09 | -0.0033 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_20308B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20203080103 | 2020-11-17 | -0.0012 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_20321B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20203150096 | 2020-11-24 | -0.0019 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_20324A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20203230010 | 2020-12-10 | -0.0012 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_20329A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20203300034 | 2020-12-17 | -0.0011 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_20345C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20203440020 | 2021-01-07 | 0.0025 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_20365B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20203530088 | 2021-01-21 | 0.0006 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_21005B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20203580036 | 2021-01-12 | 0.0047 | 0.0047 | 0.003 | 2333 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | PELW_21011B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20203640023 | 2021-01-14 | -0.0003 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21012A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210050020 | 2021-01-14 | 0.0013 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21012A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210120052 | 2021-01-25 | -0.0022 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21025A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210210034 | 2021-02-02 | -0.001 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21028A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210270019 | 2021-02-02 | -0.0001 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21032A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210330100 | 2021-02-10 | -0.0017 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21040A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210400072 | 2021-02-18 | -0.0013 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21049A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210480020 | 2021-03-02 | 0.0008 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21054A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210540051 | 2021-03-02 | 0.0016 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21060B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210620143 | 2021-03-17 | -0.0009 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21069A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210690062 | 2021-03-23 | -0.0005 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21077A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210760025 | 2021-04-06 | 0 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21095A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210830004 | 2021-04-08 | -0.0012 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21095C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20210970020 | 2021-05-06 | -0.0027 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_21116B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211030186 | 2021-05-06 | -0.0002 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21125A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211100017 | 2021-05-11 | -0.0006 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21126C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211180005 | 2021-05-20 | -0.0013 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21137A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211250025 | 2021-05-21 | 0.0004 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21139A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211320145 | 2021-06-09 | -0.0003 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21152D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211380017 | 2021-06-09 | -0.0003 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21159A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211460023 | 2021-06-11 | 0.001 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21161C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211600020 | 2021-06-24 | 0.0009 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21174B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211660075 | 2021-06-24 | 0.0011 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21174B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211730231 | 2021-07-12 | -0.0004 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21189A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211800182 | 2021-07-14 | 0.0002 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21193A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211880193 | 2021-07-16 | 0.0001 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21194C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20211940185 | 2021-07-21 | -0.001 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21200B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20212020197 | 2021-07-29 | -0.001 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21210A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20212080107 | 2021-08-06 | 0.0008 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21216B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20212150076 | 2021-08-12 | 0.0009 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21222A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20212220184 | 2021-08-24 | 0.002 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21235A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20212290224 | 2021-08-26 | -0.0016 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21237A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20212360128 | 2021-09-02 | 0 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21242B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20212520232 | 2021-09-23 | 0.0012 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21256B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20212580255 | 2021-10-06 | 0.0018 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21278A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20212640274 | 2021-10-07 | -0.0015 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21279A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2021 | 20212720123 | 2021-10-18 | 0.0008 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21285B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20212790018 | 2021-10-26 | 0.0003 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21292B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20212860196 | 2021-11-02 | 0.001 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21305A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20212940178 | 2021-11-23 | 0.0006 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_21308B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20212990154 | 2021-11-18 | 0.0035 | 0.0035 | 0.003 | 2333 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | PELW_21314B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20213060203 | 2021-12-01 | 0.0016 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_21334A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20213130204 | 2021-12-10 | 0.0004 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_21343A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20213200073 | 2021-12-21 | -0.0008 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_21344B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20213270275 | 2021-12-28 | 0.0038 | 0.0038 | 0.003 | 2333 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | PELW_21361A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20213410094 | 2022-01-06 | 0.0013 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_21363B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20213550416 | 2022-01-20 | 0.0013 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22018C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220040075 | 2022-01-20 | 0.0011 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22019A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20213620342 | 2022-01-24 | 0.0004 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22018D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220110083 | 2022-01-26 | 0 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22026A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220190114 | 2022-02-01 | 0.0006 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22027C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220260181 | 2022-02-15 | 0.0003 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22034B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220390078 | 2022-02-24 | 0.0013 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22046A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220470022 | 2022-03-08 | 0.0009 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22062B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220540138 | 2022-03-17 | 0.0007 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22069C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220600066 | 2022-03-28 | 0.0012 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22082B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220670063 | 2022-03-31 | 0.0008 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22087B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220760102 | 2022-04-06 | 0.0021 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22095A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220810125 | 2022-04-14 | -0.0005 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22101C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220880103 | 2022-04-21 | 0.0011 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22109B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20220950123 | 2022-04-28 | -0.0003 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22115B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221020015 | 2022-04-28 | 0.0016 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22117A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20213480152 | 2022-01-11 | 0.0089 | 0.0089 | 0.003 | 2333 |  |  |  | mg/L | Blank | Yes | PELW_22010A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221230108 | 2022-05-26 | 0.0011 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22143B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221370166 | 2022-06-28 | 0.0019 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22174A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221440250 | 2022-06-29 | 0 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22178E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221090226 | 2022-05-10 | 0.0004 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22129A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221160198 | 2022-05-24 | 0.0015 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22137A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221580137 | 2022-07-26 | -0.0001 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22193A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221790228 | 2022-08-11 | 0.0002 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22221A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221300139 | 2022-06-07 | 0.0013 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_22157B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221660342 | 2022-07-20 | 0.0008 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22200A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221730298 | 2022-08-09 | -0.0015 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22220B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221870181 | 2022-08-18 | -0.0019 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22228A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20221930248 | 2022-08-23 | 0.0005 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22234B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20222000020 | 2022-08-24 | 0.0011 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22235B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20222070167 | 2022-09-08 | 0.0009 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22250A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20222140175 | 2022-09-15 | -0.0003 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22255C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20222280353 | 2022-10-05 | 0.0021 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22276A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20222560165 | 2022-10-27 | 0.0012 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22298B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20222630195 | 2022-11-09 | 0.0027 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22300C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20222360016 | 2022-10-13 | 0.0013 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22278A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20222210268 | 2022-09-27 | 0.0366 | 0.0366 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | Yes | PELW_22262A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20222500482 | 2022-10-25 | 0.0009 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22293A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2022 | 20222700278 | 2022-11-15 | 0.0012 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22307A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20222980106 | 2022-12-06 | -0.0023 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22339B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20223120118 | 2022-12-15 | -0.0002 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22347A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20223190133 | 2022-12-28 | 0.0001 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22354A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20223260143 | 2023-01-12 | 0.0012 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23010C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20223330064 | 2023-01-25 | 0.0002 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23012A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20223400112 | 2023-01-26 | 0.001 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23023A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230040155 | 2023-02-07 | 0.0007 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23037A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230180011 | 2023-02-09 | 0.0002 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_23039A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230100099 | 2023-02-10 | 0.0003 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23038C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230240117 | 2023-02-23 | 0.0007 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23052C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230380144 | 2023-03-03 | 0.0006 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_23059C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20222770162 | 2022-11-17 | 0.0011 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22320A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230450149 | 2023-03-08 | 0.0001 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_23065B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230590156 | 2023-03-14 | 0 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_23072A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230540083 | 2023-03-23 | 0.001 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_23067D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230660142 | 2023-04-05 | -0.0021 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_23088A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20223620083 | 2023-02-08 | 0.0036 | 0.0036 | 0.003 | 2333 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | PELW_23034B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20223540182 | 2023-02-07 | 0.0015 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23033B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230730140 | 2023-04-19 | 0.0021 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23107B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230800084 | 2023-04-25 | 0.0005 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23109A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230870174 | 2023-04-27 | -0.0023 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23115A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20222850184 | 2022-11-30 | 0.0015 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22333A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20222910107 | 2022-12-01 | 0.0018 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_22335B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20223480165 | 2023-02-02 | 0.0915 | 0.0915 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | Yes | PELW_23031B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20230940133 | 2023-05-04 | 0.0012 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23124B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231150177 | 2023-06-01 | 0.0016 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23144C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231090176 | 2023-05-18 | 0.0014 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23137C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231230167 | 2023-05-31 | 0.0005 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_23150B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231290212 | 2023-06-15 | 0.0013 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23163B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231010262 | 2023-05-17 | -0.0025 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23131B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231440115 | 2023-07-11 | -0.0001 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23180B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231860120 | 2023-08-03 | 0.0014 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23214B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20232050051 | 2023-08-22 | 0.0008 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23229A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231720096 | 2023-07-26 | 0.0005 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23201B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231360044 | 2023-06-23 | -0.0004 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23172C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20232190040 | 2023-09-06 | 0.0015 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23243C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20232120083 | 2023-08-23 | 0.0009 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_23229B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231790090 | 2023-08-02 | 0.0016 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23212C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231570084 | 2023-07-12 | 0.0024 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23191D
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231640214 | 2023-07-19 | 0.0005 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23198B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20232350100 | 2023-09-18 | 0.0029 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23261A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20231980043 | 2023-08-11 | 0.0008 | <0.0030 | 0.003 | 2333 |  |  |  | mg/L | Blank | No | PELW_23221A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20232480090 | 2023-10-04 | 0.0007 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23276A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20232560112 | 2023-10-17 | -0.0002 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23286B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2023 | 20232680190 | 2023-11-01 | 0.0014 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23293C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2024 | 20232840063 | 2023-12-22 | 0.0006 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23342A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2024 | 20232760053 | 2023-12-08 | 0.002 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23340B
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2024 | 20232840064 | 2023-12-22 | -0.0006 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_23342A
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2024 | 20232910050 | 2024-03-07 | 0.0008 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_24036C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2024 | 20232980004 | 2024-03-06 | 0.0008 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_24036E
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2024 | 20240370131 | 2024-04-27 | -0.0003 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_24116C
Phosphorus (as P), UNF, CFA, ACD-P, LL | 00665 | CL021 | UNF | 2024 | 20240440067 | 2024-03-16 | 0.0018 | <0.0030 | 0.003 | 2333 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | PELW_24061B