## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2020 | 20202670158 | 2020-10-09 | -0.014 | <0.02 | 0.02 | 1984 |  |  |  | mg/L (as P) | Blank | No | KJNT_20281A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2020 | 20202740038 | 2020-10-14 | -0.024 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_20287B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20202810038 | 2020-10-19 | -0.017 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_20290B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20202870031 | 2020-10-21 | -0.016 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_20294A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20202950005 | 2020-10-22 | 0.001 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_20295B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20203010146 | 2020-11-18 | -0.001 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_20322A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20203080103 | 2020-11-20 | -0.015 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_20324A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20203150096 | 2020-11-24 | 0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_20328A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20203230010 | 2020-11-25 | 0 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_20329A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20203300034 | 2020-12-02 | 0.003 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_20336B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20203440020 | 2020-12-10 | 0.007 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_20344B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20203530088 | 2020-12-23 | 0.001 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_20357B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20203580036 | 2021-01-07 | 0.002 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21006A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20203640023 | 2021-01-07 | 0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21006C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210050020 | 2021-01-07 | 0.01 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21006C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210120052 | 2021-01-21 | -0.011 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21019C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210210034 | 2021-02-02 | 0.008 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21032A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210270019 | 2021-02-02 | 0.004 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21032B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210330100 | 2021-02-10 | 0.005 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21040B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210400072 | 2021-02-18 | 0.003 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21048A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210480020 | 2021-03-02 | 0.007 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21060A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210540051 | 2021-03-02 | -0.005 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21060B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210620143 | 2021-03-10 | 0.002 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21068B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210690062 | 2021-03-17 | 0.001 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21075A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210760025 | 2021-03-24 | 0.004 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21082A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210830004 | 2021-03-30 | 0 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21088B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20210970020 | 2021-04-21 | -0.014 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21110A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211030186 | 2021-04-26 | 0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21112A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211100017 | 2021-05-04 | 0.002 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21118B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211180005 | 2021-05-06 | 0.003 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21125B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211250025 | 2021-05-11 | 0.01 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21130A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211320145 | 2021-05-25 | 0.012 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21144A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211380017 | 2021-05-26 | 0.003 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21145B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211460023 | 2021-06-03 | -0.001 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21153A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211600020 | 2021-06-14 | 0.012 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21161B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211660075 | 2021-06-21 | 0.007 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21169C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211730231 | 2021-06-28 | 0 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21176C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211800182 | 2021-07-06 | 0.016 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21186A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211880193 | 2021-07-20 | -0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21200D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20211940185 | 2021-07-26 | 0.015 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21204A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20212020197 | 2021-08-03 | 0.011 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21214E
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20212080107 | 2021-08-10 | 0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21221B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20212150076 | 2021-08-19 | 0.014 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21230A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20212220184 | 2021-08-25 | 0.004 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21236A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20212290224 | 2021-08-31 | 0.015 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21242C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20212360128 | 2021-09-08 | 0.004 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21250B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20212520232 | 2021-09-21 | -0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21263D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20212580255 | 2021-09-27 | 0.004 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21266C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20212640274 | 2021-09-28 | 0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21270C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2021 | 20212720123 | 2021-10-05 | 0.014 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21277A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20212790018 | 2021-10-13 | 0.014 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21285A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20212860196 | 2021-10-18 | 0.012 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21287B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20212940178 | 2021-10-27 | 0.008 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21299B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20212990154 | 2021-11-01 | 0.017 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21301B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20213060203 | 2021-11-03 | 0.004 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21306C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20213130204 | 2021-11-17 | 0.01 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21320A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20213200073 | 2021-11-18 | 0.013 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21321A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20213270275 | 2021-12-02 | 0.003 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21335B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20213410094 | 2021-12-09 | 0.005 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21342A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20213480152 | 2021-12-16 | 0.002 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_21349A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20213550416 | 2022-01-05 | -0.003 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22003A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220040075 | 2022-01-10 | 0.012 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22007B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20213620342 | 2022-01-05 | 0.009 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22004A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220110083 | 2022-01-20 | -0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22019A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220190114 | 2022-01-26 | 0.013 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22024A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220260181 | 2022-02-03 | -0.004 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22032A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220390078 | 2022-03-03 | 0.002 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22060B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220470022 | 2022-03-28 | 0.006 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22084A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220540138 | 2022-05-03 | 0.007 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22122B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220670063 | 2022-05-05 | -0.013 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22124D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220760102 | 2022-05-16 | 0.002 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22130F
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220600066 | 2022-05-04 | 0.488 | 0.49 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | Yes | KJNT_22123B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220810125 | 2022-05-17 | 0.004 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22132C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220880103 | 2022-06-01 | -0.001 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22144A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20220950123 | 2022-06-03 | -0.014 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22145D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221020015 | 2022-06-08 | -0.007 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22153B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221230108 | 2022-08-10 | -0.006 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22221B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221370166 | 2022-08-30 | -0.003 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22242A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221440250 | 2022-09-08 | 0.004 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22250A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221090226 | 2022-10-05 | -0.024 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22272B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221160198 | 2022-07-28 | -0.007 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22207A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221580137 | 2022-10-07 | -0.013 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22279C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221300139 | 2022-10-05 | -0.013 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22272B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221660342 | 2022-10-13 | 0.001 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22285B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221730298 | 2022-10-18 | -0.013 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22291A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221790228 | 2022-10-20 | -0.007 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22292B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221870181 | 2022-10-27 | 0.006 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22299B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20221930248 | 2022-11-03 | 0.003 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22306A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20222000020 | 2022-11-08 | 0.005 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22311A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20222070167 | 2022-11-15 | 0.004 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22318A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20222140175 | 2022-11-23 | 0.003 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22326B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20222210268 | 2023-01-13 | -0.002 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23013A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20222280353 | 2023-01-26 | -0.007 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23025A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20222700278 | 2023-03-03 | 0.006 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23061D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20222360016 | 2023-02-02 | -0.011 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23033A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20222630195 | 2023-03-06 | 0.004 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23058E
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20222500482 | 2023-02-14 | 0.018 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23045B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2022 | 20222560165 | 2023-02-16 | 0.02 | 0.02 | 0.02 | 1984 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | No | KJNT_23045H
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20222980106 | 2022-12-20 | -0.003 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_22346G
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20223120118 | 2022-12-06 | -0.003 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22334B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20223190133 | 2022-11-30 | 0.002 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22333C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20223260143 | 2022-11-29 | 0.003 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22332B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20223330064 | 2022-12-07 | 0.009 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22334A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20223400112 | 2022-12-07 | 0 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22341A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230040155 | 2023-01-30 | 0.014 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23026A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230180011 | 2023-01-31 | 0.012 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23030D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230100099 | 2023-01-31 | 0.004 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23026D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230240117 | 2023-02-01 | 0.003 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23031B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230380144 | 2023-02-24 | 0.015 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23047D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20222770162 | 2023-03-09 | 0.013 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23068C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230450149 | 2023-02-23 | -0.007 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23052D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230590156 | 2023-03-15 | 0.016 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23073C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230540083 | 2023-02-28 | 0.007 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23058B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230660142 | 2023-03-17 | 0.008 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23075E
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20223540182 | 2023-04-24 | 0.014 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23082A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20223620083 | 2022-12-30 | -0.005 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_22364A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230730140 | 2023-03-21 | 0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23079D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230800084 | 2023-03-27 | 0.052 | 0.05 | 0.02 | 1984 |  |  |  | mg/L | Blank | Yes | KJNT_23082C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230870174 | 2023-03-31 | 0.001 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23089A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20222850184 | 2023-03-23 | 0.021 | 0.02 | 0.02 | 1984 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | KJNT_23081C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20230940133 | 2023-05-01 | 0.007 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23103A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231150177 | 2023-05-18 | 0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23136B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231090176 | 2023-05-02 | 0.004 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23118B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20222910107 | 2023-03-14 | 0.004 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23072D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20223480165 | 2023-01-11 | 0.01 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23082A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231290212 | 2023-06-22 | 0.023 | 0.02 | 0.02 | 1984 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | KJNT_23172A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231010262 | 2023-05-17 | 0.016 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23136A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231230167 | 2023-05-11 | 0.012 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23131A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231440115 | 2023-06-01 | -0.002 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23152A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231860120 | 2023-07-20 | 0.003 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23199C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231720096 | 2023-06-29 | 0.007 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23178C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20232050051 | 2023-08-04 | -0.007 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23216A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231360044 | 2023-05-30 | 0 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23150A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20232190040 | 2023-09-27 | 0.013 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23229A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20232120083 | 2023-09-01 | -0.009 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23243B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231790090 | 2023-07-19 | -0.007 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23195C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231570084 | 2023-06-28 | 0.026 | 0.03 | 0.02 | 1984 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | KJNT_23178B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231640214 | 2023-06-22 | 0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23166A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20232350100 | 2023-08-29 | 0.016 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23241B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20231980043 | 2023-07-28 | 0.023 | 0.02 | 0.02 | 1984 | Below the reporting level but at or above the detection level |  |  | mg/L | Blank | Yes | KJNT_23207D
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20232480090 | 2023-09-20 | 0.005 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23255C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20232560112 | 2023-09-22 | 0.005 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23264B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2023 | 20232680190 | 2023-10-04 | -0.001 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23277A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20232760053 | 2023-10-18 | -0.006 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23289A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20232840064 | 2023-10-19 | 0.004 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23291B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20232910050 | 2023-10-26 | -0.004 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23299A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20232980004 | 2023-11-01 | 0.001 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23304A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20233120070 | 2023-11-15 | 0.002 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23318B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20233190009 | 2024-03-18 | -0.026 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_23338B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20233250141 | 2024-03-19 | 0.01 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_24078A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20233330058 | 2023-12-20 | 0.019 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23353C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20233400093 | 2023-12-27 | -0.007 | <0.02 | 0.02 | 1984 |  |  |  | mg/L | Blank | No | KJNT_23360A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20233470273 | 2024-02-29 | -0.013 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_24058A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20233550087 | 2024-03-23 | 0.011 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_24075A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20233620056 | 2024-03-20 | 0.003 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_24078B
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20240030071 | 2024-03-19 | -0.005 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_24078C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20240090021 | 2024-03-23 | -0.002 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_24080A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20240170016 | 2024-04-10 | 0.007 | <0.02 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KJNT_24099A
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20240250081 | 2024-04-20 | 0.049 | 0.05 | 0.02 | 1984 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | Yes | KJNT_24103E
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20240370131 | 2024-05-01 | 0.021 | 0.02 | 0.02 | 1984 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | Yes | KJNT_24120C
Phosphorus (as P), UNF, ASF, Kjeldahl | 00665 | KJ009 | UNF | 2024 | 20240440067 | 2024-05-02 | 0.02 | 0.02 | 0.02 | 1984 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L | Blank | No | KJNT_24121D