## BBP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Uncensored Value | Final Value | RPT Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | False + | Setno | Instr
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2020 | 20202670171 | 2020-10-05 | 0.0068 | <0.040 | 0.04 | 3156 |  |  |  | mg/L as N | Blank | No | KNO3_20279A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2020 | 20202740037 | 2020-10-05 | 0.00297 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_20279A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20202810042 | 2020-10-15 | -0.02295 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_20289A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20202870019 | 2020-10-21 | -0.02854 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_20295A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20202950011 | 2020-10-27 | -0.00562 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_20296A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20203010134 | 2020-11-03 | 0.00199 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_20307A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20203080101 | 2020-11-16 | -0.01617 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_20321A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20203150084 | 2020-11-19 | -0.01957 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_20324A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20203230012 | 2020-11-30 | -0.01483 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_20332A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20203300033 | 2020-12-09 | -0.01195 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_20343A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20203440023 | 2020-12-21 | 0.01144 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_20356A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20203530087 | 2021-01-12 | -0.00865 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21012A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20203580038 | 2021-01-13 | 0.00919 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21013A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20203640022 | 2021-01-13 | 0.00398 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21013A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210050022 | 2021-01-21 | -0.01064 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21019A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210120040 | 2021-01-27 | 0.00517 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21026A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210210040 | 2021-02-02 | -0.01562 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21032A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210270018 | 2021-02-04 | -0.00759 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21035A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210330102 | 2021-02-09 | 0.01016 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21040A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210400057 | 2021-02-22 | -0.00583 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21053A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210480024 | 2021-03-02 | 0.01855 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21061A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210540040 | 2021-03-02 | -0.00129 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21061A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210620145 | 2021-03-23 | 0.03539 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21082A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210690061 | 2021-03-30 | 0.00999 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21089A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210760018 | 2021-04-07 | -0.00133 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21097A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210830005 | 2021-04-20 | 0.00147 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21110A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20210970022 | 2021-04-27 | 0.03236 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21117A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211030185 | 2021-04-29 | 0.0023 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21119A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211100019 | 2021-05-03 | -0.02571 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21123A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211180006 | 2021-05-10 | -0.01855 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21130A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211250030 | 2021-05-17 | -0.00201 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21137A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211320144 | 2021-05-19 | -0.01002 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21139A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211380022 | 2021-05-28 | -0.00462 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21148A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211460022 | 2021-06-03 | -0.00686 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21154A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211600022 | 2021-06-14 | -0.00784 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21165A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211660074 | 2021-06-22 | -0.00967 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21173A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211730236 | 2021-06-28 | 0.01559 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21179A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211800181 | 2021-07-07 | 0.00186 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21188A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211880195 | 2021-07-19 | -0.00452 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21200A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20211940187 | 2021-07-22 | -0.00962 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21203A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20212020200 | 2021-07-27 | -0.00387 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21208A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20212080106 | 2021-08-03 | 0.01318 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21215A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20212150081 | 2021-08-10 | 0.01616 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21222A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20212220187 | 2021-08-17 | 0.00116 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21229A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20212290222 | 2021-08-20 | 0.00906 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21232A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20212360127 | 2021-09-01 | -0.02297 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21244A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20212520234 | 2021-09-23 | -0.00017 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21265A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20212580243 | 2021-09-29 | 0.01883 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21272A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20212640279 | 2021-10-12 | 0.03653 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21285A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2021 | 20212720124 | 2021-10-13 | 0.00534 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21286A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20212790026 | 2021-10-13 | 0.01576 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21286B
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20212860195 | 2021-10-26 | -0.00971 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21299A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20212940180 | 2021-11-03 | 0.0084 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21307A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20212990153 | 2021-11-10 | -0.0003 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21314A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20213060223 | 2021-11-18 | 0.01135 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21322A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20213130192 | 2021-11-29 | -0.00114 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21333A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20213200080 | 2021-11-29 | 0.01698 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21333B
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20213270274 | 2021-12-06 | -0.00231 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21340A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20213410091 | 2021-12-14 | -0.00666 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21348A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20222070168 | 2022-08-22 | 0.01153 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22234A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20213480145 | 2021-12-22 | 0.00269 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_21356A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20213550417 | 2022-01-03 | 0.02434 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22003A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20213620352 | 2022-01-03 | 0.00597 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22003A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220040078 | 2022-01-11 | 0.02397 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22011A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220110082 | 2022-01-21 | -0.02063 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22021A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220190118 | 2022-01-21 | -0.01797 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22021A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220260170 | 2022-02-09 | -0.00056 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22039A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220390082 | 2022-02-18 | 0.00901 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22048A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220470024 | 2022-02-24 | 0.00479 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22054A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220540137 | 2022-03-07 | -0.00066 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22066A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220600065 | 2022-03-08 | -0.00746 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22067A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220670050 | 2022-03-09 | 0.00497 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22068A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220760103 | 2022-03-22 | 0.02052 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22081A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220810124 | 2022-03-25 | 0.00752 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22084A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220880115 | 2022-04-01 | -0.00113 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22091A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221020003 | 2022-04-20 | -0.00215 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22110A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221090231 | 2022-04-28 | -0.02194 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22117A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20220950121 | 2022-04-11 | -0.0029 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22101A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221230110 | 2022-05-13 | -0.01449 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22133A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221370168 | 2022-06-09 | -0.00508 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22160A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221580139 | 2022-07-05 | -0.00077 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_22186A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221730299 | 2022-07-20 | 0.00147 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_22201A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221160199 | 2022-05-13 | -0.00392 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22123A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221870183 | 2022-08-10 | 0.00271 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_22221A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221300142 | 2022-06-01 | -0.01098 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22152A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20222000018 | 2022-08-16 | -0.00629 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_22228A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221440249 | 2022-06-14 | 0.00627 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22165A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20222140180 | 2022-08-23 | -0.00106 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22235A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20222280358 | 2022-09-06 | -0.00299 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22249A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20222500479 | 2022-09-27 | -0.00304 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22270A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221790227 | 2022-07-26 | 0.00953 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_22207A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20222630197 | 2022-10-13 | 0.00148 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22286A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221930239 | 2022-08-05 | 0.01266 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22217A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20221660343 | 2022-07-11 | -0.00465 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22192A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20222210258 | 2022-08-31 | -0.01355 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22243A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20222360017 | 2022-09-09 | 0.00533 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22252A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20222560149 | 2022-09-29 | 0.02202 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22272A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2022 | 20222700279 | 2022-10-19 | -0.00086 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22292A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20222770164 | 2022-10-26 | -0.01611 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22297A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20222910111 | 2022-11-10 | 0.01027 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22307A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20223120120 | 2022-11-18 | 0.0057 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22322A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20222980107 | 2022-11-15 | 0.02644 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22319A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20223260144 | 2022-12-14 | 0.01125 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22347A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20223330063 | 2022-12-05 | -0.00913 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22339A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20223540184 | 2023-01-09 | 0.01556 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23009A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20223480164 | 2022-12-20 | 0.00989 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22354A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230040156 | 2023-01-12 | -0.0024 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23012A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230180013 | 2023-01-27 | 0.00335 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23027A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20223620072 | 2023-01-12 | -0.00097 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23012A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230100084 | 2023-01-13 | -0.00782 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23013A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230380146 | 2023-02-14 | 0.00154 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23045A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230240105 | 2023-01-26 | 0.01001 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23026A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20223190127 | 2022-11-22 | -0.02521 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22326A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20222850179 | 2022-11-01 | -0.01118 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22305A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230450143 | 2023-02-17 | 0.0016 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23048A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230590150 | 2023-03-03 | 0.00355 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23062A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230540078 | 2023-03-20 | 0.0099 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23079A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230730133 | 2023-03-31 | 0.01115 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23090A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230800086 | 2023-04-14 | 0.01781 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23108A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230870175 | 2023-04-07 | -0.01278 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23097A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230940135 | 2023-04-27 | 0.0014 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23117A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231010263 | 2023-04-26 | -0.02024 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23116B
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231090174 | 2023-05-02 | -0.00139 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23122A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231230169 | 2023-05-11 | -0.03471 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23131B
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20223400107 | 2022-12-14 | 0.01167 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_22347A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231150178 | 2023-05-04 | -0.00205 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23124A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231290213 | 2023-05-11 | -0.0366 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23131B
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231360042 | 2023-06-01 | -0.011 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23152A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231440116 | 2023-06-06 | -0.01417 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23157A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231640215 | 2023-07-11 | 0.01188 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23192A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231720094 | 2023-08-30 | 0.00544 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23242A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20230660144 | 2023-03-28 | 0.01762 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23087A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231570086 | 2023-06-22 | 0.01148 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23173A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20232120081 | 2023-09-14 | -0.00013 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23257A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20232190044 | 2023-09-18 | 0.00452 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23261A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231790085 | 2023-08-31 | 0.01024 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23243A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231860118 | 2023-09-01 | 0.01569 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23244A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20231980031 | 2023-09-07 | -0.00061 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23249A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20232050053 | 2023-09-13 | -0.00183 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23256A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20232350108 | 2023-09-29 | 0.01686 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23272A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20232260032 | 2023-09-19 | -0.00618 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23262A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20232480093 | 2023-10-04 | -0.00934 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23277A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20232560113 | 2023-10-10 | -0.00995 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23283A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20232410131 | 2023-10-04 | -0.01048 | <0.040 | 0.04 | 3156 | Holding time exceeded | See result laboratory comment |  | mg/L | Blank | No | KNO3_23277A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20232610267 | 2023-10-10 | 0.00067 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23283A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2023 | 20232680189 | 2023-10-11 | -0.01138 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23284A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20232840063 | 2023-10-24 | 0.00732 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23297A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20232910051 | 2023-10-20 | 0.01507 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23293A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20232760054 | 2023-10-19 | 0.01974 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23292A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20232980003 | 2023-10-27 | 0.01609 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23300A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20233120071 | 2023-11-13 | 0.00864 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23317A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240250080 | 2024-02-02 | 0.00218 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24033A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20233400097 | 2023-12-13 | -0.0015 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23347A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20233470272 | 2024-01-05 | 0.0035 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24005A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20233250144 | 2023-11-29 | -0.01076 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23333A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20233330057 | 2023-11-30 | 0.00171 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23334A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20233620055 | 2024-01-09 | 0.00709 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24009A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20233550090 | 2024-01-09 | 0.00422 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24009A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240170019 | 2024-01-23 | 0.01735 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24023A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240030072 | 2024-01-18 | 0.01345 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24018A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240090027 | 2024-01-18 | 0.00835 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24018A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240660038 | 2024-03-13 | -0.0056 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24073A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240790103 | 2024-04-03 | 0.00537 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24094A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240880021 | 2024-04-17 | -0.00804 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24108A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240370134 | 2024-02-16 | 0.0131 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24047A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240580146 | 2024-03-01 | 0.01125 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24061A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240930080 | 2024-04-17 | 0.00466 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24108B
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241000097 | 2024-04-18 | 0.00954 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24109A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240440066 | 2024-02-20 | 0.00818 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24051A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20233190008 | 2023-11-21 | 0.0004 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_23325A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240520108 | 2024-03-01 | 0.00348 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24061A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20240720117 | 2024-04-01 | 0.01191 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24092A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241070242 | 2024-04-26 | 0.01346 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24117A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241140100 | 2024-05-03 | -0.01032 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24124A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241280125 | 2024-05-14 | -0.00154 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24135A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241360056 | 2024-05-21 | -0.0074 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24142A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241500151 | 2024-06-06 | -0.0026 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24158A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241570089 | 2024-06-10 | 0.00817 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24162A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241630108 | 2024-06-20 | 0.01164 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24172B
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241420100 | 2024-05-29 | -0.01191 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24150A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241720061 | 2024-06-25 | 0.0187 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24177A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241770105 | 2024-07-02 | -0.01517 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24184A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241900017 | 2024-07-17 | 0.00806 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24199A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20241970119 | 2024-07-18 | 0.00705 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24200A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20242040015 | 2024-08-09 | 0.00104 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24222A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20242110064 | 2024-08-14 | -0.00442 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24227A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20242180108 | 2024-08-14 | -0.00317 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24227A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20242250108 | 2024-08-22 | -0.00506 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24235A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20242320039 | 2024-08-28 | 0.00405 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24241A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20242390055 | 2024-09-09 | -0.00329 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24253A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20242540035 | 2024-09-19 | 0.01066 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24263A
Nitrate + nitrite as N, water, fltd | 00631 | RED01 | FIL | 2024 | 20242600033 | 2024-09-25 | -0.01709 | <0.040 | 0.04 | 3156 |  |  |  | mg/L | Blank | No | KNO3_24269A