## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 2790161 | 2004-10-29 | 11.967 | 12.5 | 95.736 | -4.264 | -0.47621 | 1.2 | 2745 |  |  |  | ug/L | AS3 | S1732102904
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 2870060 | 2004-10-29 | 12.171 | 12.5 | 97.368 | -2.632 | -0.29395 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732102904
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 2940032 | 2004-10-29 | 11.869 | 12.5 | 94.952 | -5.048 | -0.56377 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732102904
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 3000180 | 2004-11-03 | 8.751 | 12.5 | 70.008 | -29.992 | -3.3496 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732110304
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 0950128 | 2005-04-25 | 12.767 | 12.5 | 102.136 | 2.136 | 0.23855 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732041105
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1030086 | 2005-04-22 | 13.314 | 12.5 | 106.512 | 6.512 | 0.72727 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732042105
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1090059 | 2005-04-22 | 13.355 | 12.5 | 106.84 | 6.84 | 0.7639 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732042105
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1160127 | 2005-05-05 | 11.972 | 12.5 | 95.776 | -4.224 | -0.47174 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732050505
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 3080002 | 2004-11-03 | 1.2 | 12.5 | 9.6 | -90.4 | -10.096 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732110304
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 3140105 | 2004-11-22 | 12.553 | 12.5 | 100.424 | 0.424 | 0.047353 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732112204
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 3220109 | 2004-11-22 | 12.708 | 12.5 | 101.664 | 1.664 | 0.18584 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732112204
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 3290008 | 2004-12-06 | 11.899 | 12.5 | 95.192 | -4.808 | -0.53697 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732120604
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1230132 | 2005-05-05 | 12.284 | 12.5 | 98.272 | -1.728 | -0.19299 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732050505
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1300126 | 2005-06-01 | 11.849 | 12.5 | 94.792 | -5.208 | -0.58164 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732060105
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1370181 | 2005-06-01 | 12.071 | 12.5 | 96.568 | -3.432 | -0.38329 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732060105
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1440190 | 2005-06-01 | 12.273 | 12.5 | 98.184 | -1.816 | -0.20281 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732060105
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1890259 | 2005-07-29 | 11.056 | 12.5 | 88.448 | -11.552 | -1.2901 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732072805
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1930204 | 2005-07-29 | 11.273 | 12.5 | 90.184 | -9.816 | -1.0963 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732072805
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 2000154 | 2005-07-29 | 11.549 | 12.5 | 92.392 | -7.608 | -0.84968 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732072805
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 2070068 | 2005-07-29 | 11.647 | 12.5 | 93.176 | -6.824 | -0.76212 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732072805
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 0610087 | 2005-03-15 | 12.238 | 12.5 | 97.904 | -2.096 | -0.23409 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732031505
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 0680053 | 2005-03-15 | 11.763 | 12.5 | 94.104 | -5.896 | -0.65848 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732031505
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 0750081 | 2005-04-11 | 1.2 | 12.5 | 9.6 | -90.4 | -10.096 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732032305
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 0820097 | 2005-04-11 | 1.2 | 12.5 | 9.6 | -90.4 | -10.096 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732032305
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 2550020 | 2005-09-28 | 11.702 | 12.5 | 93.616 | -6.384 | -0.71298 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732092605
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 2690049 | 2005-10-18 | 12.298 | 12.5 | 98.384 | -1.616 | -0.18048 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732101805
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1570145 | 2005-06-15 | 12.465 | 12.5 | 99.72 | -0.28 | -0.031271 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732061505A
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1640119 | 2005-06-15 | 12.63 | 12.5 | 101.04 | 1.04 | 0.11615 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732061505A
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1710123 | 2005-07-29 | 11.49 | 12.5 | 91.92 | -8.08 | -0.90239 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732072805
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2005 | 1780131 | 2005-07-29 | 11.007 | 12.5 | 88.056 | -11.944 | -1.3339 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732072805
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 2900074 | 2005-10-18 | 12.117 | 12.5 | 96.936 | -3.064 | -0.34219 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732101805
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 2990125 | 2005-12-20 | 12.437 | 12.5 | 99.496 | -0.504 | -0.056288 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732121905
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 1010016 | 2006-05-19 | 12.87 | 12.5 | 102.96 | 2.96 | 0.33058 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732051906
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 1160107 | 2006-05-19 | 12.646 | 12.5 | 101.168 | 1.168 | 0.13044 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732051906
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 3130033 | 2005-12-20 | 12.38 | 12.5 | 99.04 | -0.96 | -0.10721 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732121905
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 3320013 | 2005-12-20 | 12.331 | 12.5 | 98.648 | -1.352 | -0.15099 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732121905
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 1220149 | 2006-05-19 | 13.995 | 12.5 | 111.96 | 11.96 | 1.3357 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732051906
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 1360162 | 2006-05-19 | 13.95 | 12.5 | 111.6 | 11.6 | 1.2955 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732051906
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 0400066 | 2006-02-16 | 12.359 | 12.5 | 98.872 | -1.128 | -0.12598 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732021606
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 0580117 | 2006-03-02 | 12.525 | 12.5 | 100.2 | 0.2 | 0.022336 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732030206
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 2210202 | 2006-08-23 | 11.86 | 12.5 | 94.88 | -5.12 | -0.57181 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732082306
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 2360204 | 2006-09-06 | 12.658 | 12.5 | 101.264 | 1.264 | 0.14117 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732090706
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 0100022 | 2006-02-08 | 12.703 | 12.5 | 101.624 | 1.624 | 0.18137 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732020806
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 0260061 | 2006-02-08 | 12.834 | 12.5 | 102.672 | 2.672 | 0.29841 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732020806
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 0680001 | 2006-03-31 | 12.909 | 12.5 | 103.272 | 3.272 | 0.36542 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732033106
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 0830212 | 2006-03-31 | 12.655 | 12.5 | 101.24 | 1.24 | 0.13849 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732033106
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 2560141 | 2006-10-04 | 11.664 | 12.5 | 93.312 | -6.688 | -0.74693 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732100306
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 2700085 | 2006-10-04 | 11.529 | 12.5 | 92.232 | -7.768 | -0.86755 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732100306
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 3460029 | 2005-12-20 | 12.578 | 12.5 | 100.624 | 0.624 | 0.06969 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732121905
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 3620023 | 2006-02-08 | 12.652 | 12.5 | 101.216 | 1.216 | 0.13581 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732020806
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 1650113 | 2006-06-26 | 11.877 | 12.5 | 95.016 | -4.984 | -0.55662 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732061506
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2006 | 1790175 | 2006-08-04 | 12.591 | 12.5 | 100.728 | 0.728 | 0.081304 | 1.2 | 2745 |  |  |  | ug/L as As | AS3 | S1732073106
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 2500001 | 2007-09-19 | 8.985 | 10 | 89.85 | -10.15 | -1.0368 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732091907
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 2640048 | 2007-10-25 | 8.264 | 10 | 82.64 | -17.36 | -1.7732 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732102507
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 2790136 | 2006-11-30 | 9.614 | 10 | 96.14 | -3.86 | -0.39428 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732112806
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 2930155 | 2006-11-30 | 9.85 | 10 | 98.5 | -1.5 | -0.15322 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732112806
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 1020149 | 2007-04-27 | 9.014 | 10 | 90.14 | -9.86 | -1.0072 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732042707
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 1090146 | 2007-04-27 | 8.74 | 10 | 87.4 | -12.6 | -1.287 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732042707
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 3110023 | 2006-11-30 | 9.903 | 10 | 99.03 | -0.97 | -0.099081 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732112806
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 3260050 | 2006-11-30 | 9.782 | 10 | 97.82 | -2.18 | -0.22268 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732112806
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 1240214 | 2007-05-14 | 9.186 | 10 | 91.86 | -8.14 | -0.83146 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732051307
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 1380238 | 2007-06-07 | 9.063 | 10 | 90.63 | -9.37 | -0.9571 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732060607
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 2220080 | 2007-08-17 | 9.122 | 10 | 91.22 | -8.78 | -0.89683 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732081707
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 2360120 | 2007-09-19 | 9.083 | 10 | 90.83 | -9.17 | -0.93667 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732091907
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 1970127 | 2007-08-17 | 9.269 | 10 | 92.69 | -7.31 | -0.74668 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732081707
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 2010233 | 2007-08-17 | 9.231 | 10 | 92.31 | -7.69 | -0.7855 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732081707
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 0860193 | 2007-04-27 | 9.079 | 10 | 90.79 | -9.21 | -0.94076 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732042707
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 0890057 | 2007-04-27 | 8.951 | 10 | 89.51 | -10.49 | -1.0715 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732042707
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 1590291 | 2007-06-18 | 9.623 | 10 | 96.23 | -3.77 | -0.38509 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732061807
Arsenate [as (V)], IC-ICP-MS | 62453 | PLM36 | FIL | 2007 | 1760167 | 2007-07-03 | 9.026 | 10 | 90.26 | -9.74 | -0.99489 | 2 | 2745 |  |  |  | ug/L as As | AS5 | S1732070307