## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 1190148 | 2015-05-12 | 5 | 6.64 | 75.3012 | -24.6988 | -0.85042 |  | 3415 | See result laboratory comment |  |  | ug/L | 25213-75211 | TCMS051115
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 1620201 | 2015-07-20 | 8.76 | 9.75 | 89.8462 | -10.1538 | -0.47706 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75213-25DIW | TCMS072015
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 1740034 | 2015-07-23 | 7.25 | 9.75 | 74.359 | -25.641 | -1.2047 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75213-25DIW | TCMS072215
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 2230087 | 2015-09-10 | 16.01 | 18.575 | 86.1911 | -13.8089 | -1.0294 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091015
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 2370155 | 2015-09-19 | 18.91 | 18.575 | 101.8035 | 1.8035 | 0.13445 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS091815
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 1320073 | 2015-06-09 | 25.56 | 27.605 | 92.5919 | -7.4081 | -0.70087 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS060915
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 1470115 | 2015-06-12 | 25.65 | 27.605 | 92.9179 | -7.0821 | -0.67003 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS061115
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 1250074 | 2015-06-27 | 17.73 | 18.575 | 95.4509 | -4.5491 | -0.33913 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 25209-75213 | TC062615
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 1390153 | 2015-06-10 | 18.67 | 18.575 | 100.5114 | 0.51144 | 0.038127 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 25209-75213 | TCMS060915
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 2160028 | 2015-08-31 | 25.71 | 27.605 | 93.1353 | -6.8647 | -0.64946 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS083115
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 2320211 | 2015-09-17 | 26.22 | 27.605 | 94.9828 | -5.0172 | -0.47467 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 25211-75209 | TCMS091515
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 1880120 | 2015-08-19 | 10 | 6.64 | 150.6024 | 50.6024 | 1.7423 | 5 | 3415 | Sample was diluted | See result laboratory comment |  | µg/L | 25213-75211 | TCMS081815
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 2030107 | 2015-08-24 | 5 | 6.64 | 75.3012 | -24.6988 | -0.85042 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 25213-75211 | TCMS082415
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 2450074 | 2015-09-25 | 7.27 | 9.75 | 74.5641 | -25.4359 | -1.1951 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75213-25DIW | TCMS092415
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 2580071 | 2015-10-01 | 9.101 | 9.75 | 93.3436 | -6.6564 | -0.31274 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75213-25DIW | TCMS093015
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 1950022 | 2015-08-19 | 8.329 | 9.75 | 85.4256 | -14.5744 | -0.68475 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75213-25DIW | TCMS081815
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2015 | 2090026 | 2015-08-25 | 8.88 | 9.75 | 91.0769 | -8.9231 | -0.41923 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75213-25DIW | TCMS082415
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 2790069 | 2015-10-14 | 8.467 | 9.75 | 86.841 | -13.159 | -0.5132 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75213-25DIW | TCMS101315
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 2930192 | 2015-11-04 | 11.81 | 9.75 | 121.1282 | 21.1282 | 0.824 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS110415
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0960078 | 2016-04-22 | 10.44 | 9.75 | 107.0769 | 7.0769 | 0.276 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCME042116
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1110067 | 2016-04-28 | 11.63 | 9.75 | 119.2821 | 19.2821 | 0.752 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS042816
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 2870054 | 2015-10-27 | 13.37 | 11.8 | 113.3051 | 13.3051 | 0.628 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T217 | TCMS102315
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 3000098 | 2015-11-05 | 9.148 | 11.8 | 77.5254 | -22.4746 | -1.0608 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T217 | TCMS110415
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1030064 | 2016-04-27 | 11.12 | 11.8 | 94.2373 | -5.7627 | -0.272 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T217 | TCMS042616
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1170029 | 2016-04-28 | 11.67 | 11.8 | 98.8983 | -1.1017 | -0.052 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T217 | TCMS042816
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1800078 | 2016-07-26 | 5.205 | 4.52 | 115.1549 | 15.1549 | 0.274 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T211 | TC071416
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 2150172 | 2016-09-03 | 10.55 | 10.3 | 102.4272 | 2.4272 | 0.1 | 5 | 3415 |  |  |  | µg/L | T219 | TC083116
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 2290123 | 2016-10-08 | 11.17 | 10.3 | 108.4466 | 8.4466 | 0.348 | 5 | 3415 |  |  |  | µg/L | T219 | ICPMS16281B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 3140098 | 2015-11-20 | 36.98 | 35.3 | 104.7592 | 4.7592 | 0.58947 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T209 | TCMS111915
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 3290007 | 2015-12-18 | 34.82 | 35.3 | 98.6402 | -1.3598 | -0.16842 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T209 | TCMS121715
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1320064 | 2016-06-18 | 34.37 | 35.3 | 97.3654 | -2.6346 | -0.32632 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T209 | TC061716
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1460114 | 2016-06-24 | 34.14 | 35.3 | 96.7139 | -3.2861 | -0.40702 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T209 | TC062316
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 3070095 | 2015-11-17 | 12.95 | 10.3 | 125.7282 | 25.7282 | 1.06 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T219 | TCMS111615
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 3210006 | 2015-12-10 | 10.75 | 10.3 | 104.3689 | 4.3689 | 0.18 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T219 | TCMS120915
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1240108 | 2016-06-02 | 7.493 | 10.3 | 72.7476 | -27.2524 | -1.1228 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T219 | TC060116
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1400027 | 2016-06-18 | 9.711 | 10.3 | 94.2816 | -5.7184 | -0.2356 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T219 | TC061716
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0400035 | 2016-03-25 | 9.767 | 10.3 | 94.8252 | -5.1748 | -0.2132 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T219 | TCMS032516
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0540101 | 2016-04-09 | 12.11 | 10.3 | 117.5728 | 17.5728 | 0.724 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T219 | TCMS040816
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0330057 | 2016-03-26 | 32.78 | 35.3 | 92.8612 | -7.1388 | -0.88421 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T209 | TCMS032516
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0480024 | 2016-03-31 | 34.96 | 35.3 | 99.0368 | -0.96317 | -0.1193 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T209 | TCMS033116
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 2230020 | 2016-09-26 | 32.73 | 35.3 | 92.7195 | -7.2805 | -0.90175 | 5 | 3415 |  |  |  | µg/L | T209 | 091916
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 2360191 | 2016-11-10 | 34.91 | 35.3 | 98.8952 | -1.1048 | -0.13684 | 5 | 3415 |  |  |  | µg/L | T209 | ICPMS16294B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0120026 | 2016-01-21 | 10.54 | 9.75 | 108.1026 | 8.1026 | 0.316 | 5 | 3415 | See result laboratory comment |  |  | µg/L | 75213-25DIW | TCMS012116
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0260031 | 2016-02-05 | 7.941 | 9.75 | 81.4462 | -18.5538 | -0.7236 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | 75213-25DIW | TCMS020416
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0050023 | 2016-01-20 | 11.32 | 11.8 | 95.9322 | -4.0678 | -0.192 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T217 | TCMS012016
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0200028 | 2016-02-04 | 13.06 | 11.8 | 110.678 | 10.678 | 0.504 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T217 | TCMS020416
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1880119 | 2016-08-20 | 11.72 | 11.8 | 99.322 | -0.67797 | -0.032 | 5 | 3415 |  |  |  | µg/L | T217 | TC081916
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 2010272 | 2016-08-09 | 12.74 | 11.8 | 107.9661 | 7.9661 | 0.376 | 5 | 3415 |  |  |  | µg/L | T217 | TC080516
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0750071 | 2016-04-21 | 15.74 | 15.8 | 99.6203 | -0.37975 | -0.024 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T215 | TCMS042016
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0890172 | 2016-04-22 | 15.66 | 15.8 | 99.1139 | -0.88608 | -0.056 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T215 | TCME042116
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 2580002 | 2016-11-10 | 15.95 | 15.8 | 100.9494 | 0.94937 | 0.06 | 5 | 3415 |  |  |  | µg/L | T215 | ICPMS16291B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 2710083 | 2016-12-13 | 16.85 | 15.8 | 106.6456 | 6.6456 | 0.42 | 5 | 3415 |  |  |  | µg/L | T215 | ICPMS16348A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 0820024 | 2016-04-22 | 5.393 | 4.52 | 119.3142 | 19.3142 | 0.3492 | 5 | 3415 | Below the reporting level but at or above the detection level | See result laboratory comment |  | µg/L | T211 | TCME042116
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 3420099 | 2015-12-21 | 17.29 | 15.8 | 109.4304 | 9.4304 | 0.596 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T215 | TCMS122115
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 3560097 | 2016-01-05 | 18.13 | 15.8 | 114.7468 | 14.7468 | 0.932 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T215 | TCMS010416
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1590119 | 2016-06-30 | 14.37 | 15.8 | 90.9494 | -9.0506 | -0.572 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T215 | TC062916
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1740273 | 2016-07-26 | 16.32 | 15.8 | 103.2911 | 3.2911 | 0.208 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T215 | TC071416
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 1940102 | 2016-08-08 | 11.41 | 9.75 | 117.0256 | 17.0256 | 0.664 | 5 | 3415 |  |  |  | µg/L | 75213-25DIW | TC080516
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2016 | 2080216 | 2016-08-20 | 9.885 | 9.75 | 101.3846 | 1.3846 | 0.054 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | 75213-25DIW | TC081916
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 2780114 | 2016-11-29 | 19.05 | 19.2 | 99.2188 | -0.78125 | -0.06 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS16334B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 2940163 | 2016-11-30 | 19.21 | 19.2 | 100.0521 | 0.052083 | 0.004 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS16335A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0940130 | 2017-04-11 | 20.4312 | 19.2 | 106.4125 | 6.4125 | 0.49248 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS17101A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1080100 | 2017-05-09 | 19.052 | 19.2 | 99.2292 | -0.77083 | -0.0592 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS17129A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 2860091 | 2017-01-10 | 12.12 | 11.8 | 102.7119 | 2.7119 | 0.128 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS17009A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 3000017 | 2016-12-05 | 12.16 | 11.8 | 103.0508 | 3.0508 | 0.144 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS16340A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1020077 | 2017-05-10 | 12.0557 | 11.8 | 102.1669 | 2.1669 | 0.10228 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS17129A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1150158 | 2017-05-10 | 12.359 | 11.8 | 104.7373 | 4.7373 | 0.2236 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS17129A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 3200136 | 2017-01-26 | 13.54 | 13 | 104.1538 | 4.1538 | 0.216 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS17026A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 3370119 | 2017-01-26 | 13.94 | 13 | 107.2308 | 7.2308 | 0.376 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS17026A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1290178 | 2017-06-20 | 12.2973 | 13 | 94.5946 | -5.4054 | -0.28108 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS17171A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1430168 | 2017-06-22 | 12.9372 | 13 | 99.5169 | -0.48308 | -0.02512 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS17172C
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 3130044 | 2016-12-07 | 11.35 | 10.3 | 110.1942 | 10.1942 | 0.42 | 5 | 3415 |  |  |  | µg/L | T219 | ICPMS16342A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 3270122 | 2017-01-26 | 10.796 | 10.3 | 104.8155 | 4.8155 | 0.1984 | 5 | 3415 |  |  |  | µg/L | T219 | ICPMS17026A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1220113 | 2017-05-26 | 9.5285 | 10.3 | 92.5097 | -7.4903 | -0.3086 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T219 | ICPMS17144B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1370163 | 2017-06-26 | 10.7003 | 10.3 | 103.8864 | 3.8864 | 0.16012 | 5 | 3415 |  |  |  | µg/L | T219 | ICPMS17177A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0380073 | 2017-02-27 | 9.6254 | 10.3 | 93.4505 | -6.5495 | -0.26984 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T219 | ICPMS17058A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0540066 | 2017-03-27 | 9.8029 | 10.3 | 95.1738 | -4.8262 | -0.19884 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T219 | ICPMS17086A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 2270191 | 2017-10-03 | 11.6777 | 10.3 | 113.3757 | 13.3757 | 0.55108 | 5 | 3415 |  |  |  | µg/L | T219 | ICPMS17276A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 2410214 | 2017-10-11 | 8.9854 | 10.3 | 87.2369 | -12.7631 | -0.52584 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T219 | ICPMS17284A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0330060 | 2017-02-27 | 14.4232 | 13 | 110.9477 | 10.9477 | 0.56928 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS17058A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0450117 | 2017-02-27 | 14.59 | 13 | 112.2308 | 12.2308 | 0.636 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS17058A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 2200291 | 2017-10-02 | 13.7329 | 13 | 105.6377 | 5.6377 | 0.29316 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS17275A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 2340157 | 2017-10-05 | 13.6374 | 13 | 104.9031 | 4.9031 | 0.25496 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS17277B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0100050 | 2017-02-22 | 19.0283 | 19.2 | 99.1057 | -0.89427 | -0.06868 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS17053A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0240086 | 2017-02-22 | 18.6521 | 19.2 | 97.1464 | -2.8536 | -0.21916 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS17053A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1920149 | 2017-07-21 | 19.602 | 19.2 | 102.0938 | 2.0938 | 0.1608 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS17202B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 2060194 | 2017-09-29 | 19.5935 | 19.2 | 102.0495 | 2.0495 | 0.1574 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS17272A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0040033 | 2017-02-21 | 11.2428 | 11.8 | 95.278 | -4.722 | -0.22288 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS17052B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0190006 | 2017-02-23 | 11.6652 | 11.8 | 98.8576 | -1.1424 | -0.05392 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS17053A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1870005 | 2017-07-20 | 11.5784 | 11.8 | 98.122 | -1.878 | -0.08864 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS17201A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1990222 | 2017-07-27 | 10.3132 | 11.8 | 87.4 | -12.6 | -0.59472 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS17207B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0730075 | 2017-03-28 | 17.9706 | 15.8 | 113.738 | 13.738 | 0.86824 | 5 | 3415 |  |  |  | µg/L | T215 | ICPMS17087A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0870131 | 2017-04-12 | 14.886 | 15.8 | 94.2152 | -5.7848 | -0.3656 | 5 | 3415 |  |  |  | µg/L | T215 | ICPMS17101A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 2560128 | 2017-10-18 | 15.169 | 15.8 | 96.0063 | -3.9937 | -0.2524 | 5 | 3415 |  |  |  | µg/L | T215 | ICPMS17289C
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 2690198 | 2017-12-22 | 18.7512 | 15.8 | 118.6785 | 18.6785 | 1.1805 | 5 | 3415 |  |  |  | µg/L | T215 | ICPMS17345B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 0800017 | 2017-03-28 | 5.0738 | 4.52 | 112.2522 | 12.2522 | 0.22152 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T211 | ICPMS17087A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 3410125 | 2017-01-31 | 16.88 | 15.8 | 106.8354 | 6.8354 | 0.432 | 5 | 3415 |  |  |  | µg/L | T215 | ICPMS17031B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 3550006 | 2017-01-31 | 16.71 | 15.8 | 105.7595 | 5.7595 | 0.364 | 5 | 3415 |  |  |  | µg/L | T215 | ICPMS17031B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1570092 | 2017-07-17 | 14.092 | 15.8 | 89.1899 | -10.8101 | -0.6832 | 5 | 3415 |  |  |  | µg/L | T215 | ICPMS17198B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2017 | 1710241 | 2017-06-30 | 16.0552 | 15.8 | 101.6152 | 1.6152 | 0.10208 | 5 | 3415 |  |  |  | µg/L | T215 | ICPMS17180A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 2760114 | 2017-12-22 | 18.6706 | 19.2 | 97.2427 | -2.7573 | -0.21176 | 5 | 3415 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T221 | ICPMS17345B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 2910001 | 2017-12-05 | 20.6571 | 19.2 | 107.5891 | 7.5891 | 0.58284 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS17339B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 0930126 | 2018-05-01 | 18.1053 | 19.2 | 94.2984 | -5.7016 | -0.43788 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS18121B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1080117 | 2018-05-07 | 16.3306 | 19.2 | 85.0552 | -14.9448 | -1.1478 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS18127A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 2860038 | 2017-12-05 | 11.1463 | 11.8 | 94.4602 | -5.5398 | -0.26148 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS17339B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 2970215 | 2017-12-06 | 10.6504 | 11.8 | 90.2576 | -9.7424 | -0.45984 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS17339C
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1020132 | 2018-05-01 | 11.0823 | 11.8 | 93.9178 | -6.0822 | -0.28708 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS18121B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1140191 | 2018-05-08 | 10.603 | 11.8 | 89.8559 | -10.1441 | -0.4788 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS18127A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 3180171 | 2017-12-13 | 16.0214 | 13 | 123.2415 | 23.2415 | 1.2086 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS17346B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 3330004 | 2018-01-10 | 14.3322 | 13 | 110.2477 | 10.2477 | 0.53288 | 5 | 3415 | Below the reporting level but at or above the detection level | Sample was diluted |  | µg/L | T223 | ICPMS18010B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1350128 | 2018-06-06 | 13.921 | 13 | 107.0846 | 7.0846 | 0.3684 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS18157B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1500140 | 2018-06-18 | 14.4515 | 13 | 111.1654 | 11.1654 | 0.5806 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS18169A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 3110098 | 2017-12-07 | 10.6484 | 10.3 | 103.3825 | 3.3825 | 0.13936 | 5 | 3415 |  |  |  | µg/L | T219 | ICPMS17341B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 3250154 | 2018-01-31 | 9.1317 | 10.3 | 88.6573 | -11.3427 | -0.46732 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T219 | ICPMS18031A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1280142 | 2018-05-23 | 10.1651 | 10.3 | 98.6903 | -1.3097 | -0.05396 | 5 | 3415 |  |  |  | µg/L | T219 | ICPMS18143A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1420223 | 2018-06-08 | 10.6877 | 10.3 | 103.7641 | 3.7641 | 0.15508 | 5 | 3415 |  |  |  | µg/L | T219 | ICPMS18158B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 0440095 | 2018-03-06 | 10.1994 | 10.3 | 99.0233 | -0.9767 | -0.04024 | 5 | 3415 |  |  |  | µg/L | T219 | ICPMS18060A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 0580118 | 2018-03-14 | 10.2565 | 10.3 | 99.5777 | -0.42233 | -0.0174 | 5 | 3415 |  |  |  | µg/L | T219 | ICPMS18071A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 2260149 | 2018-08-28 | 9.555 | 10.3 | 92.767 | -7.233 | -0.298 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T219 | ICPMS18240A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 2410018 | 2018-09-12 | 8.8198 | 10.3 | 85.6291 | -14.3709 | -0.59208 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T219 | ICPMS18253B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 0370095 | 2018-02-21 | 13.8778 | 13 | 106.7523 | 6.7523 | 0.35112 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS18051B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 0520070 | 2018-03-13 | 14.0933 | 13 | 108.41 | 8.41 | 0.43732 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS18071A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 2200026 | 2018-08-21 | 13.5082 | 13 | 103.9092 | 3.9092 | 0.20328 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T223 | ICPMS18233A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 2330199 | 2018-08-28 | 13.0065 | 13 | 100.05 | 0.05 | 0.0026 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS18240A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 0170071 | 2018-02-01 | 18.2096 | 19.2 | 94.8417 | -5.1583 | -0.39616 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS18032A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 0300092 | 2018-02-13 | 18.9437 | 19.2 | 98.6651 | -1.3349 | -0.10252 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS18039A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1910179 | 2018-07-25 | 16.728 | 19.2 | 87.125 | -12.875 | -0.9888 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T221 | ICPMS18201A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 2050299 | 2018-08-03 | 18.5724 | 19.2 | 96.7312 | -3.2688 | -0.25104 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS18215B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 0100019 | 2018-01-25 | 11.4559 | 11.8 | 97.0839 | -2.9161 | -0.13764 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS18024B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 0240044 | 2018-02-13 | 11.5897 | 11.8 | 98.2178 | -1.7822 | -0.08412 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS18039A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1840099 | 2018-07-26 | 10.6889 | 11.8 | 90.5839 | -9.4161 | -0.44444 | 5 | 3415 |  |  |  | µg/L | T217 | ICPMS18201A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1990130 | 2018-08-02 | 11.4555 | 11.8 | 97.0805 | -2.9195 | -0.1378 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T217 | ICPMS18214B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 0650045 | 2018-03-21 | 181.9246 | 183 | 99.4123 | -0.58765 | -0.05404 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS18079A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 0790092 | 2018-05-08 | 204.0049 | 183 | 111.4781 | 11.4781 | 1.0555 | 5 | 3415 | Sample was diluted |  |  | µg/L | T225 | ICPMS18127A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 2490026 | 2018-09-19 | 185.4977 | 183 | 101.3649 | 1.3649 | 0.12551 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T225 | ICPMS18261B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 2610146 | 2018-10-04 | 204.5224 | 183 | 111.7609 | 11.7609 | 1.0815 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS18271B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 3460079 | 2018-01-04 | 192.1928 | 183 | 105.0234 | 5.0234 | 0.46195 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS18004A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 3610007 | 2018-01-31 | 168.3181 | 183 | 91.9771 | -8.0229 | -0.73778 | 5 | 3415 | Value verified by rerun, same method |  |  | µg/L | T225 | ICPMS18031A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1640022 | 2018-07-17 | 237.8094 | 183 | 129.9505 | 29.9505 | 2.7542 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS18193B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2018 | 1770196 | 2018-07-20 | 188.9825 | 183 | 103.2691 | 3.2691 | 0.30063 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS18198A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2760034 | 2018-10-15 | 17.4469 | 19.2 | 90.8693 | -9.1307 | -0.70124 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS18288B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2890061 | 2018-10-29 | 19.3725 | 19.2 | 100.8984 | 0.89844 | 0.069 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS18299B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 0920065 | 2019-04-30 | 19.7063 | 19.2 | 102.637 | 2.637 | 0.20252 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS19119B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 1060103 | 2019-05-06 | 17.8646 | 19.2 | 93.0448 | -6.9552 | -0.53416 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS19122B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2830105 | 2018-10-29 | 108.1835 | 117 | 92.4645 | -7.5355 | -0.78022 | 5 | 3415 |  |  |  | µg/L | T229 | ICPMS18299B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2960205 | 2018-11-27 | 115.2728 | 117 | 98.5238 | -1.4762 | -0.15285 | 5 | 3415 |  |  |  | µg/L | T229 | ICPMS18324A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 0990128 | 2019-06-04 | 112.7436 | 117 | 96.3621 | -3.6379 | -0.37667 | 5 | 3415 | Sample was diluted |  |  | µg/L | T229 | ICPMS19149A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 1130095 | 2019-06-04 | 113.8768 | 117 | 97.3306 | -2.6694 | -0.27639 | 5 | 3415 | Sample was diluted |  |  | µg/L | T229 | ICPMS19149A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 3180066 | 2019-02-07 | 15 | 13 | 115.3846 | 15.3846 | 0.8 | 5 | 3415 | Sample was diluted |  |  | µg/L | T223 | ICPMS19036B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 3320104 | 2019-02-11 | 13.9508 | 13 | 107.3138 | 7.3138 | 0.38032 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19042A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 1340212 | 2019-06-06 | 12.6927 | 13 | 97.6362 | -2.3638 | -0.12292 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS19157A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 1490062 | 2019-06-24 | 13.5123 | 13 | 103.9408 | 3.9408 | 0.20492 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS19169A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 3100174 | 2019-02-05 | 23.5179 | 25.7 | 91.5093 | -8.4907 | -0.87284 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS19035A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 3270026 | 2019-02-12 | 24.1674 | 25.7 | 94.0366 | -5.9634 | -0.61304 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS19042A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 1280117 | 2019-06-05 | 26.557 | 25.7 | 103.3346 | 3.3346 | 0.3428 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19154A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 1410229 | 2019-06-12 | 27.164 | 25.7 | 105.6965 | 5.6965 | 0.5856 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19158A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 0570186 | 2019-04-08 | 23.6616 | 25.7 | 92.0685 | -7.9315 | -0.81536 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19098A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2250166 | 2019-09-04 | 25.4642 | 25.7 | 99.0825 | -0.91751 | -0.09432 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS19247A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2390203 | 2019-09-23 | 27.031 | 25.7 | 105.179 | 5.179 | 0.5324 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS19266A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 0520007 | 2019-03-29 | 13.4261 | 13 | 103.2777 | 3.2777 | 0.17044 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T223 | ICPMS19087B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2180150 | 2019-08-29 | 12.8713 | 13 | 99.01 | -0.99 | -0.05148 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS19239B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2320181 | 2019-09-09 | 12.8345 | 13 | 98.7269 | -1.2731 | -0.0662 | 5 | 3415 |  |  |  | µg/L | T223 | ICPMS19252A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 1900100 | 2019-08-19 | 18.6571 | 19.2 | 97.1724 | -2.8276 | -0.21716 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T221 | ICPMS19231B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2050046 | 2019-08-19 | 18.6667 | 19.2 | 97.2224 | -2.7776 | -0.21332 | 5 | 3415 |  |  |  | µg/L | T221 | ICPMS19231B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 1830106 | 2019-08-02 | 107.9793 | 117 | 92.29 | -7.71 | -0.79829 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19214A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2000016 | 2019-08-20 | 115.3973 | 117 | 98.6302 | -1.3698 | -0.14183 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19231B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 0640092 | 2019-04-17 | 216.483 | 183 | 118.2967 | 18.2967 | 1.6826 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19105A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 0780096 | 2019-04-26 | 233.8256 | 183 | 127.7736 | 27.7736 | 2.5541 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T225 | ICPMS19114A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2470180 | 2019-10-09 | 213.4638 | 183 | 116.6469 | 16.6469 | 1.5308 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS19282B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 2600328 | 2019-10-09 | 207.9956 | 183 | 113.6588 | 13.6588 | 1.2561 | 5 | 3415 | Sample was diluted |  |  | µg/L | T225 | ICPMS19282B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 3450114 | 2019-02-21 | 204.2472 | 183 | 111.6105 | 11.6105 | 1.0677 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS19045B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 1620136 | 2019-07-23 | 209.7849 | 183 | 114.6366 | 14.6366 | 1.346 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS19203A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2019 | 1760173 | 2019-07-03 | 219.6227 | 183 | 120.0124 | 20.0124 | 1.8403 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS19184B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 2810114 | 2019-12-10 | 19.1946 | 22 | 87.2482 | -12.7518 | -1.1222 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS19338A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 2950100 | 2019-12-16 | 20.8243 | 22 | 94.6559 | -5.3441 | -0.47028 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T233 | ICPMS19347B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 0980043 | 2020-04-23 | 20.0246 | 22 | 91.0209 | -8.9791 | -0.79016 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS20114A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 1120049 | 2020-05-04 | 20.7271 | 22 | 94.2141 | -5.7859 | -0.50916 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS20125B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 2890221 | 2019-12-12 | 120.1536 | 117 | 102.6954 | 2.6954 | 0.27908 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19344B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 3030027 | 2019-12-18 | 135.4348 | 117 | 115.7562 | 15.7562 | 1.6314 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T229 | ICPMS19350A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 1060059 | 2020-04-23 | 108.9749 | 117 | 93.1409 | -6.8591 | -0.71019 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20114A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 3170095 | 2019-12-30 | 21.1236 | 20.7 | 102.0464 | 2.0464 | 0.16944 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 3310060 | 2019-12-30 | 22.0438 | 20.7 | 106.4918 | 6.4918 | 0.53752 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T235 | ICPMS19364A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 1330126 | 2020-08-27 | 20.0139 | 20.7 | 96.6855 | -3.3145 | -0.27444 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS20238B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 3090147 | 2019-12-30 | 27.9474 | 25.7 | 108.7447 | 8.7447 | 0.89896 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T231 | ICPMS19364A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 3230099 | 2019-12-30 | 29.2 | 25.7 | 113.6187 | 13.6187 | 1.4 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS19364A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 0420076 | 2020-03-03 | 26.9449 | 25.7 | 104.844 | 4.844 | 0.49796 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS20063B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 0560053 | 2020-03-04 | 25.2711 | 25.7 | 98.3311 | -1.6689 | -0.17156 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T231 | ICPMS20064A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 2240092 | 2020-09-24 | 27.5346 | 25.7 | 107.1385 | 7.1385 | 0.73384 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS20276A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 2390027 | 2020-09-29 | 24.7789 | 25.7 | 96.416 | -3.584 | -0.36844 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS20273A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 0350135 | 2020-02-12 | 20.6975 | 20.7 | 99.9879 | -0.012077 | -0.001 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20043A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 0500059 | 2020-03-04 | 19.4674 | 20.7 | 94.0454 | -5.9546 | -0.49304 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T235 | ICPMS20064A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 2170035 | 2020-09-17 | 21.6977 | 20.7 | 104.8198 | 4.8198 | 0.39908 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS20260A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 2320037 | 2020-09-24 | 24.191 | 20.7 | 116.8647 | 16.8647 | 1.3964 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS20276A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 0150017 | 2020-02-03 | 20.5754 | 22 | 93.5245 | -6.4755 | -0.56984 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS20031A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 0280070 | 2020-02-03 | 21.1639 | 22 | 96.1995 | -3.8005 | -0.33444 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS20031A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 1960126 | 2020-09-03 | 22.5527 | 22 | 102.5123 | 2.5123 | 0.22108 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS20247B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 2120199 | 2020-09-17 | 22.1396 | 22 | 100.6345 | 0.63455 | 0.05584 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS20260A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 0070044 | 2020-01-21 | 119.0907 | 117 | 101.7869 | 1.7869 | 0.18502 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20021A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 0220109 | 2020-02-03 | 116.1911 | 117 | 99.3086 | -0.69137 | -0.071584 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T229 | ICPMS20031A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 1890182 | 2020-09-02 | 117.9838 | 117 | 100.8409 | 0.84085 | 0.087062 | 5 | 3415 |  |  |  | µg/L | T229 | ICPMS20245B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 2040025 | 2020-09-03 | 104.5644 | 117 | 89.3713 | -10.6287 | -1.1005 | 5 | 3415 |  |  |  | µg/L | T229 | ICPMS20247B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 0630051 | 2020-06-03 | 208.0213 | 183 | 113.6728 | 13.6728 | 1.2574 | 5 | 3415 | Sample was diluted |  |  | µg/L | T225 | ICPMS20153B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 0770114 | 2020-06-03 | 215.1515 | 183 | 117.5691 | 17.5691 | 1.6157 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS20153B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 2530137 | 2021-01-12 | 182.8664 | 183 | 99.927 | -0.073005 | -0.0067136 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS20353A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 2670298 | 2020-10-09 | 221.0955 | 183 | 120.8172 | 20.8172 | 1.9143 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS20281B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 3440294 | 2020-01-30 | 227.1084 | 183 | 124.103 | 24.103 | 2.2165 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS20030A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 3600045 | 2020-01-21 | 226.1959 | 183 | 123.6043 | 23.6043 | 2.1706 | 5 | 3415 | See result laboratory comment |  |  | µg/L | T225 | ICPMS20021A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 1610191 | 2020-07-01 | 206.8356 | 183 | 113.0249 | 13.0249 | 1.1978 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS20182B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2020 | 1760101 | 2020-10-14 | 210.0974 | 183 | 114.8073 | 14.8073 | 1.3617 | 5 | 3415 |  |  |  | µg/L | T225 | ICPMS20283A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2810032 | 2020-10-22 | 19.8782 | 22 | 90.3555 | -9.6445 | -0.84872 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS20296B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2950028 | 2021-01-13 | 19.3548 | 22 | 87.9764 | -12.0236 | -1.0581 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS21013B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0970048 | 2021-05-21 | 21.7515 | 22 | 98.8705 | -1.1295 | -0.0994 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS21140A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1110004 | 2021-06-02 | 18.5377 | 22 | 84.2623 | -15.7377 | -1.3849 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS21153A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2880069 | 2020-12-30 | 118.2634 | 117 | 101.0798 | 1.0798 | 0.11181 | 5 | 3415 |  |  |  | µg/L | T229 | ICPMS20350A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 3010155 | 2021-01-14 | 119.7677 | 117 | 102.3656 | 2.3656 | 0.24493 | 5 | 3415 |  |  |  | µg/L | T229 | ICPMS21013B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1030144 | 2021-05-05 | 113.3362 | 117 | 96.8685 | -3.1315 | -0.32423 | 5 | 3415 |  |  |  | µg/L | T229 | ICPMS21125A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1180038 | 2021-06-16 | 125.1753 | 117 | 106.9874 | 6.9874 | 0.72348 | 5 | 3415 |  |  |  | µg/L | T229 | ICPMS21167B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 3150100 | 2021-01-15 | 20.8281 | 20.7 | 100.6188 | 0.61884 | 0.05124 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS21015A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 3300047 | 2021-02-02 | 21.9996 | 20.7 | 106.2783 | 6.2783 | 0.51984 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS21033A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1320162 | 2021-06-29 | 21.4455 | 20.7 | 103.6014 | 3.6014 | 0.2982 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS21180B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1460003 | 2021-07-10 | 21.2482 | 20.7 | 102.6483 | 2.6483 | 0.21928 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS21188B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 3080107 | 2021-01-14 | 26.2034 | 25.7 | 101.9588 | 1.9588 | 0.20136 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS21013B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 3230039 | 2021-01-27 | 23.6208 | 25.7 | 91.9097 | -8.0903 | -0.83168 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS21026B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1250004 | 2021-06-16 | 26.8619 | 25.7 | 104.521 | 4.521 | 0.46476 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS21167B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1380139 | 2021-07-02 | 26.604 | 25.7 | 103.5175 | 3.5175 | 0.3616 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS21182B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0330077 | 2021-04-21 | 25.6107 | 25.7 | 99.6525 | -0.34747 | -0.03572 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS21110A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0480038 | 2021-05-12 | 24.3189 | 25.7 | 94.6261 | -5.3739 | -0.55244 | 5 | 3415 | Sample was diluted |  |  | µg/L | T231 | ICPMS21131A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2220178 | 2021-09-23 | 27.564 | 25.7 | 107.2529 | 7.2529 | 0.7456 | 5 | 3415 |  |  |  | µg/L | T231 | ICPMS21258B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2360118 | 2021-10-19 | 24.9328 | 25.7 | 97.0148 | -2.9852 | -0.30688 | 5 | 3415 | Sample was diluted |  |  | µg/L | T231 | ICPMS21292A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0400076 | 2021-05-04 | 23.1244 | 20.7 | 111.7121 | 11.7121 | 0.96976 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS21124A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0540055 | 2021-05-11 | 19.8262 | 20.7 | 95.7787 | -4.2213 | -0.34952 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS21131A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2150046 | 2021-08-30 | 19.5718 | 20.7 | 94.5498 | -5.4502 | -0.45128 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS21242B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2290121 | 2021-09-24 | 22.4576 | 20.7 | 108.4908 | 8.4908 | 0.70304 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS21267A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0120036 | 2021-03-04 | 18.8707 | 22 | 85.7759 | -14.2241 | -1.2517 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS21055A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0270078 | 2021-03-26 | 20.9443 | 22 | 95.2014 | -4.7986 | -0.42228 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS21077A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1940229 | 2021-08-16 | 19.6381 | 22 | 89.2641 | -10.7359 | -0.94476 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS21228B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2080172 | 2021-08-19 | 21.4765 | 22 | 97.6205 | -2.3795 | -0.2094 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS21230A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0050024 | 2021-03-04 | 106.6155 | 117 | 91.1244 | -8.8756 | -0.91898 | 5 | 3415 |  |  |  | µg/L | T229 | ICPMS21055A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0210015 | 2021-03-26 | 108.9635 | 117 | 93.1312 | -6.8688 | -0.71119 | 5 | 3415 |  |  |  | µg/L | T229 | ICPMS21077A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1880114 | 2021-08-11 | 124.6657 | 117 | 106.5519 | 6.5519 | 0.67838 | 5 | 3415 |  |  |  | µg/L | T229 | ICPMS21222B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2010231 | 2021-09-14 | 115.4923 | 117 | 98.7114 | -1.2886 | -0.13342 | 5 | 3415 | Sample was diluted |  |  | µg/L | T229 | ICPMS21252A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0680063 | 2021-05-14 | 229.2204 | 231 | 99.2296 | -0.77039 | -0.10593 | 5 | 3415 | Sample was diluted |  |  | µg/L | T239 | ICPMS21132B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0830027 | 2021-05-22 | 225.6602 | 231 | 97.6884 | -2.3116 | -0.31785 | 5 | 3415 | Sample was diluted |  |  | µg/L | T239 | ICPMS21140A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2580265 | 2021-10-29 | 224.7569 | 231 | 97.2974 | -2.7026 | -0.37161 | 5 | 3415 | Sample was diluted |  |  | µg/L | T239 | ICPMS21300B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2790034 | 2021-11-23 | 232.5715 | 231 | 100.6803 | 0.6803 | 0.093542 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS21308B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0620100 | 2021-05-13 | 9.7901 | 10.5 | 93.239 | -6.761 | -0.28396 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T237 | ICPMS21132B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 0760035 | 2021-05-14 | 9.5111 | 10.5 | 90.5819 | -9.4181 | -0.39556 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T237 | ICPMS21134A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2510433 | 2021-11-02 | 15 | 10.5 | 142.8571 | 42.8571 | 1.8 | 5 | 3415 | Sample was diluted |  |  | µg/L | T237 | ICPMS21295B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 2640271 | 2021-11-02 | 15 | 10.5 | 142.8571 | 42.8571 | 1.8 | 5 | 3415 | Sample was diluted |  |  | µg/L | T237 | ICPMS21295B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 3500073 | 2021-01-29 | 10.8743 | 10.5 | 103.5648 | 3.5648 | 0.14972 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS21028B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 3640015 | 2021-03-04 | 9.2772 | 10.5 | 88.3543 | -11.6457 | -0.48912 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T237 | ICPMS21055A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1600035 | 2021-07-24 | 11.1283 | 10.5 | 105.9838 | 5.9838 | 0.25132 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS21200B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1730218 | 2021-08-07 | 11.3 | 10.5 | 107.619 | 7.619 | 0.32 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS21218A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 3440081 | 2021-01-29 | 218.2068 | 231 | 94.4618 | -5.5382 | -0.7615 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS21028B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 3580059 | 2021-03-26 | 191.6181 | 231 | 82.9516 | -17.0484 | -2.3442 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS21077A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1540139 | 2021-07-16 | 218.4821 | 231 | 94.581 | -5.419 | -0.74511 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS21195A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2021 | 1660119 | 2021-08-10 | 250.5374 | 231 | 108.4577 | 8.4577 | 1.1629 | 5 | 3415 | Sample was diluted |  |  | µg/L | T239 | ICPMS21215A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 2790037 | 2021-12-22 | 18.6838 | 22 | 84.9264 | -15.0736 | -1.3265 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS21356A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0960123 | 2022-05-23 | 20.9206 | 22 | 95.0936 | -4.9064 | -0.43176 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS22143B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1090127 | 2022-05-19 | 21.8925 | 22 | 99.5114 | -0.48864 | -0.043 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS22139A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 2870243 | 2021-12-16 | 8.3403 | 8.67 | 96.1972 | -3.8028 | -0.13188 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS21349B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 3000133 | 2022-01-03 | 8.3139 | 8.67 | 95.8927 | -4.1073 | -0.14244 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS21356B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1020024 | 2022-05-26 | 9.5929 | 8.67 | 110.6448 | 10.6448 | 0.36916 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS22146A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1170082 | 2022-05-25 | 9.1885 | 8.67 | 105.9804 | 5.9804 | 0.2074 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS22144A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 3130184 | 2022-01-05 | 21.9041 | 20.7 | 105.8169 | 5.8169 | 0.48164 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS22005A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 3270288 | 2022-01-20 | 21 | 20.7 | 101.4493 | 1.4493 | 0.12 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS22011B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1320258 | 2022-07-19 | 21.9942 | 20.7 | 106.2522 | 6.2522 | 0.51768 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS22199A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1460098 | 2022-06-27 | 21.3711 | 20.7 | 103.242 | 3.242 | 0.26844 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS22178A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 3060209 | 2022-01-04 | 278.8281 | 275 | 101.392 | 1.392 | 0.2622 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS21356B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 3200088 | 2022-01-06 | 330 | 275 | 120 | 20 | 3.7671 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS22005A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1230094 | 2022-06-25 | 294.9844 | 275 | 107.2671 | 7.2671 | 1.3688 | 5 | 3415 | Sample was diluted |  |  | µg/L | T243 | ICPMS22175A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1380070 | 2022-06-24 | 299.1445 | 275 | 108.7798 | 8.7798 | 1.6537 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS22174A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0390071 | 2022-03-18 | 301.9839 | 275 | 109.8123 | 9.8123 | 1.8482 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS22076B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0540113 | 2022-05-19 | 327.6369 | 275 | 119.1407 | 19.1407 | 3.6053 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS22138A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 2210114 | 2022-08-19 | 297.9292 | 275 | 108.3379 | 8.3379 | 1.5705 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS22229B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 2360390 | 2022-09-21 | 287.043 | 275 | 104.3793 | 4.3793 | 0.82486 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS22263B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0380065 | 2022-03-17 | 20.7022 | 20.7 | 100.0106 | 0.010628 | 0.00088 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS22076B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0480131 | 2022-03-24 | 22.0314 | 20.7 | 106.4319 | 6.4319 | 0.53256 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS22080A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 2140174 | 2022-08-09 | 22.2733 | 20.7 | 107.6005 | 7.6005 | 0.62932 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS22220A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 2280351 | 2022-08-26 | 22.3652 | 20.7 | 108.0444 | 8.0444 | 0.66608 | 5 | 3415 |  |  |  | µg/L | T235 | ICPMS22238A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0120120 | 2022-02-17 | 22 | 22 | 100 | 0 | 0 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS22047B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0250044 | 2022-03-02 | 23 | 22 | 104.5455 | 4.5455 | 0.4 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS22060A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1930200 | 2022-08-04 | 20.7735 | 22 | 94.425 | -5.575 | -0.4906 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS22215B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 2080416 | 2022-08-08 | 20.7161 | 22 | 94.1641 | -5.8359 | -0.51356 | 5 | 3415 |  |  |  | µg/L | T233 | ICPMS22220A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0050041 | 2022-02-17 | 9 | 8.67 | 103.8062 | 3.8062 | 0.132 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS22047B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0190121 | 2022-03-02 | 10 | 8.67 | 115.3403 | 15.3403 | 0.532 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS22060A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1870090 | 2022-08-02 | 8.6652 | 8.67 | 99.9446 | -0.055363 | -0.00192 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS22214B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 2000024 | 2022-08-04 | 8.2103 | 8.67 | 94.6978 | -5.3022 | -0.18388 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS22215B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0670123 | 2022-05-19 | 274.9592 | 231 | 119.03 | 19.03 | 2.6166 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS22138A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0820073 | 2022-07-01 | 240.1956 | 231 | 103.9808 | 3.9808 | 0.54736 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS22181A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 2570117 | 2022-09-28 | 249.4378 | 231 | 107.9817 | 7.9817 | 1.0975 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS22269A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0760093 | 2022-05-24 | 11.2315 | 10.5 | 106.9667 | 6.9667 | 0.2926 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS22143B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 0880096 | 2022-05-24 | 11.0031 | 10.5 | 104.7914 | 4.7914 | 0.20124 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS22143B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 2500494 | 2022-10-05 | 11.0651 | 10.5 | 105.3819 | 5.3819 | 0.22604 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS22277A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 2630184 | 2022-10-05 | 11.7038 | 10.5 | 111.4648 | 11.4648 | 0.48152 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS22277A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 3480118 | 2022-01-21 | 10 | 10.5 | 95.2381 | -4.7619 | -0.2 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS22011B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 3640134 | 2022-01-29 | 12 | 10.5 | 114.2857 | 14.2857 | 0.6 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS22027D
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1660162 | 2022-07-26 | 10.5741 | 10.5 | 100.7057 | 0.70571 | 0.02964 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS22203B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1790078 | 2022-07-28 | 10.1567 | 10.5 | 96.7305 | -3.2695 | -0.13732 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS22208B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 3410064 | 2022-01-15 | 236 | 231 | 102.1645 | 2.1645 | 0.29762 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS22014B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 3570003 | 2022-01-28 | 260 | 231 | 112.5541 | 12.5541 | 1.7262 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS22027C
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1580091 | 2022-07-22 | 248.3476 | 231 | 107.5098 | 7.5098 | 1.0326 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS22202A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2022 | 1730126 | 2022-07-28 | 239.3548 | 231 | 103.6168 | 3.6168 | 0.49731 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS22208B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2770114 | 2022-10-26 | 8.5716 | 8.24 | 104.0243 | 4.0243 | 0.13264 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS22298B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2920222 | 2022-10-28 | 7.882 | 8.24 | 95.6553 | -4.3447 | -0.1432 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS22300A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0940130 | 2023-04-28 | 7.5998 | 8.24 | 92.2306 | -7.7694 | -0.25608 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23117A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1100089 | 2023-05-05 | 7.9825 | 8.24 | 96.875 | -3.125 | -0.103 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23125C
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2860101 | 2022-10-28 | 8.6153 | 8.67 | 99.3691 | -0.63091 | -0.02188 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS22300A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2990136 | 2022-11-08 | 10 | 8.67 | 115.3403 | 15.3403 | 0.532 | 5 | 3415 | Sample was diluted |  |  | µg/L | T241 | ICPMS22312B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1020111 | 2023-04-28 | 8.0324 | 8.67 | 92.6459 | -7.3541 | -0.25504 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23117A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1170147 | 2023-05-23 | 9.0491 | 8.67 | 104.3725 | 4.3725 | 0.15164 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23142B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 3130109 | 2023-01-20 | 144.8726 | 142 | 102.023 | 2.023 | 0.31637 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23019A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 3330054 | 2023-02-02 | 158.1907 | 142 | 111.4019 | 11.4019 | 1.7831 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23032A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1300167 | 2023-06-10 | 165.336 | 142 | 116.4338 | 16.4338 | 2.57 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23160A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1440060 | 2023-06-06 | 159.6937 | 142 | 112.4604 | 12.4604 | 1.9486 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23156B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 3060049 | 2023-01-20 | 293.5614 | 275 | 106.7496 | 6.7496 | 1.2713 | 5 | 3415 | Sample was diluted |  |  | µg/L | T243 | ICPMS23019A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 3200145 | 2023-01-28 | 324.6931 | 275 | 118.0702 | 18.0702 | 3.4036 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS23027A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1240210 | 2023-05-20 | 323.5122 | 275 | 117.6408 | 17.6408 | 3.3228 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T243 | ICPMS23139A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1360048 | 2023-06-22 | 327.0307 | 275 | 118.9203 | 18.9203 | 3.5637 | 5 | 3415 | Sample was diluted |  |  | µg/L | T243 | ICPMS23171A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0470007 | 2023-04-28 | 334.759 | 275 | 121.7305 | 21.7305 | 4.0931 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS23117A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0620097 | 2023-03-25 | 312.2401 | 275 | 113.5419 | 13.5419 | 2.5507 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS23083B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2280173 | 2023-09-08 | 314.916 | 275 | 114.5149 | 14.5149 | 2.734 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS23250A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2440134 | 2023-10-04 | 297.1706 | 275 | 108.062 | 8.062 | 1.5185 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS23276A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0380151 | 2023-02-18 | 160.916 | 142 | 113.3211 | 13.3211 | 2.0833 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23048A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0590092 | 2023-03-16 | 141.1845 | 142 | 99.4257 | -0.5743 | -0.089813 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T247 | ICPMS23074A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2200127 | 2023-09-27 | 157.7458 | 142 | 111.0886 | 11.0886 | 1.7341 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23269A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2350096 | 2023-09-27 | 157.3195 | 142 | 110.7884 | 10.7884 | 1.6872 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23269A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0190114 | 2023-02-16 | 8.062 | 8.24 | 97.8398 | -2.1602 | -0.0712 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23047A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0310087 | 2023-02-17 | 8.626 | 8.24 | 104.6845 | 4.6845 | 0.1544 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23048A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1940234 | 2023-07-28 | 8.3393 | 8.24 | 101.2051 | 1.2051 | 0.03972 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  | Below the reporting level but at or above the detection level | µg/L | T245 | ICPMS23208B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2060142 | 2023-08-08 | 9.2851 | 8.24 | 112.6833 | 12.6833 | 0.41804 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23219A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0100103 | 2023-02-14 | 8.4693 | 8.67 | 97.6851 | -2.3149 | -0.08028 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23045A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0250122 | 2023-02-02 | 8.5139 | 8.67 | 98.1995 | -1.8005 | -0.06244 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23032A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1870310 | 2023-07-18 | 11.7419 | 8.67 | 135.4314 | 35.4314 | 1.2288 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T241 | ICPMS23198A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1990166 | 2023-07-28 | 9.2972 | 8.67 | 107.2341 | 7.2341 | 0.25088 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  | Below the reporting level but at or above the detection level | µg/L | T241 | ICPMS23208B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0740033 | 2023-03-22 | 250.4284 | 231 | 108.4106 | 8.4106 | 1.1565 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23080A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0880093 | 2023-04-28 | 267.8575 | 231 | 115.9556 | 15.9556 | 2.1939 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23117A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2560088 | 2023-10-21 | 266.1937 | 231 | 115.2354 | 15.2354 | 2.0949 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23292A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2690094 | 2023-10-21 | 255.7886 | 231 | 110.731 | 10.731 | 1.4755 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23292A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0670102 | 2023-03-25 | 11.0369 | 10.5 | 105.1133 | 5.1133 | 0.21476 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T237 | ICPMS23083B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0800075 | 2023-03-30 | 10.8709 | 10.5 | 103.5324 | 3.5324 | 0.14836 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T237 | ICPMS23089B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2490138 | 2023-09-18 | 11.3313 | 10.5 | 107.9171 | 7.9171 | 0.33252 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS23257A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2620178 | 2023-09-26 | 11.2316 | 10.5 | 106.9676 | 6.9676 | 0.29264 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS23269A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 3490121 | 2023-02-09 | 9.9077 | 10.5 | 94.359 | -5.641 | -0.23692 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T237 | ICPMS23040A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0040114 | 2023-02-14 | 10.2765 | 10.5 | 97.8714 | -2.1286 | -0.0894 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS23045A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1650066 | 2023-06-26 | 11.6887 | 10.5 | 111.321 | 11.321 | 0.47548 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T237 | ICPMS23177B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1840086 | 2023-08-01 | 11.0239 | 10.5 | 104.9895 | 4.9895 | 0.20956 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS23213A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 3400090 | 2023-02-02 | 260.0628 | 231 | 112.5813 | 12.5813 | 1.7299 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23032A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 3610135 | 2023-01-20 | 249.7191 | 231 | 108.1035 | 8.1035 | 1.1142 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23019A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1570041 | 2023-07-18 | 248.2179 | 231 | 107.4536 | 7.4536 | 1.0249 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23198A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1730211 | 2023-08-01 | 229.2254 | 231 | 99.2318 | -0.76823 | -0.10563 | 5 | 3415 | Sample was diluted |  |  | µg/L | T239 | ICPMS23213A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 2760034 | 2023-11-28 | 7.7963 | 8.24 | 94.6153 | -5.3847 | -0.17748 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23332A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 2900161 | 2023-12-06 | 7.6927 | 8.24 | 93.358 | -6.642 | -0.21892 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23340A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 2850090 | 2023-10-26 | 8.5025 | 8.67 | 98.0681 | -1.9319 | -0.067 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23299B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 2980081 | 2023-12-15 | 8.9862 | 8.67 | 103.6471 | 3.6471 | 0.12648 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23346A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3340080 | 2024-02-23 | 157.1827 | 142 | 110.692 | 10.692 | 1.6721 | 5 | 3415 | Sample was diluted |  |  | µg/L | T247 | ICPMS24053A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3250150 | 2024-02-15 | 308.1509 | 275 | 112.0549 | 12.0549 | 2.2706 | 5 | 3415 | Sample was diluted |  |  | µg/L | T243 | ICPMS24046A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0580158 | 2024-04-09 | 306.6062 | 275 | 111.4932 | 11.4932 | 2.1648 | 5 | 3415 | Sample was diluted |  |  | µg/L | T243 | ICPMS24099A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0520079 | 2024-03-12 | 159.1658 | 142 | 112.0886 | 12.0886 | 1.8905 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T247 | ICPMS24071A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0090034 | 2024-01-23 | 8.3536 | 8.24 | 101.3786 | 1.3786 | 0.04544 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS24022A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0230080 | 2024-03-07 | 10 | 8.24 | 121.3592 | 21.3592 | 0.704 | 5 | 3415 | Sample was diluted |  |  | µg/L | T245 | ICPMS24065A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0030060 | 2024-01-30 | 9.1855 | 8.67 | 105.9458 | 5.9458 | 0.2062 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS24025A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0170010 | 2024-02-16 | 8.6802 | 8.67 | 100.1176 | 0.11765 | 0.00408 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS24047A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0660042 | 2024-04-09 | 230.6884 | 211 | 109.331 | 9.331 | 1.6545 | 5 | 3415 | Sample was diluted |  |  | µg/L | T249 | ICPMS24099A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3460243 | 2024-01-30 | 230.3629 | 211 | 109.1767 | 9.1767 | 1.6271 | 5 | 3415 |  |  |  | µg/L | T249 | ICPMS24025A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3610063 | 2024-01-30 | 239.5461 | 211 | 113.529 | 13.529 | 2.3988 | 5 | 3415 |  |  |  | µg/L | T249 | ICPMS24025A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3390052 | 2023-12-21 | 91.966 | 89.8 | 102.412 | 2.412 | 0.47087 | 5 | 3415 |  |  |  | µg/L | T251 | ICPMS23354A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3530158 | 2024-01-18 | 91.267 | 89.8 | 101.6336 | 1.6336 | 0.31891 | 5 | 3415 |  |  |  | µg/L | T251 | ICPMS24010A