## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2790157 | 2004-11-01 | 0.517 | 0.5 | 103.4 | 3.4 | 0.022585 | 0.6 | 2379 | Below the reporting level but at or above the detection level |  |  | ug/L | 50171-50DIW | WMS04306A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2870068 | 2004-11-04 | 0.559 | 0.5 | 111.8 | 11.8 | 0.078384 | 0.6 | 2379 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | WMS04308A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2940105 | 2004-11-04 | 0.456 | 0.5 | 91.2 | -8.8 | -0.058456 | 0.6 | 2379 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | WMS04308A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3010210 | 2004-11-23 | 0.421 | 0.5 | 84.2 | -15.8 | -0.10496 | 0.6 | 2379 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | WMS04327A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0960150 | 2005-04-20 | 0.311 | 0.5 | 62.2 | -37.8 | -0.2511 | 0.6 | 2379 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | WMS05109A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1030095 | 2005-06-01 | 0.357 | 0.5 | 71.4 | -28.6 | -0.18998 | 0.6 | 2379 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | WMS05151A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1100122 | 2005-05-19 | 1.143 | 0.5 | 228.6 | 128.6 | 0.85426 | 0.6 | 2379 |  |  |  | µg/L | 50171-50DIW | WMS05137A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1170144 | 2005-05-25 | 0.541 | 0.5 | 108.2 | 8.2 | 0.054471 | 0.6 | 2379 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | WMS05144A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2820217 | 2004-11-04 | 4.449 | 3.75 | 118.64 | 18.64 | 0.7821 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS04308A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2890203 | 2004-11-04 | 4.626 | 3.75 | 123.36 | 23.36 | 0.98014 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS04308A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2960264 | 2004-11-04 | 3.979 | 3.75 | 106.1067 | 6.1067 | 0.25622 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS04309A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3060017 | 2004-11-23 | 5.175 | 3.75 | 138 | 38 | 1.5944 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS04327A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0980170 | 2005-04-20 | 4.304 | 3.75 | 114.7733 | 14.7733 | 0.61986 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05109A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1050218 | 2005-05-19 | 4.493 | 3.75 | 119.8133 | 19.8133 | 0.83133 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05137A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1120319 | 2005-05-19 | 5.898 | 3.75 | 157.28 | 57.28 | 2.4034 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05137A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1190256 | 2005-05-25 | 4.249 | 3.75 | 113.3067 | 13.3067 | 0.55832 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05144A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1870122 | 2005-08-05 | 4.609 | 4.675 | 98.5882 | -1.4118 | -0.070672 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05216A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1890264 | 2005-08-16 | 4.754 | 4.675 | 101.6898 | 1.6898 | 0.084592 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05227A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1940300 | 2005-08-16 | 4.772 | 4.675 | 102.0749 | 2.0749 | 0.10387 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05227A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1960083 | 2005-08-16 | 5.325 | 4.675 | 113.9037 | 13.9037 | 0.69601 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05227A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2010182 | 2005-08-17 | 4.763 | 4.675 | 101.8824 | 1.8824 | 0.094229 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05228A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2030281 | 2005-08-08 | 4.869 | 4.675 | 104.1497 | 4.1497 | 0.20773 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05220A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2080324 | 2005-08-18 | 4.66 | 4.675 | 99.6791 | -0.32086 | -0.016062 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05229A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2100061 | 2005-08-24 | 4.744 | 4.675 | 101.4759 | 1.4759 | 0.073884 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05235A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3080120 | 2004-11-23 | 1.549 | 1.6375 | 94.5954 | -5.4046 | -0.11034 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS04327A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3150134 | 2004-12-09 | 1.783 | 1.6375 | 108.8855 | 8.8855 | 0.18141 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS04343A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3270048 | 2004-12-14 | 2.342 | 1.6375 | 143.0229 | 43.0229 | 0.87836 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS04348A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3340010 | 2004-12-14 | 2.393 | 1.6375 | 146.1374 | 46.1374 | 0.94194 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS04348A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1240237 | 2005-05-25 | 1.723 | 1.6375 | 105.2214 | 5.2214 | 0.1066 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05144A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1310150 | 2005-06-01 | 2.042 | 1.6375 | 124.7023 | 24.7023 | 0.50432 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05152A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1380128 | 2005-06-08 | 1.758 | 1.6375 | 107.3588 | 7.3588 | 0.15024 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05158A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1450131 | 2005-06-09 | 1.858 | 1.6375 | 113.4656 | 13.4656 | 0.27491 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05159A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3100043 | 2004-11-23 | 1.675 | 1.6375 | 102.2901 | 2.2901 | 0.046754 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS04327A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3200084 | 2004-12-09 | 3.315 | 1.6375 | 202.4427 | 102.4427 | 2.0915 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS04343A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3270056 | 2004-12-14 | 7.298 | 1.6375 | 445.6794 | 345.6794 | 7.0574 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS04348A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3350089 | 2004-12-14 | 2.181 | 1.6375 | 133.1908 | 33.1908 | 0.67762 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS04348A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1260174 | 2005-05-25 | 1.806 | 1.6375 | 110.2901 | 10.2901 | 0.21008 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05144A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1330245 | 2005-06-01 | 2.381 | 1.6375 | 145.4046 | 45.4046 | 0.92698 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05152A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1400210 | 2005-06-08 | 2.58 | 1.6375 | 157.5573 | 57.5573 | 1.1751 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05158A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1510156 | 2005-06-09 | 2.205 | 1.6375 | 134.6565 | 34.6565 | 0.70755 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05159A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0380084 | 2005-02-14 | 5.184 | 3.75 | 138.24 | 38.24 | 1.6045 | 0.6 | 2379 |  |  |  | ug/L | 50173-50DIW | WMS05045A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0380084 | 2005-02-14 | 5.184 | 3.75 | 138.24 | 38.24 | 1.6045 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05045A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0420132 | 2005-03-03 | 4.29 | 3.75 | 114.4 | 14.4 | 0.6042 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05061A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0530109 | 2005-03-03 | 4.145 | 3.75 | 110.5333 | 10.5333 | 0.44196 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05062A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0560034 | 2005-03-03 | 4.434 | 3.75 | 118.24 | 18.24 | 0.76531 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05062A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2170140 | 2005-09-12 | 5.115 | 4.25 | 120.3529 | 20.3529 | 0.94489 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05255A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2240420 | 2005-09-14 | 4.245 | 4.25 | 99.8824 | -0.11765 | -0.0054618 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05256A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2310008 | 2005-09-15 | 4.302 | 4.25 | 101.2235 | 1.2235 | 0.056803 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05257A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2380179 | 2005-09-15 | 4.252 | 4.25 | 100.0471 | 0.047059 | 0.0021847 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05258A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2150226 | 2005-09-12 | 4.1 | 3.75 | 109.3333 | 9.3333 | 0.39161 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05255A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2170139 | 2005-09-12 | 4.316 | 3.75 | 115.0933 | 15.0933 | 0.63329 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05255A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2230320 | 2005-09-01 | 4.127 | 3.75 | 110.0533 | 10.0533 | 0.42182 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05243A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2240419 | 2005-09-14 | 3.981 | 3.75 | 106.16 | 6.16 | 0.25846 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05256A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2290209 | 2005-09-15 | 3.696 | 3.75 | 98.56 | -1.44 | -0.06042 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05257A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2310009 | 2005-09-15 | 3.823 | 3.75 | 101.9467 | 1.9467 | 0.081678 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05257A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2360003 | 2005-09-15 | 3.844 | 3.75 | 102.5067 | 2.5067 | 0.10517 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05258A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2380180 | 2005-09-15 | 3.778 | 3.75 | 100.7467 | 0.74667 | 0.031329 | 0.6 | 2379 |  |  |  | µg/L | 50173-50DIW | WMS05258A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0060064 | 2005-02-10 | 5.478 | 4.675 | 117.1765 | 17.1765 | 0.85984 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05040A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0130109 | 2005-01-27 | 6.232 | 4.675 | 133.3048 | 33.3048 | 1.6672 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05026A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0210121 | 2005-02-10 | 5.685 | 4.675 | 121.6043 | 21.6043 | 1.0815 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05041A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0280054 | 2005-02-10 | 5.684 | 4.675 | 121.5829 | 21.5829 | 1.0804 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05041A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1890265 | 2005-08-16 | 1.625 | 1.6375 | 99.2366 | -0.76336 | -0.015585 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05227A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1960082 | 2005-08-16 | 1.848 | 1.6375 | 112.855 | 12.855 | 0.26245 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05227A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2030280 | 2005-08-08 | 1.94 | 1.6375 | 118.4733 | 18.4733 | 0.37715 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05220A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2100062 | 2005-08-24 | 1.739 | 1.6375 | 106.1985 | 6.1985 | 0.12655 | 0.6 | 2379 |  |  |  | µg/L | 25171-75175 | WMS05235A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0620101 | 2005-03-09 | 1.389 | 0.925 | 150.1622 | 50.1622 | 0.6017 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS05068A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0700203 | 2005-03-22 | 1.515 | 0.925 | 163.7838 | 63.7838 | 0.7651 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS05081A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0760177 | 2005-04-05 | 0.885 | 0.925 | 95.6757 | -4.3243 | -0.051871 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS05083B
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0840177 | 2005-04-06 | 1.351 | 0.925 | 146.0541 | 46.0541 | 0.55243 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS05095A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2490115 | 2005-10-05 | 0.902 | 0.925 | 97.5135 | -2.4865 | -0.029826 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS05272B
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2560064 | 2006-01-27 | 1.256 | 0.925 | 135.7838 | 35.7838 | 0.42923 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS06026B
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2700022 | 2005-11-08 | 0.964 | 0.925 | 104.2162 | 4.2162 | 0.050574 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS05312A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0660060 | 2005-03-22 | 5.273 | 4.675 | 112.7914 | 12.7914 | 0.64033 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05081A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0730077 | 2005-04-05 | 5.678 | 4.675 | 121.4545 | 21.4545 | 1.074 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05083B
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0810027 | 2005-04-22 | 6.139 | 4.675 | 131.3155 | 31.3155 | 1.5676 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05111A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 0870069 | 2005-04-06 | 5.649 | 4.675 | 120.8342 | 20.8342 | 1.0429 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05095A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2510182 | 2005-10-05 | 4.739 | 4.675 | 101.369 | 1.369 | 0.06853 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05272B
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2580117 | 2005-10-06 | 5.096 | 4.675 | 109.0053 | 9.0053 | 0.4508 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05272C
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 2720015 | 2005-11-08 | 4.723 | 4.675 | 101.0267 | 1.0267 | 0.051398 | 0.6 | 2379 |  |  |  | µg/L | 50175-50173 | WMS05312A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3430067 | 2004-12-15 | 5.152 | 4.25 | 121.2235 | 21.2235 | 0.98531 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS04350A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3490092 | 2005-01-13 | 5.142 | 4.25 | 120.9882 | 20.9882 | 0.97438 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05012A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3560049 | 2005-04-27 | 6.169 | 4.25 | 145.1529 | 45.1529 | 2.0962 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05116A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 3630012 | 2005-01-26 | 4.831 | 4.25 | 113.6706 | 13.6706 | 0.63466 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05025A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1600268 | 2005-06-23 | 1.159 | 0.5 | 231.8 | 131.8 | 0.87551 | 0.6 | 2379 |  |  |  | µg/L | 50171-50DIW | WMS05172A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1740224 | 2005-07-22 | 0.664 | 0.5 | 132.8 | 32.8 | 0.21788 | 0.6 | 2379 |  |  |  | µg/L | 50171-50DIW | WMS05202A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1810180 | 2005-07-22 | 0.536 | 0.5 | 107.2 | 7.2 | 0.047828 | 0.6 | 2379 | Below the reporting level but at or above the detection level |  |  | µg/L | 50171-50DIW | WMS05202A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1580154 | 2005-06-16 | 4.996 | 4.25 | 117.5529 | 17.5529 | 0.8149 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05166A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1600269 | 2005-06-23 | 6.011 | 4.25 | 141.4353 | 41.4353 | 1.9236 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05172A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1650166 | 2005-06-27 | 5.126 | 4.25 | 120.6118 | 20.6118 | 0.95691 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05178A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1670212 | 2005-07-21 | 4.929 | 4.25 | 115.9765 | 15.9765 | 0.74171 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05200A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1730154 | 2005-07-22 | 5.088 | 4.25 | 119.7176 | 19.7176 | 0.9154 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05202A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1740223 | 2005-07-22 | 5.464 | 4.25 | 128.5647 | 28.5647 | 1.3261 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05202A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1800018 | 2005-07-22 | 5.544 | 4.25 | 130.4471 | 30.4471 | 1.4135 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05202A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2005 | 1810179 | 2005-07-22 | 5.158 | 4.25 | 121.3647 | 21.3647 | 0.99186 | 0.6 | 2379 |  |  |  | µg/L | 50171-50173 | WMS05202A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0930086 | 2006-04-12 | 1.087 | 0.925 | 117.5135 | 17.5135 | 0.21008 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS06102A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1010011 | 2006-04-18 | 1.099 | 0.925 | 118.8108 | 18.8108 | 0.22564 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS06107A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1080075 | 2006-04-27 | 0.954 | 0.925 | 103.1351 | 3.1351 | 0.037606 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS06117A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1160106 | 2006-05-03 | 1.066 | 0.925 | 115.2432 | 15.2432 | 0.18284 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS06123A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2770186 | 2006-02-08 | 1.115 | 0.925 | 120.5405 | 20.5405 | 0.24639 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 50175-50DIW | WMS06039A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2850131 | 2006-02-02 | 0.924 | 0.925 | 99.8919 | -0.10811 | -0.0012968 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 50175-50DIW | WMS06033A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2790064 | 2006-02-08 | 2.976 | 2.895 | 102.7979 | 2.7979 | 0.094555 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 75179-25DIW | WMS06039A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2870113 | 2006-02-02 | 3.068 | 2.895 | 105.9758 | 5.9758 | 0.20195 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 75179-25DIW | WMS06033A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3010130 | 2006-02-08 | 3.138 | 2.895 | 108.3938 | 8.3938 | 0.28367 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 75179-25DIW | WMS06039A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0960075 | 2006-04-12 | 2.976 | 2.895 | 102.7979 | 2.7979 | 0.094555 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06102A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1030095 | 2006-04-18 | 2.855 | 2.895 | 98.6183 | -1.3817 | -0.046694 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06108A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1100074 | 2006-04-27 | 2.836 | 2.895 | 97.962 | -2.038 | -0.068873 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06117A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1170184 | 2006-05-03 | 3.1 | 2.895 | 107.0812 | 7.0812 | 0.23931 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06123A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2800164 | 2006-02-08 | 3.585 | 3.3375 | 107.4157 | 7.4157 | 0.28258 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 25177-75175 | WMS06039A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3040129 | 2006-02-08 | 3.537 | 3.3375 | 105.9775 | 5.9775 | 0.22778 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 25177-75175 | WMS06039A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3060042 | 2006-02-07 | 6.832 | 6.815 | 100.2494 | 0.24945 | 0.016557 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 25179-75177 | WMS06038A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3130034 | 2006-01-31 | 7.412 | 6.815 | 108.7601 | 8.7601 | 0.58143 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 25179-75177 | WMS06030A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3210141 | 2006-02-01 | 6.706 | 6.815 | 98.4006 | -1.5994 | -0.10616 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 25179-75177 | WMS06031A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3320014 | 2006-02-01 | 7.606 | 6.815 | 111.6067 | 11.6067 | 0.77038 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 25179-75177 | WMS06031A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1220153 | 2006-05-08 | 6.989 | 6.815 | 102.5532 | 2.5532 | 0.16946 | 0.6 | 2379 |  |  |  | µg/L | 25179-75177 | WMS06128A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1290069 | 2006-05-18 | 6.727 | 6.815 | 98.7087 | -1.2913 | -0.085706 | 0.6 | 2379 |  |  |  | µg/L | 25179-75177 | WMS06138A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1360168 | 2006-05-24 | 6.786 | 6.815 | 99.5745 | -0.42553 | -0.028244 | 0.6 | 2379 |  |  |  | µg/L | 25179-75177 | WMS06144A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1430049 | 2006-06-07 | 6.693 | 6.815 | 98.2098 | -1.7902 | -0.11882 | 0.6 | 2379 |  |  |  | µg/L | 25179-75177 | WMS06158A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3080101 | 2006-02-08 | 1.345 | 0.925 | 145.4054 | 45.4054 | 0.54464 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 50175-50DIW | WMS06039A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3180038 | 2006-02-07 | 1.084 | 0.925 | 117.1892 | 17.1892 | 0.20619 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 50175-50DIW | WMS06038A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3250049 | 2006-02-13 | 1.176 | 0.925 | 127.1351 | 27.1351 | 0.32549 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 50175-50DIW | WMS06044A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3340012 | 2006-02-01 | 1.108 | 0.925 | 119.7838 | 19.7838 | 0.23731 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 50175-50DIW | WMS06031A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1240138 | 2006-05-10 | 0.917 | 0.925 | 99.1351 | -0.86486 | -0.010374 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS06130A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1310138 | 2006-05-18 | 2.131 | 0.925 | 230.3784 | 130.3784 | 1.5639 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS06138A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1380006 | 2006-05-24 | 0.927 | 0.925 | 100.2162 | 0.21622 | 0.0025935 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS06144A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1460012 | 2006-06-07 | 1.028 | 0.925 | 111.1351 | 11.1351 | 0.13357 | 0.6 | 2379 |  |  |  | µg/L | 50175-50DIW | WMS06158A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3110075 | 2006-02-08 | 3.21 | 2.895 | 110.8808 | 10.8808 | 0.36771 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 75179-25DIW | WMS06039A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3190012 | 2006-02-07 | 2.892 | 2.895 | 99.8964 | -0.10363 | -0.003502 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 75179-25DIW | WMS06038A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3340009 | 2006-04-24 | 2.898 | 2.895 | 100.1036 | 0.10363 | 0.003502 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 75179-25DIW | WMS06114A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1250135 | 2006-05-11 | 3.073 | 2.895 | 106.1485 | 6.1485 | 0.20779 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06131A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1320175 | 2006-05-22 | 2.779 | 2.895 | 95.9931 | -4.0069 | -0.13541 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06142A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1390247 | 2006-05-30 | 2.78 | 2.895 | 96.0276 | -3.9724 | -0.13424 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06150B
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1460007 | 2006-06-07 | 3.026 | 2.895 | 104.525 | 4.525 | 0.15292 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06158A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0330064 | 2006-02-16 | 3.421 | 3.3375 | 102.5019 | 2.5019 | 0.095336 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06046A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0400069 | 2006-02-16 | 4.04 | 3.3375 | 121.0487 | 21.0487 | 0.80208 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06046A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0470065 | 2006-02-23 | 3.562 | 3.3375 | 106.7266 | 6.7266 | 0.25632 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06054A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0580118 | 2006-03-09 | 3.659 | 3.3375 | 109.633 | 9.633 | 0.36707 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06068A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2190174 | 2006-08-16 | 6.071 | 3.3375 | 181.9026 | 81.9026 | 3.121 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06228A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2260052 | 2006-08-21 | 3.701 | 3.3375 | 110.8914 | 10.8914 | 0.41503 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06233A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2330215 | 2006-09-05 | 3.328 | 3.3375 | 99.7154 | -0.28464 | -0.010847 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06248A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2400122 | 2006-09-08 | 3.453 | 3.3375 | 103.4607 | 3.4607 | 0.13187 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06250A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0370017 | 2006-02-16 | 1.7 | 1.3875 | 122.5225 | 22.5225 | 0.39496 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06046A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0440048 | 2006-02-22 | 1.769 | 1.3875 | 127.4955 | 27.4955 | 0.48217 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06053A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0520093 | 2006-03-01 | 1.643 | 1.3875 | 118.4144 | 18.4144 | 0.32292 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06060A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0590096 | 2006-03-09 | 1.495 | 1.3875 | 107.7477 | 7.7477 | 0.13587 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06068A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2150117 | 2006-08-15 | 6.406 | 5.83 | 109.8799 | 9.8799 | 0.58535 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06226A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2190175 | 2006-08-16 | 5.899 | 5.83 | 101.1835 | 1.1835 | 0.07012 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06228A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2210197 | 2006-08-16 | 5.992 | 5.83 | 102.7787 | 2.7787 | 0.16463 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06228A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2230260 | 2006-08-21 | 6.052 | 5.83 | 103.8079 | 3.8079 | 0.2256 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06233A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2280132 | 2006-08-30 | 6.205 | 5.83 | 106.4322 | 6.4322 | 0.38109 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06241A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2300086 | 2006-08-30 | 6.022 | 5.83 | 103.2933 | 3.2933 | 0.19512 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06241A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2360199 | 2006-08-31 | 5.988 | 5.83 | 102.7101 | 2.7101 | 0.16057 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06242A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2370431 | 2006-09-08 | 5.763 | 5.83 | 98.8508 | -1.1492 | -0.068088 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06250A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0040039 | 2006-02-15 | 1.594 | 1.3875 | 114.8829 | 14.8829 | 0.26099 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 75175-25DIW | WMS06045A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0190006 | 2006-02-15 | 1.808 | 1.3875 | 130.3063 | 30.3063 | 0.53146 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 75175-25DIW | WMS06045A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0260062 | 2006-02-16 | 1.414 | 1.3875 | 101.9099 | 1.9099 | 0.033493 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06046A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0230030 | 2006-02-16 | 5.884 | 5.83 | 100.9262 | 0.92624 | 0.054877 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 50177-50179 | WMS06046A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0300052 | 2006-02-16 | 5.85 | 5.83 | 100.3431 | 0.34305 | 0.020325 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06046A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1860017 | 2006-08-01 | 6.942 | 6.815 | 101.8635 | 1.8635 | 0.12369 | 0.6 | 2379 | Analyte detected in laboratory blank |  |  | µg/L | 25179-75177 | WMS06212A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1910084 | 2006-08-01 | 7.356 | 6.815 | 107.9384 | 7.9384 | 0.52689 | 0.6 | 2379 | Analyte detected in laboratory blank |  |  | µg/L | 25179-75177 | WMS06212A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1930118 | 2006-08-01 | 7.01 | 6.815 | 102.8613 | 2.8613 | 0.18992 | 0.6 | 2379 |  |  |  | µg/L | 25179-75177 | WMS06212A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1940285 | 2006-08-02 | 6.533 | 6.815 | 95.8621 | -4.1379 | -0.27465 | 0.6 | 2379 |  |  |  | µg/L | 25179-75177 | WMS06213A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1990159 | 2006-08-02 | 6.801 | 6.815 | 99.7946 | -0.20543 | -0.013635 | 0.6 | 2379 |  |  |  | µg/L | 25179-75177 | WMS06213A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2010011 | 2006-08-02 | 8.237 | 6.815 | 120.8657 | 20.8657 | 1.3849 | 0.6 | 2379 | Analyte detected in laboratory blank |  |  | µg/L | 25179-75177 | WMS06213A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2060029 | 2006-08-07 | 6.855 | 6.815 | 100.5869 | 0.58694 | 0.038957 | 0.6 | 2379 |  |  |  | µg/L | 25179-75177 | WMS06219A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2080100 | 2006-08-08 | 7.526 | 6.815 | 110.4329 | 10.4329 | 0.69246 | 0.6 | 2379 |  |  |  | µg/L | 25179-75177 | WMS06220A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0610055 | 2006-03-14 | 3.649 | 2.895 | 126.0449 | 26.0449 | 0.88018 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06073A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0680006 | 2006-03-21 | 3.107 | 2.895 | 107.323 | 7.323 | 0.24748 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06079A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0750090 | 2006-03-22 | 2.979 | 2.895 | 102.9016 | 2.9016 | 0.098057 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06081B
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0830213 | 2006-04-03 | 3.039 | 2.895 | 104.9741 | 4.9741 | 0.1681 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06093A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2480073 | 2006-09-19 | 2.96 | 2.895 | 102.2453 | 2.2453 | 0.075878 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06262A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2560144 | 2006-10-03 | 2.934 | 2.895 | 101.3472 | 1.3472 | 0.045527 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06275A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2630116 | 2006-10-11 | 16.083 | 2.895 | 555.544 | 455.544 | 15.395 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06283A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2700086 | 2006-10-16 | 3.785 | 2.895 | 130.7427 | 30.7427 | 1.0389 | 0.6 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06289A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0650045 | 2006-03-14 | 3.722 | 3.3375 | 111.5206 | 11.5206 | 0.439 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06073A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0720060 | 2006-03-21 | 3.527 | 3.3375 | 105.6779 | 5.6779 | 0.21636 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06079A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0800053 | 2006-04-04 | 3.509 | 3.3375 | 105.1386 | 5.1386 | 0.19581 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06094A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0860081 | 2006-04-03 | 3.556 | 3.3375 | 106.5468 | 6.5468 | 0.24947 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06093A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2500168 | 2006-09-19 | 3.186 | 3.3375 | 95.4607 | -4.5393 | -0.17298 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06262A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2580207 | 2006-10-03 | 4.223 | 3.3375 | 126.5318 | 26.5318 | 1.011 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06275A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2650113 | 2006-10-11 | 3.45 | 3.3375 | 103.3708 | 3.3708 | 0.12845 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06283A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2720070 | 2006-10-16 | 3.234 | 3.3375 | 96.8989 | -3.1011 | -0.11817 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06289A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0660035 | 2006-03-14 | 1.629 | 1.3875 | 117.4054 | 17.4054 | 0.30523 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06073A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0730044 | 2006-03-21 | 1.635 | 1.3875 | 117.8378 | 17.8378 | 0.31281 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06079A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0800055 | 2006-04-04 | 1.465 | 1.3875 | 105.5856 | 5.5856 | 0.09795 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06094A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 0870027 | 2006-04-06 | 1.487 | 1.3875 | 107.1712 | 7.1712 | 0.12576 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06096A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2510396 | 2006-10-03 | 1.511 | 1.3875 | 108.9009 | 8.9009 | 0.15609 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06275A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2620203 | 2006-10-04 | 1.486 | 1.3875 | 107.0991 | 7.0991 | 0.12449 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06277A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2680087 | 2006-10-11 | 1.391 | 1.3875 | 100.2523 | 0.25225 | 0.0044236 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06283A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2750047 | 2006-10-16 | 1.524 | 1.3875 | 109.8378 | 9.8378 | 0.17252 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06289A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3390044 | 2006-02-01 | 6.073 | 5.83 | 104.1681 | 4.1681 | 0.24695 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 50177-50179 | WMS06031A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3460030 | 2006-02-01 | 6.315 | 5.83 | 108.319 | 8.319 | 0.49288 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 50177-50179 | WMS06031A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3530072 | 2006-02-08 | 6.067 | 5.83 | 104.0652 | 4.0652 | 0.24085 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 50177-50179 | WMS06039A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3620019 | 2006-02-08 | 6.396 | 5.83 | 109.7084 | 9.7084 | 0.57519 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 50177-50179 | WMS06039A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1600196 | 2006-06-22 | 5.966 | 5.83 | 102.3328 | 2.3328 | 0.13821 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06173A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1670241 | 2006-07-12 | 5.926 | 5.83 | 101.6467 | 1.6467 | 0.097559 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06192A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1740231 | 2006-07-12 | 5.911 | 5.83 | 101.3894 | 1.3894 | 0.082315 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06193A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1810355 | 2006-07-12 | 6.526 | 5.83 | 111.9383 | 11.9383 | 0.7073 | 0.6 | 2379 |  |  |  | µg/L | 50177-50179 | WMS06193A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3400169 | 2006-02-01 | 7.137 | 6.815 | 104.7249 | 4.7249 | 0.3136 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 25179-75177 | WMS06031A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3480003 | 2006-02-02 | 7.325 | 6.815 | 107.4835 | 7.4835 | 0.4967 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 25179-75177 | WMS06033A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3550005 | 2006-02-08 | 6.76 | 6.815 | 99.193 | -0.80704 | -0.053566 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 25179-75177 | WMS06039A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 3630005 | 2006-02-08 | 7.376 | 6.815 | 108.2318 | 8.2318 | 0.54637 | 0.6 | 2379 | Result determined by alternate method | See result laboratory comment |  | µg/L | 25179-75177 | WMS06039A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1570192 | 2006-06-12 | 3.546 | 3.3375 | 106.2472 | 6.2472 | 0.23806 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06163A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1590162 | 2006-06-21 | 3.958 | 3.3375 | 118.5918 | 18.5918 | 0.70846 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06171A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1650116 | 2006-06-21 | 3.543 | 3.3375 | 106.1573 | 6.1573 | 0.23463 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06172A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1660141 | 2006-06-21 | 3.555 | 3.3375 | 106.5169 | 6.5169 | 0.24833 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06172A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1730127 | 2006-07-12 | 3.312 | 3.3375 | 99.236 | -0.76404 | -0.029115 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06193A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1740208 | 2006-07-12 | 3.536 | 3.3375 | 105.9476 | 5.9476 | 0.22664 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06193A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1790178 | 2006-07-12 | 3.534 | 3.3375 | 105.8876 | 5.8876 | 0.22435 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06193A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1800253 | 2006-07-12 | 3.469 | 3.3375 | 103.9401 | 3.9401 | 0.15014 | 0.6 | 2379 |  |  |  | µg/L | 25177-75175 | WMS06193A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1910078 | 2006-08-01 | 1.543 | 1.3875 | 111.2072 | 11.2072 | 0.19653 | 0.6 | 2379 | Analyte detected in laboratory blank |  |  | µg/L | 75175-25DIW | WMS06212A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 1950019 | 2006-08-02 | 1.227 | 1.3875 | 88.4324 | -11.5676 | -0.20285 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06213A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2020227 | 2006-08-02 | 1.392 | 1.3875 | 100.3243 | 0.32432 | 0.0056874 | 0.6 | 2379 | Analyte detected in laboratory blank |  |  | µg/L | 75175-25DIW | WMS06213A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2006 | 2090271 | 2006-08-08 | 1.895 | 1.3875 | 136.5766 | 36.5766 | 0.64142 | 0.6 | 2379 |  |  |  | µg/L | 75175-25DIW | WMS06220A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 2780105 | 2006-10-18 | 2.836 | 2.895 | 97.962 | -2.038 | -0.068873 | 1.2 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06291B
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 2930156 | 2006-10-24 | 2.987 | 2.895 | 103.1779 | 3.1779 | 0.1074 | 1.2 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS06297A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 0950129 | 2007-04-12 | 3.098 | 2.895 | 107.0121 | 7.0121 | 0.23697 | 1.2 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS07102A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 1020150 | 2007-04-23 | 2.959 | 2.895 | 102.2107 | 2.2107 | 0.07471 | 1.2 | 2379 |  |  |  | µg/L | 75179-25DIW | WMS07113A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 2790130 | 2006-10-18 | 2.451 | 2.295 | 106.7974 | 6.7974 | 0.18782 | 1.2 | 2379 |  |  |  | µg/L | 75183-25DIW | WMS06291B
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 2900098 | 2006-10-24 | 2.319 | 2.295 | 101.0458 | 1.0458 | 0.028895 | 1.2 | 2379 |  |  |  | µg/L | 75183-25DIW | WMS06297A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 0990035 | 2007-04-19 | 2.341 | 2.295 | 102.0044 | 2.0044 | 0.055381 | 1.2 | 2379 |  |  |  | µg/L | 75183-25DIW | WMS07108A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 2760027 | 2006-10-16 | 4.637 | 4.8425 | 95.7563 | -4.2437 | -0.21835 | 1.2 | 2379 |  |  |  | µg/L | 25181-75179 | WMS06289A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 2840124 | 2006-10-18 | 4.886 | 4.8425 | 100.8983 | 0.8983 | 0.046219 | 1.2 | 2379 |  |  |  | µg/L | 25181-75179 | WMS06291B
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 2920084 | 2006-10-24 | 4.871 | 4.8425 | 100.5885 | 0.58854 | 0.030282 | 1.2 | 2379 |  |  |  | µg/L | 25181-75179 | WMS06297A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 2990118 | 2006-11-01 | 4.806 | 4.8425 | 99.2463 | -0.75374 | -0.038782 | 1.2 | 2379 |  |  |  | µg/L | 25181-75179 | WMS06304A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 0530052 | 2007-02-28 | 4.966 | 4.8425 | 102.5503 | 2.5503 | 0.13122 | 1.2 | 2379 |  |  |  | µg/L | 25181-75179 | WMS07059A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 0610079 | 2007-03-07 | 5.225 | 4.8425 | 107.8988 | 7.8988 | 0.40641 | 1.2 | 2379 |  |  |  | µg/L | 25181-75179 | WMS07066A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 0570085 | 2007-03-05 | 3.441 | 3.26 | 105.5521 | 5.5521 | 0.20745 | 1.2 | 2379 |  |  |  | µg/L | 25179-75183 | WMS07064A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 0670076 | 2007-03-15 | 2.428 | 2.295 | 105.7952 | 5.7952 | 0.16012 | 1.2 | 2379 |  |  |  | µg/L | 75183-25DIW | WMS07074A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 0810175 | 2007-04-09 | 2.533 | 2.295 | 110.3704 | 10.3704 | 0.28654 | 1.2 | 2379 |  |  |  | µg/L | 75183-25DIW | WMS07099A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 0880060 | 2007-04-10 | 2.698 | 2.295 | 117.5599 | 17.5599 | 0.48519 | 1.2 | 2379 |  |  |  | µg/L | 75183-25DIW | WMS07100A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 0710059 | 2007-03-20 | 4.939 | 4.8425 | 101.9928 | 1.9928 | 0.10253 | 1.2 | 2379 |  |  |  | µg/L | 25181-75179 | WMS07079A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 0820086 | 2007-04-09 | 5.188 | 4.8425 | 107.1347 | 7.1347 | 0.3671 | 1.2 | 2379 |  |  |  | µg/L | 25181-75179 | WMS07099A
Copper, UNF, ICP-MS | 01042 | PLM48 | UNF | 2007 | 0890063 | 2007-04-10 | 5.895 | 4.8425 | 121.7346 | 21.7346 | 1.1183 | 1.2 | 2379 |  |  |  | µg/L | 25181-75179 | WMS07100A