## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2510183 | 2005-09-16 | 1.004 | 1.02 | 98.4314 | -1.5686 | -0.12536 | 0.1 | 1994 |  |  |  | mg/L as N | N86 | KJNA259A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2580121 | 2005-09-16 | 1.019 | 1.02 | 99.902 | -0.098039 | -0.0078349 | 0.1 | 1994 |  |  |  | mg/L as N | N86 | KJNA259A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2720019 | 2005-10-06 | 0.965 | 1.02 | 94.6078 | -5.3922 | -0.43092 | 0.1 | 1994 |  |  |  | mg/L as N | N86 | KJNA277A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 0980172 | 2005-04-19 | 0.155 | 0.187 | 82.8877 | -17.1123 | -0.44399 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA108A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1050226 | 2005-04-19 | 0.14 | 0.187 | 74.8663 | -25.1337 | -0.65212 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA108A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1120323 | 2005-04-29 | 0.175 | 0.187 | 93.5829 | -6.4171 | -0.1665 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA118A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1190259 | 2005-05-10 | 0.184 | 0.187 | 98.3957 | -1.6043 | -0.041625 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA129A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1600265 | 2005-06-16 | 0.157 | 0.187 | 83.9572 | -16.0428 | -0.41625 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA166A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1670204 | 2005-06-23 | 0.193 | 0.187 | 103.2086 | 3.2086 | 0.083249 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA173A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1740226 | 2005-07-05 | 0.188 | 0.187 | 100.5348 | 0.53476 | 0.013875 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA186A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1810182 | 2005-07-05 | 0.705 | 0.187 | 377.0053 | 277.0053 | 7.1872 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA186A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2820222 | 2004-10-20 | 0.316 | 0.247 | 127.9352 | 27.9352 | 0.907 | 0.1 | 1994 |  |  |  | mg/L as N | N83 | KJNA293A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2890207 | 2004-10-20 | 0.253 | 0.247 | 102.4291 | 2.4291 | 0.07887 | 0.1 | 1994 |  |  |  | mg/L as N | N83 | KJNA293A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2960270 | 2004-10-29 | 0.236 | 0.247 | 95.5466 | -4.4534 | -0.14459 | 0.1 | 1994 |  |  |  | mg/L as N | N83 | KJNA302A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 3060021 | 2004-11-03 | 0.26 | 0.247 | 105.2632 | 5.2632 | 0.17088 | 0.1 | 1994 |  |  |  | mg/L as N | N83 | KJNA307A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2170137 | 2005-08-09 | 0.173 | 0.187 | 92.5134 | -7.4866 | -0.19425 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA217A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2240422 | 2005-08-23 | 0.182 | 0.187 | 97.3262 | -2.6738 | -0.069374 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA231A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2310004 | 2005-08-23 | 0.172 | 0.187 | 91.9786 | -8.0214 | -0.20812 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA231A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2380170 | 2005-09-02 | 0.216 | 0.187 | 115.508 | 15.508 | 0.40237 | 0.1 | 1994 |  |  |  | mg/L as N | N85 | KJNA244A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 0380085 | 2005-02-10 | 0.269 | 0.247 | 108.9069 | 8.9069 | 0.28919 | 0.1 | 1994 |  |  |  | mg/L as N | N83 | KJNA040A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 0470020 | 2005-02-18 | 0.219 | 0.247 | 88.664 | -11.336 | -0.36806 | 0.1 | 1994 |  |  |  | mg/L as N | N83 | KJNA048A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 0530100 | 2005-02-28 | 0.267 | 0.247 | 108.0972 | 8.0972 | 0.2629 | 0.1 | 1994 |  |  |  | mg/L as N | N83 | KJNA059A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 0590067 | 2005-03-07 | 0.258 | 0.247 | 104.4534 | 4.4534 | 0.14459 | 0.1 | 1994 |  |  |  | mg/L as N | N83 | KJNA066A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 3100047 | 2004-11-12 | 1.111 | 1.05 | 105.8095 | 5.8095 | 0.47055 | 0.1 | 1994 |  |  |  | mg/L as N | N84 | KJNA317A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 3200079 | 2004-11-22 | 1.088 | 1.05 | 103.619 | 3.619 | 0.29313 | 0.1 | 1994 |  |  |  | mg/L as N | N84 | KJNA323A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 3270051 | 2004-11-24 | 1.065 | 1.05 | 101.4286 | 1.4286 | 0.11571 | 0.1 | 1994 |  |  |  | mg/L as N | N84 | KJNA328A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 3350093 | 2004-12-02 | 1.088 | 1.05 | 103.619 | 3.619 | 0.29313 | 0.1 | 1994 |  |  |  | mg/L as N | N84 | KJNA336A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1260180 | 2005-05-10 | 0.997 | 1.02 | 97.7451 | -2.2549 | -0.1802 | 0.1 | 1994 |  |  |  | mg/L as N | N86 | KJNA129A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1330239 | 2005-05-19 | 0.98 | 1.02 | 96.0784 | -3.9216 | -0.3134 | 0.1 | 1994 |  |  |  | mg/L as N | N86 | KJNA137A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1400206 | 2005-05-24 | 0.961 | 1.02 | 94.2157 | -5.7843 | -0.46226 | 0.1 | 1994 |  |  |  | mg/L as N | N86 | KJNA143A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1510151 | 2005-06-02 | 0.968 | 1.02 | 94.902 | -5.098 | -0.40741 | 0.1 | 1994 |  |  |  | mg/L as N | N86 | KJNA152A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 0070090 | 2005-01-12 | 1.058 | 1.05 | 100.7619 | 0.7619 | 0.061712 | 0.1 | 1994 |  |  |  | mg/L as N | N84 | KJNA012A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 0180075 | 2005-01-20 | 1.075 | 1.05 | 102.381 | 2.381 | 0.19285 | 0.1 | 1994 |  |  |  | mg/L as N | N84 | KJNA019A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 0240054 | 2005-01-25 | 1.05 | 1.05 | 100 | 0 | 0 | 0.1 | 1994 |  |  |  | mg/L as N | N84 | KJNA024A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 0310043 | 2005-02-02 | 1.035 | 1.05 | 98.5714 | -1.4286 | -0.11571 | 0.1 | 1994 |  |  |  | mg/L as N | N84 | KJNA032A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 0660062 | 2005-03-17 | 1.105 | 1.05 | 105.2381 | 5.2381 | 0.42427 | 0.1 | 1994 |  |  |  | mg/L as N | N84 | KJNA074A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 0810037 | 2005-03-24 | 1.083 | 1.05 | 103.1429 | 3.1429 | 0.25456 | 0.1 | 1994 |  |  |  | mg/L as N | N84 | KJNA082A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1890257 | 2005-07-12 | 0.968 | 1.02 | 94.902 | -5.098 | -0.40741 | 0.1 | 1994 |  |  |  | mg/L as N | N86 | KJNA192A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 1960085 | 2005-07-25 | 0.945 | 1.02 | 92.6471 | -7.3529 | -0.58762 | 0.1 | 1994 |  |  |  | mg/L as N | N86 | KJNA202A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2030276 | 2005-07-28 | 0.971 | 1.02 | 95.1961 | -4.8039 | -0.38391 | 0.1 | 1994 |  |  |  | mg/L as N | N86 | KJNA208A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2005 | 2100065 | 2005-08-09 | 0.969 | 1.02 | 95 | -5 | -0.39958 | 0.1 | 1994 |  |  |  | mg/L as N | N86 | KJNA217A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2510401 | 2006-09-12 | 0.518 | 0.571 | 90.718 | -9.282 | -0.54256 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA254A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2620202 | 2006-10-06 | 0.49 | 0.571 | 85.8144 | -14.1856 | -0.82919 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA279A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2680091 | 2006-10-06 | 0.512 | 0.571 | 89.6673 | -10.3327 | -0.60398 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA279A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2750054 | 2006-10-17 | 0.531 | 0.571 | 92.9947 | -7.0053 | -0.40948 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA289A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 0970089 | 2006-04-11 | 0.357 | 0.302 | 118.2119 | 18.2119 | 0.68971 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA100A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1040011 | 2006-04-19 | 0.279 | 0.302 | 92.3841 | -7.6159 | -0.28843 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA108A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1110228 | 2006-04-26 | 0.284 | 0.302 | 94.0397 | -5.9603 | -0.22572 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA115A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1210044 | 2006-05-04 | 0.287 | 0.302 | 95.0331 | -4.9669 | -0.1881 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA123A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2800169 | 2005-10-18 | 0.291 | 0.292 | 99.6575 | -0.34247 | -0.012646 | 0.1 | 1994 |  |  |  | mg/L as N | N87 | KJNA290A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2900080 | 2005-10-18 | 0.297 | 0.292 | 101.7123 | 1.7123 | 0.06323 | 0.1 | 1994 |  |  |  | mg/L as N | N87 | KJNA290A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2970041 | 2005-11-03 | 0.288 | 0.292 | 98.6301 | -1.3699 | -0.050584 | 0.1 | 1994 |  |  |  | mg/L as N | N87 | KJNA306A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 3040130 | 2005-11-03 | 0.288 | 0.292 | 98.6301 | -1.3699 | -0.050584 | 0.1 | 1994 |  |  |  | mg/L as N | N87 | KJNA306A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 3110079 | 2005-11-09 | 1.318 | 1.28 | 102.9688 | 2.9688 | 0.26211 | 0.1 | 1994 |  |  |  | mg/L as N | N88 | KJNA312A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 3190014 | 2005-11-21 | 1.294 | 1.28 | 101.0938 | 1.0938 | 0.096568 | 0.1 | 1994 |  |  |  | mg/L as N | N88 | KJNA325A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 3260098 | 2005-12-01 | 1.354 | 1.28 | 105.7812 | 5.7812 | 0.51043 | 0.1 | 1994 |  |  |  | mg/L as N | N88 | KJNA333A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 3340005 | 2005-12-06 | 1.299 | 1.28 | 101.4844 | 1.4844 | 0.13106 | 0.1 | 1994 |  |  |  | mg/L as N | N88 | KJNA339A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1250140 | 2006-05-09 | 0.523 | 0.571 | 91.5937 | -8.4063 | -0.49137 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA128A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1320171 | 2006-05-17 | 0.54 | 0.571 | 94.5709 | -5.4291 | -0.31734 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA136A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1390234 | 2006-05-30 | 0.538 | 0.571 | 94.2207 | -5.7793 | -0.33782 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA150A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1460009 | 2006-05-30 | 0.535 | 0.571 | 93.6953 | -6.3047 | -0.36853 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA150A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2190171 | 2006-08-10 | 0.288 | 0.302 | 95.3642 | -4.6358 | -0.17556 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA222A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2260055 | 2006-08-15 | 0.274 | 0.302 | 90.7285 | -9.2715 | -0.35113 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA226A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2330217 | 2006-08-30 | 0.296 | 0.302 | 98.0132 | -1.9868 | -0.075241 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA241A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2400118 | 2006-08-30 | 0.272 | 0.302 | 90.0662 | -9.9338 | -0.37621 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA241A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1910081 | 2006-07-12 | 0.587 | 0.571 | 102.8021 | 2.8021 | 0.16379 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA192A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1950014 | 2006-07-27 | 0.561 | 0.571 | 98.2487 | -1.7513 | -0.10237 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA208A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2020231 | 2006-07-27 | 0.542 | 0.571 | 94.9212 | -5.0788 | -0.29687 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA208A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 2090267 | 2006-08-08 | 0.576 | 0.571 | 100.8757 | 0.87566 | 0.051185 | 0.1 | 1994 |  |  |  | mg/L as N | N90 | KJNA216A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1600198 | 2006-06-14 | 0.286 | 0.302 | 94.702 | -5.298 | -0.20064 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA164A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1670244 | 2006-06-21 | 0.305 | 0.302 | 100.9934 | 0.99338 | 0.037621 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA171A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1740233 | 2006-06-29 | 0.314 | 0.302 | 103.9735 | 3.9735 | 0.15048 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA179A
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | 2006 | 1810350 | 2006-07-07 | 0.303 | 0.302 | 100.3311 | 0.33113 | 0.01254 | 0.1 | 1994 |  |  |  | mg/L as N | N89 | KJNA188A