## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2004 | 2710019 | 2004-10-05 | 0.751 | 0.746 | 100.6702 | 0.67024 | 0.10332 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC279B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2004 | 2740155 | 2004-10-07 | 0.77 | 0.746 | 103.2172 | 3.2172 | 0.49592 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC281A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2004 | 2710022 | 2004-10-05 | 0.181 | 0.18 | 100.5556 | 0.55556 | 0.051504 | 0.04 | 1976 |  |  |  | mg/L as N | N81 | NUTC279B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2004 | 2720113 | 2004-10-06 | 0.163 | 0.18 | 90.5556 | -9.4444 | -0.87557 | 0.04 | 1976 |  |  |  | mg/L as N | N81 | NUTC280B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2450116 | 2005-09-15 | 0.148 | 0.16 | 92.5 | -7.5 | -0.65246 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC257C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2550024 | 2005-09-22 | 0.15 | 0.16 | 93.75 | -6.25 | -0.54371 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC264B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2690055 | 2005-10-18 | 0.144 | 0.16 | 90 | -10 | -0.86994 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC290B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2520047 | 2005-09-20 | 0.395 | 0.413 | 95.6416 | -4.3584 | -0.57424 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC263A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2590322 | 2005-10-03 | 0.374 | 0.413 | 90.5569 | -9.4431 | -1.2442 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC276B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2730268 | 2005-10-20 | 0.412 | 0.413 | 99.7579 | -0.24213 | -0.031902 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC292C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0970109 | 2005-04-12 | 0.154 | 0.16 | 96.25 | -3.75 | -0.32623 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC102B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1050223 | 2005-04-20 | 0.15 | 0.16 | 93.75 | -6.25 | -0.54371 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC110A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1120318 | 2005-04-28 | 0.154 | 0.16 | 96.25 | -3.75 | -0.32623 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC118A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1180186 | 2005-05-02 | 0.148 | 0.16 | 92.5 | -7.5 | -0.65246 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC122B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1010113 | 2005-04-14 | 0.407 | 0.413 | 98.5472 | -1.4528 | -0.19141 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC104B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1090071 | 2005-04-26 | 0.417 | 0.413 | 100.9685 | 0.96852 | 0.12761 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC115A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1150101 | 2005-04-28 | 0.429 | 0.413 | 103.8741 | 3.8741 | 0.51044 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC118A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1220044 | 2005-05-05 | 0.428 | 0.413 | 103.632 | 3.632 | 0.47854 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC129B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1590163 | 2005-06-14 | 0.147 | 0.16 | 91.875 | -8.125 | -0.70683 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC165B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1660202 | 2005-06-20 | 0.148 | 0.16 | 92.5 | -7.5 | -0.65246 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC171B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1730156 | 2005-06-27 | 0.144 | 0.16 | 90 | -10 | -0.86994 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC178B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1800227 | 2005-07-05 | 0.156 | 0.16 | 97.5 | -2.5 | -0.21749 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC186A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1610165 | 2005-06-15 | 0.426 | 0.413 | 103.1477 | 3.1477 | 0.41473 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC166A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1680211 | 2005-06-22 | 0.416 | 0.413 | 100.7264 | 0.72639 | 0.095707 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC173A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1750351 | 2005-06-29 | 0.406 | 0.413 | 98.3051 | -1.6949 | -0.22332 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC180A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1820056 | 2005-07-06 | 0.424 | 0.413 | 102.6634 | 2.6634 | 0.35093 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC187A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2790153 | 2004-10-12 | 1.006 | 0.967 | 104.0331 | 4.0331 | 0.65315 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC281C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2870062 | 2004-10-18 | 0.974 | 0.967 | 100.7239 | 0.72389 | 0.11723 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC292A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2940029 | 2004-10-25 | 0.992 | 0.967 | 102.5853 | 2.5853 | 0.41869 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC299A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3000184 | 2004-11-08 | 0.991 | 0.967 | 102.4819 | 2.4819 | 0.40194 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC313A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2790154 | 2004-10-12 | 0.222 | 0.22 | 100.9091 | 0.90909 | 0.093179 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC281C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2890200 | 2004-10-21 | 0.213 | 0.22 | 96.8182 | -3.1818 | -0.32613 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC295A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2960267 | 2004-11-04 | 0.215 | 0.22 | 97.7273 | -2.2727 | -0.23295 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC309A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3030012 | 2004-11-09 | 0.205 | 0.22 | 93.1818 | -6.8182 | -0.69884 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC314A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2920032 | 2004-10-25 | 0.735 | 0.746 | 98.5255 | -1.4745 | -0.2273 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC299A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2990114 | 2004-11-04 | 0.723 | 0.746 | 96.9169 | -3.0831 | -0.47525 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC309B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3060115 | 2004-11-15 | 0.751 | 0.746 | 100.6702 | 0.67024 | 0.10332 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC320A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2160217 | 2005-08-11 | 0.151 | 0.16 | 94.375 | -5.625 | -0.48934 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC223A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2230294 | 2005-08-22 | 0.151 | 0.16 | 94.375 | -5.625 | -0.48934 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC230C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2300261 | 2005-08-31 | 0.142 | 0.16 | 88.75 | -11.25 | -0.97869 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC243B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2370194 | 2005-09-08 | 0.15 | 0.16 | 93.75 | -6.25 | -0.54371 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC251B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3080005 | 2004-11-16 | 0.186 | 0.22 | 84.5455 | -15.4545 | -1.584 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC321A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3140103 | 2004-12-02 | 0.215 | 0.22 | 97.7273 | -2.2727 | -0.23295 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC334B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3220113 | 2004-12-08 | 0.224 | 0.22 | 101.8182 | 1.8182 | 0.18636 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC342C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3290013 | 2004-12-13 | 0.203 | 0.22 | 92.2727 | -7.7273 | -0.79202 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC348A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3100009 | 2004-11-16 | 0.988 | 0.967 | 102.1717 | 2.1717 | 0.3517 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC321B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3170166 | 2004-12-07 | 1 | 0.967 | 103.4126 | 3.4126 | 0.55267 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC342A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3270042 | 2004-12-09 | 0.998 | 0.967 | 103.2058 | 3.2058 | 0.51917 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC344B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3340008 | 2004-12-14 | 1.009 | 0.967 | 104.3433 | 4.3433 | 0.7034 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC348B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3130202 | 2004-11-24 | 0.746 | 0.746 | 100 | 0 | 0 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC327B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3210085 | 2004-12-09 | 0.763 | 0.746 | 102.2788 | 2.2788 | 0.35127 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC342B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3280097 | 2004-12-13 | 0.701 | 0.746 | 93.9678 | -6.0322 | -0.92984 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC348A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3360080 | 2004-12-15 | 0.743 | 0.746 | 99.5979 | -0.40214 | -0.06199 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC350B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1290083 | 2005-05-12 | 0.04 | 0.413 | 9.6852 | -90.3148 | -11.8996 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC132A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1360164 | 2005-05-19 | 0.414 | 0.413 | 100.2421 | 0.24213 | 0.031902 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC139B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1430073 | 2005-05-26 | 0.409 | 0.413 | 99.0315 | -0.96852 | -0.12761 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC146A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1510161 | 2005-06-03 | 0.416 | 0.413 | 100.7264 | 0.72639 | 0.095707 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC154A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1230137 | 2005-05-09 | 0.146 | 0.16 | 91.25 | -8.75 | -0.7612 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC129A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1300121 | 2005-05-16 | 0.149 | 0.16 | 93.125 | -6.875 | -0.59809 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC136A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1370187 | 2005-05-24 | 0.153 | 0.16 | 95.625 | -4.375 | -0.3806 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC144A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1440188 | 2005-05-31 | 0.148 | 0.16 | 92.5 | -7.5 | -0.65246 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC151A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0390060 | 2005-02-14 | 0.768 | 0.746 | 102.9491 | 2.9491 | 0.45459 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC045A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0470019 | 2005-02-24 | 0.739 | 0.746 | 99.0617 | -0.93834 | -0.14464 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC055A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0540040 | 2005-03-01 | 0.739 | 0.746 | 99.0617 | -0.93834 | -0.14464 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC060A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0600113 | 2005-03-07 | 0.74 | 0.746 | 99.1957 | -0.80429 | -0.12398 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC066A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0330051 | 2005-02-09 | 1.004 | 0.967 | 103.8263 | 3.8263 | 0.61966 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC040A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0410188 | 2005-02-17 | 1.001 | 0.967 | 103.516 | 3.516 | 0.56942 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC047A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0410188 | 2005-02-17 | 1.001 | 0.967 | 103.516 | 3.516 | 0.56942 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC047A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0480105 | 2005-02-28 | 0.996 | 0.967 | 102.999 | 2.999 | 0.48568 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC059A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0550085 | 2005-03-01 | 1.007 | 0.967 | 104.1365 | 4.1365 | 0.6699 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC060A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0380089 | 2005-02-10 | 0.21 | 0.22 | 95.4545 | -4.5455 | -0.4659 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC041A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0420134 | 2005-02-17 | 0.213 | 0.22 | 96.8182 | -3.1818 | -0.32613 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC047B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0530108 | 2005-02-28 | 0.212 | 0.22 | 96.3636 | -3.6364 | -0.37272 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC059B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0560033 | 2005-03-02 | 0.204 | 0.22 | 92.7273 | -7.2727 | -0.74543 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC061A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0100086 | 2005-01-25 | 0.741 | 0.746 | 99.3298 | -0.67024 | -0.10332 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC024A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0180077 | 2005-01-26 | 0.747 | 0.746 | 100.134 | 0.13405 | 0.020663 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC026A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0250047 | 2005-01-31 | 0.744 | 0.746 | 99.7319 | -0.2681 | -0.041326 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC031A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0320100 | 2005-02-07 | 0.749 | 0.746 | 100.4021 | 0.40214 | 0.06199 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC034A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0040020 | 2005-01-11 | 0.201 | 0.22 | 91.3636 | -8.6364 | -0.8852 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC011A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0110023 | 2005-01-25 | 0.205 | 0.22 | 93.1818 | -6.8182 | -0.69884 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC024A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0190082 | 2005-01-26 | 0.2 | 0.22 | 90.9091 | -9.0909 | -0.93179 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC026B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0260060 | 2005-01-31 | 0.209 | 0.22 | 95 | -5 | -0.51249 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC031A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0060067 | 2005-01-18 | 0.967 | 0.967 | 100 | 0 | 0 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC018A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0130111 | 2005-01-25 | 0.992 | 0.967 | 102.5853 | 2.5853 | 0.41869 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC024B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0210118 | 2005-01-27 | 1.017 | 0.967 | 105.1706 | 5.1706 | 0.83738 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC027A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0280057 | 2005-02-02 | 1.009 | 0.967 | 104.3433 | 4.3433 | 0.7034 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC033A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0610082 | 2005-03-08 | 0.185 | 0.22 | 84.0909 | -15.9091 | -1.6306 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC066B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0680056 | 2005-03-10 | 0.223 | 0.22 | 101.3636 | 1.3636 | 0.13977 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC069A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0750085 | 2005-03-21 | 0.211 | 0.22 | 95.9091 | -4.0909 | -0.41931 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC080A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0820098 | 2005-03-28 | 0.21 | 0.22 | 95.4545 | -4.5455 | -0.4659 | 0.04 | 1976 |  |  |  | mg/L as N | N83 | NUTC087A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0630097 | 2005-03-09 | 0.993 | 0.967 | 102.6887 | 2.6887 | 0.43544 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC068A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0770125 | 2005-03-23 | 1.005 | 0.967 | 103.9297 | 3.9297 | 0.63641 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC082A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0670098 | 2005-03-10 | 0.392 | 0.413 | 94.9153 | -5.0847 | -0.66995 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC069A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0750092 | 2005-03-21 | 0.387 | 0.413 | 93.7046 | -6.2954 | -0.82946 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC080A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0810036 | 2005-03-24 | 0.39 | 0.413 | 94.431 | -5.569 | -0.73376 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC083A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 0890104 | 2005-04-04 | 0.403 | 0.413 | 97.5787 | -2.4213 | -0.31902 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC094A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3410095 | 2004-12-16 | 0.993 | 0.967 | 102.6887 | 2.6887 | 0.43544 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC351B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3450289 | 2004-12-21 | 1.014 | 0.967 | 104.8604 | 4.8604 | 0.78713 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC355C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3520149 | 2004-12-22 | 1.013 | 0.967 | 104.757 | 4.757 | 0.77039 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC357A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3620021 | 2005-01-04 | 1.017 | 0.967 | 105.1706 | 5.1706 | 0.83738 | 0.04 | 1976 |  |  |  | mg/L as N | N84 | NUTC004A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3440145 | 2004-12-21 | 0.749 | 0.746 | 100.4021 | 0.40214 | 0.06199 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC355A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3510150 | 2004-12-21 | 0.742 | 0.746 | 99.4638 | -0.53619 | -0.082653 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC356B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3620025 | 2005-01-04 | 0.747 | 0.746 | 100.134 | 0.13405 | 0.020663 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC004A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 3650041 | 2005-01-11 | 0.719 | 0.746 | 96.3807 | -3.6193 | -0.55791 | 0.04 | 1976 |  |  |  | mg/L as N | NS12 | NUTC011A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1860037 | 2005-07-11 | 0.15 | 0.16 | 93.75 | -6.25 | -0.54371 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC192A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1930205 | 2005-07-15 | 0.148 | 0.16 | 92.5 | -7.5 | -0.65246 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC196A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2000157 | 2005-07-26 | 0.148 | 0.16 | 92.5 | -7.5 | -0.65246 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC207A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2070087 | 2005-08-03 | 0.147 | 0.16 | 91.875 | -8.125 | -0.70683 | 0.04 | 1976 |  |  |  | mg/L as N | N85 | NUTC215A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1920127 | 2005-07-14 | 0.415 | 0.413 | 100.4843 | 0.48426 | 0.063805 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC195B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 1990216 | 2005-07-26 | 0.405 | 0.413 | 98.063 | -1.937 | -0.25522 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC207A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2060110 | 2005-08-03 | 0.41 | 0.413 | 99.2736 | -0.72639 | -0.095707 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC215A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2005 | 2130138 | 2005-08-09 | 0.409 | 0.413 | 99.0315 | -0.96852 | -0.12761 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC221A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0930081 | 2006-04-18 | 0.413 | 0.45 | 91.7778 | -8.2222 | -1.1131 | 0.04 | 1976 |  |  |  | mg/L as N | N90 | NUTC108B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1010014 | 2006-04-24 | 0.421 | 0.45 | 93.5556 | -6.4444 | -0.87244 | 0.04 | 1976 |  |  |  | mg/L as N | N90 | NUTC114A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1080080 | 2006-05-02 | 0.419 | 0.45 | 93.1111 | -6.8889 | -0.93261 | 0.04 | 1976 |  |  |  | mg/L as N | N90 | NUTC122A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1160102 | 2006-05-10 | 0.417 | 0.45 | 92.6667 | -7.3333 | -0.99278 | 0.04 | 1976 |  |  |  | mg/L as N | N90 | NUTC128C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0960080 | 2006-04-20 | 0.266 | 0.274 | 97.0803 | -2.9197 | -0.33019 | 0.04 | 1976 |  |  |  | mg/L as N | N89 | NUTC110A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1030093 | 2006-05-01 | 0.254 | 0.274 | 92.7007 | -7.2993 | -0.82546 | 0.04 | 1976 |  |  |  | mg/L as N | N89 | NUTC121A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1100070 | 2006-05-02 | 0.256 | 0.274 | 93.4307 | -6.5693 | -0.74292 | 0.04 | 1976 |  |  |  | mg/L as N | N89 | NUTC122B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1170187 | 2006-05-10 | 0.269 | 0.274 | 98.1752 | -1.8248 | -0.20637 | 0.04 | 1976 |  |  |  | mg/L as N | N89 | NUTC128C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1000128 | 2006-04-24 | 1.392 | 1.4375 | 96.8348 | -3.1652 | -0.54296 | 0.04 | 1976 |  |  |  | mg/L as N | NS16 | NUTC114A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1070041 | 2006-05-01 | 1.353 | 1.4375 | 94.1217 | -5.8783 | -1.0084 | 0.04 | 1976 |  |  |  | mg/L as N | NS16 | NUTC121A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1150094 | 2006-05-09 | 1.416 | 1.4375 | 98.5043 | -1.4957 | -0.25656 | 0.04 | 1976 |  |  |  | mg/L as N | NS16 | NUTC128B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1210046 | 2006-05-11 | 1.384 | 1.4375 | 96.2783 | -3.7217 | -0.63842 | 0.04 | 1976 |  |  |  | mg/L as N | NS16 | NUTC130B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 2770187 | 2005-10-25 | 1.21 | 1.17 | 103.4188 | 3.4188 | 0.57058 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC297B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 2850133 | 2005-10-31 | 1.298 | 1.17 | 110.9402 | 10.9402 | 1.8259 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC304A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 2920103 | 2005-11-03 | 1.193 | 1.17 | 101.9658 | 1.9658 | 0.32808 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC306A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 2990130 | 2005-11-08 | 1.189 | 1.17 | 101.6239 | 1.6239 | 0.27103 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC312A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 2790068 | 2005-10-26 | 0.26 | 0.264 | 98.4848 | -1.5152 | -0.16866 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC299A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 2870114 | 2005-11-07 | 0.26 | 0.264 | 98.4848 | -1.5152 | -0.16866 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC311A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 2970034 | 2005-11-09 | 0.267 | 0.264 | 101.1364 | 1.1364 | 0.12649 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC313A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3010126 | 2005-11-16 | 0.267 | 0.264 | 101.1364 | 1.1364 | 0.12649 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC318A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 2850130 | 2005-10-31 | 0.438 | 0.413 | 106.0533 | 6.0533 | 0.79756 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC304A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 2910145 | 2005-11-02 | 0.369 | 0.413 | 89.3462 | -10.6538 | -1.4037 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC305B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 2980104 | 2005-11-07 | 0.397 | 0.413 | 96.1259 | -3.8741 | -0.51044 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC311B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3050056 | 2005-11-16 | 0.408 | 0.413 | 98.7893 | -1.2107 | -0.15951 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC320A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3120063 | 2005-11-23 | 0.41 | 0.413 | 99.2736 | -0.72639 | -0.095707 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC326A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3200104 | 2005-11-30 | 0.414 | 0.413 | 100.2421 | 0.24213 | 0.031902 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC334B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3270116 | 2005-12-15 | 0.391 | 0.413 | 94.6731 | -5.3269 | -0.70185 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC349A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3350106 | 2005-12-20 | 0.398 | 0.413 | 96.368 | -3.632 | -0.47854 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC353C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3060043 | 2005-11-16 | 0.271 | 0.264 | 102.6515 | 2.6515 | 0.29515 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC320A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3130037 | 2005-11-29 | 0.277 | 0.264 | 104.9242 | 4.9242 | 0.54813 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC326B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3210144 | 2005-12-06 | 0.266 | 0.264 | 100.7576 | 0.75758 | 0.084328 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC340A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3320017 | 2005-12-15 | 0.242 | 0.264 | 91.6667 | -8.3333 | -0.92761 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC349A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3080097 | 2005-11-21 | 1.226 | 1.17 | 104.7863 | 4.7863 | 0.79881 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC325A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3180041 | 2005-11-28 | 1.138 | 1.17 | 97.265 | -2.735 | -0.45646 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC332A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3250053 | 2005-12-12 | 1.216 | 1.17 | 103.9316 | 3.9316 | 0.65617 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC346B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3340013 | 2005-12-20 | 1.189 | 1.17 | 101.6239 | 1.6239 | 0.27103 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC353B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1280105 | 2006-05-22 | 1.421 | 1.4375 | 98.8522 | -1.1478 | -0.1969 | 0.04 | 1976 |  |  |  | mg/L as N | NS16 | NUTC138B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1350231 | 2006-05-25 | 1.412 | 1.4375 | 98.2261 | -1.7739 | -0.3043 | 0.04 | 1976 |  |  |  | mg/L as N | NS16 | NUTC145A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1420087 | 2006-06-08 | 1.365 | 1.4375 | 94.9565 | -5.0435 | -0.86516 | 0.04 | 1976 |  |  |  | mg/L as N | NS16 | NUTC159A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1220151 | 2006-05-11 | 0.254 | 0.274 | 92.7007 | -7.2993 | -0.82546 | 0.04 | 1976 |  |  |  | mg/L as N | N89 | NUTC130B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1290067 | 2006-05-23 | 0.268 | 0.274 | 97.8102 | -2.1898 | -0.24764 | 0.04 | 1976 |  |  |  | mg/L as N | N89 | NUTC142A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1360170 | 2006-05-25 | 0.21 | 0.274 | 76.6423 | -23.3577 | -2.6415 | 0.04 | 1976 |  |  |  | mg/L as N | N89 | NUTC145A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1430050 | 2006-06-13 | 0.264 | 0.274 | 96.3504 | -3.6496 | -0.41273 | 0.04 | 1976 |  |  |  | mg/L as N | N89 | NUTC164A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1240141 | 2006-05-22 | 0.435 | 0.45 | 96.6667 | -3.3333 | -0.45126 | 0.04 | 1976 |  |  |  | mg/L as N | N90 | NUTC138B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1310142 | 2006-05-24 | 0.428 | 0.45 | 95.1111 | -4.8889 | -0.66185 | 0.04 | 1976 |  |  |  | mg/L as N | N90 | NUTC144A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1380008 | 2006-06-05 | 0.43 | 0.45 | 95.5556 | -4.4444 | -0.60168 | 0.04 | 1976 |  |  |  | mg/L as N | N90 | NUTC156B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 1460016 | 2006-06-12 | 0.425 | 0.45 | 94.4444 | -5.5556 | -0.75211 | 0.04 | 1976 |  |  |  | mg/L as N | N90 | NUTC159B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0370021 | 2006-02-09 | 0.265 | 0.264 | 100.3788 | 0.37879 | 0.042164 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC040A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0440051 | 2006-02-15 | 0.266 | 0.264 | 100.7576 | 0.75758 | 0.084328 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC046A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0520089 | 2006-02-27 | 0.249 | 0.264 | 94.3182 | -5.6818 | -0.63246 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC058B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0590099 | 2006-03-02 | 0.263 | 0.264 | 99.6212 | -0.37879 | -0.042164 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC061A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0390044 | 2006-02-13 | 0.407 | 0.413 | 98.5472 | -1.4528 | -0.19141 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC044A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0470073 | 2006-02-23 | 0.399 | 0.413 | 96.6102 | -3.3898 | -0.44663 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC053B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0540073 | 2006-03-01 | 0.402 | 0.413 | 97.3366 | -2.6634 | -0.35093 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC059B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0600081 | 2006-03-08 | 0.408 | 0.413 | 98.7893 | -1.2107 | -0.15951 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC066B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0040040 | 2006-01-11 | 0.264 | 0.264 | 100 | 0 | 0 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC011A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0110063 | 2006-01-18 | 0.271 | 0.264 | 102.6515 | 2.6515 | 0.29515 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC017B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0190004 | 2006-01-25 | 0.262 | 0.264 | 99.2424 | -0.75758 | -0.084328 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC023B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0260066 | 2006-02-06 | 0.262 | 0.264 | 99.2424 | -0.75758 | -0.084328 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC031A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0060008 | 2006-01-11 | 1.199 | 1.17 | 102.4786 | 2.4786 | 0.41367 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC011A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0130005 | 2006-01-18 | 1.163 | 1.17 | 99.4017 | -0.59829 | -0.099852 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC017B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0230032 | 2006-01-30 | 1.231 | 1.17 | 105.2137 | 5.2137 | 0.87014 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC030A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0300055 | 2006-02-06 | 1.092 | 1.17 | 93.3333 | -6.6667 | -1.1126 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC037A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0100026 | 2006-01-18 | 0.412 | 0.413 | 99.7579 | -0.24213 | -0.031902 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC017A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0180049 | 2006-01-25 | 0.419 | 0.413 | 101.4528 | 1.4528 | 0.19141 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC023B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0250063 | 2006-01-30 | 0.415 | 0.413 | 100.4843 | 0.48426 | 0.063805 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC030A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0320021 | 2006-02-08 | 0.409 | 0.413 | 99.0315 | -0.96852 | -0.12761 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC039A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0610054 | 2006-03-08 | 0.266 | 0.264 | 100.7576 | 0.75758 | 0.084328 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC066B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0680003 | 2006-03-15 | 0.265 | 0.264 | 100.3788 | 0.37879 | 0.042164 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC073B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0750093 | 2006-03-27 | 0.252 | 0.264 | 95.4545 | -4.5455 | -0.50597 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC086A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0830217 | 2006-04-05 | 0.256 | 0.264 | 96.9697 | -3.0303 | -0.33731 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC094A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0670055 | 2006-03-15 | 0.407 | 0.413 | 98.5472 | -1.4528 | -0.19141 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC073B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0740105 | 2006-03-27 | 0.381 | 0.413 | 92.2518 | -7.7482 | -1.0209 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC079B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0880041 | 2006-04-18 | 0.399 | 0.413 | 96.6102 | -3.3898 | -0.44663 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC108A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3390045 | 2005-12-22 | 1.194 | 1.17 | 102.0513 | 2.0513 | 0.34235 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC355C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3460033 | 2006-01-05 | 1.107 | 1.17 | 94.6154 | -5.3846 | -0.89866 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC004B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3530070 | 2006-01-09 | 1.153 | 1.17 | 98.547 | -1.453 | -0.2425 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC009A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3620022 | 2006-01-10 | 1.214 | 1.17 | 103.7607 | 3.7607 | 0.62764 | 0.04 | 1976 |  |  |  | mg/L as N | N88 | NUTC010B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3400172 | 2005-12-22 | 0.26 | 0.264 | 98.4848 | -1.5152 | -0.16866 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC355C
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3480006 | 2006-01-05 | 0.257 | 0.264 | 97.3485 | -2.6515 | -0.29515 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC004B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3550002 | 2006-01-10 | 0.265 | 0.264 | 100.3788 | 0.37879 | 0.042164 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC010A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3630002 | 2006-01-10 | 0.263 | 0.264 | 99.6212 | -0.37879 | -0.042164 | 0.04 | 1976 |  |  |  | mg/L as N | N87 | NUTC010B
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3430073 | 2006-01-04 | 0.4 | 0.413 | 96.8523 | -3.1477 | -0.41473 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC004A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3500078 | 2006-01-09 | 0.397 | 0.413 | 96.1259 | -3.8741 | -0.51044 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC009A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 3570007 | 2006-01-10 | 0.408 | 0.413 | 98.7893 | -1.2107 | -0.15951 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC010A
Ammonia (NH3 + NH4+; as N), FIL, COL | 00608 | CL037 | FIL | 2006 | 0030023 | 2006-01-10 | 0.404 | 0.413 | 97.8208 | -2.1792 | -0.28712 | 0.04 | 1976 |  |  |  | mg/L as N | NS14 | NUTC010B