## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2450121 | 2005-09-07 | 0.146 | 0.16 | 91.25 | -8.75 | -0.7612 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL250B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2510179 | 2005-09-09 | 0.159 | 0.16 | 99.375 | -0.625 | -0.054371 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL252A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2550023 | 2005-09-15 | 0.156 | 0.16 | 97.5 | -2.5 | -0.21749 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL258A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2580118 | 2005-09-16 | 0.156 | 0.16 | 97.5 | -2.5 | -0.21749 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL259A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2620059 | 2005-09-20 | 0.156 | 0.16 | 97.5 | -2.5 | -0.21749 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL263A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2690053 | 2005-09-27 | 0.156 | 0.16 | 97.5 | -2.5 | -0.21749 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL270A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0950131 | 2005-04-06 | 0.163 | 0.16 | 101.875 | 1.875 | 0.16311 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL096A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0980168 | 2005-04-11 | 0.155 | 0.16 | 96.875 | -3.125 | -0.27186 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL101A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1030089 | 2005-04-14 | 0.159 | 0.16 | 99.375 | -0.625 | -0.054371 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL104A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1050224 | 2005-04-19 | 0.157 | 0.16 | 98.125 | -1.875 | -0.16311 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL109A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1090061 | 2005-04-20 | 0.156 | 0.16 | 97.5 | -2.5 | -0.21749 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL110A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1120320 | 2005-04-26 | 0.154 | 0.16 | 96.25 | -3.75 | -0.32623 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL115D
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1160122 | 2005-04-27 | 0.156 | 0.16 | 97.5 | -2.5 | -0.21749 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL117A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1190253 | 2005-05-02 | 0.163 | 0.16 | 101.875 | 1.875 | 0.16311 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL122A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1570139 | 2005-06-07 | 0.157 | 0.16 | 98.125 | -1.875 | -0.16311 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL158A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1600264 | 2005-06-10 | 0.154 | 0.16 | 96.25 | -3.75 | -0.32623 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL161B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1640122 | 2005-06-14 | 0.154 | 0.16 | 96.25 | -3.75 | -0.32623 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL165A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1670202 | 2005-06-17 | 0.153 | 0.16 | 95.625 | -4.375 | -0.3806 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL168A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1710122 | 2005-06-21 | 0.154 | 0.16 | 96.25 | -3.75 | -0.32623 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL172A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1740227 | 2005-06-24 | 0.154 | 0.16 | 96.25 | -3.75 | -0.32623 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL175A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1780129 | 2005-06-28 | 0.154 | 0.16 | 96.25 | -3.75 | -0.32623 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL179C
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1810185 | 2005-07-05 | 0.157 | 0.16 | 98.125 | -1.875 | -0.16311 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL186A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2790152 | 2004-10-06 | 0.098 | 0.0967 | 101.3444 | 1.3444 | 0.085803 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL280A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2890199 | 2004-10-18 | 0.097 | 0.0967 | 100.3102 | 0.31024 | 0.019801 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL292B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2950149 | 2004-10-28 | 0.218 | 0.0967 | 225.4395 | 125.4395 | 8.0061 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL301B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3030013 | 2004-11-01 | 0.093 | 0.0967 | 96.1737 | -3.8263 | -0.24421 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL306A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2790151 | 2004-10-06 | 0.219 | 0.22 | 99.5455 | -0.45455 | -0.04659 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL280A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2820218 | 2004-10-12 | 0.22 | 0.22 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL286A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2870061 | 2004-10-15 | 0.221 | 0.22 | 100.4545 | 0.45455 | 0.04659 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL289A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2890205 | 2004-10-18 | 0.221 | 0.22 | 100.4545 | 0.45455 | 0.04659 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL292B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2940027 | 2004-10-21 | 0.222 | 0.22 | 100.9091 | 0.90909 | 0.093179 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL295A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2960268 | 2004-10-28 | 0.221 | 0.22 | 100.4545 | 0.45455 | 0.04659 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL300B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3000182 | 2004-10-28 | 0.226 | 0.22 | 102.7273 | 2.7273 | 0.27954 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL301B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3060015 | 2004-11-02 | 0.231 | 0.22 | 105 | 5 | 0.51249 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL306C
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2140080 | 2005-08-11 | 0.155 | 0.16 | 96.875 | -3.125 | -0.27186 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL223A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2170136 | 2005-08-12 | 0.156 | 0.16 | 97.5 | -2.5 | -0.21749 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL224A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2210150 | 2005-08-16 | 0.158 | 0.16 | 98.75 | -1.25 | -0.10874 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL228A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2240423 | 2005-08-19 | 0.154 | 0.16 | 96.25 | -3.75 | -0.32623 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL230A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2280039 | 2005-08-22 | 0.156 | 0.16 | 97.5 | -2.5 | -0.21749 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL234A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2310003 | 2005-08-24 | 0.155 | 0.16 | 96.875 | -3.125 | -0.27186 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL235C
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2350073 | 2005-08-29 | 0.158 | 0.16 | 98.75 | -1.25 | -0.10874 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL238A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2380171 | 2005-08-30 | 0.153 | 0.16 | 95.625 | -4.375 | -0.3806 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL241B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3080006 | 2004-11-04 | 0.23 | 0.22 | 104.5455 | 4.5455 | 0.4659 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL309A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3100049 | 2004-11-08 | 0.227 | 0.22 | 103.1818 | 3.1818 | 0.32613 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL313A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3140101 | 2004-11-10 | 0.228 | 0.22 | 103.6364 | 3.6364 | 0.37272 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL314B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3200081 | 2004-11-16 | 0.226 | 0.22 | 102.7273 | 2.7273 | 0.27954 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL321A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3220115 | 2004-11-18 | 0.223 | 0.22 | 101.3636 | 1.3636 | 0.13977 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL323A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3270053 | 2004-11-23 | 0.227 | 0.22 | 103.1818 | 3.1818 | 0.32613 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL328A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3290012 | 2004-12-02 | 0.219 | 0.22 | 99.5455 | -0.45455 | -0.04659 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL336A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3350092 | 2004-12-01 | 0.225 | 0.22 | 102.2727 | 2.2727 | 0.23295 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL336B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3100010 | 2004-11-08 | 0.094 | 0.0967 | 97.2079 | -2.7921 | -0.17821 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL313A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3170167 | 2004-11-16 | 0.094 | 0.0967 | 97.2079 | -2.7921 | -0.17821 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL320B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3270043 | 2004-11-23 | 0.099 | 0.0967 | 102.3785 | 2.3785 | 0.1518 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL328A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3340007 | 2004-12-01 | 0.096 | 0.0967 | 99.2761 | -0.72389 | -0.046201 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL336B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1230135 | 2005-05-04 | 0.159 | 0.16 | 99.375 | -0.625 | -0.054371 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL124A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1260176 | 2005-05-09 | 0.156 | 0.16 | 97.5 | -2.5 | -0.21749 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL129A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1300122 | 2005-05-11 | 0.112 | 0.16 | 70 | -30 | -2.6098 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL131A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1330242 | 2005-05-16 | 0.164 | 0.16 | 102.5 | 2.5 | 0.21749 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL136B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1370186 | 2005-05-18 | 0.153 | 0.16 | 95.625 | -4.375 | -0.3806 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL138A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1400209 | 2005-05-23 | 0.157 | 0.16 | 98.125 | -1.875 | -0.16311 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL143A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1440186 | 2005-05-25 | 0.158 | 0.16 | 98.75 | -1.25 | -0.10874 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL145A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1510154 | 2005-06-01 | 0.152 | 0.16 | 95 | -5 | -0.43497 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL152B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0330052 | 2005-02-04 | 0.215 | 0.22 | 97.7273 | -2.2727 | -0.23295 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL035A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0380086 | 2005-02-08 | 0.217 | 0.22 | 98.6364 | -1.3636 | -0.13977 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL039A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0410187 | 2005-02-14 | 0.216 | 0.22 | 98.1818 | -1.8182 | -0.18636 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL045B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0470022 | 2005-02-17 | 0.217 | 0.22 | 98.6364 | -1.3636 | -0.13977 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL048A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0480103 | 2005-02-22 | 0.215 | 0.22 | 97.7273 | -2.2727 | -0.23295 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL053A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0530101 | 2005-02-23 | 0.188 | 0.22 | 85.4545 | -14.5455 | -1.4909 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL053C
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0550084 | 2005-02-25 | 0.214 | 0.22 | 97.2727 | -2.7273 | -0.27954 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL055A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0590070 | 2005-03-01 | 0.218 | 0.22 | 99.0909 | -0.90909 | -0.093179 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL060A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0380088 | 2005-02-08 | 0.097 | 0.0967 | 100.3102 | 0.31024 | 0.019801 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL039A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0420135 | 2005-02-15 | 0.096 | 0.0967 | 99.2761 | -0.72389 | -0.046201 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL046A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0530106 | 2005-02-23 | 0.096 | 0.0967 | 99.2761 | -0.72389 | -0.046201 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL053C
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0560032 | 2005-02-28 | 0.098 | 0.0967 | 101.3444 | 1.3444 | 0.085803 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL059A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0040019 | 2005-01-10 | 0.221 | 0.22 | 100.4545 | 0.45455 | 0.04659 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL010A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0070091 | 2005-01-10 | 0.222 | 0.22 | 100.9091 | 0.90909 | 0.093179 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL010B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0110021 | 2005-01-13 | 0.22 | 0.22 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL013A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0180069 | 2005-01-20 | 0.222 | 0.22 | 100.9091 | 0.90909 | 0.093179 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL020A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0190081 | 2005-01-20 | 0.22 | 0.22 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL020A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0240053 | 2005-01-28 | 0.225 | 0.22 | 102.2727 | 2.2727 | 0.23295 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL028A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0260062 | 2005-01-28 | 0.224 | 0.22 | 101.8182 | 1.8182 | 0.18636 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL028A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0310044 | 2005-02-02 | 0.221 | 0.22 | 100.4545 | 0.45455 | 0.04659 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL033A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0060065 | 2005-01-10 | 0.099 | 0.0967 | 102.3785 | 2.3785 | 0.1518 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL010B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0130112 | 2005-01-14 | 0.099 | 0.0967 | 102.3785 | 2.3785 | 0.1518 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL014A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0210116 | 2005-01-24 | 0.098 | 0.0967 | 101.3444 | 1.3444 | 0.085803 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL024A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0280055 | 2005-01-31 | 0.096 | 0.0967 | 99.2761 | -0.72389 | -0.046201 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL031A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0610083 | 2005-03-04 | 0.22 | 0.22 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL062A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0660057 | 2005-03-09 | 0.223 | 0.22 | 101.3636 | 1.3636 | 0.13977 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL068A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0680054 | 2005-03-11 | 0.218 | 0.22 | 99.0909 | -0.90909 | -0.093179 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL070A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0730074 | 2005-03-15 | 0.223 | 0.22 | 101.3636 | 1.3636 | 0.13977 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL074A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0750084 | 2005-03-17 | 0.222 | 0.22 | 100.9091 | 0.90909 | 0.093179 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL076A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0810028 | 2005-03-24 | 0.224 | 0.22 | 101.8182 | 1.8182 | 0.18636 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL083A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0820099 | 2005-03-24 | 0.214 | 0.22 | 97.2727 | -2.7273 | -0.27954 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL083A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0870067 | 2005-03-29 | 0.231 | 0.22 | 105 | 5 | 0.51249 | 0.01 | 1980 |  |  |  | mg/L as N | N83 | NTLL088A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0630096 | 2005-03-07 | 0.098 | 0.0967 | 101.3444 | 1.3444 | 0.085803 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL066A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 0770126 | 2005-03-21 | 0.1 | 0.0967 | 103.4126 | 3.4126 | 0.21781 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL080A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3430062 | 2004-12-09 | 0.099 | 0.0967 | 102.3785 | 2.3785 | 0.1518 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL344A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3490087 | 2004-12-16 | 0.099 | 0.0967 | 102.3785 | 2.3785 | 0.1518 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL351A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3560053 | 2004-12-22 | 0.098 | 0.0967 | 101.3444 | 1.3444 | 0.085803 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL357A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 3630013 | 2005-01-03 | 0.1 | 0.0967 | 103.4126 | 3.4126 | 0.21781 | 0.01 | 1980 |  |  |  | mg/L as N | N84X | NTLL003A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1860035 | 2005-07-06 | 0.157 | 0.16 | 98.125 | -1.875 | -0.16311 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL187A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1890261 | 2005-07-11 | 0.159 | 0.16 | 99.375 | -0.625 | -0.054371 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL192A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1930207 | 2005-07-13 | 0.149 | 0.16 | 93.125 | -6.875 | -0.59809 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL194A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 1960087 | 2005-07-18 | 0.161 | 0.16 | 100.625 | 0.625 | 0.054371 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL199A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2000156 | 2005-07-20 | 0.156 | 0.16 | 97.5 | -2.5 | -0.21749 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL201A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2030279 | 2005-07-25 | 0.157 | 0.16 | 98.125 | -1.875 | -0.16311 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL206A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2070086 | 2005-07-27 | 0.153 | 0.16 | 95.625 | -4.375 | -0.3806 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL208A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2005 | 2100064 | 2005-08-03 | 0.124 | 0.16 | 77.5 | -22.5 | -1.9574 | 0.01 | 1980 |  |  |  | mg/L as N | N85 | NTLL215A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0930082 | 2006-04-04 | 0.276 | 0.274 | 100.7299 | 0.72993 | 0.082546 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL094A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0970087 | 2006-04-10 | 0.286 | 0.274 | 104.3796 | 4.3796 | 0.49528 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL100A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1010015 | 2006-04-12 | 0.276 | 0.274 | 100.7299 | 0.72993 | 0.082546 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL102B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1040009 | 2006-04-24 | 0.273 | 0.274 | 99.635 | -0.36496 | -0.041273 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL111B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1080079 | 2006-04-26 | 0.275 | 0.274 | 100.365 | 0.36496 | 0.041273 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL111D
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1110232 | 2006-04-28 | 0.275 | 0.274 | 100.365 | 0.36496 | 0.041273 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL117A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1160103 | 2006-05-02 | 0.27 | 0.274 | 98.5401 | -1.4599 | -0.16509 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL121B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1210049 | 2006-05-04 | 0.28 | 0.274 | 102.1898 | 2.1898 | 0.24764 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL124B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0960078 | 2006-04-07 | 0.042 | 0.045 | 93.3333 | -6.6667 | -0.23992 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL097A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1030091 | 2006-04-24 | 0.038 | 0.045 | 84.4444 | -15.5556 | -0.55982 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL111B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1100071 | 2006-04-27 | 0.041 | 0.045 | 91.1111 | -8.8889 | -0.3199 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL116B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1170186 | 2006-05-03 | 0.035 | 0.045 | 77.7778 | -22.2222 | -0.79974 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL121E
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 2770188 | 2005-10-05 | 0.267 | 0.264 | 101.1364 | 1.1364 | 0.12649 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL278A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 2800167 | 2005-10-12 | 0.269 | 0.264 | 101.8939 | 1.8939 | 0.21082 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL285A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 2850134 | 2005-10-13 | 0.269 | 0.264 | 101.8939 | 1.8939 | 0.21082 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL286A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 2900078 | 2005-10-18 | 0.272 | 0.264 | 103.0303 | 3.0303 | 0.33731 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL291A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 2920104 | 2005-10-21 | 0.264 | 0.264 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL293C
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 2970036 | 2005-10-27 | 0.266 | 0.264 | 100.7576 | 0.75758 | 0.084328 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL298C
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 2990129 | 2005-10-28 | 0.268 | 0.264 | 101.5152 | 1.5152 | 0.16866 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL301A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3040132 | 2005-11-02 | 0.27 | 0.264 | 102.2727 | 2.2727 | 0.25299 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL306A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 2790066 | 2005-10-11 | 0.12 | 0.117 | 102.5641 | 2.5641 | 0.18529 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL284A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 2870115 | 2005-10-17 | 0.121 | 0.117 | 103.4188 | 3.4188 | 0.24706 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL290B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 2970035 | 2005-10-27 | 0.114 | 0.117 | 97.4359 | -2.5641 | -0.18529 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL298C
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3010125 | 2005-10-31 | 0.116 | 0.117 | 99.1453 | -0.8547 | -0.061765 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL304A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3060044 | 2005-11-04 | 0.12 | 0.117 | 102.5641 | 2.5641 | 0.18529 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL308A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3110078 | 2005-11-08 | 0.118 | 0.117 | 100.8547 | 0.8547 | 0.061765 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL312A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3130038 | 2005-11-10 | 0.122 | 0.117 | 104.2735 | 4.2735 | 0.30882 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL314A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3190013 | 2005-11-17 | 0.119 | 0.117 | 101.7094 | 1.7094 | 0.12353 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL321A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3210145 | 2005-11-18 | 0.122 | 0.117 | 104.2735 | 4.2735 | 0.30882 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL322A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3260097 | 2005-11-23 | 0.12 | 0.117 | 102.5641 | 2.5641 | 0.18529 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL327A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3320018 | 2005-11-30 | 0.117 | 0.117 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL334A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3340006 | 2005-12-02 | 0.118 | 0.117 | 100.8547 | 0.8547 | 0.061765 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL336A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3080098 | 2005-11-07 | 0.27 | 0.264 | 102.2727 | 2.2727 | 0.25299 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL311A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3180042 | 2005-11-15 | 0.265 | 0.264 | 100.3788 | 0.37879 | 0.042164 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL319A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3250051 | 2005-11-23 | 0.274 | 0.264 | 103.7879 | 3.7879 | 0.42164 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL327A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3340015 | 2005-12-02 | 0.27 | 0.264 | 102.2727 | 2.2727 | 0.25299 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL336A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1220152 | 2006-05-08 | 0.044 | 0.045 | 97.7778 | -2.2222 | -0.079974 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL124D
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1250138 | 2006-05-08 | 0.042 | 0.045 | 93.3333 | -6.6667 | -0.23992 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL128A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1290068 | 2006-05-10 | 0.043 | 0.045 | 95.5556 | -4.4444 | -0.15995 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL130A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1320172 | 2006-05-15 | 0.041 | 0.045 | 91.1111 | -8.8889 | -0.3199 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL135A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1360169 | 2006-05-19 | 0.041 | 0.045 | 91.1111 | -8.8889 | -0.3199 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL139B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1390232 | 2006-05-22 | 0.04 | 0.045 | 88.8889 | -11.1111 | -0.39987 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL142A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1430051 | 2006-05-24 | 0.042 | 0.045 | 93.3333 | -6.6667 | -0.23992 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL144A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1460008 | 2006-06-02 | 0.039 | 0.045 | 86.6667 | -13.3333 | -0.47985 | 0.01 | 1980 |  |  |  | mg/L as N | N90X | NTLL153A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1460015 | 2006-06-02 | 0.27 | 0.274 | 98.5401 | -1.4599 | -0.16509 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL153A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1240140 | 2006-05-08 | 0.277 | 0.274 | 101.0949 | 1.0949 | 0.12382 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL128A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1310140 | 2006-05-12 | 0.274 | 0.274 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL131A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 1380009 | 2006-05-19 | 0.28 | 0.274 | 102.1898 | 2.1898 | 0.24764 | 0.01 | 1980 |  |  |  | mg/L as N | N89 | NTLL139B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0330069 | 2006-02-03 | 0.27 | 0.264 | 102.2727 | 2.2727 | 0.25299 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL034A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0380038 | 2006-02-09 | 0.268 | 0.264 | 101.5152 | 1.5152 | 0.16866 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL040A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0400068 | 2006-02-13 | 0.269 | 0.264 | 101.8939 | 1.8939 | 0.21082 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL044A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0450025 | 2006-02-15 | 0.264 | 0.264 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL045A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0470069 | 2006-02-21 | 0.273 | 0.264 | 103.4091 | 3.4091 | 0.37948 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL052A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0530042 | 2006-02-23 | 0.204 | 0.264 | 77.2727 | -22.7273 | -2.5299 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL054A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0580121 | 2006-02-28 | 0.269 | 0.264 | 101.8939 | 1.8939 | 0.21082 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL059A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0600077 | 2006-03-03 | 0.27 | 0.264 | 102.2727 | 2.2727 | 0.25299 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL062A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0040041 | 2006-01-06 | 0.12 | 0.117 | 102.5641 | 2.5641 | 0.18529 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL006A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0090005 | 2006-01-11 | 0.118 | 0.117 | 100.8547 | 0.8547 | 0.061765 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL011A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0110062 | 2006-01-12 | 0.112 | 0.117 | 95.7265 | -4.2735 | -0.30882 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL012A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0170061 | 2006-01-18 | 0.116 | 0.117 | 99.1453 | -0.8547 | -0.061765 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL018A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0190003 | 2006-01-20 | 0.115 | 0.117 | 98.2906 | -1.7094 | -0.12353 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL020A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0240045 | 2006-01-25 | 0.117 | 0.117 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL025A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0260065 | 2006-01-27 | 0.115 | 0.117 | 98.2906 | -1.7094 | -0.12353 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL027A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0310083 | 2006-02-01 | 0.115 | 0.117 | 98.2906 | -1.7094 | -0.12353 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL032A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0060009 | 2006-01-09 | 0.203 | 0.264 | 76.8939 | -23.1061 | -2.572 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL009A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0130006 | 2006-01-18 | 0.266 | 0.264 | 100.7576 | 0.75758 | 0.084328 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL017A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0230033 | 2006-01-25 | 0.268 | 0.264 | 101.5152 | 1.5152 | 0.16866 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL025A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0300054 | 2006-01-31 | 0.264 | 0.264 | 100 | 0 | 0 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL031A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0650042 | 2006-03-07 | 0.273 | 0.264 | 103.4091 | 3.4091 | 0.37948 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL066A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0720063 | 2006-03-21 | 0.267 | 0.264 | 101.1364 | 1.1364 | 0.12649 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL080A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0800047 | 2006-03-23 | 0.268 | 0.264 | 101.5152 | 1.5152 | 0.16866 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL081C
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 0860077 | 2006-03-30 | 0.258 | 0.264 | 97.7273 | -2.2727 | -0.25299 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL089A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3390046 | 2005-12-06 | 0.259 | 0.264 | 98.1061 | -1.8939 | -0.21082 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL340A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3420002 | 2005-12-09 | 0.268 | 0.264 | 101.5152 | 1.5152 | 0.16866 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL343A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3460034 | 2005-12-13 | 0.271 | 0.264 | 102.6515 | 2.6515 | 0.29515 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL347A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3490150 | 2005-12-19 | 0.27 | 0.264 | 102.2727 | 2.2727 | 0.25299 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL353B
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3530071 | 2005-12-20 | 0.206 | 0.264 | 78.0303 | -21.9697 | -2.4455 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL354A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3560002 | 2005-12-27 | 0.266 | 0.264 | 100.7576 | 0.75758 | 0.084328 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL361A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3620067 | 2006-01-04 | 0.271 | 0.264 | 102.6515 | 2.6515 | 0.29515 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL004A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3640074 | 2006-01-04 | 0.273 | 0.264 | 103.4091 | 3.4091 | 0.37948 | 0.01 | 1980 |  |  |  | mg/L as N | N87 | NTLL004A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3400173 | 2005-12-08 | 0.123 | 0.117 | 105.1282 | 5.1282 | 0.37059 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL342A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3480005 | 2005-12-15 | 0.12 | 0.117 | 102.5641 | 2.5641 | 0.18529 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL349A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3550001 | 2005-12-22 | 0.121 | 0.117 | 103.4188 | 3.4188 | 0.24706 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL356A
Ammonia (NH3 + NH4+; as N), FIL, COL, LL | 00608 | CL039 | FIL | 2006 | 3630001 | 2006-01-04 | 0.115 | 0.117 | 98.2906 | -1.7094 | -0.12353 | 0.01 | 1980 |  |  |  | mg/L as N | N88X | NTLL004A