## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2510183 | 2005-09-22 | 1.278 | 1.3 | 98.3077 | -1.6923 | -0.33846 | 0.02 | 2758 |  |  |  | mg/L as P | N86 | PANP263A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2580121 | 2005-09-22 | 1.313 | 1.3 | 101 | 1 | 0.2 | 0.02 | 2758 |  |  |  | mg/L as P | N86 | PANP263A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2720019 | 2005-10-07 | 1.319 | 1.3 | 101.4615 | 1.4615 | 0.29231 | 0.02 | 2758 |  |  |  | mg/L as P | N86 | PANP279A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 0980172 | 2005-04-14 | 0.176 | 0.178 | 98.8764 | -1.1236 | -0.18395 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP102A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1050226 | 2005-04-29 | 0.172 | 0.178 | 96.6292 | -3.3708 | -0.55185 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP118A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1120323 | 2005-04-29 | 0.164 | 0.178 | 92.1348 | -7.8652 | -1.2876 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP118A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1190259 | 2005-05-11 | 0.179 | 0.178 | 100.5618 | 0.5618 | 0.091974 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP130A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1600265 | 2005-06-24 | 0.178 | 0.178 | 100 | 0 | 0 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP173A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1670204 | 2005-06-24 | 0.174 | 0.178 | 97.7528 | -2.2472 | -0.3679 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP173A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1740226 | 2005-07-08 | 0.191 | 0.178 | 107.3034 | 7.3034 | 1.1957 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP187A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1810182 | 2005-07-08 | 0.18 | 0.178 | 101.1236 | 1.1236 | 0.18395 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP187A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2820222 | 2004-10-19 | 0.148 | 0.155 | 95.4839 | -4.5161 | -0.69801 | 0.02 | 2758 |  |  |  | mg/L as P | N83 | PANP292A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2890207 | 2004-10-19 | 0.153 | 0.155 | 98.7097 | -1.2903 | -0.19943 | 0.02 | 2758 |  |  |  | mg/L as P | N83 | PANP292A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2960270 | 2004-11-10 | 0.159 | 0.155 | 102.5806 | 2.5806 | 0.39886 | 0.02 | 2758 |  |  |  | mg/L as P | N83 | PANP314A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 3060021 | 2004-11-10 | 0.145 | 0.155 | 93.5484 | -6.4516 | -0.99716 | 0.02 | 2758 |  |  |  | mg/L as P | N83 | PANP314A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2170137 | 2005-08-16 | 0.178 | 0.178 | 100 | 0 | 0 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP221A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2240422 | 2005-08-16 | 0.174 | 0.178 | 97.7528 | -2.2472 | -0.3679 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP221A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2310004 | 2005-08-31 | 0.178 | 0.178 | 100 | 0 | 0 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP238A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2380170 | 2005-08-31 | 0.171 | 0.178 | 96.0674 | -3.9326 | -0.64382 | 0.02 | 2758 |  |  |  | mg/L as P | N85 | PANP238A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 3100048 | 2004-11-23 | 0.716 | 0.693 | 103.3189 | 3.3189 | 0.66378 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N84 | PANP327A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 3200080 | 2004-12-10 | 0.71 | 0.693 | 102.4531 | 2.4531 | 0.49062 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N84 | PANP343A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 3270050 | 2004-12-10 | 0.705 | 0.693 | 101.7316 | 1.7316 | 0.34632 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N84 | PANP343A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 3350094 | 2005-01-11 | 0.648 | 0.693 | 93.5065 | -6.4935 | -1.2987 | 0.02 | 2758 | Holding time exceeded | Result determined by alternate method | See result laboratory comment | mg/L as P | N84 | PANP007A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 0380085 | 2005-02-16 | 0.161 | 0.155 | 103.871 | 3.871 | 0.59829 | 0.02 | 2758 |  |  |  | mg/L as P | N83 | PANP046A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 0470020 | 2005-02-24 | 0.163 | 0.155 | 105.1613 | 5.1613 | 0.79773 | 0.02 | 2758 |  |  |  | mg/L as P | N83 | PANP053A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 0530100 | 2005-02-24 | 0.15 | 0.155 | 96.7742 | -3.2258 | -0.49858 | 0.02 | 2758 |  |  |  | mg/L as P | N83 | PANP053A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 0590067 | 2005-03-03 | 0.153 | 0.155 | 98.7097 | -1.2903 | -0.19943 | 0.02 | 2758 |  |  |  | mg/L as P | N83 | PANP060A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 3100047 | 2004-11-10 | 0.696 | 0.693 | 100.4329 | 0.4329 | 0.08658 | 0.02 | 2758 |  |  |  | mg/L as P | N84 | PANP314A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 3200079 | 2004-11-23 | 0.687 | 0.693 | 99.1342 | -0.8658 | -0.17316 | 0.02 | 2758 |  |  |  | mg/L as P | N84 | PANP327A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 3270051 | 2004-12-01 | 0.693 | 0.693 | 100 | 0 | 0 | 0.02 | 2758 |  |  |  | mg/L as P | N84 | PANP335A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 3350093 | 2004-12-10 | 0.705 | 0.693 | 101.7316 | 1.7316 | 0.34632 | 0.02 | 2758 |  |  |  | mg/L as P | N84 | PANP343A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1260180 | 2005-05-11 | 1.316 | 1.3 | 101.2308 | 1.2308 | 0.24615 | 0.02 | 2758 |  |  |  | mg/L as P | N86 | PANP130A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1330239 | 2005-05-24 | 1.295 | 1.3 | 99.6154 | -0.38462 | -0.076923 | 0.02 | 2758 |  |  |  | mg/L as P | N86 | PANP143A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1400206 | 2005-05-24 | 1.297 | 1.3 | 99.7692 | -0.23077 | -0.046154 | 0.02 | 2758 |  |  |  | mg/L as P | N86 | PANP143A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1510151 | 2005-06-08 | 1.297 | 1.3 | 99.7692 | -0.23077 | -0.046154 | 0.02 | 2758 |  |  |  | mg/L as P | N86 | PANP154A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 0070090 | 2005-01-11 | 0.684 | 0.693 | 98.7013 | -1.2987 | -0.25974 | 0.02 | 2758 |  |  |  | mg/L as P | N84 | PANP007A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 0180075 | 2005-01-25 | 0.7 | 0.693 | 101.0101 | 1.0101 | 0.20202 | 0.02 | 2758 |  |  |  | mg/L as P | N84 | PANP021A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 0240054 | 2005-02-16 | 0.695 | 0.693 | 100.2886 | 0.2886 | 0.05772 | 0.02 | 2758 |  |  |  | mg/L as P | N84 | PANP046A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 0310043 | 2005-02-16 | 0.706 | 0.693 | 101.8759 | 1.8759 | 0.37518 | 0.02 | 2758 |  |  |  | mg/L as P | N84 | PANP046A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 0660062 | 2005-03-17 | 0.682 | 0.693 | 98.4127 | -1.5873 | -0.31746 | 0.02 | 2758 |  |  |  | mg/L as P | N84 | PANP074A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 0810037 | 2005-04-14 | 0.685 | 0.693 | 98.8456 | -1.1544 | -0.23088 | 0.02 | 2758 |  |  |  | mg/L as P | N84 | PANP102A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1890257 | 2005-07-18 | 1.288 | 1.3 | 99.0769 | -0.92308 | -0.18462 | 0.02 | 2758 |  |  |  | mg/L as P | N86 | PANP195A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 1960085 | 2005-07-18 | 1.282 | 1.3 | 98.6154 | -1.3846 | -0.27692 | 0.02 | 2758 |  |  |  | mg/L as P | N86 | PANP195A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2030276 | 2005-08-16 | 1.307 | 1.3 | 100.5385 | 0.53846 | 0.10769 | 0.02 | 2758 |  |  |  | mg/L as P | N86 | PANP221A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2005 | 2100065 | 2005-08-16 | 1.321 | 1.3 | 101.6154 | 1.6154 | 0.32308 | 0.02 | 2758 |  |  |  | mg/L as P | N86 | PANP221A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2510401 | 2006-10-03 | 0.453 | 0.46 | 98.4783 | -1.5217 | -0.30435 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP269B
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2620202 | 2006-10-03 | 0.434 | 0.46 | 94.3478 | -5.6522 | -1.1304 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP269B
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2680091 | 2006-10-03 | 0.45 | 0.46 | 97.8261 | -2.1739 | -0.43478 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP269B
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2750054 | 2006-10-31 | 0.455 | 0.46 | 98.913 | -1.087 | -0.21739 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP299A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 0970089 | 2006-04-27 | 0.288 | 0.282 | 102.1277 | 2.1277 | 0.40846 | 0.02 | 2758 |  |  |  | mg/L as P | N89 | PANP117A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1040011 | 2006-04-27 | 0.281 | 0.282 | 99.6454 | -0.35461 | -0.068076 | 0.02 | 2758 |  |  |  | mg/L as P | N89 | PANP117A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1110228 | 2006-04-27 | 0.289 | 0.282 | 102.4823 | 2.4823 | 0.47653 | 0.02 | 2758 |  |  |  | mg/L as P | N89 | PANP117A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1210044 | 2006-05-08 | 0.282 | 0.282 | 100 | 0 | 0 | 0.02 | 2758 |  |  |  | mg/L as P | N89 | PANP125A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 0970088 | 2006-04-27 | 0.277 | 0.282 | 98.227 | -1.773 | -0.34038 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N89 | PANP117A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1040010 | 2006-05-08 | 0.266 | 0.282 | 94.3262 | -5.6738 | -1.0892 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N89 | PANP125A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1110227 | 2006-05-08 | 0.272 | 0.282 | 96.4539 | -3.5461 | -0.68076 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N89 | PANP125A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1210045 | 2006-05-16 | 0.27 | 0.282 | 95.7447 | -4.2553 | -0.81692 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N89 | PANP135A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1600199 | 2006-06-27 | 0.289 | 0.282 | 102.4823 | 2.4823 | 0.47653 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N89 | PANP178A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1670245 | 2006-06-27 | 0.296 | 0.282 | 104.9645 | 4.9645 | 0.95307 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N89 | PANP178A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1740234 | 2006-07-21 | 0.266 | 0.282 | 94.3262 | -5.6738 | -1.0892 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N89 | PANP200A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1810351 | 2006-07-19 | 0.284 | 0.282 | 100.7092 | 0.70922 | 0.13615 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N89 | PANP200B
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2800169 | 2005-11-02 | 0.181 | 0.188 | 96.2766 | -3.7234 | -0.6228 | 0.02 | 2758 |  |  |  | mg/L as P | N87 | PANP291A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2900080 | 2005-11-02 | 0.182 | 0.188 | 96.8085 | -3.1915 | -0.53383 | 0.02 | 2758 |  |  |  | mg/L as P | N87 | PANP291A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2970041 | 2005-11-02 | 0.177 | 0.188 | 94.1489 | -5.8511 | -0.97868 | 0.02 | 2758 |  |  |  | mg/L as P | N87 | PANP291A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 3040130 | 2005-11-09 | 0.185 | 0.188 | 98.4043 | -1.5957 | -0.26691 | 0.02 | 2758 |  |  |  | mg/L as P | N87 | PANP313A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2190170 | 2006-08-21 | 0.296 | 0.282 | 104.9645 | 4.9645 | 0.95307 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N89 | PANP228A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2260054 | 2006-09-28 | 0.272 | 0.282 | 96.4539 | -3.5461 | -0.68076 | 0.02 | 2758 | Holding time exceeded | Result determined by alternate method | See result laboratory comment | mg/L as P | N89 | PANP269A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2330216 | 2006-09-28 | 0.269 | 0.282 | 95.3901 | -4.6099 | -0.88499 | 0.02 | 2758 | Holding time exceeded | Result determined by alternate method | See result laboratory comment | mg/L as P | N89 | PANP269A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2400117 | 2006-10-03 | 0.288 | 0.282 | 102.1277 | 2.1277 | 0.40846 | 0.02 | 2758 | Holding time exceeded | Result determined by alternate method | See result laboratory comment | mg/L as P | N89 | PANP269B
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 3110079 | 2005-12-01 | 1.047 | 1.13 | 92.6549 | -7.3451 | -1.469 | 0.02 | 2758 |  |  |  | mg/L as P | N88 | PANP334A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 3190014 | 2005-12-01 | 1.045 | 1.13 | 92.4779 | -7.5221 | -1.5044 | 0.02 | 2758 |  |  |  | mg/L as P | N88 | PANP334A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 3260098 | 2005-12-01 | 1.096 | 1.13 | 96.9912 | -3.0088 | -0.60177 | 0.02 | 2758 |  |  |  | mg/L as P | N88 | PANP334A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 3340005 | 2005-12-20 | 1.162 | 1.13 | 102.8319 | 2.8319 | 0.56637 | 0.02 | 2758 |  |  |  | mg/L as P | N88 | PANP350A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1250140 | 2006-05-16 | 0.429 | 0.46 | 93.2609 | -6.7391 | -1.3478 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP135A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1320171 | 2006-05-16 | 0.438 | 0.46 | 95.2174 | -4.7826 | -0.95652 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP135A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1390234 | 2006-06-27 | 0.465 | 0.46 | 101.087 | 1.087 | 0.21739 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP178A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1460009 | 2006-06-27 | 0.457 | 0.46 | 99.3478 | -0.65217 | -0.13043 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP178A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2190171 | 2006-08-21 | 0.281 | 0.282 | 99.6454 | -0.35461 | -0.068076 | 0.02 | 2758 |  |  |  | mg/L as P | N89 | PANP228A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2260055 | 2006-09-08 | 0.274 | 0.282 | 97.1631 | -2.8369 | -0.54461 | 0.02 | 2758 |  |  |  | mg/L as P | N89 | PANP235A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2330217 | 2006-09-08 | 0.277 | 0.282 | 98.227 | -1.773 | -0.34038 | 0.02 | 2758 |  |  |  | mg/L as P | N89 | PANP243B
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2400118 | 2006-10-03 | 0.289 | 0.282 | 102.4823 | 2.4823 | 0.47653 | 0.02 | 2758 | Holding time exceeded |  |  | mg/L as P | N89 | PANP269B
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1910081 | 2006-07-26 | 0.464 | 0.46 | 100.8696 | 0.86957 | 0.17391 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP206A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1950014 | 2006-07-26 | 0.456 | 0.46 | 99.1304 | -0.86957 | -0.17391 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP206A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2020231 | 2006-07-26 | 0.448 | 0.46 | 97.3913 | -2.6087 | -0.52174 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP206A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 2090267 | 2006-08-03 | 0.453 | 0.46 | 98.4783 | -1.5217 | -0.30435 | 0.02 | 2758 |  |  |  | mg/L as P | N90 | PANP215A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 0660030 | 2006-03-21 | 1.066 | 1.13 | 94.3363 | -5.6637 | -1.1327 | 0.02 | 2758 |  |  |  | mg/L as P | N88 | PANP079A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 0730043 | 2006-03-21 | 1.115 | 1.13 | 98.6726 | -1.3274 | -0.26549 | 0.02 | 2758 |  |  |  | mg/L as P | N88 | PANP079A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 0800044 | 2006-04-27 | 1.137 | 1.13 | 100.6195 | 0.61947 | 0.12389 | 0.02 | 2758 |  |  |  | mg/L as P | N88 | PANP117A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 0870029 | 2006-04-27 | 1.098 | 1.13 | 97.1681 | -2.8319 | -0.56637 | 0.02 | 2758 |  |  |  | mg/L as P | N88 | PANP117A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1600198 | 2006-06-27 | 0.281 | 0.282 | 99.6454 | -0.35461 | -0.068076 | 0.02 | 2758 |  |  |  | mg/L as P | N89 | PANP178A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1670244 | 2006-06-27 | 0.297 | 0.282 | 105.3191 | 5.3191 | 1.0211 | 0.02 | 2758 |  |  |  | mg/L as P | N89 | PANP178A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1740233 | 2006-06-27 | 0.292 | 0.282 | 103.5461 | 3.5461 | 0.68076 | 0.02 | 2758 |  |  |  | mg/L as P | N89 | PANP178A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2006 | 1810350 | 2006-07-19 | 0.271 | 0.282 | 96.0993 | -3.9007 | -0.74884 | 0.02 | 2758 |  |  |  | mg/L as P | N89 | PANP200B
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 0980066 | 2008-04-30 | 0.397 | 0.41 | 96.8293 | -3.1707 | -0.63415 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP121A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 1050090 | 2008-04-30 | 0.396 | 0.41 | 96.5854 | -3.4146 | -0.68293 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP121A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 1190030 | 2008-06-11 | 0.408 | 0.41 | 99.5122 | -0.4878 | -0.097561 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP162A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 1580236 | 2008-06-26 | 0.393 | 0.41 | 95.8537 | -4.1463 | -0.82927 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP171A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 1650004 | 2008-06-26 | 0.408 | 0.41 | 99.5122 | -0.4878 | -0.097561 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP171A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 1790144 | 2008-07-23 | 0.407 | 0.41 | 99.2683 | -0.73171 | -0.14634 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP204A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 2210290 | 2008-08-27 | 0.377 | 0.41 | 91.9512 | -8.0488 | -1.6098 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP239A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 2280222 | 2008-09-11 | 0.41 | 0.41 | 100 | 0 | 0 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP253A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 2350258 | 2008-09-23 | 0.404 | 0.41 | 98.5366 | -1.4634 | -0.29268 | 0.02 | 2758 | Holding time exceeded | Result determined by alternate method | See result laboratory comment | mg/L as P | N97 | PANP266A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 2420250 | 2008-09-23 | 0.407 | 0.41 | 99.2683 | -0.73171 | -0.14634 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N97 | PANP266A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2008 | 0560048 | 2008-03-12 | 0.227 | 0.231 | 98.2684 | -1.7316 | -0.31207 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N95 | PANP071A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 1040067 | 2009-05-20 | 0.362 | 0.349 | 103.7249 | 3.7249 | 0.74499 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N101 | PANP135A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 1120014 | 2009-05-20 | 0.354 | 0.349 | 101.4327 | 1.4327 | 0.28653 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N101 | PANP135A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 1180075 | 2009-05-20 | 0.336 | 0.349 | 96.2751 | -3.7249 | -0.74499 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N101 | PANP135A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 3380120 | 2008-12-31 | 0.286 | 0.287 | 99.6516 | -0.34843 | -0.067236 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N99 | PANP365A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 3440100 | 2008-12-31 | 0.284 | 0.287 | 98.9547 | -1.0453 | -0.20171 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N99 | PANP365A
Phosphorus as P, FIL, CFA, ALK-P, ACD | 00666 | CL062 | FIL | 2009 | 3520226 | 2008-12-31 | 0.285 | 0.287 | 99.3031 | -0.69686 | -0.13447 | 0.02 | 2758 | Result determined by alternate method | See result laboratory comment |  | mg/L as P | N99 | PANP365A