## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Lab Value | Expected Conc. | % Recov | % Bias | # of QCUs | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2004 | 2370248 | 2005-01-11 | 0.618 | 0.655 | 94.3511 | -5.6489 | -0.14962 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL04344A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2004 | 2530303 | 2005-03-10 | 3.135 | 2.99 | 104.8495 | 4.8495 | 0.58633 | 0.05 | 1263 | Sample was diluted | See result laboratory comment |  | mg/L | P38 | ICLL05068A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2004 | 2710024 | 2005-03-02 | 3.05 | 2.99 | 102.0067 | 2.0067 | 0.24262 | 0.05 | 1263 | Sample was diluted |  |  | mg/L | P38 | ICLL05060A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2820228 | 2005-03-02 | 0.613 | 0.655 | 93.5878 | -6.4122 | -0.16983 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05060A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2920031 | 2005-03-02 | 0.616 | 0.655 | 94.0458 | -5.9542 | -0.1577 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05060A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2990112 | 2005-03-10 | 0.608 | 0.655 | 92.8244 | -7.1756 | -0.19005 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05068A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 3060112 | 2005-03-15 | 0.611 | 0.655 | 93.2824 | -6.7176 | -0.17792 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05069A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1010110 | 2005-06-07 | 0.608 | 0.655 | 92.8244 | -7.1756 | -0.19005 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05154A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1090066 | 2005-06-10 | 0.615 | 0.655 | 93.8931 | -6.1069 | -0.16175 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05159B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1150103 | 2005-06-14 | 0.611 | 0.655 | 93.2824 | -6.7176 | -0.17792 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05161A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1220043 | 2005-06-14 | 0.614 | 0.655 | 93.7405 | -6.2595 | -0.16579 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05161A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 3130200 | 2005-03-15 | 0.623 | 0.655 | 95.1145 | -4.8855 | -0.1294 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05069A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 3210083 | 2005-03-18 | 0.608 | 0.655 | 92.8244 | -7.1756 | -0.19005 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05075A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 3280102 | 2005-03-23 | 0.615 | 0.655 | 93.8931 | -6.1069 | -0.16175 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05081A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 3360084 | 2005-03-23 | 0.621 | 0.655 | 94.8092 | -5.1908 | -0.13748 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05081A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1290087 | 2005-06-14 | 0.612 | 0.655 | 93.4351 | -6.5649 | -0.17388 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05161A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1360163 | 2005-06-21 | 0.603 | 0.655 | 92.0611 | -7.9389 | -0.21027 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05166B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1430070 | 2005-06-21 | 0.603 | 0.655 | 92.0611 | -7.9389 | -0.21027 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05166B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1510159 | 2005-06-24 | 0.605 | 0.655 | 92.3664 | -7.6336 | -0.20218 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05173A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0390058 | 2005-04-27 | 0.25 | 0.32 | 78.125 | -21.875 | -0.28306 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL05115A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0470025 | 2005-04-29 | 0.25 | 0.32 | 78.125 | -21.875 | -0.28306 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL05117A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0540036 | 2005-04-29 | 0.249 | 0.32 | 77.8125 | -22.1875 | -0.2871 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL05117A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0600110 | 2005-05-06 | 0.272 | 0.32 | 85 | -15 | -0.1941 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL05118A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2220221 | 2005-10-19 | 0.252 | 0.32 | 78.75 | -21.25 | -0.27497 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL05279A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2280031 | 2005-10-26 | 0.255 | 0.32 | 79.6875 | -20.3125 | -0.26284 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL05294A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2340044 | 2005-11-03 | 0.257 | 0.32 | 80.3125 | -19.6875 | -0.25475 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL05305A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2410125 | 2005-12-16 | 0.254 | 0.32 | 79.375 | -20.625 | -0.26688 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL05319B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0100088 | 2005-04-01 | 0.605 | 0.655 | 92.3664 | -7.6336 | -0.20218 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05088A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0180074 | 2005-04-15 | 0.601 | 0.655 | 91.7557 | -8.2443 | -0.21836 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05097A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0250045 | 2005-04-15 | 0.606 | 0.655 | 92.5191 | -7.4809 | -0.19814 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05097A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0320097 | 2005-04-27 | 0.605 | 0.655 | 92.3664 | -7.6336 | -0.20218 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05115A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1920124 | 2005-09-07 | 0.61 | 0.655 | 93.1298 | -6.8702 | -0.18197 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05209A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1990212 | 2005-09-21 | 0.616 | 0.655 | 94.0458 | -5.9542 | -0.1577 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05244A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2060111 | 2005-09-21 | 0.62 | 0.655 | 94.6565 | -5.3435 | -0.14153 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05244A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2140087 | 2005-09-20 | 0.612 | 0.655 | 93.4351 | -6.5649 | -0.17388 | 0.01 | 1263 |  |  |  | mg/L | P36 | ICLL05256A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0670096 | 2005-05-06 | 0.249 | 0.344 | 72.3837 | -27.6163 | -0.38415 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05118A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0750089 | 2005-05-23 | 0.244 | 0.344 | 70.9302 | -29.0698 | -0.40437 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05132A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0810034 | 2005-06-07 | 0.25 | 0.344 | 72.6744 | -27.3256 | -0.38011 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05152A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 0890102 | 2005-06-07 | 0.25 | 0.344 | 72.6744 | -27.3256 | -0.38011 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05154A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2520042 | 2005-12-16 | 0.265 | 0.344 | 77.0349 | -22.9651 | -0.31945 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05341A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2590323 | 2005-12-16 | 0.263 | 0.344 | 76.4535 | -23.5465 | -0.32754 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05341A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2660203 | 2005-12-19 | 0.261 | 0.344 | 75.8721 | -24.1279 | -0.33562 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05341B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 2730264 | 2005-12-19 | 0.265 | 0.344 | 77.0349 | -22.9651 | -0.31945 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05341B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 3440143 | 2005-03-23 | 0.253 | 0.344 | 73.5465 | -26.4535 | -0.36797 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05081A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 3510148 | 2005-04-01 | 0.246 | 0.344 | 71.5116 | -28.4884 | -0.39628 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05088A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 3620028 | 2005-04-01 | 0.247 | 0.344 | 71.8023 | -28.1977 | -0.39224 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05088A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 3650039 | 2005-04-01 | 0.249 | 0.344 | 72.3837 | -27.6163 | -0.38415 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05088A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1610164 | 2005-07-06 | 0.246 | 0.344 | 71.5116 | -28.4884 | -0.39628 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05181A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1680212 | 2005-07-22 | 0.247 | 0.344 | 71.8023 | -28.1977 | -0.39224 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05201A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1750353 | 2005-07-26 | 0.247 | 0.344 | 71.8023 | -28.1977 | -0.39224 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05201B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2005 | 1820053 | 2005-07-26 | 0.248 | 0.344 | 72.093 | -27.907 | -0.38819 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05201B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2800166 | 2005-12-19 | 0.253 | 0.344 | 73.5465 | -26.4535 | -0.36797 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05341B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2900079 | 2005-12-19 | 0.256 | 0.344 | 74.4186 | -25.5814 | -0.35584 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05349A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2970038 | 2005-12-19 | 0.253 | 0.344 | 73.5465 | -26.4535 | -0.36797 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05349A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 3040127 | 2005-12-19 | 0.255 | 0.344 | 74.1279 | -25.8721 | -0.35989 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL05349A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 0970091 | 2006-05-09 | 0.248 | 0.344 | 72.093 | -27.907 | -0.38819 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06123A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1040008 | 2006-06-08 | 0.251 | 0.344 | 72.9651 | -27.0349 | -0.37606 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06157A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1110230 | 2006-06-08 | 0.255 | 0.344 | 74.1279 | -25.8721 | -0.35989 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06157A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1210051 | 2006-06-08 | 0.249 | 0.344 | 72.3837 | -27.6163 | -0.38415 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06157A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 3110077 | 2005-12-19 | 0.257 | 0.32 | 80.3125 | -19.6875 | -0.25475 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL05349A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 3190010 | 2005-12-23 | 0.255 | 0.32 | 79.6875 | -20.3125 | -0.26284 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL05353A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 3260100 | 2006-01-18 | 0.256 | 0.32 | 80 | -20 | -0.25879 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06011A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 3340008 | 2006-01-18 | 0.257 | 0.32 | 80.3125 | -19.6875 | -0.25475 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06011A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1250136 | 2006-06-19 | 0.243 | 0.32 | 75.9375 | -24.0625 | -0.31136 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06166A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1320174 | 2006-07-13 | 0.253 | 0.32 | 79.0625 | -20.9375 | -0.27093 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06174A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1390231 | 2006-07-21 | 0.251 | 0.32 | 78.4375 | -21.5625 | -0.27901 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06199C
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1460006 | 2006-07-31 | 0.25 | 0.32 | 78.125 | -21.875 | -0.28306 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06202A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 0380036 | 2006-02-10 | 0.263 | 0.32 | 82.1875 | -17.8125 | -0.23049 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06039A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 0450024 | 2006-02-28 | 0.266 | 0.32 | 83.125 | -16.875 | -0.21836 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06055A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 0530041 | 2006-02-28 | 0.253 | 0.32 | 79.0625 | -20.9375 | -0.27093 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06055A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 0600075 | 2006-03-14 | 0.275 | 0.32 | 85.9375 | -14.0625 | -0.18197 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06073A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2190176 | 2006-09-01 | 0.255 | 0.32 | 79.6875 | -20.3125 | -0.26284 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06243A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2260050 | 2006-09-13 | 0.251 | 0.32 | 78.4375 | -21.5625 | -0.27901 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06244A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2330213 | 2006-09-13 | 0.249 | 0.32 | 77.8125 | -22.1875 | -0.2871 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06244A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2400120 | 2006-09-13 | 0.253 | 0.32 | 79.0625 | -20.9375 | -0.27093 | 0.01 | 1263 |  |  |  | mg/L | P41 | ICLL06244A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 0090006 | 2006-01-18 | 0.256 | 0.344 | 74.4186 | -25.5814 | -0.35584 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06011B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 0170062 | 2006-01-27 | 0.253 | 0.344 | 73.5465 | -26.4535 | -0.36797 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06025A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 0240044 | 2006-01-27 | 0.259 | 0.344 | 75.2907 | -24.7093 | -0.34371 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06025A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 0310082 | 2006-02-10 | 0.251 | 0.344 | 72.9651 | -27.0349 | -0.37606 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06039A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1910076 | 2006-08-18 | 0.256 | 0.344 | 74.4186 | -25.5814 | -0.35584 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06226A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1950016 | 2006-08-30 | 0.255 | 0.344 | 74.1279 | -25.8721 | -0.35989 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06235A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2020230 | 2006-08-30 | 0.239 | 0.344 | 69.4767 | -30.5233 | -0.42459 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06236A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2090272 | 2006-08-30 | 0.252 | 0.344 | 73.2558 | -26.7442 | -0.37202 | 0.01 | 1263 |  |  |  | mg/L | P42 | ICLL06236A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 0800052 | 2006-04-07 | 0.426 | 0.536 | 79.4776 | -20.5224 | -0.4448 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06090A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 0870026 | 2006-04-07 | 0.406 | 0.536 | 75.7463 | -24.2537 | -0.52568 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06090A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2510398 | 2006-12-04 | 0.432 | 0.536 | 80.597 | -19.403 | -0.42054 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06332A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2620210 | 2006-12-04 | 0.426 | 0.536 | 79.4776 | -20.5224 | -0.4448 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06332A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2680089 | 2006-12-04 | 0.428 | 0.536 | 79.8507 | -20.1493 | -0.43672 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06332A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 2750051 | 2006-11-03 | 0.425 | 0.536 | 79.291 | -20.709 | -0.44885 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06305A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 3420004 | 2006-01-18 | 0.43 | 0.536 | 80.2239 | -19.7761 | -0.42863 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06011A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 3490151 | 2006-01-18 | 0.425 | 0.536 | 79.291 | -20.709 | -0.44885 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06011B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 3560003 | 2006-01-24 | 0.428 | 0.536 | 79.8507 | -20.1493 | -0.43672 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06020A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 3640075 | 2006-01-18 | 0.429 | 0.536 | 80.0373 | -19.9627 | -0.43267 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06011B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1600200 | 2006-07-31 | 0.444 | 0.536 | 82.8358 | -17.1642 | -0.37202 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06209A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1670242 | 2006-08-08 | 0.413 | 0.536 | 77.0522 | -22.9478 | -0.49737 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06215A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1740230 | 2006-08-08 | 0.412 | 0.536 | 76.8657 | -23.1343 | -0.50142 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06215A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2006 | 1810353 | 2006-08-16 | 0.434 | 0.536 | 80.9701 | -19.0299 | -0.41245 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06221A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2790129 | 2006-11-03 | 0.429 | 0.536 | 80.0373 | -19.9627 | -0.43267 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06305A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2900097 | 2006-12-08 | 0.422 | 0.536 | 78.7313 | -21.2687 | -0.46098 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL06340A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2970232 | 2007-01-25 | 0.417 | 0.536 | 77.7985 | -22.2015 | -0.4812 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07023A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 3040112 | 2007-01-25 | 0.419 | 0.536 | 78.1716 | -21.8284 | -0.47311 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07023A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0990034 | 2007-04-25 | 0.418 | 0.536 | 77.9851 | -22.0149 | -0.47715 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07115A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1030172 | 2007-04-25 | 0.418 | 0.536 | 77.9851 | -22.0149 | -0.47715 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07115A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1100067 | 2007-05-11 | 0.415 | 0.536 | 77.4254 | -22.5746 | -0.48928 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07129A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1170014 | 2007-05-11 | 0.45 | 0.536 | 83.9552 | -16.0448 | -0.34776 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07129A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 3120090 | 2007-01-25 | 0.222 | 0.25 | 88.8 | -11.2 | -0.11322 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07024A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 3190080 | 2007-01-25 | 0.236 | 0.25 | 94.4 | -5.6 | -0.056611 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07024A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 3260058 | 2007-01-25 | 0.237 | 0.25 | 94.8 | -5.2 | -0.052568 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07024A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 3350044 | 2007-01-31 | 0.224 | 0.25 | 89.6 | -10.4 | -0.10514 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07025A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1280111 | 2007-05-21 | 0.222 | 0.25 | 88.8 | -11.2 | -0.11322 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07137A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1340048 | 2007-05-21 | 0.223 | 0.25 | 89.2 | -10.8 | -0.10918 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07137A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1410062 | 2007-06-08 | 0.231 | 0.25 | 92.4 | -7.6 | -0.07683 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07156A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1490131 | 2007-06-08 | 0.23 | 0.25 | 92 | -8 | -0.080873 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07156A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0400062 | 2007-02-15 | 0.231 | 0.25 | 92.4 | -7.6 | -0.07683 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07046A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0460097 | 2007-02-27 | 0.225 | 0.25 | 90 | -10 | -0.10109 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07057A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0540160 | 2007-03-26 | 0.217 | 0.25 | 86.8 | -13.2 | -0.13344 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07081A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0610078 | 2007-03-26 | 0.219 | 0.25 | 87.6 | -12.4 | -0.12535 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07081A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2260055 | 2007-10-02 | 0.255 | 0.25 | 102 | 2 | 0.020218 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07270A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2320030 | 2007-10-24 | 0.259 | 0.25 | 103.6 | 3.6 | 0.036393 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07285A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2390135 | 2007-10-24 | 0.242 | 0.25 | 96.8 | -3.2 | -0.032349 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07285A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2470024 | 2007-10-24 | 0.234 | 0.25 | 93.6 | -6.4 | -0.064699 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07285A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0080060 | 2007-01-31 | 0.419 | 0.536 | 78.1716 | -21.8284 | -0.47311 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07025A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0160026 | 2007-01-31 | 0.424 | 0.536 | 79.1045 | -20.8955 | -0.45289 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07025A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0230064 | 2007-02-08 | 0.428 | 0.536 | 79.8507 | -20.1493 | -0.43672 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07038A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0310052 | 2007-02-08 | 0.427 | 0.536 | 79.6642 | -20.3358 | -0.44076 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07038A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1910139 | 2007-08-17 | 0.438 | 0.536 | 81.7164 | -18.2836 | -0.39628 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07227A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1980196 | 2007-09-05 | 0.436 | 0.536 | 81.3433 | -18.6567 | -0.40437 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07242A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2040169 | 2007-09-14 | 0.428 | 0.536 | 79.8507 | -20.1493 | -0.43672 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07256A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2140093 | 2007-09-14 | 0.408 | 0.536 | 76.1194 | -23.8806 | -0.51759 | 0.01 | 1263 |  |  |  | mg/L | P43 | ICLL07256A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0710057 | 2007-03-26 | 1.143 | 1.14 | 100.2632 | 0.26316 | 0.012131 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07081A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0750056 | 2007-03-26 | 1.147 | 1.14 | 100.614 | 0.61404 | 0.028306 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07081A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0820085 | 2007-04-25 | 1.13 | 1.14 | 99.1228 | -0.87719 | -0.040437 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07095A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0890062 | 2007-04-25 | 1.137 | 1.14 | 99.7368 | -0.26316 | -0.012131 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07115A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2540002 | 2007-12-21 | 1.192 | 1.14 | 104.5614 | 4.5614 | 0.21027 | 0.01 | 1263 | Sample was diluted |  |  | mg/L | P44 | ICLL07331A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2600103 | 2007-10-24 | 1.183 | 1.14 | 103.7719 | 3.7719 | 0.17388 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07291A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2670033 | 2007-10-24 | 1.161 | 1.14 | 101.8421 | 1.8421 | 0.084917 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07291A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 2740044 | 2007-10-24 | 1.167 | 1.14 | 102.3684 | 2.3684 | 0.10918 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07291A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 3490024 | 2007-01-31 | 1.133 | 1.14 | 99.386 | -0.61404 | -0.028306 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07025A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 3600106 | 2007-01-31 | 1.137 | 1.14 | 99.7368 | -0.26316 | -0.012131 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07025A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 0030018 | 2007-01-31 | 1.141 | 1.14 | 100.0877 | 0.087719 | 0.0040437 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07025A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1690157 | 2007-07-12 | 1.112 | 1.14 | 97.5439 | -2.4561 | -0.11322 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07192A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1770172 | 2007-07-24 | 1.161 | 1.14 | 101.8421 | 1.8421 | 0.084917 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07201A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2007 | 1830173 | 2007-08-03 | 1.12 | 1.14 | 98.2456 | -1.7544 | -0.080873 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07213A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2750042 | 2007-11-07 | 1.165 | 1.14 | 102.193 | 2.193 | 0.10109 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07305A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2830035 | 2007-11-07 | 1.192 | 1.14 | 104.5614 | 4.5614 | 0.21027 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07305A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2890042 | 2007-11-07 | 1.221 | 1.14 | 107.1053 | 7.1053 | 0.32754 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07305A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2960090 | 2007-11-07 | 1.177 | 1.14 | 103.2456 | 3.2456 | 0.14962 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL07305A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 0930079 | 2008-05-27 | 1.17 | 1.14 | 102.6316 | 2.6316 | 0.12131 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL08142A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1000062 | 2008-05-27 | 1.193 | 1.14 | 104.6491 | 4.6491 | 0.21431 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL08142A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1070169 | 2008-05-27 | 1.191 | 1.14 | 104.4737 | 4.4737 | 0.20623 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL08142A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1140029 | 2008-05-27 | 1.207 | 1.14 | 105.8772 | 5.8772 | 0.27093 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL08142A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 3100046 | 2007-11-09 | 0.22 | 0.25 | 88 | -12 | -0.12131 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07311A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 3180058 | 2007-12-21 | 0.234 | 0.25 | 93.6 | -6.4 | -0.064699 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07331A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 3240046 | 2007-12-31 | 0.244 | 0.25 | 97.6 | -2.4 | -0.024262 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07354A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 3310018 | 2007-12-31 | 0.248 | 0.25 | 99.2 | -0.8 | -0.0080873 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL07354A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1270107 | 2008-06-05 | 0.237 | 0.25 | 94.8 | -5.2 | -0.052568 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL08154A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1340118 | 2008-06-05 | 0.244 | 0.25 | 97.6 | -2.4 | -0.024262 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL08154A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1420060 | 2008-06-16 | 0.237 | 0.25 | 94.8 | -5.2 | -0.052568 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL08164A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1490058 | 2008-06-16 | 0.24 | 0.25 | 96 | -4 | -0.040437 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL08165A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1490058 | 2008-06-16 | 0.24 | 0.25 | 96 | -4 | -0.040437 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL08165A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 0360060 | 2008-03-04 | 0.254 | 0.25 | 101.6 | 1.6 | 0.016175 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL08060A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 0510071 | 2008-03-21 | 0.26 | 0.25 | 104 | 4 | 0.040437 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL08077A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2190166 | 2008-10-09 | 0.272 | 0.25 | 108.8 | 8.8 | 0.088961 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL08263C
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2250172 | 2008-10-09 | 0.245 | 0.25 | 98 | -2 | -0.020218 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL08263C
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2320004 | 2008-10-09 | 0.234 | 0.25 | 93.6 | -6.4 | -0.064699 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL08263C
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2390245 | 2008-10-10 | 0.235 | 0.25 | 94 | -6 | -0.060655 | 0.01 | 1263 |  |  |  | mg/L | P45 | ICLL08282A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 0090004 | 2008-01-15 | 1.166 | 1.14 | 102.2807 | 2.2807 | 0.10514 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL08015A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 0230101 | 2008-03-04 | 1.17 | 1.14 | 102.6316 | 2.6316 | 0.12131 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL08060A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1900017 | 2008-08-20 | 1.218 | 1.14 | 106.8421 | 6.8421 | 0.31541 | 0.01 | 1263 | Sample was diluted |  |  | mg/L | P44 | ICLL08226A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1970082 | 2008-08-20 | 1.237 | 1.14 | 108.5088 | 8.5088 | 0.39224 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL08226A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2040258 | 2008-10-08 | 1.183 | 1.14 | 103.7719 | 3.7719 | 0.17388 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL08263B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2110089 | 2008-10-09 | 1.199 | 1.14 | 105.1754 | 5.1754 | 0.23858 | 0.01 | 1263 |  |  |  | mg/L | P44 | ICLL08263C
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 0640053 | 2008-05-06 | 0.494 | 0.555 | 89.009 | -10.991 | -0.24666 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08086A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 0710045 | 2008-05-06 | 0.494 | 0.555 | 89.009 | -10.991 | -0.24666 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08086A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 0790008 | 2008-05-06 | 0.487 | 0.555 | 87.7477 | -12.2523 | -0.27497 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08086A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 0850014 | 2008-05-27 | 0.497 | 0.555 | 89.5495 | -10.4505 | -0.23453 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08142A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2470131 | 2008-10-10 | 0.493 | 0.555 | 88.8288 | -11.1712 | -0.25071 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08282A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2550115 | 2008-10-10 | 0.497 | 0.555 | 89.5495 | -10.4505 | -0.23453 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08282A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2620149 | 2008-10-10 | 0.491 | 0.555 | 88.4685 | -11.5315 | -0.25879 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08282A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 2690204 | 2008-10-14 | 0.489 | 0.555 | 88.1081 | -11.8919 | -0.26688 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08283A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 3380040 | 2007-12-31 | 0.49 | 0.555 | 88.2883 | -11.7117 | -0.26284 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL07354A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 3520006 | 2008-01-10 | 0.497 | 0.555 | 89.5495 | -10.4505 | -0.23453 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08009A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1550061 | 2008-06-16 | 0.494 | 0.555 | 89.009 | -10.991 | -0.24666 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08165A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1620113 | 2008-06-16 | 0.504 | 0.555 | 90.8108 | -9.1892 | -0.20623 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08165A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1690051 | 2008-07-22 | 0.494 | 0.555 | 89.009 | -10.991 | -0.24666 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08200A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2008 | 1760086 | 2008-07-22 | 0.497 | 0.555 | 89.5495 | -10.4505 | -0.23453 | 0.01 | 1263 |  |  |  | mg/L | P46 | ICLL08200A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2810087 | 2008-10-14 | 0.481 | 0.555 | 86.6667 | -13.3333 | -0.29923 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLL08283A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2900089 | 2008-11-07 | 0.48 | 0.555 | 86.4865 | -13.5135 | -0.30328 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLL08310A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 0970126 | 2009-05-14 | 0.5 | 0.555 | 90.0901 | -9.9099 | -0.2224 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLOW09134A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1040070 | 2009-05-14 | 0.5022 | 0.555 | 90.4865 | -9.5135 | -0.21351 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLOW09134A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1120018 | 2009-05-14 | 0.4972 | 0.555 | 89.5856 | -10.4144 | -0.23372 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLOW09134A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1180080 | 2009-05-14 | 0.5242 | 0.555 | 94.4505 | -5.5495 | -0.12455 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLOW09134A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1540101 | 2009-06-25 | 0.2585 | 0.29 | 89.1379 | -10.8621 | -0.12738 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09176A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1600136 | 2009-06-26 | 0.2513 | 0.29 | 86.6552 | -13.3448 | -0.15649 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09176A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1680149 | 2009-07-02 | 0.2466 | 0.29 | 85.0345 | -14.9655 | -0.1755 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09182A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1740112 | 2009-07-02 | 0.2477 | 0.29 | 85.4138 | -14.5862 | -0.17105 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09182A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2160045 | 2009-08-19 | 0.172 | 0.19 | 90.5263 | -9.4737 | -0.072786 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW09231A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2240114 | 2009-08-20 | 0.1613 | 0.19 | 84.8947 | -15.1053 | -0.11605 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW09231A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2310149 | 2009-09-04 | 0.1701 | 0.19 | 89.5263 | -10.4737 | -0.080469 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW09247A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2380064 | 2009-09-04 | 0.1606 | 0.19 | 84.5263 | -15.4737 | -0.11888 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW09247A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 3110159 | 2008-12-11 | 0.1937 | 0.19 | 101.9474 | 1.9474 | 0.014962 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW08351A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 3190059 | 2008-12-12 | 0.1952 | 0.19 | 102.7368 | 2.7368 | 0.021027 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW08351A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 3250132 | 2008-12-12 | 0.1894 | 0.19 | 99.6842 | -0.31579 | -0.0024262 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW08351A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 3370050 | 2008-12-12 | 0.1727 | 0.19 | 90.8947 | -9.1053 | -0.069956 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW08351A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1250011 | 2009-05-14 | 0.179 | 0.19 | 94.2105 | -5.7895 | -0.04448 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW09134A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1330129 | 2009-05-15 | 0.1831 | 0.19 | 96.3684 | -3.6316 | -0.027901 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW09134A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1390139 | 2009-05-21 | 0.1779 | 0.19 | 93.6316 | -6.3684 | -0.048928 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW09140A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1490254 | 2009-06-25 | 0.1825 | 0.19 | 96.0526 | -3.9474 | -0.030328 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW09175A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 0340055 | 2009-02-24 | 0.1998 | 0.19 | 105.1579 | 5.1579 | 0.039628 | 0.02 | 1263 | See result laboratory comment |  |  | mg/L | P47 | ICLOW09055A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 0490037 | 2009-02-24 | 0.1821 | 0.19 | 95.8421 | -4.1579 | -0.031945 | 0.02 | 1263 |  |  |  | mg/L | P47 | ICLOW09055A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 0060003 | 2009-01-22 | 0.512 | 0.555 | 92.2523 | -7.7477 | -0.17388 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLOW09022A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 0200055 | 2009-01-23 | 0.4673 | 0.555 | 84.1982 | -15.8018 | -0.35463 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLOW09023A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 0630003 | 2009-03-05 | 0.2641 | 0.29 | 91.069 | -8.931 | -0.10473 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09064A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 0690010 | 2009-03-25 | 0.2689 | 0.29 | 92.7241 | -7.2759 | -0.085321 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09084A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 0760077 | 2009-03-25 | 0.2702 | 0.29 | 93.1724 | -6.8276 | -0.080065 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09084A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 0830098 | 2009-03-25 | 0.2629 | 0.29 | 90.6552 | -9.3448 | -0.10958 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09084A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2460241 | 2009-09-05 | 0.2762 | 0.29 | 95.2414 | -4.7586 | -0.055803 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09247A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2530059 | 2009-09-29 | 0.2741 | 0.29 | 94.5172 | -5.4828 | -0.064294 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09268A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2590008 | 2009-09-29 | 0.2458 | 0.29 | 84.7586 | -15.2414 | -0.17873 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09268A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2660208 | 2009-09-30 | 0.2632 | 0.29 | 90.7586 | -9.2414 | -0.10837 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09268A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 3380123 | 2008-12-12 | 0.2621 | 0.29 | 90.3793 | -9.6207 | -0.11282 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW08351A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 3520222 | 2009-02-03 | 0.2714 | 0.29 | 93.5862 | -6.4138 | -0.075212 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09034A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1880156 | 2009-07-15 | 0.4488 | 0.555 | 80.8649 | -19.1351 | -0.42944 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLOW09195A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 1950081 | 2009-07-28 | 0.5294 | 0.555 | 95.3874 | -4.6126 | -0.10352 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLOW09209A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2020251 | 2009-07-28 | 0.4804 | 0.555 | 86.5586 | -13.4414 | -0.30166 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLOW09209A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2009 | 2100062 | 2009-08-04 | 0.4641 | 0.555 | 83.6216 | -16.3784 | -0.36757 | 0.02 | 1263 |  |  |  | mg/L | P46 | ICLOW09216A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2800005 | 2009-10-24 | 0.2308 | 0.29 | 79.5862 | -20.4138 | -0.23939 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09296A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2880091 | 2009-10-24 | 0.2477 | 0.29 | 85.4138 | -14.5862 | -0.17105 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09296A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2940098 | 2009-10-24 | 0.2567 | 0.29 | 88.5172 | -11.4828 | -0.13465 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09296A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 3010068 | 2009-11-13 | 0.2557 | 0.29 | 88.1724 | -11.8276 | -0.1387 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW09317A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0970007 | 2010-05-12 | 0.2553 | 0.29 | 88.0345 | -11.9655 | -0.14032 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10125A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1030052 | 2010-05-12 | 0.2606 | 0.29 | 89.8621 | -10.1379 | -0.11888 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10125A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1110124 | 2010-05-13 | 0.2558 | 0.29 | 88.2069 | -11.7931 | -0.13829 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10125A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1170066 | 2010-05-13 | 0.2581 | 0.29 | 89 | -11 | -0.12899 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10125A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1530117 | 2010-06-04 | 0.8758 | 0.844 | 103.7678 | 3.7678 | 0.12859 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10155A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1590100 | 2010-06-17 | 0.8931 | 0.844 | 105.8175 | 5.8175 | 0.19854 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10168A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1660185 | 2010-06-18 | 0.836 | 0.844 | 99.0521 | -0.94787 | -0.032349 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10168A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1730146 | 2010-07-02 | 0.8385 | 0.844 | 99.3483 | -0.65166 | -0.02224 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10183A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2150151 | 2010-08-06 | 0.5582 | 0.6 | 93.0333 | -6.9667 | -0.16903 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10217A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2230027 | 2010-08-20 | 0.5528 | 0.6 | 92.1333 | -7.8667 | -0.19086 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10232A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2290203 | 2010-08-20 | 0.6291 | 0.6 | 104.85 | 4.85 | 0.11767 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10232A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2370238 | 2010-09-09 | 0.6356 | 0.6 | 105.9333 | 5.9333 | 0.14395 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10244A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 3080152 | 2009-11-13 | 0.5432 | 0.6 | 90.5333 | -9.4667 | -0.22968 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW09317A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 3160022 | 2009-11-13 | 0.5434 | 0.6 | 90.5667 | -9.4333 | -0.22887 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW09317A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 3230020 | 2009-12-11 | 0.6394 | 0.6 | 106.5667 | 6.5667 | 0.15932 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW09345A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 3280028 | 2009-12-11 | 0.4303 | 0.6 | 71.7167 | -28.2833 | -0.68621 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW09345A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1240152 | 2010-05-21 | 0.6023 | 0.6 | 100.3833 | 0.38333 | 0.0093004 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10141A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1320111 | 2010-05-21 | 0.6108 | 0.6 | 101.8 | 1.8 | 0.043672 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10141A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1390048 | 2010-05-21 | 0.5907 | 0.6 | 98.45 | -1.55 | -0.037606 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10141A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1460124 | 2010-06-04 | 0.6373 | 0.6 | 106.2167 | 6.2167 | 0.15083 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10155A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0330031 | 2010-02-03 | 0.6702 | 0.6 | 111.7 | 11.7 | 0.28387 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10034A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0400006 | 2010-02-26 | 0.5993 | 0.6 | 99.8833 | -0.11667 | -0.0028306 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10057A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0480099 | 2010-02-26 | 0.6649 | 0.6 | 110.8167 | 10.8167 | 0.26243 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10057A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0540033 | 2010-02-26 | 0.6391 | 0.6 | 106.5167 | 6.5167 | 0.15811 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10057A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0050056 | 2010-01-15 | 0.2861 | 0.29 | 98.6552 | -1.3448 | -0.01577 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10015A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0130072 | 2010-01-16 | 0.3181 | 0.29 | 109.6897 | 9.6897 | 0.11363 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10015A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0200103 | 2010-02-03 | 0.2735 | 0.29 | 94.3103 | -5.6897 | -0.066721 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10034A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0260006 | 2010-02-03 | 0.2675 | 0.29 | 92.2414 | -7.7586 | -0.090983 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10034A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0620054 | 2010-03-17 | 0.7332 | 0.844 | 86.872 | -13.128 | -0.44804 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10076A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0680116 | 2010-03-17 | 0.7339 | 0.844 | 86.955 | -13.045 | -0.44521 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10076A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0750188 | 2010-03-18 | 0.8274 | 0.844 | 98.0332 | -1.9668 | -0.067125 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10076A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 0850051 | 2010-04-30 | 0.8253 | 0.844 | 97.7844 | -2.2156 | -0.075617 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10113A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2570123 | 2010-09-16 | 0.7585 | 0.844 | 89.8697 | -10.1303 | -0.34573 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10259A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2600191 | 2010-12-20 | 0.8115 | 0.844 | 96.1493 | -3.8507 | -0.13142 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10354A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2660115 | 2010-12-20 | 0.8728 | 0.844 | 103.4123 | 3.4123 | 0.11646 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10354A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2730105 | 2010-12-20 | 0.8773 | 0.844 | 103.9455 | 3.9455 | 0.13465 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10354A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 3420126 | 2009-12-11 | 0.7245 | 0.844 | 85.8412 | -14.1588 | -0.48322 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW09345A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 3490062 | 2010-01-15 | 0.8251 | 0.844 | 97.7607 | -2.2393 | -0.076425 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10015A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 3560087 | 2010-01-15 | 0.8086 | 0.844 | 95.8057 | -4.1943 | -0.14315 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10015A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 3640017 | 2010-01-15 | 0.8275 | 0.844 | 98.045 | -1.955 | -0.066721 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10015A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1880010 | 2010-07-16 | 0.2494 | 0.29 | 86 | -14 | -0.16417 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10197A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 1940125 | 2010-07-16 | 0.2633 | 0.29 | 90.7931 | -9.2069 | -0.10797 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10197A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2010162 | 2010-07-30 | 0.2742 | 0.29 | 94.5517 | -5.4483 | -0.06389 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10203A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2010 | 2080060 | 2010-08-02 | 0.2421 | 0.29 | 83.4828 | -16.5172 | -0.19369 | 0.02 | 1263 |  |  |  | mg/L | P48 | ICLOW10211A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2790097 | 2010-12-20 | 0.8667 | 0.844 | 102.6896 | 2.6896 | 0.091791 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW10354A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2870143 | 2011-01-03 | 0.8292 | 0.844 | 98.2464 | -1.7536 | -0.059846 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11003A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2930127 | 2011-01-03 | 0.7684 | 0.844 | 91.0427 | -8.9573 | -0.3057 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11003A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2990176 | 2011-01-04 | 0.8877 | 0.844 | 105.1777 | 5.1777 | 0.17671 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11003A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0960108 | 2011-04-07 | 0.9515 | 0.844 | 112.737 | 12.737 | 0.43469 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11097A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1020037 | 2011-05-10 | 0.8228 | 0.844 | 97.4882 | -2.5118 | -0.085726 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11130A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1110010 | 2011-05-10 | 0.8261 | 0.844 | 97.8791 | -2.1209 | -0.072382 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11130A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1180028 | 2011-05-10 | 0.8447 | 0.844 | 100.0829 | 0.082938 | 0.0028306 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11130A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1580109 | 2011-07-15 | 1.9107 | 1.99 | 96.0151 | -3.9849 | -0.32066 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11166A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1670007 | 2011-08-19 | 2.0438 | 1.99 | 102.7035 | 2.7035 | 0.21755 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11231A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1730007 | 2011-08-19 | 2.0331 | 1.99 | 102.1658 | 2.1658 | 0.17428 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11231A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1800140 | 2011-08-20 | 2.0051 | 1.99 | 100.7588 | 0.75879 | 0.061059 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11231A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2150107 | 2011-08-23 | 0.6175 | 0.6 | 102.9167 | 2.9167 | 0.070764 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11231B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2210098 | 2011-08-23 | 0.6161 | 0.6 | 102.6833 | 2.6833 | 0.065103 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11231B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2290151 | 2011-09-21 | 0.6637 | 0.6 | 110.6167 | 10.6167 | 0.25758 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11251A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2360213 | 2011-09-03 | 0.6107 | 0.6 | 101.7833 | 1.7833 | 0.043267 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11244A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 3060129 | 2011-01-04 | 0.5374 | 0.6 | 89.5667 | -10.4333 | -0.25313 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11003A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 3130094 | 2010-12-22 | 0.6369 | 0.6 | 106.15 | 6.15 | 0.14921 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10356A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 3210134 | 2010-12-22 | 0.6313 | 0.6 | 105.2167 | 5.2167 | 0.12657 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10356A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 3330027 | 2010-12-23 | 0.5551 | 0.6 | 92.5167 | -7.4833 | -0.18156 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW10356A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1230161 | 2011-05-10 | 0.5957 | 0.6 | 99.2833 | -0.71667 | -0.017388 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11130A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1380124 | 2011-05-20 | 0.6104 | 0.6 | 101.7333 | 1.7333 | 0.042054 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11139A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1440153 | 2011-07-14 | 0.5878 | 0.6 | 97.9667 | -2.0333 | -0.049333 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11166A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0400094 | 2011-03-26 | 0.6319 | 0.6 | 105.3167 | 5.3167 | 0.12899 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11075A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0470057 | 2011-03-26 | 0.6171 | 0.6 | 102.85 | 2.85 | 0.069147 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11075A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0540116 | 2011-03-29 | 0.5698 | 0.6 | 94.9667 | -5.0333 | -0.12212 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11088B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0600063 | 2011-03-29 | 0.5772 | 0.6 | 96.2 | -3.8 | -0.092196 | 0.02 | 1263 |  |  |  | mg/L | P49 | ICLOW11088B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0050064 | 2011-03-25 | 0.8495 | 0.844 | 100.6517 | 0.65166 | 0.02224 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11075A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0110048 | 2011-03-25 | 0.836 | 0.844 | 99.0521 | -0.94787 | -0.032349 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11075A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0200048 | 2011-03-26 | 0.8312 | 0.844 | 98.4834 | -1.5166 | -0.051759 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11075A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0270094 | 2011-03-26 | 0.8399 | 0.844 | 99.5142 | -0.48578 | -0.016579 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11075A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0670041 | 2011-03-29 | 1.8974 | 1.99 | 95.3467 | -4.6533 | -0.37444 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11088B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0740122 | 2011-03-29 | 1.9002 | 1.99 | 95.4874 | -4.5126 | -0.36312 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11088B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0820092 | 2011-03-30 | 1.9376 | 1.99 | 97.3668 | -2.6332 | -0.21189 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11088B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 0890090 | 2011-04-07 | 2.0187 | 1.99 | 101.4422 | 1.4422 | 0.11605 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11097A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2500272 | 2011-09-22 | 2.0469 | 1.99 | 102.8593 | 2.8593 | 0.23008 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11251A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2560148 | 2011-10-18 | 2.0435 | 1.99 | 102.6884 | 2.6884 | 0.21634 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11266A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2640162 | 2011-10-19 | 2.0049 | 1.99 | 100.7487 | 0.74874 | 0.060251 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11266A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2700057 | 2011-11-01 | 2.0345 | 1.99 | 102.2362 | 2.2362 | 0.17994 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11299A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 3420083 | 2010-12-23 | 1.9794 | 1.99 | 99.4673 | -0.53266 | -0.042863 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW10356A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 3480063 | 2010-12-23 | 1.9787 | 1.99 | 99.4322 | -0.56784 | -0.045693 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW10356A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 3550007 | 2010-12-23 | 2.0027 | 1.99 | 100.6382 | 0.63819 | 0.051355 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW10356A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 3640030 | 2011-01-04 | 1.8712 | 1.99 | 94.0302 | -5.9698 | -0.48039 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11003A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1890149 | 2011-08-22 | 0.8569 | 0.844 | 101.5284 | 1.5284 | 0.052163 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11231B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 1950181 | 2011-08-22 | 0.8476 | 0.844 | 100.4265 | 0.42654 | 0.014557 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11231B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2010130 | 2011-08-22 | 0.8504 | 0.844 | 100.7583 | 0.75829 | 0.025879 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11231B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2011 | 2080106 | 2011-08-22 | 0.8452 | 0.844 | 100.1422 | 0.14218 | 0.0048524 | 0.02 | 1263 |  |  |  | mg/L | P50 | ICLOW11231B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 2770116 | 2011-11-13 | 2.01 | 1.99 | 101.005 | 1.005 | 0.15043 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11300A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 2920080 | 2011-11-13 | 2.0025 | 1.99 | 100.6281 | 0.62814 | 0.094018 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW11300A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 0940054 | 2012-05-15 | 1.9351 | 1.99 | 97.2412 | -2.7588 | -0.41293 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW12135A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 1080123 | 2012-05-15 | 2.0149 | 1.99 | 101.2513 | 1.2513 | 0.18728 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW12135A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 1590134 | 2012-06-25 | 0.4255 | 0.418 | 101.7943 | 1.7943 | 0.15437 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW12177A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 1730014 | 2012-07-11 | 0.4262 | 0.418 | 101.9617 | 1.9617 | 0.16878 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW12193A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 2280054 | 2012-08-31 | 0.1955 | 0.21 | 93.0952 | -6.9048 | -0.38749 | 0.02 | 1263 |  |  |  | mg/L | P52 | ICLOW12243A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 2430005 | 2012-09-21 | 0.1909 | 0.21 | 90.9048 | -9.0952 | -0.51041 | 0.02 | 1263 |  |  |  | mg/L | P52 | ICLOW12265A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 3210036 | 2012-01-12 | 0.2003 | 0.21 | 95.381 | -4.619 | -0.25921 | 0.02 | 1263 |  |  |  | mg/L | P52 | ICLOW12011A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 3340063 | 2012-01-18 | 0.1921 | 0.21 | 91.4762 | -8.5238 | -0.47834 | 0.02 | 1263 |  |  |  | mg/L | P52 | ICLOW12018A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 1300071 | 2012-06-09 | 0.2043 | 0.21 | 97.2857 | -2.7143 | -0.15232 | 0.02 | 1263 |  |  |  | mg/L | P52 | ICLOW12161A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 1430156 | 2012-06-11 | 0.1934 | 0.21 | 92.0952 | -7.9048 | -0.4436 | 0.02 | 1263 |  |  |  | mg/L | P52 | ICLOW12163A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 0460092 | 2012-02-17 | 0.1988 | 0.21 | 94.6667 | -5.3333 | -0.2993 | 0.02 | 1263 |  |  |  | mg/L | P52 | ICLOW12048A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 0610068 | 2012-05-14 | 0.1846 | 0.21 | 87.9048 | -12.0952 | -0.67877 | 0.02 | 1263 |  |  |  | mg/L | P52 | ICLOW12135A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 0090026 | 2012-01-19 | 2.0377 | 1.99 | 102.397 | 2.397 | 0.35877 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW12018A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 0180053 | 2012-01-31 | 2.0634 | 1.99 | 103.6884 | 3.6884 | 0.55207 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW12025A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 0760157 | 2012-05-14 | 0.4018 | 0.418 | 96.1244 | -3.8756 | -0.33344 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW12135A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 0880120 | 2012-05-14 | 0.4363 | 0.418 | 104.378 | 4.378 | 0.37667 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW12135A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 2560010 | 2012-09-21 | 0.4084 | 0.418 | 97.7033 | -2.2967 | -0.1976 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW12265A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 2700118 | 2012-10-15 | 0.4221 | 0.418 | 100.9809 | 0.98086 | 0.08439 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW12289A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 3470032 | 2012-01-19 | 0.4308 | 0.418 | 103.0622 | 3.0622 | 0.26346 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW12018A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 3550121 | 2012-01-19 | 0.431 | 0.418 | 103.11 | 3.11 | 0.26758 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW12018A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 1870027 | 2012-07-12 | 2.0869 | 1.99 | 104.8693 | 4.8693 | 0.72883 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW12193A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2012 | 2000156 | 2012-08-11 | 1.9611 | 1.99 | 98.5477 | -1.4523 | -0.21737 | 0.02 | 1263 |  |  |  | mg/L | P51 | ICLOW12222A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 2760093 | 2012-10-15 | 0.4185 | 0.418 | 100.1196 | 0.11962 | 0.010291 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW12289A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 2900078 | 2012-12-27 | 0.4148 | 0.418 | 99.2344 | -0.76555 | -0.065865 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW12359B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 0930135 | 2013-05-31 | 0.431 | 0.418 | 103.11 | 3.11 | 0.26758 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLL13150A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 1070073 | 2013-05-31 | 0.42 | 0.418 | 100.4785 | 0.47847 | 0.041166 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLL13150A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 1560017 | 2013-06-10 | 0.641 | 0.647 | 99.0726 | -0.92736 | -0.098563 | 0.02 | 1263 |  |  |  | mg/L | P55 | ICLL13161A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 1700025 | 2013-07-31 | 0.638 | 0.647 | 98.609 | -1.391 | -0.14785 | 0.02 | 1263 |  |  |  | mg/L | P55 | ICLL13207A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 2210047 | 2013-09-10 | 0.278 | 0.265 | 104.9057 | 4.9057 | 0.322 | 0.02 | 1263 |  |  |  | mg/L | P54 | ICLL13252A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 2350074 | 2013-09-11 | 0.279 | 0.265 | 105.283 | 5.283 | 0.34677 | 0.02 | 1263 |  |  |  | mg/L | P54 | ICLL13252A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 3120050 | 2013-01-03 | 0.2463 | 0.265 | 92.9434 | -7.0566 | -0.46319 | 0.02 | 1263 |  |  |  | mg/L | P54 | ICLOW13003A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 3260043 | 2013-01-03 | 0.2479 | 0.265 | 93.5472 | -6.4528 | -0.42356 | 0.02 | 1263 |  |  |  | mg/L | P54 | ICLOW13003A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 1280077 | 2013-06-01 | 0.263 | 0.265 | 99.2453 | -0.75472 | -0.049539 | 0.02 | 1263 |  |  |  | mg/L | P54 | ICLL13150A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 1420116 | 2013-06-05 | 0.26 | 0.265 | 98.1132 | -1.8868 | -0.12385 | 0.02 | 1263 |  |  |  | mg/L | P54 | ICLL13155A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 0380085 | 2013-03-05 | 0.2555 | 0.265 | 96.4151 | -3.5849 | -0.23531 | 0.02 | 1263 |  |  |  | mg/L | P54 | ICLOW13064A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 0520097 | 2013-03-05 | 0.2521 | 0.265 | 95.1321 | -4.8679 | -0.31952 | 0.02 | 1263 |  |  |  | mg/L | P54 | ICLOW13064A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 0080022 | 2013-01-17 | 0.4372 | 0.418 | 104.5933 | 4.5933 | 0.39519 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW13017A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 0230082 | 2013-02-21 | 0.4239 | 0.418 | 101.4115 | 1.4115 | 0.12144 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLOW13052A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 0650034 | 2013-04-04 | 0.665 | 0.647 | 102.7821 | 2.7821 | 0.29569 | 0.02 | 1263 |  |  |  | mg/L | P55 | ICLL13093A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 0780129 | 2013-04-05 | 0.675 | 0.647 | 104.3277 | 4.3277 | 0.45996 | 0.02 | 1263 |  |  |  | mg/L | P55 | ICLL13093A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 2480142 | 2013-09-11 | 0.684 | 0.647 | 105.7187 | 5.7187 | 0.60781 | 0.02 | 1263 |  |  |  | mg/L | P55 | ICLL13252A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 2610039 | 2013-11-01 | 0.659 | 0.647 | 101.8547 | 1.8547 | 0.19713 | 0.02 | 1263 |  |  |  | mg/L | P55 | ICLL13303A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 3410096 | 2013-01-04 | 0.6454 | 0.647 | 99.7527 | -0.2473 | -0.026284 | 0.02 | 1263 |  |  |  | mg/L | P55 | ICLOW13003B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 3530079 | 2013-01-05 | 0.6483 | 0.647 | 100.2009 | 0.20093 | 0.021355 | 0.02 | 1263 |  |  |  | mg/L | P55 | ICLOW13003B
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 1860063 | 2013-08-01 | 0.411 | 0.418 | 98.3254 | -1.6746 | -0.14408 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLL13207A
Sulfate, FIL, IC, LL | 00945 | IC024 | FIL | 2013 | 2000037 | 2013-08-01 | 0.417 | 0.418 | 99.7608 | -0.23923 | -0.020583 | 0.02 | 1263 |  |  |  | mg/L | P53 | ICLL13207A