## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2022 | 2630186 | 2023-05-03 |  | 47.5 | 49.8 | 95.3815 | -4.6185 | 2.49 | -0.92369 | 6 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ALK__23121B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 2770116 | 2023-05-05 |  | 51.5 | 51 | 100.9804 | 0.98039 | 2.55 | 0.19608 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23125C
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 3060047 | 2023-05-08 |  | 13.7 | 14 | 97.8571 | -2.1429 | 2.08 | -0.14423 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23128B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 3400093 | 2023-05-08 |  | 17 | 18.6 | 91.3978 | -8.6022 | 2.91 | -0.54983 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23128I
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0100101 | 2023-05-10 |  | 28 | 27.2 | 102.9412 | 2.9412 | 2 | 0.4 | 4 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M240 | ALK__23130C
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0250121 | 2023-05-10 |  | 25.8 | 27.2 | 94.8529 | -5.1471 | 2 | -0.7 | 4 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M240 | ALK__23130D
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0380149 | 2023-05-10 |  | 33.9 | 35.4 | 95.7627 | -4.2373 | 2 | -0.75 | 4 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M234 | ALK__23130E
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 3610133 | 2023-05-10 |  | 16.3 | 18.6 | 87.6344 | -12.3656 | 2.91 | -0.79038 | 4 | 0070 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23128J
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0590091 | 2023-08-15 |  | 36.0045 | 35.4 | 101.7076 | 1.7076 | 1.77 | 0.34153 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M234 | ALK__23223A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0670104 | 2023-08-15 |  | 59.4174 | 60 | 99.029 | -0.971 | 3 | -0.1942 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M238 | ALK__23223A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0800072 | 2023-08-15 |  | 59.5456 | 60 | 99.2427 | -0.75733 | 3 | -0.15147 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M238 | ALK__23227A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 0940122 | 2023-08-16 |  | 51.227 | 51 | 100.4451 | 0.4451 | 2.55 | 0.08902 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M230 | ALK__23228A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1240208 | 2023-08-16 | E | 14.0824 | 14 | 100.5886 | 0.58857 | 2.08 | 0.039615 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M232 | ALK__23228B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1100087 | 2023-08-17 |  | 51.7431 | 51 | 101.4571 | 1.4571 | 2.55 | 0.29141 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M230 | ALK__23228A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1360046 | 2023-08-17 | E | 14.1211 | 14 | 100.865 | 0.865 | 2.08 | 0.058221 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M232 | ALK__23229A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1570042 | 2023-08-18 | E | 18.3533 | 18.6 | 98.6737 | -1.3263 | 2.91 | -0.084777 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M236 | ALK__23229A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1730214 | 2023-08-18 | E | 17.8676 | 18.6 | 96.0624 | -3.9376 | 2.91 | -0.25168 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M236 | ALK__23230A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1870308 | 2023-09-13 |  | 27.8542 | 27.2 | 102.4051 | 2.4051 | 1.85 | 0.35362 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M240 | ALK__23339B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 1990165 | 2023-09-13 |  | 27.2763 | 27.2 | 100.2805 | 0.28051 | 1.85 | 0.041243 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M240 | ALK__23339B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 2200129 | 2023-09-13 |  | 36.7636 | 35.4 | 103.852 | 3.852 | 1.77 | 0.7704 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M234 | ALK__23339B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 2490137 | 2023-09-15 |  | 61.363 | 60 | 102.2717 | 2.2717 | 3 | 0.45433 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M238 | ALK__23255C
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 2350094 | 2023-09-18 |  | 36.6805 | 35.4 | 103.6172 | 3.6172 | 1.77 | 0.72345 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M234 | ALK__23255B
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2023 | 2620180 | 2023-10-25 |  | 60.9067 | 60 | 101.5112 | 1.5112 | 3 | 0.30223 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M238 | ALK__23296A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2024 | 3120060 | 2023-12-26 |  | 59.9285 | 59.4 | 100.8897 | 0.88973 | 2.97 | 0.17795 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M244 | ALK__23360A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2024 | 3250148 | 2023-12-26 |  | 59.8961 | 59.4 | 100.8352 | 0.83519 | 2.97 | 0.16704 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M244 | ALK__23360A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2024 | 3390053 | 2023-12-26 | E | 17.6581 | 18.6 | 94.936 | -5.064 | 2.91 | -0.32368 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M236 | ALK__23360A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2024 | 3530160 | 2023-12-27 | E | 18.0142 | 18.6 | 96.8505 | -3.1495 | 2.91 | -0.20131 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M236 | ALK__23360C
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2024 | 0030059 | 2024-01-26 |  | 27.3295 | 27.2 | 100.4761 | 0.4761 | 1.85 | 0.07 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M240 | ALK__24025A
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 2024 | 0170009 | 2024-01-26 |  | 28.2839 | 27.2 | 103.9849 | 3.9849 | 1.85 | 0.58589 | 2.5 | 0070 | Holding time exceeded |  | See result laboratory comment | mg/l CaCO3 | M240 | ALK__24025A