## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 1730131 | 2022-09-03 |  | 85.427 | 83.1 | 102.8002 | 2.8002 | 4.155 | 0.56005 | 0.12 | 1571 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M236 | ICPRE22241B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 1740028 | 2022-09-04 |  | 3.171 | 3.31 | 95.8006 | -4.1994 | 0.1655 | -0.83988 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | P72 | ICPRE22241A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 1790080 | 2022-09-07 |  | 70.41 | 69.2 | 101.7486 | 1.7486 | 3.46 | 0.34971 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ICPRE22249B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 1870094 | 2022-09-20 |  | 9.418 | 9.51 | 99.0326 | -0.9674 | 0.4755 | -0.19348 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22262B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 1930199 | 2022-09-26 |  | 83.768 | 83.1 | 100.8039 | 0.80385 | 4.155 | 0.16077 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ICPRE22266C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 1880161 | 2022-09-27 |  | 2.771 | 2.9 | 95.5517 | -4.4483 | 0.145 | -0.88966 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | P71 | ICPRE22266A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2000022 | 2022-10-15 |  | 9.53 | 9.51 | 100.2103 | 0.2103 | 0.4755 | 0.042061 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22280C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2020025 | 2022-10-15 |  | 2.93 | 2.9 | 101.0345 | 1.0345 | 0.145 | 0.2069 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | P71 | ICPRE22280D
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2080414 | 2022-10-18 |  | 84.379 | 83.1 | 101.5391 | 1.5391 | 4.155 | 0.30782 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ICPRE22286B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2160002 | 2022-10-22 |  | 3.05 | 2.95 | 103.3898 | 3.3898 | 0.1475 | 0.67797 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | P73 | ICPRE22293B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2140166 | 2022-10-22 |  | 34.482 | 34.9 | 98.8023 | -1.1977 | 1.745 | -0.23954 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ICPRE22293A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2210115 | 2022-10-24 |  | 9.602 | 9.51 | 100.9674 | 0.9674 | 0.4755 | 0.19348 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22297A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2280344 | 2022-10-29 |  | 35.174 | 34.9 | 100.7851 | 0.7851 | 1.745 | 0.15702 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ICPRE22298B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2300210 | 2022-11-01 |  | 2.944 | 2.95 | 99.7966 | -0.20339 | 0.1475 | -0.040678 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | P73 | ICPRE22304C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2360389 | 2022-11-05 |  | 9.066 | 9.51 | 95.3312 | -4.6688 | 0.4755 | -0.93375 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22307A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2510443 | 2022-11-15 |  | 3.328 | 3.31 | 100.5438 | 0.54381 | 0.1655 | 0.10876 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | P72 | ICPRE22318C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2500493 | 2022-11-16 |  | 26.384 | 26.2 | 100.7023 | 0.70229 | 1.31 | 0.14046 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ICPRE22318B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2570118 | 2022-11-18 |  | 34.895 | 34.9 | 99.9857 | -0.014327 | 1.745 | -0.0028653 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ICPRE22319B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2630186 | 2022-11-19 |  | 26.214 | 26.2 | 100.0534 | 0.053435 | 1.31 | 0.010687 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ICPRE22321B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2710049 | 2022-11-21 |  | 35.03 | 34.9 | 100.3725 | 0.37249 | 1.745 | 0.074499 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ICPRE22322B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2022 | 2660047 | 2022-11-21 |  | 3.324 | 3.31 | 100.423 | 0.42296 | 0.1655 | 0.084592 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | P72 | ICPRE22322A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2770116 | 2022-11-22 |  | 36.547 | 36.4 | 100.4038 | 0.40385 | 1.82 | 0.080769 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ICPRE22322C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2860103 | 2022-11-24 |  | 89.318 | 87.7 | 101.8449 | 1.8449 | 4.385 | 0.36899 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ICPRE22325C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2790112 | 2022-11-24 |  | 2.005 | 2.08 | 96.3942 | -3.6058 | 0.104 | -0.72115 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | P74 | ICPRE22325A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2920220 | 2022-11-29 |  | 36.073 | 36.4 | 99.1016 | -0.89835 | 1.82 | -0.17967 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ICPRE22329A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2930118 | 2022-11-29 |  | 2.024 | 2.08 | 97.3077 | -2.6923 | 0.104 | -0.53846 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | P74 | ICPRE22329B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2990134 | 2022-12-01 |  | 88.185 | 87.7 | 100.553 | 0.55302 | 4.385 | 0.1106 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ICPRE22332B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 3060047 | 2022-12-02 |  | 68.978 | 69.2 | 99.6792 | -0.32081 | 3.46 | -0.064162 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ICPRE22333B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 3130107 | 2022-12-06 |  | 36.035 | 36.4 | 98.9973 | -1.0027 | 1.82 | -0.20055 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ICPRE22335B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 3200143 | 2022-12-09 |  | 68.984 | 69.2 | 99.6879 | -0.31214 | 3.46 | -0.062428 | 0.02 | 1571 |  |  |  | mg/L | M232 | ICPRE22339A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 3070230 | 2022-12-09 |  | 3.008 | 2.95 | 101.9661 | 1.9661 | 0.1475 | 0.39322 | 0.02 | 1571 | Holding time exceeded | See result laboratory comment |  | mg/L | P73 | ICPRE22342A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 3210268 | 2022-12-12 |  | 2.992 | 2.95 | 101.4237 | 1.4237 | 0.1475 | 0.28475 | 0.02 | 1571 |  |  |  | mg/L | P73 | ICPRE22342B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 3330052 | 2022-12-14 |  | 36.118 | 36.4 | 99.2253 | -0.77473 | 1.82 | -0.15495 | 0.02 | 1571 |  |  |  | mg/L | M230 | ICPRE22346A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 3400093 | 2022-12-17 |  | 83.413 | 83.1 | 100.3767 | 0.37665 | 4.155 | 0.075331 | 0.02 | 1571 |  |  |  | mg/L | M236 | ICPRE22349A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 3420128 | 2022-12-20 |  | 3.289 | 3.31 | 99.3656 | -0.63444 | 0.1655 | -0.12689 | 0.02 | 1571 |  |  |  | mg/L | P72 | ICPRE22350A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 3610133 | 2023-01-10 |  | 83.161 | 83.1 | 100.0734 | 0.073406 | 4.155 | 0.014681 | 0.02 | 1571 |  |  |  | mg/L | M236 | ICPRE23005A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 3620085 | 2023-01-10 |  | 3.331 | 3.31 | 100.6344 | 0.63444 | 0.1655 | 0.12689 | 0.02 | 1571 |  |  |  | mg/L | P72 | ICPRE23005A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0100101 | 2023-01-18 |  | 29.078 | 28.9 | 100.6159 | 0.61592 | 1.445 | 0.12318 | 0.02 | 1571 |  |  |  | mg/L | M240 | ICPRE23017A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0120193 | 2023-01-26 |  | 1.974 | 2.08 | 94.9038 | -5.0962 | 0.104 | -1.0192 | 0.02 | 1571 |  |  |  | mg/L | P74 | ICPRE23025B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0250121 | 2023-02-02 |  | 28.497 | 28.9 | 98.6055 | -1.3945 | 1.445 | -0.27889 | 0.02 | 1571 |  |  |  | mg/L | M240 | ICPRE23032C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0260066 | 2023-02-08 |  | 2.011 | 2.08 | 96.6827 | -3.3173 | 0.104 | -0.66346 | 0.02 | 1571 |  |  |  | mg/L | P74 | ICPRE23039A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0380149 | 2023-02-23 |  | 34.538 | 34.9 | 98.9628 | -1.0372 | 1.745 | -0.20745 | 0.02 | 1571 |  |  |  | mg/L | M234 | ICPRE23052A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0400091 | 2023-03-16 |  | 2.928 | 2.95 | 99.2542 | -0.74576 | 0.1475 | -0.14915 | 0.02 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE23065A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0590091 | 2023-03-17 |  | 34.65 | 34.9 | 99.2837 | -0.71633 | 1.745 | -0.14327 | 0.02 | 1571 |  |  |  | mg/L | M234 | ICPRE23073A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0600114 | 2023-03-18 |  | 2.895 | 2.95 | 98.1356 | -1.8644 | 0.1475 | -0.37288 | 0.02 | 1571 |  |  |  | mg/L | P73 | ICPRE23073A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0680147 | 2023-03-28 |  | 3.287 | 3.31 | 99.3051 | -0.69486 | 0.1655 | -0.13897 | 0.02 | 1571 |  |  |  | mg/L | P72 | ICPRE23080B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0670104 | 2023-03-30 |  | 88.776 | 87.7 | 101.2269 | 1.2269 | 4.385 | 0.24538 | 0.02 | 1571 |  |  |  | mg/L | M238 | ICPRE23087A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0740031 | 2023-03-30 |  | 34.904 | 34.9 | 100.0115 | 0.011461 | 1.745 | 0.0022923 | 0.02 | 1571 |  |  |  | mg/L | M234 | ICPRE23087A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0800072 | 2023-03-31 |  | 87.765 | 87.7 | 100.0741 | 0.074116 | 4.385 | 0.014823 | 0.02 | 1571 |  |  |  | mg/L | M238 | ICPRE23089B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0820080 | 2023-04-01 |  | 3.406 | 3.31 | 102.9003 | 2.9003 | 0.1655 | 0.58006 | 0.02 | 1571 |  |  |  | mg/L | P72 | ICPRE23089C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0880091 | 2023-04-07 |  | 34.767 | 34.9 | 99.6189 | -0.38109 | 1.745 | -0.076218 | 0.02 | 1571 |  |  |  | mg/L | M234 | ICPRE23090C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0940122 | 2023-04-12 |  | 36.036 | 36.4 | 99 | -1 | 1.82 | -0.2 | 0.02 | 1571 |  |  |  | mg/L | M230 | ICPRE23100B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1020110 | 2023-04-24 |  | 88.279 | 87.7 | 100.6602 | 0.66021 | 4.385 | 0.13204 | 0.02 | 1571 |  |  |  | mg/L | M238 | ICPRE23111B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 0960143 | 2023-04-27 |  | 1.977 | 2.08 | 95.0481 | -4.9519 | 0.104 | -0.99038 | 0.02 | 1571 |  |  |  | mg/L | P74 | ICPRE23115A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1100087 | 2023-05-05 |  | 35.803 | 36.4 | 98.3599 | -1.6401 | 1.82 | -0.32802 | 0.02 | 1571 |  |  |  | mg/L | M230 | ICPRE23124A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1170146 | 2023-05-05 |  | 88.565 | 87.7 | 100.9863 | 0.98632 | 4.385 | 0.19726 | 0.02 | 1571 |  |  |  | mg/L | M238 | ICPRE23124C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1150155 | 2023-05-05 |  | 2.024 | 2.08 | 97.3077 | -2.6923 | 0.104 | -0.53846 | 0.02 | 1571 |  |  |  | mg/L | P74 | ICPRE23124B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1300168 | 2023-05-16 |  | 35.892 | 36.4 | 98.6044 | -1.3956 | 1.82 | -0.27912 | 0.02 | 1571 |  |  |  | mg/L | M230 | ICPRE23135C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1250198 | 2023-05-16 |  | 2.978 | 2.95 | 100.9492 | 0.94915 | 0.1475 | 0.18983 | 0.02 | 1571 |  |  |  | mg/L | P73 | ICPRE23135B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1360046 | 2023-05-19 |  | 69.113 | 69.2 | 99.8743 | -0.12572 | 3.46 | -0.025145 | 0.02 | 1571 |  |  |  | mg/L | M232 | ICPRE23139C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1240208 | 2023-05-26 |  | 122.166 | 69.2 | 176.5405 | 76.5405 | 3.46 | 15.3081 | 0.02 | 1571 | Sample was diluted |  |  | mg/L | M232 | ICPRE23145A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1380202 | 2023-05-27 |  | 3.017 | 2.95 | 102.2712 | 2.2712 | 0.1475 | 0.45424 | 0.02 | 1571 |  |  |  | mg/L | P73 | ICPRE23145C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1440059 | 2023-05-31 |  | 36.226 | 36.4 | 99.522 | -0.47802 | 1.82 | -0.095604 | 0.02 | 1571 |  |  |  | mg/L | M230 | ICPRE23146B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1590230 | 2023-06-16 |  | 3.206 | 3.31 | 96.858 | -3.142 | 0.1655 | -0.6284 | 0.02 | 1571 |  |  |  | mg/L | P72 | ICPRE23167A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1650064 | 2023-06-24 |  | 68.966 | 69.2 | 99.6618 | -0.33815 | 3.46 | -0.06763 | 0.02 | 1571 |  |  |  | mg/L | M232 | ICPRE23173F
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1570042 | 2023-06-30 |  | 83.589 | 83.1 | 100.5884 | 0.58845 | 4.155 | 0.11769 | 0.05 | 1571 |  |  |  | mg/L | M236 | ICPRE23180A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1730214 | 2023-07-01 |  | 82.359 | 83.1 | 99.1083 | -0.8917 | 4.155 | -0.17834 | 0.05 | 1571 |  |  |  | mg/L | M236 | ICPRE23180B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1790029 | 2023-07-06 |  | 3.469 | 3.31 | 104.8036 | 4.8036 | 0.1655 | 0.96073 | 0.05 | 1571 |  |  |  | mg/L | P72 | ICPRE23181B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1840084 | 2023-07-07 |  | 68.329 | 69.2 | 98.7413 | -1.2587 | 3.46 | -0.25173 | 0.05 | 1571 |  |  |  | mg/L | M232 | ICPRE23188A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1870308 | 2023-07-12 |  | 28.263 | 28.9 | 97.7958 | -2.2042 | 1.445 | -0.44083 | 0.05 | 1571 |  |  |  | mg/L | M240 | ICPRE23191A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1920169 | 2023-07-19 |  | 1.982 | 2.08 | 95.2885 | -4.7115 | 0.104 | -0.94231 | 0.05 | 1571 |  |  |  | mg/L | P74 | ICPRE23198B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1940232 | 2023-07-26 |  | 83.773 | 83.1 | 100.8099 | 0.80987 | 4.155 | 0.16197 | 0.05 | 1571 |  |  |  | mg/L | M236 | ICPRE23200B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 1990165 | 2023-08-09 |  | 28.854 | 28.9 | 99.8408 | -0.15917 | 1.445 | -0.031834 | 0.05 | 1571 |  |  |  | mg/L | M240 | ICPRE23205B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2020023 | 2023-08-10 |  | 2.098 | 2.08 | 100.8654 | 0.86538 | 0.104 | 0.17308 | 0.05 | 1571 |  |  |  | mg/L | P74 | ICPRE23205C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2060141 | 2023-08-10 |  | 83.895 | 83.1 | 100.9567 | 0.95668 | 4.155 | 0.19134 | 0.05 | 1571 |  |  |  | mg/L | M236 | ICPRE23220A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2220098 | 2023-08-23 |  | 2.992 | 2.95 | 101.4237 | 1.4237 | 0.1475 | 0.28475 | 0.05 | 1571 |  |  |  | mg/L | P73 | ICPRE23230B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2200129 | 2023-08-24 |  | 7.258 | 34.9 | 20.7966 | -79.2034 | 1.745 | -15.8407 | 0.05 | 1571 |  |  |  | mg/L | M234 | ICPRE23230A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2280172 | 2023-08-31 |  | 28.479 | 28.9 | 98.5433 | -1.4567 | 1.445 | -0.29135 | 0.05 | 1571 |  |  |  | mg/L | M240 | ICPRE23237B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2350094 | 2023-09-13 |  | 34.915 | 34.9 | 100.043 | 0.04298 | 1.745 | 0.008596 | 0.05 | 1571 |  |  |  | mg/L | M234 | ICPRE23248B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2360091 | 2023-09-14 |  | 3.046 | 2.95 | 103.2542 | 3.2542 | 0.1475 | 0.65085 | 0.05 | 1571 |  |  |  | mg/L | P73 | ICPRE23248B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2440133 | 2023-11-18 |  | 29.42 | 28.9 | 101.7993 | 1.7993 | 1.445 | 0.35986 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | M240 | ICPRE23305A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2490137 | 2023-11-21 |  | 89.956 | 87.7 | 102.5724 | 2.5724 | 4.385 | 0.51448 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | M238 | ICPRE23320A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2500321 | 2023-12-02 |  | 3.578 | 3.31 | 108.0967 | 8.0967 | 0.1655 | 1.6193 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P72 | ICPRE23325A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2560087 | 2023-12-07 |  | 35.665 | 34.9 | 102.192 | 2.192 | 1.745 | 0.4384 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | M234 | ICPRE23335A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2620180 | 2023-12-12 |  | 89.848 | 87.7 | 102.4493 | 2.4493 | 4.385 | 0.48985 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | M238 | ICPRE23342A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2690095 | 2023-12-14 |  | 34.262 | 34.9 | 98.1719 | -1.8281 | 1.745 | -0.36562 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | M234 | ICPRE23346A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2023 | 2640107 | 2023-12-14 |  | 3.366 | 3.31 | 101.6918 | 1.6918 | 0.1655 | 0.33837 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P72 | ICPRE23345A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 2770169 | 2023-12-16 |  | 2.047 | 2.08 | 98.4135 | -1.5865 | 0.104 | -0.31731 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE23348B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 2930010 | 2024-01-06 |  | 2.07 | 2.08 | 99.5192 | -0.48077 | 0.104 | -0.096154 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE24004B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 3120060 | 2024-01-20 |  | 183.577 | 182 | 100.8665 | 0.86648 | 9.1 | 0.1733 | 0.05 | 1571 | Holding time exceeded |  | Sample was diluted | mg/L | M244 | ICPRE24018A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 3130126 | 2024-01-24 |  | 3.066 | 2.95 | 103.9322 | 3.9322 | 0.1475 | 0.78644 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE24022A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 3320174 | 2024-02-02 |  | 2.517 | 2.95 | 85.322 | -14.678 | 0.1475 | -2.9356 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE24032B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 3390053 | 2024-02-06 |  | 83.263 | 83.1 | 100.1961 | 0.19615 | 4.155 | 0.03923 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | M236 | ICPRE24033A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 3420008 | 2024-02-10 |  | 2.462 | 2.18 | 112.9358 | 12.9358 | 0.109 | 2.5872 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P75 | ICPRE24033C
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 3530160 | 2024-02-16 |  | 85.826 | 83.1 | 103.2804 | 3.2804 | 4.155 | 0.65608 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | M236 | ICPRE24040B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 3550284 | 2024-02-17 |  | 2.493 | 2.18 | 114.3578 | 14.3578 | 0.109 | 2.8716 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P75 | ICPRE24047A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 0030059 | 2024-02-22 |  | 29.008 | 28.9 | 100.3737 | 0.3737 | 1.445 | 0.07474 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | M240 | ICPRE24051A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 0040088 | 2024-02-23 |  | 1.9 | 2.08 | 91.3462 | -8.6538 | 0.104 | -1.7308 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE24051A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 0170009 | 2024-02-26 |  | 29.005 | 28.9 | 100.3633 | 0.36332 | 1.445 | 0.072664 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | M240 | ICPRE24053B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 0180109 | 2024-02-27 |  | 1.872 | 2.08 | 90 | -10 | 0.104 | -2 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE24053B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 3250148 | 2024-03-08 |  | 187.535 | 182 | 103.0412 | 3.0412 | 9.1 | 0.60824 | 0.05 | 1571 | Holding time exceeded |  | Sample was diluted | mg/L | M244 | ICPRE24032A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 0530094 | 2024-03-19 |  | 3.169 | 2.95 | 107.4237 | 7.4237 | 0.1475 | 1.4847 | 0.05 | 1571 |  |  |  | mg/L | P73 | ICPRE24076A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 0390103 | 2024-03-28 |  | 3.191 | 2.95 | 108.1695 | 8.1695 | 0.1475 | 1.6339 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE24080B
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 0670128 | 2024-04-04 |  | 2.292 | 2.18 | 105.1376 | 5.1376 | 0.109 | 1.0275 | 0.05 | 1571 | Holding time exceeded |  | See result laboratory comment | mg/L | P75 | ICPRE24089A
Chloride, FIL, IC | 00940 | IC022 | FIL | 2024 | 0810190 | 2024-04-14 |  | 2.207 | 2.18 | 101.2385 | 1.2385 | 0.109 | 0.24771 | 0.05 | 1571 |  |  |  | mg/L | P75 | ICPRE24096B