## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 1580089 | 2022-09-01 |  | 2.549 | 2.2 | 115.8636 | 15.8636 | 0.133 | 2.6241 | 0.01 | 0651 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M236 | ICPRE22230B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 1740028 | 2022-09-04 |  | 0.11 | 0.112 | 98.2143 | -1.7857 | 0.015 | -0.13333 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | P72 | ICPRE22241A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 1790080 | 2022-09-07 |  | 0.214 | 0.2 | 107 | 7 | 0.022 | 0.63636 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ICPRE22249B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 0670122 | 2022-09-09 |  | 1.146 | 1.09 | 105.1376 | 5.1376 | 0.0545 | 1.0275 | 0.01 | 0651 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M234 | ICPRE22251A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 1870094 | 2022-09-20 |  | 0.724 | 0.68 | 106.4706 | 6.4706 | 0.034 | 1.2941 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22262B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 1730131 | 2022-09-20 |  | 2.455 | 2.2 | 111.5909 | 11.5909 | 0.133 | 1.9173 | 0.01 | 0651 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M236 | ICPRE22262A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 1880161 | 2022-09-27 |  | 0.064 | 0.04 | 160 | 60 | 0.013 | 1.8462 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | P71 | ICPRE22266A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 1930199 | 2022-10-12 |  | 2.285 | 2.2 | 103.8636 | 3.8636 | 0.133 | 0.6391 | 0.01 | 0651 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M236 | ICPRE22280B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2000022 | 2022-10-15 |  | 0.738 | 0.68 | 108.5294 | 8.5294 | 0.034 | 1.7059 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22280C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2020025 | 2022-10-15 |  | 0.046 | 0.04 | 115 | 15 | 0.013 | 0.46154 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | P71 | ICPRE22280D
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2080414 | 2022-10-21 |  | 2.301 | 2.2 | 104.5909 | 4.5909 | 0.133 | 0.7594 | 0.01 | 0651 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M236 | ICPRE22293A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2160002 | 2022-10-22 |  | 0.059 | 0.061 | 96.7213 | -3.2787 | 0.028 | -0.071429 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | P73 | ICPRE22293B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2210115 | 2022-10-24 |  | 0.733 | 0.68 | 107.7941 | 7.7941 | 0.034 | 1.5588 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22297A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2140166 | 2022-10-27 |  | 1.081 | 1.09 | 99.1743 | -0.82569 | 0.0545 | -0.16514 | 0.01 | 0651 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M234 | ICPRE22298A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2300210 | 2022-11-01 |  | 0.061 | 0.061 | 100 | 0 | 0.028 | 0 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | P73 | ICPRE22304C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2360389 | 2022-11-05 |  | 0.685 | 0.68 | 100.7353 | 0.73529 | 0.034 | 0.14706 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22307A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2280344 | 2022-11-14 |  | 1.042 | 1.09 | 95.5963 | -4.4037 | 0.0545 | -0.88073 | 0.01 | 0651 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M234 | ICPRE22318A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2510443 | 2022-11-15 |  | 0.123 | 0.112 | 109.8214 | 9.8214 | 0.015 | 0.73333 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | P72 | ICPRE22318C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2500493 | 2022-11-16 |  | 0.246 | 0.242 | 101.6529 | 1.6529 | 0.014 | 0.28571 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ICPRE22318B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2630186 | 2022-11-19 |  | 0.24 | 0.242 | 99.1736 | -0.82645 | 0.014 | -0.14286 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ICPRE22321B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2660047 | 2022-11-21 |  | 0.113 | 0.112 | 100.8929 | 0.89286 | 0.015 | 0.066667 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | P72 | ICPRE22322A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2770116 | 2022-11-22 |  | 0.314 | 0.309 | 101.6181 | 1.6181 | 0.024 | 0.20833 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ICPRE22322C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2860103 | 2022-11-24 |  | 0.268 | 0.27 | 99.2593 | -0.74074 | 0.048 | -0.041667 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ICPRE22325C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2790112 | 2022-11-24 |  | 0.086 | 0.088 | 97.7273 | -2.2727 | 0.006 | -0.33333 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | P74 | ICPRE22325A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2920220 | 2022-11-29 |  | 0.307 | 0.309 | 99.3528 | -0.64725 | 0.024 | -0.083333 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ICPRE22329A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2930118 | 2022-11-29 |  | 0.093 | 0.088 | 105.6818 | 5.6818 | 0.006 | 0.83333 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | P74 | ICPRE22329B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2990134 | 2022-12-01 |  | 0.269 | 0.27 | 99.6296 | -0.37037 | 0.048 | -0.020833 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ICPRE22332B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 3060047 | 2022-12-02 |  | 0.222 | 0.2 | 111 | 11 | 0.022 | 1 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ICPRE22333B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 3130107 | 2022-12-06 |  | 0.305 | 0.309 | 98.7055 | -1.2945 | 0.024 | -0.16667 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ICPRE22335B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 3200143 | 2022-12-09 |  | 0.2 | 0.2 | 100 | 0 | 0.022 | 0 | 0.01 | 0651 |  |  |  | mg/L | M232 | ICPRE22339A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 3070230 | 2022-12-09 |  | 0.058 | 0.061 | 95.082 | -4.918 | 0.028 | -0.10714 | 0.01 | 0651 | Holding time exceeded | See result laboratory comment |  | mg/L | P73 | ICPRE22342A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 3210268 | 2022-12-12 |  | 0.054 | 0.061 | 88.5246 | -11.4754 | 0.028 | -0.25 | 0.01 | 0651 |  |  |  | mg/L | P73 | ICPRE22342B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 3330052 | 2022-12-14 |  | 0.3 | 0.309 | 97.0874 | -2.9126 | 0.024 | -0.375 | 0.01 | 0651 |  |  |  | mg/L | M230 | ICPRE22346A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2570118 | 2022-12-17 |  | 1.077 | 1.09 | 98.8073 | -1.1927 | 0.0545 | -0.23853 | 0.01 | 0651 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M234 | ICPRE22349B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 3420128 | 2022-12-20 |  | 0.119 | 0.112 | 106.25 | 6.25 | 0.015 | 0.46667 | 0.01 | 0651 |  |  |  | mg/L | P72 | ICPRE22350A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2022 | 2710049 | 2022-12-22 |  | 1.029 | 1.09 | 94.4037 | -5.5963 | 0.0545 | -1.1193 | 0.01 | 0651 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M234 | ICPRE22354A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 3400093 | 2022-12-30 |  | 2.358 | 2.2 | 107.1818 | 7.1818 | 0.133 | 1.188 | 0.01 | 0651 | Sample was diluted |  |  | mg/L | M236 | ICPRE22357A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 3620085 | 2023-01-10 |  | 0.105 | 0.112 | 93.75 | -6.25 | 0.015 | -0.46667 | 0.01 | 0651 |  |  |  | mg/L | P72 | ICPRE23005A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 3610133 | 2023-01-12 |  | 2.355 | 2.2 | 107.0455 | 7.0455 | 0.133 | 1.1654 | 0.01 | 0651 | Sample was diluted |  |  | mg/L | M236 | ICPRE23011A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0100101 | 2023-01-18 |  | 0.296 | 0.29 | 102.069 | 2.069 | 0.03 | 0.2 | 0.01 | 0651 |  |  |  | mg/L | M240 | ICPRE23017A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0120193 | 2023-01-26 |  | 0.11 | 0.088 | 125 | 25 | 0.006 | 3.6667 | 0.01 | 0651 |  |  |  | mg/L | P74 | ICPRE23025B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0250121 | 2023-02-02 |  | 0.323 | 0.29 | 111.3793 | 11.3793 | 0.03 | 1.1 | 0.01 | 0651 |  |  |  | mg/L | M240 | ICPRE23032C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0260066 | 2023-02-08 |  | 0.098 | 0.088 | 111.3636 | 11.3636 | 0.006 | 1.6667 | 0.01 | 0651 |  |  |  | mg/L | P74 | ICPRE23039A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0380149 | 2023-03-13 |  | 1.127 | 1.09 | 103.3945 | 3.3945 | 0.0545 | 0.6789 | 0.01 | 0651 | Holding time exceeded |  | Sample was diluted | mg/L | M234 | ICPRE23061A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0400091 | 2023-03-16 |  | 0.076 | 0.061 | 124.5902 | 24.5902 | 0.028 | 0.53571 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE23065A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0600114 | 2023-03-18 |  | 0.05 | 0.061 | 81.9672 | -18.0328 | 0.028 | -0.39286 | 0.01 | 0651 |  |  |  | mg/L | P73 | ICPRE23073A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0680147 | 2023-03-28 |  | 0.13 | 0.112 | 116.0714 | 16.0714 | 0.015 | 1.2 | 0.01 | 0651 |  |  |  | mg/L | P72 | ICPRE23080B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0670104 | 2023-03-30 |  | 0.261 | 0.27 | 96.6667 | -3.3333 | 0.048 | -0.1875 | 0.01 | 0651 |  |  |  | mg/L | M238 | ICPRE23087A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0800072 | 2023-03-31 |  | 0.263 | 0.27 | 97.4074 | -2.5926 | 0.048 | -0.14583 | 0.01 | 0651 |  |  |  | mg/L | M238 | ICPRE23089B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0820080 | 2023-04-01 |  | 0.127 | 0.112 | 113.3929 | 13.3929 | 0.015 | 1 | 0.01 | 0651 |  |  |  | mg/L | P72 | ICPRE23089C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0590091 | 2023-04-06 |  | 1.112 | 1.09 | 102.0183 | 2.0183 | 0.0545 | 0.40367 | 0.01 | 0651 | Holding time exceeded |  | Sample was diluted | mg/L | M234 | ICPRE23090A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0740031 | 2023-04-07 |  | 1.147 | 1.09 | 105.2294 | 5.2294 | 0.0545 | 1.0459 | 0.01 | 0651 | Sample was diluted |  |  | mg/L | M234 | ICPRE23090A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0940122 | 2023-04-12 |  | 0.322 | 0.309 | 104.2071 | 4.2071 | 0.024 | 0.54167 | 0.01 | 0651 |  |  |  | mg/L | M230 | ICPRE23100B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0880091 | 2023-04-12 |  | 1.096 | 1.09 | 100.5505 | 0.55046 | 0.0545 | 0.11009 | 0.01 | 0651 | Sample was diluted |  |  | mg/L | M234 | ICPRE23100A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1020110 | 2023-04-24 |  | 0.286 | 0.27 | 105.9259 | 5.9259 | 0.048 | 0.33333 | 0.01 | 0651 |  |  |  | mg/L | M238 | ICPRE23111B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 0960143 | 2023-04-27 |  | 0.085 | 0.088 | 96.5909 | -3.4091 | 0.006 | -0.5 | 0.01 | 0651 |  |  |  | mg/L | P74 | ICPRE23115A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1100087 | 2023-05-05 |  | 0.312 | 0.309 | 100.9709 | 0.97087 | 0.024 | 0.125 | 0.01 | 0651 |  |  |  | mg/L | M230 | ICPRE23124A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1170146 | 2023-05-05 |  | 0.301 | 0.27 | 111.4815 | 11.4815 | 0.048 | 0.64583 | 0.01 | 0651 |  |  |  | mg/L | M238 | ICPRE23124C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1150155 | 2023-05-05 |  | 0.096 | 0.088 | 109.0909 | 9.0909 | 0.006 | 1.3333 | 0.01 | 0651 |  |  |  | mg/L | P74 | ICPRE23124B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1240208 | 2023-05-16 |  | 0.256 | 0.2 | 128 | 28 | 0.022 | 2.5455 | 0.01 | 0651 |  |  |  | mg/L | M232 | ICPRE23135A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1300168 | 2023-05-16 |  | 0.323 | 0.309 | 104.5307 | 4.5307 | 0.024 | 0.58333 | 0.01 | 0651 |  |  |  | mg/L | M230 | ICPRE23135C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1250198 | 2023-05-16 |  | 0.08 | 0.061 | 131.1475 | 31.1475 | 0.028 | 0.67857 | 0.01 | 0651 |  |  |  | mg/L | P73 | ICPRE23135B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1360046 | 2023-05-19 |  | 0.219 | 0.2 | 109.5 | 9.5 | 0.022 | 0.86364 | 0.01 | 0651 |  |  |  | mg/L | M232 | ICPRE23139C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1380202 | 2023-05-27 |  | 0.072 | 0.061 | 118.0328 | 18.0328 | 0.028 | 0.39286 | 0.01 | 0651 |  |  |  | mg/L | P73 | ICPRE23145C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1440059 | 2023-05-31 |  | 0.316 | 0.309 | 102.2654 | 2.2654 | 0.024 | 0.29167 | 0.01 | 0651 |  |  |  | mg/L | M230 | ICPRE23146B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1590230 | 2023-06-16 |  | 0.102 | 0.112 | 91.0714 | -8.9286 | 0.015 | -0.66667 | 0.01 | 0651 |  |  |  | mg/L | P72 | ICPRE23167A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1650064 | 2023-06-24 |  | 0.25 | 0.2 | 125 | 25 | 0.022 | 2.2727 | 0.01 | 0651 |  |  |  | mg/L | M232 | ICPRE23173F
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1790029 | 2023-07-06 |  | 0.11 | 0.112 | 98.2143 | -1.7857 | 0.015 | -0.13333 | 0.01 | 0651 |  |  |  | mg/L | P72 | ICPRE23181B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1840084 | 2023-07-07 |  | 0.227 | 0.2 | 113.5 | 13.5 | 0.022 | 1.2273 | 0.01 | 0651 |  |  |  | mg/L | M232 | ICPRE23188A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1570042 | 2023-07-11 |  | 2.417 | 2.2 | 109.8636 | 9.8636 | 0.133 | 1.6316 | 0.01 | 0651 | Holding time exceeded |  | Sample was diluted | mg/L | M236 | ICPRE23191A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1730214 | 2023-07-11 |  | 2.391 | 2.2 | 108.6818 | 8.6818 | 0.133 | 1.4361 | 0.01 | 0651 | Sample was diluted |  |  | mg/L | M236 | ICPRE23191A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1870308 | 2023-07-12 |  | 0.306 | 0.29 | 105.5172 | 5.5172 | 0.03 | 0.53333 | 0.01 | 0651 |  |  |  | mg/L | M240 | ICPRE23191A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1920169 | 2023-07-19 |  | 0.131 | 0.088 | 148.8636 | 48.8636 | 0.006 | 7.1667 | 0.01 | 0651 |  |  |  | mg/L | P74 | ICPRE23198B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1940232 | 2023-08-08 |  | 2.618 | 2.2 | 119 | 19 | 0.133 | 3.1429 | 0.01 | 0651 | Holding time exceeded |  | Sample was diluted | mg/L | M236 | ICPRE23205A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 1990165 | 2023-08-09 |  | 0.322 | 0.29 | 111.0345 | 11.0345 | 0.03 | 1.0667 | 0.01 | 0651 |  |  |  | mg/L | M240 | ICPRE23205B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2020023 | 2023-08-10 |  | 0.092 | 0.088 | 104.5455 | 4.5455 | 0.006 | 0.66667 | 0.01 | 0651 |  |  |  | mg/L | P74 | ICPRE23205C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2060141 | 2023-08-21 |  | 2.324 | 2.2 | 105.6364 | 5.6364 | 0.133 | 0.93233 | 0.01 | 0651 | Sample was diluted |  |  | mg/L | M236 | ICPRE23228A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2220098 | 2023-08-23 |  | 0.061 | 0.061 | 100 | 0 | 0.028 | 0 | 0.01 | 0651 |  |  |  | mg/L | P73 | ICPRE23230B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2200129 | 2023-08-24 |  | 0.333 | 1.09 | 30.5505 | -69.4495 | 0.0545 | -13.8899 | 0.01 | 0651 |  |  |  | mg/L | M234 | ICPRE23230A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2280172 | 2023-08-31 |  | 0.334 | 0.29 | 115.1724 | 15.1724 | 0.03 | 1.4667 | 0.01 | 0651 |  |  |  | mg/L | M240 | ICPRE23237B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2350094 | 2023-10-17 |  | 1.072 | 1.09 | 98.3486 | -1.6514 | 0.0545 | -0.33028 | 0.01 | 0651 | Holding time exceeded |  | Sample was diluted | mg/L | M234 | ICPRE23276A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2360091 | 2023-10-19 |  | 0.076 | 0.061 | 124.5902 | 24.5902 | 0.028 | 0.53571 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE23277A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2440133 | 2023-11-18 |  | 0.297 | 0.29 | 102.4138 | 2.4138 | 0.03 | 0.23333 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | M240 | ICPRE23305A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2490137 | 2023-11-21 |  | 0.274 | 0.27 | 101.4815 | 1.4815 | 0.048 | 0.083333 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | M238 | ICPRE23320A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2500321 | 2023-12-02 |  | 0.12 | 0.112 | 107.1429 | 7.1429 | 0.015 | 0.53333 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P72 | ICPRE23325A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2620180 | 2023-12-12 |  | 0.291 | 0.27 | 107.7778 | 7.7778 | 0.048 | 0.4375 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | M238 | ICPRE23342A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2640107 | 2023-12-14 |  | 0.106 | 0.112 | 94.6429 | -5.3571 | 0.015 | -0.4 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P72 | ICPRE23345A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 2770169 | 2023-12-16 |  | 0.097 | 0.088 | 110.2273 | 10.2273 | 0.006 | 1.5 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE23348B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2560087 | 2023-12-20 |  | 1.151 | 1.09 | 105.5963 | 5.5963 | 0.0545 | 1.1193 | 0.01 | 0651 | Holding time exceeded |  | Sample was diluted | mg/L | M234 | ICPRE23352A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2023 | 2690095 | 2024-01-06 |  | 1.125 | 1.09 | 103.211 | 3.211 | 0.0545 | 0.6422 | 0.01 | 0651 | Holding time exceeded |  | Sample was diluted | mg/L | M234 | ICPRE24004A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 2930010 | 2024-01-06 |  | 0.087 | 0.088 | 98.8636 | -1.1364 | 0.006 | -0.16667 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE24004B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 3120060 | 2024-01-20 |  | 0.371 | 0.34 | 109.1176 | 9.1176 | 0.045 | 0.68889 | 0.01 | 0651 | Holding time exceeded |  | Sample was diluted | mg/L | M244 | ICPRE24018A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 3130126 | 2024-01-24 |  | 0.061 | 0.061 | 100 | 0 | 0.028 | 0 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE24022A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 3320174 | 2024-02-02 |  | 0.064 | 0.061 | 104.918 | 4.918 | 0.028 | 0.10714 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE24032B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 3420008 | 2024-02-10 |  | 0.059 | 0.053 | 111.3208 | 11.3208 | 0.011 | 0.54545 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P75 | ICPRE24033C
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 3390053 | 2024-02-12 |  | 2.271 | 2.2 | 103.2273 | 3.2273 | 0.133 | 0.53383 | 0.01 | 0651 | Holding time exceeded |  | Sample was diluted | mg/L | M236 | ICPRE24040A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 3550284 | 2024-02-17 |  | 0.063 | 0.053 | 118.8679 | 18.8679 | 0.011 | 0.90909 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P75 | ICPRE24047A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 0030059 | 2024-02-22 |  | 0.315 | 0.29 | 108.6207 | 8.6207 | 0.03 | 0.83333 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | M240 | ICPRE24051A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 0040088 | 2024-02-23 |  | 0.099 | 0.088 | 112.5 | 12.5 | 0.006 | 1.8333 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE24051A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 0170009 | 2024-02-26 |  | 0.308 | 0.29 | 106.2069 | 6.2069 | 0.03 | 0.6 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | M240 | ICPRE24053B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 0180109 | 2024-02-27 |  | 0.097 | 0.088 | 110.2273 | 10.2273 | 0.006 | 1.5 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE24053B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 3250148 | 2024-03-08 |  | 0.384 | 0.34 | 112.9412 | 12.9412 | 0.045 | 0.97778 | 0.01 | 0651 | Holding time exceeded |  | Sample was diluted | mg/L | M244 | ICPRE24032A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 3530160 | 2024-03-16 |  | 2.308 | 2.2 | 104.9091 | 4.9091 | 0.133 | 0.81203 | 0.01 | 0651 | Holding time exceeded |  | Sample was diluted | mg/L | M236 | ICPRE24068A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 0530094 | 2024-03-19 |  | 0.062 | 0.061 | 101.6393 | 1.6393 | 0.028 | 0.035714 | 0.01 | 0651 |  |  |  | mg/L | P73 | ICPRE24076A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 0390103 | 2024-03-28 |  | 0.066 | 0.061 | 108.1967 | 8.1967 | 0.028 | 0.17857 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE24080B
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 0670128 | 2024-04-04 |  | 0.067 | 0.053 | 126.4151 | 26.4151 | 0.011 | 1.2727 | 0.01 | 0651 | Holding time exceeded |  | See result laboratory comment | mg/L | P75 | ICPRE24089A
Fluoride, FIL, IC | 00950 | IC003 | FIL | 2024 | 0810190 | 2024-04-14 |  | 0.067 | 0.053 | 126.4151 | 26.4151 | 0.011 | 1.2727 | 0.01 | 0651 |  |  |  | mg/L | P75 | ICPRE24096B