## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 1580089 | 2022-09-01 |  | 98.572 | 96.5 | 102.1472 | 2.1472 | 4.825 | 0.42943 | 0.18 | 1572 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M236 | ICPRE22230B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 1730131 | 2022-09-03 |  | 99.736 | 96.5 | 103.3534 | 3.3534 | 4.825 | 0.67067 | 0.02 | 1572 | Holding time exceeded | Sample was diluted | See result laboratory comment | mg/L | M236 | ICPRE22241B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 1740028 | 2022-09-04 |  | 0.424 | 0.426 | 99.5305 | -0.46948 | 0.047 | -0.042553 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | P72 | ICPRE22241A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 1790080 | 2022-09-07 |  | 74.295 | 71.8 | 103.4749 | 3.4749 | 3.59 | 0.69499 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ICPRE22249B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 1870094 | 2022-09-20 |  | 26.255 | 26 | 100.9808 | 0.98077 | 1.3 | 0.19615 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22262B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 1930199 | 2022-09-26 |  | 98.994 | 96.5 | 102.5845 | 2.5845 | 4.825 | 0.51689 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ICPRE22266C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 1880161 | 2022-09-27 |  | 0.153 | 0.19 | 80.5263 | -19.4737 | 0.11 | -0.33636 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | P71 | ICPRE22266A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2000022 | 2022-10-15 |  | 26.525 | 26 | 102.0192 | 2.0192 | 1.3 | 0.40385 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22280C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2020025 | 2022-10-15 |  | 0.164 | 0.19 | 86.3158 | -13.6842 | 0.11 | -0.23636 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | P71 | ICPRE22280D
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2080414 | 2022-10-18 |  | 99.342 | 96.5 | 102.9451 | 2.9451 | 4.825 | 0.58902 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M236 | ICPRE22286B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2160002 | 2022-10-22 |  | 0.239 | 0.25 | 95.6 | -4.4 | 0.042 | -0.2619 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | P73 | ICPRE22293B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2140166 | 2022-10-22 |  | 8.101 | 8.59 | 94.3073 | -5.6927 | 0.4295 | -1.1385 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ICPRE22293A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2210115 | 2022-10-24 |  | 26.802 | 26 | 103.0846 | 3.0846 | 1.3 | 0.61692 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22297A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2280344 | 2022-10-29 |  | 8.11 | 8.59 | 94.4121 | -5.5879 | 0.4295 | -1.1176 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ICPRE22298B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2300210 | 2022-11-01 |  | 0.224 | 0.25 | 89.6 | -10.4 | 0.042 | -0.61905 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | P73 | ICPRE22304C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2360389 | 2022-11-05 |  | 25.065 | 26 | 96.4038 | -3.5962 | 1.3 | -0.71923 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M228 | ICPRE22307A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2510443 | 2022-11-15 |  | 0.464 | 0.426 | 108.9202 | 8.9202 | 0.047 | 0.80851 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | P72 | ICPRE22318C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2500493 | 2022-11-16 |  | 13.777 | 14.2 | 97.0211 | -2.9789 | 0.71 | -0.59577 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ICPRE22318B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2570118 | 2022-11-18 |  | 8.038 | 8.59 | 93.5739 | -6.4261 | 0.4295 | -1.2852 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ICPRE22319B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2630186 | 2022-11-19 |  | 13.652 | 14.2 | 96.1408 | -3.8592 | 0.71 | -0.77183 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ICPRE22321B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2710049 | 2022-11-21 |  | 8.057 | 8.59 | 93.7951 | -6.2049 | 0.4295 | -1.241 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M234 | ICPRE22322B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2022 | 2660047 | 2022-11-21 |  | 0.446 | 0.426 | 104.6948 | 4.6948 | 0.047 | 0.42553 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | P72 | ICPRE22322A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2770116 | 2022-11-22 |  | 10.965 | 11.1 | 98.7838 | -1.2162 | 0.555 | -0.24324 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ICPRE22322C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2860103 | 2022-11-24 |  | 14.126 | 14.1 | 100.1844 | 0.1844 | 0.778 | 0.033419 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ICPRE22325C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2790112 | 2022-11-24 |  | 0.555 | 0.56 | 99.1071 | -0.89286 | 0.033 | -0.15152 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | P74 | ICPRE22325A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2920220 | 2022-11-29 |  | 10.719 | 11.1 | 96.5676 | -3.4324 | 0.555 | -0.68649 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ICPRE22329A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2930118 | 2022-11-29 |  | 0.577 | 0.56 | 103.0357 | 3.0357 | 0.033 | 0.51515 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | P74 | ICPRE22329B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2990134 | 2022-12-01 |  | 13.466 | 14.1 | 95.5035 | -4.4965 | 0.778 | -0.81491 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M238 | ICPRE22332B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 3060047 | 2022-12-02 |  | 71.991 | 71.8 | 100.266 | 0.26602 | 3.59 | 0.053203 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M232 | ICPRE22333B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 3130107 | 2022-12-06 |  | 10.74 | 11.1 | 96.7568 | -3.2432 | 0.555 | -0.64865 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | M230 | ICPRE22335B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 3200143 | 2022-12-09 |  | 72.685 | 71.8 | 101.2326 | 1.2326 | 3.59 | 0.24652 | 0.02 | 1572 |  |  |  | mg/L | M232 | ICPRE22339A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 3070230 | 2022-12-09 |  | 0.229 | 0.25 | 91.6 | -8.4 | 0.042 | -0.5 | 0.02 | 1572 | Holding time exceeded | See result laboratory comment |  | mg/L | P73 | ICPRE22342A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 3210268 | 2022-12-12 |  | 0.235 | 0.25 | 94 | -6 | 0.042 | -0.35714 | 0.02 | 1572 |  |  |  | mg/L | P73 | ICPRE22342B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 3330052 | 2022-12-14 |  | 10.762 | 11.1 | 96.955 | -3.045 | 0.555 | -0.60901 | 0.02 | 1572 |  |  |  | mg/L | M230 | ICPRE22346A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 3400093 | 2022-12-17 |  | 98.059 | 96.5 | 101.6155 | 1.6155 | 4.825 | 0.32311 | 0.02 | 1572 |  |  |  | mg/L | M236 | ICPRE22349A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 3420128 | 2022-12-20 |  | 0.429 | 0.426 | 100.7042 | 0.70423 | 0.047 | 0.06383 | 0.02 | 1572 |  |  |  | mg/L | P72 | ICPRE22350A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 3610133 | 2023-01-10 |  | 97.86 | 96.5 | 101.4093 | 1.4093 | 4.825 | 0.28187 | 0.02 | 1572 |  |  |  | mg/L | M236 | ICPRE23005A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 3620085 | 2023-01-10 |  | 0.459 | 0.426 | 107.7465 | 7.7465 | 0.047 | 0.70213 | 0.02 | 1572 |  |  |  | mg/L | P72 | ICPRE23005A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0100101 | 2023-01-18 |  | 28.166 | 28 | 100.5929 | 0.59286 | 1.4 | 0.11857 | 0.02 | 1572 |  |  |  | mg/L | M240 | ICPRE23017A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0120193 | 2023-01-26 |  | 0.573 | 0.56 | 102.3214 | 2.3214 | 0.033 | 0.39394 | 0.02 | 1572 |  |  |  | mg/L | P74 | ICPRE23025B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0250121 | 2023-02-02 |  | 27.673 | 28 | 98.8321 | -1.1679 | 1.4 | -0.23357 | 0.02 | 1572 |  |  |  | mg/L | M240 | ICPRE23032C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0260066 | 2023-02-08 |  | 0.565 | 0.56 | 100.8929 | 0.89286 | 0.033 | 0.15152 | 0.02 | 1572 |  |  |  | mg/L | P74 | ICPRE23039A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0380149 | 2023-02-23 |  | 8.113 | 8.59 | 94.447 | -5.553 | 0.4295 | -1.1106 | 0.02 | 1572 |  |  |  | mg/L | M234 | ICPRE23052A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0400091 | 2023-03-16 |  | 0.223 | 0.25 | 89.2 | -10.8 | 0.042 | -0.64286 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE23065A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0590091 | 2023-03-17 |  | 8.13 | 8.59 | 94.6449 | -5.3551 | 0.4295 | -1.071 | 0.02 | 1572 |  |  |  | mg/L | M234 | ICPRE23073A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0600114 | 2023-03-18 |  | 0.215 | 0.25 | 86 | -14 | 0.042 | -0.83333 | 0.02 | 1572 |  |  |  | mg/L | P73 | ICPRE23073A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0680147 | 2023-03-28 |  | 0.437 | 0.426 | 102.5822 | 2.5822 | 0.047 | 0.23404 | 0.02 | 1572 |  |  |  | mg/L | P72 | ICPRE23080B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0670104 | 2023-03-30 |  | 13.998 | 14.1 | 99.2766 | -0.7234 | 0.778 | -0.13111 | 0.02 | 1572 |  |  |  | mg/L | M238 | ICPRE23087A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0740031 | 2023-03-30 |  | 8.184 | 8.59 | 95.2736 | -4.7264 | 0.4295 | -0.94529 | 0.02 | 1572 |  |  |  | mg/L | M234 | ICPRE23087A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0800072 | 2023-03-31 |  | 13.804 | 14.1 | 97.9007 | -2.0993 | 0.778 | -0.38046 | 0.02 | 1572 |  |  |  | mg/L | M238 | ICPRE23089B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0820080 | 2023-04-01 |  | 0.444 | 0.426 | 104.2254 | 4.2254 | 0.047 | 0.38298 | 0.02 | 1572 |  |  |  | mg/L | P72 | ICPRE23089C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0880091 | 2023-04-07 |  | 8.104 | 8.59 | 94.3423 | -5.6577 | 0.4295 | -1.1315 | 0.02 | 1572 |  |  |  | mg/L | M234 | ICPRE23090C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0940122 | 2023-04-12 |  | 10.733 | 11.1 | 96.6937 | -3.3063 | 0.555 | -0.66126 | 0.02 | 1572 |  |  |  | mg/L | M230 | ICPRE23100B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1020110 | 2023-04-24 |  | 13.892 | 14.1 | 98.5248 | -1.4752 | 0.778 | -0.26735 | 0.02 | 1572 |  |  |  | mg/L | M238 | ICPRE23111B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 0960143 | 2023-04-27 |  | 0.577 | 0.56 | 103.0357 | 3.0357 | 0.033 | 0.51515 | 0.02 | 1572 |  |  |  | mg/L | P74 | ICPRE23115A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1100087 | 2023-05-05 |  | 10.563 | 11.1 | 95.1622 | -4.8378 | 0.555 | -0.96757 | 0.02 | 1572 |  |  |  | mg/L | M230 | ICPRE23124A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1170146 | 2023-05-05 |  | 13.924 | 14.1 | 98.7518 | -1.2482 | 0.778 | -0.22622 | 0.02 | 1572 |  |  |  | mg/L | M238 | ICPRE23124C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1150155 | 2023-05-05 |  | 0.563 | 0.56 | 100.5357 | 0.53571 | 0.033 | 0.090909 | 0.02 | 1572 |  |  |  | mg/L | P74 | ICPRE23124B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1240208 | 2023-05-16 |  | 73.695 | 71.8 | 102.6393 | 2.6393 | 3.59 | 0.52786 | 0.02 | 1572 |  |  |  | mg/L | M232 | ICPRE23135A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1300168 | 2023-05-16 |  | 10.726 | 11.1 | 96.6306 | -3.3694 | 0.555 | -0.67387 | 0.02 | 1572 |  |  |  | mg/L | M230 | ICPRE23135C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1250198 | 2023-05-16 |  | 0.234 | 0.25 | 93.6 | -6.4 | 0.042 | -0.38095 | 0.02 | 1572 |  |  |  | mg/L | P73 | ICPRE23135B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1360046 | 2023-05-19 |  | 73.035 | 71.8 | 101.7201 | 1.7201 | 3.59 | 0.34401 | 0.02 | 1572 |  |  |  | mg/L | M232 | ICPRE23139C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1380202 | 2023-05-27 |  | 0.24 | 0.25 | 96 | -4 | 0.042 | -0.2381 | 0.02 | 1572 |  |  |  | mg/L | P73 | ICPRE23145C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1440059 | 2023-05-31 |  | 10.826 | 11.1 | 97.5315 | -2.4685 | 0.555 | -0.49369 | 0.02 | 1572 |  |  |  | mg/L | M230 | ICPRE23146B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1590230 | 2023-06-16 |  | 0.43 | 0.426 | 100.939 | 0.93897 | 0.047 | 0.085106 | 0.02 | 1572 |  |  |  | mg/L | P72 | ICPRE23167A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1650064 | 2023-06-24 |  | 73.045 | 71.8 | 101.734 | 1.734 | 3.59 | 0.3468 | 0.02 | 1572 |  |  |  | mg/L | M232 | ICPRE23173F
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1570042 | 2023-06-30 |  | 98.593 | 96.5 | 102.1689 | 2.1689 | 4.825 | 0.43378 | 0.02 | 1572 |  |  |  | mg/L | M236 | ICPRE23180A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1730214 | 2023-07-01 |  | 96.23 | 96.5 | 99.7202 | -0.27979 | 4.825 | -0.055959 | 0.02 | 1572 |  |  |  | mg/L | M236 | ICPRE23180B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1790029 | 2023-07-06 |  | 0.453 | 0.426 | 106.338 | 6.338 | 0.047 | 0.57447 | 0.02 | 1572 |  |  |  | mg/L | P72 | ICPRE23181B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1840084 | 2023-07-07 |  | 71.894 | 71.8 | 100.1309 | 0.13092 | 3.59 | 0.026184 | 0.02 | 1572 |  |  |  | mg/L | M232 | ICPRE23188A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1870308 | 2023-07-12 |  | 27.442 | 28 | 98.0071 | -1.9929 | 1.4 | -0.39857 | 0.02 | 1572 |  |  |  | mg/L | M240 | ICPRE23191A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1920169 | 2023-07-19 |  | 0.545 | 0.56 | 97.3214 | -2.6786 | 0.033 | -0.45455 | 0.02 | 1572 |  |  |  | mg/L | P74 | ICPRE23198B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1940232 | 2023-07-26 |  | 98.863 | 96.5 | 102.4487 | 2.4487 | 4.825 | 0.48974 | 0.02 | 1572 |  |  |  | mg/L | M236 | ICPRE23200B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 1990165 | 2023-08-09 |  | 28.206 | 28 | 100.7357 | 0.73571 | 1.4 | 0.14714 | 0.02 | 1572 |  |  |  | mg/L | M240 | ICPRE23205B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2020023 | 2023-08-10 |  | 0.576 | 0.56 | 102.8571 | 2.8571 | 0.033 | 0.48485 | 0.02 | 1572 |  |  |  | mg/L | P74 | ICPRE23205C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2060141 | 2023-08-10 |  | 98.672 | 96.5 | 102.2508 | 2.2508 | 4.825 | 0.45016 | 0.02 | 1572 |  |  |  | mg/L | M236 | ICPRE23220A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2220098 | 2023-08-23 |  | 0.215 | 0.25 | 86 | -14 | 0.042 | -0.83333 | 0.02 | 1572 |  |  |  | mg/L | P73 | ICPRE23230B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2200129 | 2023-08-24 |  | 5.623 | 8.59 | 65.4598 | -34.5402 | 0.4295 | -6.908 | 0.02 | 1572 |  |  |  | mg/L | M234 | ICPRE23230A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2280172 | 2023-08-31 |  | 27.619 | 28 | 98.6393 | -1.3607 | 1.4 | -0.27214 | 0.02 | 1572 |  |  |  | mg/L | M240 | ICPRE23237B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2350094 | 2023-09-13 |  | 8.42 | 8.59 | 98.021 | -1.979 | 0.4295 | -0.39581 | 0.02 | 1572 |  |  |  | mg/L | M234 | ICPRE23248B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2360091 | 2023-09-14 |  | 0.229 | 0.25 | 91.6 | -8.4 | 0.042 | -0.5 | 0.02 | 1572 |  |  |  | mg/L | P73 | ICPRE23248B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2440133 | 2023-11-18 |  | 28.533 | 28 | 101.9036 | 1.9036 | 1.4 | 0.38071 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | M240 | ICPRE23305A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2490137 | 2023-11-21 |  | 14.283 | 14.1 | 101.2979 | 1.2979 | 0.778 | 0.23522 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | M238 | ICPRE23320A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2500321 | 2023-12-02 |  | 0.49 | 0.426 | 115.0235 | 15.0235 | 0.047 | 1.3617 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P72 | ICPRE23325A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2560087 | 2023-12-07 |  | 8.464 | 8.59 | 98.5332 | -1.4668 | 0.4295 | -0.29336 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | M234 | ICPRE23335A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2620180 | 2023-12-12 |  | 14.155 | 14.1 | 100.3901 | 0.39007 | 0.778 | 0.070694 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | M238 | ICPRE23342A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2690095 | 2023-12-14 |  | 8.426 | 8.59 | 98.0908 | -1.9092 | 0.4295 | -0.38184 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | M234 | ICPRE23346A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2023 | 2640107 | 2023-12-14 |  | 0.413 | 0.426 | 96.9484 | -3.0516 | 0.047 | -0.2766 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P72 | ICPRE23345A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 2770169 | 2023-12-16 |  | 0.575 | 0.56 | 102.6786 | 2.6786 | 0.033 | 0.45455 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE23348B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 2930010 | 2024-01-06 |  | 0.555 | 0.56 | 99.1071 | -0.89286 | 0.033 | -0.15152 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE24004B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 3120060 | 2024-01-20 |  | 75.399 | 75.9 | 99.3399 | -0.66008 | 3.795 | -0.13202 | 0.02 | 1572 | Holding time exceeded |  | Sample was diluted | mg/L | M244 | ICPRE24018A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 3130126 | 2024-01-24 |  | 0.232 | 0.25 | 92.8 | -7.2 | 0.042 | -0.42857 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE24022A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 3320174 | 2024-02-02 |  | 0.246 | 0.25 | 98.4 | -1.6 | 0.042 | -0.095238 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE24032B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 3390053 | 2024-02-06 |  | 96.73 | 96.5 | 100.2383 | 0.23834 | 4.825 | 0.047668 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | M236 | ICPRE24033A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 3420008 | 2024-02-10 |  | 0.258 | 0.248 | 104.0323 | 4.0323 | 0.14 | 0.071429 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P75 | ICPRE24033C
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 3530160 | 2024-02-16 |  | 99.847 | 96.5 | 103.4684 | 3.4684 | 4.825 | 0.69368 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | M236 | ICPRE24040B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 3550284 | 2024-02-17 |  | 0.262 | 0.248 | 105.6452 | 5.6452 | 0.14 | 0.1 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P75 | ICPRE24047A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 0030059 | 2024-02-22 |  | 28.268 | 28 | 100.9571 | 0.95714 | 1.4 | 0.19143 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | M240 | ICPRE24051A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 0040088 | 2024-02-23 |  | 0.563 | 0.56 | 100.5357 | 0.53571 | 0.033 | 0.090909 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE24051A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 0170009 | 2024-02-26 |  | 28.306 | 28 | 101.0929 | 1.0929 | 1.4 | 0.21857 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | M240 | ICPRE24053B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 3250148 | 2024-03-08 |  | 77.948 | 75.9 | 102.6983 | 2.6983 | 3.795 | 0.53966 | 0.02 | 1572 | Holding time exceeded |  | Sample was diluted | mg/L | M244 | ICPRE24032A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 0180109 | 2024-03-17 |  | 0.564 | 0.56 | 100.7143 | 0.71429 | 0.033 | 0.12121 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P74 | ICPRE24068A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 0530094 | 2024-03-19 |  | 0.23 | 0.25 | 92 | -8 | 0.042 | -0.47619 | 0.02 | 1572 |  |  |  | mg/L | P73 | ICPRE24076A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 0390103 | 2024-03-28 |  | 0.25 | 0.25 | 100 | 0 | 0.042 | 0 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P73 | ICPRE24080B
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 0670128 | 2024-04-04 |  | 0.24 | 0.248 | 96.7742 | -3.2258 | 0.14 | -0.057143 | 0.02 | 1572 | Holding time exceeded |  | See result laboratory comment | mg/L | P75 | ICPRE24089A
Sulfate, FIL, IC | 00945 | IC022 | FIL | 2024 | 0810190 | 2024-04-14 |  | 0.218 | 0.248 | 87.9032 | -12.0968 | 0.14 | -0.21429 | 0.02 | 1572 |  |  |  | mg/L | P75 | ICPRE24096B