## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 2630186 | 2023-08-03 |  | 50.9411 | 49.8 | 102.2914 | 2.2914 | 2.49 | 0.45827 | 5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/L | M226 | ALK__23215A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2022 | 2710049 | 2023-08-03 |  | 38.2438 | 35.4 | 108.0333 | 8.0333 | 1.77 | 1.6067 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | __ALK23214C
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2770116 | 2023-08-03 |  | 52.9031 | 51 | 103.7316 | 3.7316 | 2.55 | 0.74631 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | __ALK23214C
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2860103 | 2023-08-08 |  | 60.3119 | 60 | 100.5198 | 0.51983 | 3 | 0.10397 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23219B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2990134 | 2023-08-22 |  | 60.3581 | 60 | 100.5968 | 0.59683 | 3 | 0.11937 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23233A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 3060047 | 2023-08-22 | E | 14.1742 | 14 | 101.2443 | 1.2443 | 2.08 | 0.08375 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23233A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 3130107 | 2023-08-22 |  | 52.7157 | 51 | 103.3641 | 3.3641 | 2.55 | 0.67282 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23233B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 3330052 | 2023-08-23 |  | 52.7655 | 51 | 103.4618 | 3.4618 | 2.55 | 0.69235 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23235B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 3400093 | 2023-08-23 | E | 18.5626 | 18.6 | 99.7989 | -0.20108 | 2.91 | -0.012852 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23235B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 3610133 | 2023-08-30 | E | 17.8175 | 18.6 | 95.793 | -4.207 | 2.91 | -0.2689 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23242A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0100101 | 2023-08-31 |  | 27.236 | 27.2 | 100.1324 | 0.13235 | 1.85 | 0.019459 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23243B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0250121 | 2023-09-05 |  | 29.9157 | 27.2 | 109.9842 | 9.9842 | 1.85 | 1.4679 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23244B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0380149 | 2023-09-05 |  | 35.9068 | 35.4 | 101.4316 | 1.4316 | 1.77 | 0.28633 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23248A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0590091 | 2023-09-06 |  | 38.8959 | 35.4 | 109.8754 | 9.8754 | 1.77 | 1.9751 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23248C
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2200129 | 2023-09-06 |  | 39.1919 | 35.4 | 110.7116 | 10.7116 | 1.77 | 2.1423 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23248C
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0670104 | 2023-09-18 |  | 64.296 | 60 | 107.16 | 7.16 | 3 | 1.432 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23255A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0800072 | 2023-09-19 |  | 62.8037 | 60 | 104.6728 | 4.6728 | 3 | 0.93457 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23262A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0740031 | 2023-09-19 |  | 36.5098 | 35.4 | 103.135 | 3.135 | 1.77 | 0.62701 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23262A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0880091 | 2023-09-20 |  | 36.1049 | 35.4 | 101.9912 | 1.9912 | 1.77 | 0.39825 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23263A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1100087 | 2023-09-21 |  | 53.2832 | 51 | 104.4769 | 4.4769 | 2.55 | 0.89537 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23264B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1020110 | 2023-09-21 |  | 60.4717 | 60 | 100.7862 | 0.78617 | 3 | 0.15723 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23264A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1170146 | 2023-09-22 |  | 61.5361 | 60 | 102.5602 | 2.5602 | 3 | 0.51203 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23265A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1240208 | 2023-09-22 | E | 14.5521 | 14 | 103.9436 | 3.9436 | 2.08 | 0.26543 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23265A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2350094 | 2023-09-22 |  | 36.884 | 35.4 | 104.1921 | 4.1921 | 1.77 | 0.83842 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23265B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1300168 | 2023-09-25 |  | 52.6583 | 51 | 103.2516 | 3.2516 | 2.55 | 0.65031 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23268A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1360046 | 2023-09-26 | E | 14.0745 | 14 | 100.5321 | 0.53214 | 2.08 | 0.035817 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23269A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 0940122 | 2023-10-02 |  | 51.3181 | 51 | 100.6237 | 0.62373 | 2.55 | 0.12475 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23275A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1440059 | 2023-10-05 |  | 51.9667 | 51 | 101.8955 | 1.8955 | 2.55 | 0.3791 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M230 | ALK__23276B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2490137 | 2023-10-05 |  | 60.3879 | 60 | 100.6465 | 0.6465 | 3 | 0.1293 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23276B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1570042 | 2023-10-05 | E | 18.137 | 18.6 | 97.5108 | -2.4892 | 2.91 | -0.15911 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23276B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1650064 | 2023-10-10 | E | 17.6369 | 14 | 125.9779 | 25.9779 | 2.08 | 1.7485 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23279A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1840084 | 2023-10-11 | E | 14.4775 | 14 | 103.4107 | 3.4107 | 2.08 | 0.22957 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M232 | ALK__23283C
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2560087 | 2023-10-11 |  | 42.5851 | 35.4 | 120.2969 | 20.2969 | 1.77 | 4.0594 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23283B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1730214 | 2023-10-11 | E | 16.7756 | 18.6 | 90.1914 | -9.8086 | 2.91 | -0.62694 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23283B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1870308 | 2023-10-12 |  | 27.4719 | 27.2 | 100.9996 | 0.99963 | 1.85 | 0.14697 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23285B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1990165 | 2023-10-13 |  | 27.3008 | 27.2 | 100.3706 | 0.37059 | 1.85 | 0.054486 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23286A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2620180 | 2023-10-16 |  | 59.6342 | 60 | 99.3903 | -0.60967 | 3 | -0.12193 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23285C
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 1940232 | 2023-10-16 | E | 17.3045 | 18.6 | 93.0349 | -6.9651 | 2.91 | -0.44519 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23285C
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2760033 | 2023-10-17 |  | 40.8627 | 40.5 | 100.8956 | 0.89556 | 2.025 | 0.17911 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__23290A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2690095 | 2023-10-18 |  | 36.0639 | 35.4 | 101.8754 | 1.8754 | 1.77 | 0.37508 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__23289A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2850088 | 2023-10-26 |  | 58.8513 | 60 | 98.0855 | -1.9145 | 3 | -0.3829 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23299A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2060141 | 2023-10-27 | E | 18.0311 | 18.6 | 96.9414 | -3.0586 | 2.91 | -0.1955 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23299A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2900162 | 2023-10-27 |  | 41.0067 | 40.5 | 101.2511 | 1.2511 | 2.025 | 0.25022 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__23300A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2280172 | 2023-11-13 |  | 27.5706 | 27.2 | 101.3625 | 1.3625 | 1.85 | 0.20032 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23317A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2980079 | 2023-11-20 |  | 60.1167 | 60 | 100.1945 | 0.1945 | 3 | 0.0389 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__23318A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3120060 | 2023-12-07 |  | 61.2519 | 59.4 | 103.1177 | 3.1177 | 2.97 | 0.62354 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__23334A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3190181 | 2023-12-11 |  | 41.407 | 40.5 | 102.2395 | 2.2395 | 2.025 | 0.4479 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__23339A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3250148 | 2023-12-14 |  | 59.7017 | 59.4 | 100.5079 | 0.50791 | 2.97 | 0.10158 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__23348A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3340079 | 2023-12-18 |  | 41.6542 | 40.5 | 102.8499 | 2.8499 | 2.025 | 0.56998 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__23349A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3390053 | 2023-12-18 | E | 17.4066 | 18.6 | 93.5839 | -6.4161 | 2.91 | -0.4101 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23349A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2023 | 2440133 | 2023-12-19 |  | 27.3456 | 27.2 | 100.5353 | 0.53529 | 1.85 | 0.078703 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__23353A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 3530160 | 2023-12-22 | E | 17.5442 | 18.6 | 94.3237 | -5.6763 | 2.91 | -0.36282 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__23355B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0030059 | 2024-01-05 |  | 27.3581 | 27.2 | 100.5812 | 0.58125 | 1.85 | 0.085459 | 2.5 | 2109 |  |  |  | mg/l CaCO3 | M240 | ALK__23362A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0170009 | 2024-01-31 |  | 27.3832 | 27.2 | 100.6735 | 0.67353 | 1.85 | 0.099027 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__24030A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0370149 | 2024-02-09 |  | 37.3903 | 35.4 | 105.6223 | 5.6223 | 1.77 | 1.1245 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24040A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0520080 | 2024-02-28 |  | 34.8671 | 35.4 | 98.4946 | -1.5054 | 1.77 | -0.30107 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24057A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0660044 | 2024-03-08 |  | 59.1217 | 60 | 98.5362 | -1.4638 | 3 | -0.29277 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__24066A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0730118 | 2024-03-25 |  | 35.5748 | 35.4 | 100.4938 | 0.49379 | 1.77 | 0.098757 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24085A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0800004 | 2024-03-26 |  | 58.5122 | 60 | 97.5203 | -2.4797 | 3 | -0.49593 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__24085C
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0880014 | 2024-04-04 |  | 35.3919 | 35.4 | 99.9771 | -0.022881 | 1.77 | -0.0045763 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24092B
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 0930093 | 2024-04-11 |  | 40.3366 | 40.5 | 99.5965 | -0.40346 | 2.025 | -0.080691 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__24099A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1000105 | 2024-04-17 |  | 64.1803 | 60 | 106.9672 | 6.9672 | 3 | 1.3934 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__24108A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1070226 | 2024-04-22 |  | 40.9554 | 40.5 | 101.1244 | 1.1244 | 2.025 | 0.22489 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__24113A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1150014 | 2024-04-26 |  | 59.6087 | 60 | 99.3478 | -0.65217 | 3 | -0.13043 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M238 | ALK__24117A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1280108 | 2024-05-13 |  | 57.9771 | 59.4 | 97.6045 | -2.3955 | 2.97 | -0.47909 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__24134A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1370191 | 2024-05-21 |  | 41.8365 | 40.5 | 103.3 | 3.3 | 2.025 | 0.66 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__24142A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1420091 | 2024-05-22 |  | 57.9298 | 59.4 | 97.5249 | -2.4751 | 2.97 | -0.49502 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__24142C
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1500146 | 2024-06-04 |  | 41.6802 | 40.5 | 102.9141 | 2.9141 | 2.025 | 0.58281 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M242 | ALK__24156A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1560044 | 2024-06-05 | E | 18.2467 | 18.6 | 98.1005 | -1.8995 | 2.91 | -0.12141 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__24156C
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1630115 | 2024-06-20 |  | 58.5654 | 59.4 | 98.5949 | -1.4051 | 2.97 | -0.28101 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__24172A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1720051 | 2024-06-25 | E | 18.2831 | 18.6 | 98.2962 | -1.7038 | 2.91 | -0.1089 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__24177A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1770115 | 2024-06-28 |  | 58.8494 | 59.4 | 99.0731 | -0.92694 | 2.97 | -0.18539 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M244 | ALK__24180A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1910045 | 2024-07-12 |  | 28.856 | 27.2 | 106.0882 | 6.0882 | 1.85 | 0.89514 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__24192A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 1980275 | 2024-07-18 |  | 18.9 | 18.6 | 101.6129 | 1.6129 | 2.91 | 0.10309 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__24199A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2050137 | 2024-07-29 |  | 28.5223 | 27.2 | 104.8614 | 4.8614 | 1.85 | 0.71476 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M240 | ALK__24211A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2130064 | 2024-08-07 |  | 18.695 | 18.6 | 100.5108 | 0.51075 | 2.91 | 0.032646 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M236 | ALK__24212A
Alkalinity as CaCO3, water, fltd, fixed EP (pH 4.5) titr, lab | 29801 | TT040 | FIL | 2024 | 2190098 | 2024-08-08 |  | 36.8841 | 35.4 | 104.1924 | 4.1924 | 1.77 | 0.83847 | 2.5 | 2109 | Holding time exceeded | See result laboratory comment |  | mg/l CaCO3 | M234 | ALK__24221A