## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0310088 | 2023-02-01 |  | 0.08381 | 0.09 | 93.1222 | -6.8778 | 0.01 | -0.619 | 0.02 | 3116 |  |  |  | mg/L as N | N155 | KONE_23032A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0320035 | 2023-02-03 |  | 0.1346 | 0.106 | 126.9811 | 26.9811 | 0.026 | 1.1 | 0.02 | 3116 |  |  |  | mg/L as N | N156 | KONE_23034A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0380147 | 2023-02-09 |  | 0.1456 | 0.106 | 137.3585 | 37.3585 | 0.026 | 1.5231 | 0.02 | 3116 |  |  |  | mg/L as N | N156 | KONE_23040A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0400094 | 2023-02-14 |  | 0.08114 | 0.09 | 90.1556 | -9.8444 | 0.01 | -0.886 | 0.02 | 3116 |  |  |  | mg/L as N | N155 | KONE_23045A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0470005 | 2023-02-24 |  | 0.13571 | 0.106 | 128.0283 | 28.0283 | 0.026 | 1.1427 | 0.02 | 3116 |  |  |  | mg/L as N | N156 | KONE_23055A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0540082 | 2023-02-27 |  | 0.08575 | 0.09 | 95.2778 | -4.7222 | 0.01 | -0.425 | 0.02 | 3116 |  |  |  | mg/L as N | N155 | KONE_23058A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0590095 | 2023-03-08 |  | 0.10161 | 0.106 | 95.8585 | -4.1415 | 0.026 | -0.16885 | 0.02 | 3116 |  |  |  | mg/L as N | N156 | KONE_23067A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0600117 | 2023-03-08 |  | 0.09534 | 0.09 | 105.9333 | 5.9333 | 0.01 | 0.534 | 0.02 | 3116 |  |  |  | mg/L as N | N155 | KONE_23067A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0620099 | 2023-03-21 |  | 0.13264 | 0.106 | 125.1321 | 25.1321 | 0.026 | 1.0246 | 0.02 | 3116 |  |  |  | mg/L as N | N156 | KONE_23083B
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0660112 | 2023-03-21 |  | 0.08483 | 0.09 | 94.2556 | -5.7444 | 0.01 | -0.517 | 0.02 | 3116 |  |  |  | mg/L as N | N155 | KONE_23083B
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0670101 | 2023-03-22 |  | 0.08686 | 0.09 | 96.5111 | -3.4889 | 0.01 | -0.314 | 0.02 | 3116 |  |  |  | mg/L as N | N155 | KONE_23081A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0680151 | 2023-03-22 |  | 0.16009 | 0.106 | 151.0283 | 51.0283 | 0.026 | 2.0804 | 0.02 | 3116 |  |  |  | mg/L as N | N156 | KONE_23081A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0740036 | 2023-03-23 |  | 0.10577 | 0.09 | 117.5222 | 17.5222 | 0.01 | 1.577 | 0.02 | 3116 |  |  |  | mg/L as N | N155 | KONE_23082B
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0800083 | 2023-03-24 |  | 0.10431 | 0.09 | 115.9 | 15.9 | 0.01 | 1.431 | 0.02 | 3116 |  |  |  | mg/L as N | N155 | KONE_23083A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0880095 | 2023-04-11 |  | 0.09102 | 0.09 | 101.1333 | 1.1333 | 0.01 | 0.102 | 0.02 | 3116 |  |  |  | mg/L as N | N155 | KONE_23101A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0940132 | 2023-04-12 |  | 0.17878 | 0.174 | 102.7471 | 2.7471 | 0.029 | 0.16483 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23102A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0890108 | 2023-04-12 |  | 0.13523 | 0.106 | 127.5755 | 27.5755 | 0.026 | 1.1242 | 0.02 | 3116 |  |  |  | mg/L as N | N156 | KONE_23102A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 0960145 | 2023-04-13 |  | 0.06883 | 0.069 | 99.7536 | -0.24638 | 0.012 | -0.014167 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23103A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1020108 | 2023-04-28 |  | 0.19517 | 0.174 | 112.1667 | 12.1667 | 0.029 | 0.73 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23118A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1100091 | 2023-05-03 |  | 0.18158 | 0.174 | 104.3563 | 4.3563 | 0.029 | 0.26138 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23123B
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1090193 | 2023-05-03 |  | 0.06532 | 0.069 | 94.6667 | -5.3333 | 0.012 | -0.30667 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23123A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1170150 | 2023-05-05 |  | 0.18398 | 0.174 | 105.7356 | 5.7356 | 0.029 | 0.34414 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23125B
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1150152 | 2023-05-05 |  | 0.0683 | 0.069 | 98.9855 | -1.0145 | 0.012 | -0.058333 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23125A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1230176 | 2023-05-15 |  | 0.08293 | 0.069 | 120.1884 | 20.1884 | 0.012 | 1.1608 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23135A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1240211 | 2023-05-15 |  | 0.06767 | 0.069 | 98.0725 | -1.9275 | 0.012 | -0.11083 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23135A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1240212 | 2023-05-15 |  | 0.17952 | 0.174 | 103.1724 | 3.1724 | 0.029 | 0.19034 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23135A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1300164 | 2023-05-17 |  | 0.07097 | 0.069 | 102.8551 | 2.8551 | 0.012 | 0.16417 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23137A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1300163 | 2023-05-17 |  | 0.17956 | 0.174 | 103.1954 | 3.1954 | 0.029 | 0.19172 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23137A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1360049 | 2023-05-24 |  | 0.07252 | 0.069 | 105.1014 | 5.1014 | 0.012 | 0.29333 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23144A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1360051 | 2023-05-24 |  | 0.16753 | 0.174 | 96.2816 | -3.7184 | 0.029 | -0.2231 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23144A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1440063 | 2023-05-30 |  | 0.06988 | 0.069 | 101.2754 | 1.2754 | 0.012 | 0.073333 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23150B
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1440064 | 2023-05-30 |  | 0.18371 | 0.174 | 105.5805 | 5.5805 | 0.029 | 0.33483 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23150B
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1570044 | 2023-06-20 |  | 0.17059 | 0.174 | 98.0402 | -1.9598 | 0.029 | -0.11759 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23171A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1590234 | 2023-06-27 |  | 0.07182 | 0.069 | 104.087 | 4.087 | 0.012 | 0.235 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23178A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1650068 | 2023-06-29 |  | 0.18514 | 0.174 | 106.4023 | 6.4023 | 0.029 | 0.38414 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23180A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1660196 | 2023-06-30 |  | 0.06485 | 0.069 | 93.9855 | -6.0145 | 0.012 | -0.34583 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23181A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1730212 | 2023-07-12 |  | 0.18484 | 0.174 | 106.2299 | 6.2299 | 0.029 | 0.37379 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23193A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1790031 | 2023-08-03 |  | 0.06691 | 0.069 | 96.971 | -3.029 | 0.012 | -0.17417 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23215A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1840088 | 2023-08-10 |  | 0.18166 | 0.174 | 104.4023 | 4.4023 | 0.029 | 0.26414 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KONE_23222A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1860129 | 2023-08-10 |  | 0.07005 | 0.069 | 101.5217 | 1.5217 | 0.012 | 0.0875 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23222A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1870312 | 2023-08-10 |  | 0.07133 | 0.069 | 103.3768 | 3.3768 | 0.012 | 0.19417 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23222A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1920172 | 2023-08-11 |  | 0.17039 | 0.174 | 97.9253 | -2.0747 | 0.029 | -0.12448 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KONE_23223A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1940237 | 2023-08-15 |  | 0.06743 | 0.069 | 97.7246 | -2.2754 | 0.012 | -0.13083 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23227A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1990167 | 2023-08-15 |  | 0.06367 | 0.069 | 92.2754 | -7.7246 | 0.012 | -0.44417 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23227A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 1980052 | 2023-08-15 |  | 0.17768 | 0.174 | 102.1149 | 2.1149 | 0.029 | 0.1269 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KONE_23227A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2060139 | 2023-08-23 |  | 0.06717 | 0.069 | 97.3478 | -2.6522 | 0.012 | -0.1525 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23235A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2020027 | 2023-08-23 |  | 0.17346 | 0.174 | 99.6897 | -0.31034 | 0.029 | -0.018621 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KONE_23235A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2080232 | 2023-08-24 |  | 0.17954 | 0.174 | 103.1839 | 3.1839 | 0.029 | 0.19103 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KONE_23236A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2200130 | 2023-09-07 |  | 0.17436 | 0.174 | 100.2069 | 0.2069 | 0.029 | 0.012414 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KONE_23250A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2220102 | 2023-09-07 |  | 0.0675 | 0.069 | 97.8261 | -2.1739 | 0.012 | -0.125 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23250A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2280169 | 2023-09-21 |  | 0.17938 | 0.174 | 103.092 | 3.092 | 0.029 | 0.18552 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KONE_23264A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2290216 | 2023-09-27 |  | 0.06936 | 0.069 | 100.5217 | 0.52174 | 0.012 | 0.03 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23270A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2360090 | 2023-09-28 |  | 0.07035 | 0.069 | 101.9565 | 1.9565 | 0.012 | 0.1125 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23271A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2490136 | 2023-10-03 |  | 0.06629 | 0.069 | 96.0725 | -3.9275 | 0.012 | -0.22583 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23276A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2480099 | 2023-10-03 |  | 0.07266 | 0.069 | 105.3043 | 5.3043 | 0.012 | 0.305 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23276A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2500320 | 2023-10-04 |  | 0.17549 | 0.174 | 100.8563 | 0.85632 | 0.029 | 0.051379 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23277A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2350097 | 2023-10-04 |  | 0.1805 | 0.174 | 103.7356 | 3.7356 | 0.029 | 0.22414 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KONE_23277A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2560092 | 2023-10-10 |  | 0.06671 | 0.069 | 96.6812 | -3.3188 | 0.012 | -0.19083 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23283A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2570186 | 2023-10-11 |  | 0.17791 | 0.174 | 102.2471 | 2.2471 | 0.029 | 0.13483 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23284A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2690098 | 2023-10-12 |  | 0.06583 | 0.069 | 95.4058 | -4.5942 | 0.012 | -0.26417 | 0.02 | 3116 |  |  |  | mg/L as N | N157 | KONE_23285A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2640109 | 2023-10-12 |  | 0.17162 | 0.174 | 98.6322 | -1.3678 | 0.029 | -0.082069 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23285A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2620181 | 2023-10-17 |  | 0.06826 | 0.069 | 98.9275 | -1.0725 | 0.012 | -0.061667 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N157 | KONE_23290A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2720019 | 2023-10-17 |  | 0.16013 | 0.174 | 92.0287 | -7.9713 | 0.029 | -0.47828 | 0.02 | 3116 |  |  |  | mg/L as N | N158 | KONE_23290A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2770171 | 2023-10-23 |  | 0.09731 | 0.095 | 102.4316 | 2.4316 | 0.01 | 0.231 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_23296A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2860132 | 2023-10-24 |  | 0.09416 | 0.095 | 99.1158 | -0.88421 | 0.01 | -0.084 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_23297A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2930012 | 2023-10-30 |  | 0.08882 | 0.095 | 93.4947 | -6.5053 | 0.01 | -0.618 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_23303A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2023 | 2440132 | 2023-10-31 |  | 0.17742 | 0.174 | 101.9655 | 1.9655 | 0.029 | 0.11793 | 0.02 | 3116 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KONE_23304A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2990158 | 2023-10-31 |  | 0.09393 | 0.095 | 98.8737 | -1.1263 | 0.01 | -0.107 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_23304A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 3120062 | 2023-11-14 |  | 0.09523 | 0.095 | 100.2421 | 0.24211 | 0.01 | 0.023 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_23318A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 3190186 | 2023-11-17 |  | 0.09194 | 0.095 | 96.7789 | -3.2211 | 0.01 | -0.306 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_23321A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 3250151 | 2023-11-27 |  | 0.08744 | 0.095 | 92.0421 | -7.9579 | 0.01 | -0.756 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_23331A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 3340082 | 2023-12-05 |  | 0.09792 | 0.095 | 103.0737 | 3.0737 | 0.01 | 0.292 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_23339A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 3420010 | 2023-12-14 |  | 0.08802 | 0.095 | 92.6526 | -7.3474 | 0.01 | -0.698 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_23348A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 3470279 | 2023-12-14 |  | 0.09303 | 0.095 | 97.9263 | -2.0737 | 0.01 | -0.197 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_23348A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 3550285 | 2024-01-08 |  | 0.09226 | 0.095 | 97.1158 | -2.8842 | 0.01 | -0.274 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24008A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0030062 | 2024-01-17 |  | 0.08973 | 0.095 | 94.4526 | -5.5474 | 0.01 | -0.527 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24017A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 3620062 | 2024-01-17 |  | 0.09079 | 0.095 | 95.5684 | -4.4316 | 0.01 | -0.421 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24017A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0090036 | 2024-01-22 |  | 0.09209 | 0.095 | 96.9368 | -3.0632 | 0.01 | -0.291 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24022A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0170013 | 2024-01-24 |  | 0.0888 | 0.095 | 93.4737 | -6.5263 | 0.01 | -0.62 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24024A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0230081 | 2024-01-24 |  | 0.09129 | 0.095 | 96.0947 | -3.9053 | 0.01 | -0.371 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24024A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0390105 | 2024-02-21 |  | 0.09595 | 0.095 | 101 | 1 | 0.01 | 0.095 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24052A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0460205 | 2024-02-22 |  | 0.1045 | 0.095 | 110 | 10 | 0.01 | 0.95 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24053A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0530096 | 2024-02-26 |  | 0.09456 | 0.095 | 99.5368 | -0.46316 | 0.01 | -0.044 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24057A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0610078 | 2024-03-06 |  | 0.10073 | 0.095 | 106.0316 | 6.0316 | 0.01 | 0.573 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24066A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0660045 | 2024-03-11 |  | 0.09611 | 0.095 | 101.1684 | 1.1684 | 0.01 | 0.111 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24071A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0730122 | 2024-03-27 |  | 0.08489 | 0.095 | 89.3579 | -10.6421 | 0.01 | -1.011 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24087A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0800005 | 2024-04-02 |  | 0.10475 | 0.095 | 110.2632 | 10.2632 | 0.01 | 0.975 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24093A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0930095 | 2024-04-16 |  | 0.65325 | 0.6 | 108.875 | 8.875 | 0.079 | 0.67405 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24107A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 0880017 | 2024-04-16 |  | 0.08777 | 0.095 | 92.3895 | -7.6105 | 0.01 | -0.723 | 0.02 | 3116 |  |  |  | mg/L as N | N159 | KONE_24107A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1000110 | 2024-04-23 |  | 0.64277 | 0.6 | 107.1283 | 7.1283 | 0.079 | 0.54139 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24114A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1070227 | 2024-04-26 |  | 0.62904 | 0.6 | 104.84 | 4.84 | 0.079 | 0.36759 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24117A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1150017 | 2024-05-01 |  | 0.55066 | 0.6 | 91.7767 | -8.2233 | 0.079 | -0.62456 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24122A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1280109 | 2024-05-10 |  | 0.12595 | 0.122 | 103.2377 | 3.2377 | 0.015 | 0.26333 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24131A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1300152 | 2024-05-15 |  | 0.57316 | 0.6 | 95.5267 | -4.4733 | 0.079 | -0.33975 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24135A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1370193 | 2024-05-23 |  | 0.12782 | 0.122 | 104.7705 | 4.7705 | 0.015 | 0.388 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24144A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1420094 | 2024-05-23 |  | 0.12232 | 0.122 | 100.2623 | 0.2623 | 0.015 | 0.021333 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24144A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1380120 | 2024-05-23 |  | 0.63449 | 0.6 | 105.7483 | 5.7483 | 0.079 | 0.43658 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24144A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1440177 | 2024-06-03 |  | 0.58448 | 0.6 | 97.4133 | -2.5867 | 0.079 | -0.19646 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24155A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1500148 | 2024-06-06 |  | 0.12477 | 0.122 | 102.2705 | 2.2705 | 0.015 | 0.18467 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24158A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1520090 | 2024-06-06 |  | 0.63099 | 0.6 | 105.165 | 5.165 | 0.079 | 0.39228 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24158A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1560041 | 2024-06-10 |  | 0.64895 | 0.6 | 108.1583 | 8.1583 | 0.079 | 0.61962 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24162A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1580168 | 2024-06-10 |  | 0.12088 | 0.122 | 99.082 | -0.91803 | 0.015 | -0.074667 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24162A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1630118 | 2024-06-13 |  | 0.6678 | 0.6 | 111.3 | 11.3 | 0.079 | 0.85823 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24165A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1650134 | 2024-06-25 |  | 0.12195 | 0.122 | 99.959 | -0.040984 | 0.015 | -0.0033333 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24177A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1720054 | 2024-06-26 |  | 0.55486 | 0.6 | 92.4767 | -7.5233 | 0.079 | -0.57139 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24178A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1720184 | 2024-06-26 |  | 0.14118 | 0.122 | 115.7213 | 15.7213 | 0.015 | 1.2787 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24178A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1770114 | 2024-07-02 |  | 0.61292 | 0.6 | 102.1533 | 2.1533 | 0.079 | 0.16354 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24184A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1790108 | 2024-07-02 |  | 0.11183 | 0.122 | 91.6639 | -8.3361 | 0.015 | -0.678 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24184A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1910047 | 2024-07-17 |  | 0.12379 | 0.122 | 101.4672 | 1.4672 | 0.015 | 0.11933 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24199A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1980277 | 2024-08-06 |  | 0.1285 | 0.122 | 105.3279 | 5.3279 | 0.015 | 0.43333 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24219B
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 1930207 | 2024-08-06 |  | 0.62831 | 0.6 | 104.7183 | 4.7183 | 0.079 | 0.35835 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24219B
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2050133 | 2024-08-08 |  | 0.12419 | 0.122 | 101.7951 | 1.7951 | 0.015 | 0.146 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24221A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2000170 | 2024-08-08 |  | 0.62819 | 0.6 | 104.6983 | 4.6983 | 0.079 | 0.35684 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24221A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2080149 | 2024-08-12 |  | 0.59582 | 0.6 | 99.3033 | -0.69667 | 0.079 | -0.052911 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24225A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2190100 | 2024-08-15 |  | 0.65001 | 0.6 | 108.335 | 8.335 | 0.079 | 0.63304 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24228A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2130066 | 2024-08-15 |  | 0.14162 | 0.122 | 116.082 | 16.082 | 0.015 | 1.308 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24228A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2140188 | 2024-08-15 |  | 0.64368 | 0.6 | 107.28 | 7.28 | 0.079 | 0.55291 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24228A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2260089 | 2024-08-27 |  | 0.61571 | 0.6 | 102.6183 | 2.6183 | 0.079 | 0.19886 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24240A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2210223 | 2024-08-27 |  | 0.12289 | 0.122 | 100.7295 | 0.72951 | 0.015 | 0.059333 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24240A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2330318 | 2024-09-03 |  | 0.63803 | 0.6 | 106.3383 | 6.3383 | 0.079 | 0.48139 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24247A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2280182 | 2024-09-03 |  | 0.132 | 0.122 | 108.1967 | 8.1967 | 0.015 | 0.66667 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24247A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2350151 | 2024-09-04 |  | 0.13413 | 0.122 | 109.9426 | 9.9426 | 0.015 | 0.80867 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24248A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2400286 | 2024-09-10 |  | 0.71996 | 0.6 | 119.9933 | 19.9933 | 0.079 | 1.5185 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24254A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2420143 | 2024-09-17 |  | 0.11432 | 0.122 | 93.7049 | -6.2951 | 0.015 | -0.512 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24261A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2480181 | 2024-09-20 |  | 0.11799 | 0.122 | 96.7131 | -3.2869 | 0.015 | -0.26733 | 0.02 | 3116 | See result laboratory comment |  |  | mg/L as N | N161 | KONE_24264A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2540043 | 2024-09-20 |  | 0.6331 | 0.6 | 105.5167 | 5.5167 | 0.079 | 0.41899 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24264A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2600023 | 2024-10-03 |  | 0.12132 | 0.122 | 99.4426 | -0.55738 | 0.015 | -0.045333 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24277A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2610049 | 2024-10-03 |  | 0.12744 | 0.122 | 104.459 | 4.459 | 0.015 | 0.36267 | 0.02 | 3116 |  |  |  | mg/L as N | N161 | KONE_24277A
Total ammonia as N, water, fltd | 00608 | SHC02 | FIL | 2024 | 2600042 | 2024-10-03 |  | 0.64886 | 0.6 | 108.1433 | 8.1433 | 0.079 | 0.61848 | 0.02 | 3116 |  |  |  | mg/L as N | N162 | KONE_24277A