## IBSP Data
Parameter Description | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Units | Parmcode | Methcode | Blind Sample ID | pmcode | labname | Phase: | NWQL_Section | analtype | twri | methcode_old
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2022 | 2570116 | 2022-10-21 |  | 0.0969 | 0.098 | 98.8776 | -1.1224 | 0.006 | -0.18333 | 0.02 | 2759 | mg/L (as P) | 00665 | AKP01 | N153 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2022 | 2710052 | 2022-11-08 |  | 0.099 | 0.098 | 101.0204 | 1.0204 | 0.006 | 0.16667 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N153 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2022 | 2210118 | 2022-08-30 |  | 0.302 | 0.293 | 103.0717 | 3.0717 | 0.01465 | 0.61433 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N154 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2022 | 2360392 | 2022-09-27 |  | 0.271 | 0.293 | 92.4915 | -7.5085 | 0.01465 | -1.5017 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N154 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2022 | 2080419 | 2022-08-10 |  | 0.105 | 0.098 | 107.1429 | 7.1429 | 0.006 | 1.1667 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N153 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 2560090 | 2024-04-19 |  | 0.116 | 0.117 | 99.1453 | -0.8547 | 0.02 | -0.05 | 0.04 | 2759 | mg/L as P | 00665 | AKP01 | N157 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 1020109 | 2023-04-25 |  | 0.278 | 0.28 | 99.2857 | -0.71429 | 0.014 | -0.14286 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N158 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 1170149 | 2023-06-14 |  | 0.271 | 0.28 | 96.7857 | -3.2143 | 0.014 | -0.64286 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N158 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 1650067 | 2023-08-07 |  | 0.283 | 0.28 | 101.0714 | 1.0714 | 0.014 | 0.21429 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N158 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 1840087 | 2023-10-27 |  | 0.283 | 0.28 | 101.0714 | 1.0714 | 0.014 | 0.21429 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N158 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 2860104 | 2022-11-16 |  | 0.651 | 0.67 | 97.1642 | -2.8358 | 0.0335 | -0.56716 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N156 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 2990137 | 2022-12-14 |  | 0.695 | 0.67 | 103.7313 | 3.7313 | 0.0335 | 0.74627 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N156 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 2280171 | 2023-12-19 |  | 0.271 | 0.28 | 96.7857 | -3.2143 | 0.014 | -0.64286 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N158 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 3130112 | 2022-12-23 |  | 0.136 | 0.131 | 103.8168 | 3.8168 | 0.007 | 0.71429 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N155 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 3260046 | 2023-01-23 |  | 0.132 | 0.131 | 100.7634 | 0.76336 | 0.007 | 0.14286 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N155 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 1300162 | 2023-08-08 |  | 0.116 | 0.117 | 99.1453 | -0.8547 | 0.006 | -0.16667 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N157 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 1440062 | 2023-07-27 |  | 0.118 | 0.117 | 100.8547 | 0.8547 | 0.006 | 0.16667 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N157 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 0470004 | 2023-02-24 |  | 0.655 | 0.67 | 97.7612 | -2.2388 | 0.0335 | -0.44776 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N156 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 0620098 | 2023-03-14 |  | 0.659 | 0.67 | 98.3582 | -1.6418 | 0.0335 | -0.32836 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N156 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 0190116 | 2023-02-02 |  | 0.142 | 0.131 | 108.3969 | 8.3969 | 0.007 | 1.5714 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N155 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 0310089 | 2023-02-09 |  | 0.135 | 0.131 | 103.0534 | 3.0534 | 0.007 | 0.57143 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N155 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 0740035 | 2023-03-17 |  | 0.138 | 0.131 | 105.3435 | 5.3435 | 0.007 | 1 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N155 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 0880094 | 2023-04-05 |  | 0.148 | 0.131 | 112.9771 | 12.9771 | 0.007 | 2.4286 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N155 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 3490123 | 2023-01-26 |  | 0.673 | 0.67 | 100.4478 | 0.44776 | 0.0335 | 0.089552 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N156 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 0040115 | 2023-01-27 |  | 0.704 | 0.67 | 105.0746 | 5.0746 | 0.0335 | 1.0149 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N156 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 1940235 | 2023-10-12 |  | 0.111 | 0.117 | 94.8718 | -5.1282 | 0.006 | -1 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N157 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2023 | 2060140 | 2023-11-09 |  | 0.113 | 0.117 | 96.5812 | -3.4188 | 0.006 | -0.66667 | 0.01 | 2759 | mg/L as P | 00665 | AKP01 | N157 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2024 | 0440080 | 2024-03-01 |  | 0.362 | 0.375 | 96.5333 | -3.4667 | 0.02 | -0.65 | 0.04 | 2759 | mg/L as P | 00665 | AKP01 | N160 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus (as P), UNF, CFA, ALK-P, ACD | 2024 | 0580161 | 2024-03-22 |  | 0.365 | 0.375 | 97.3333 | -2.6667 | 0.02 | -0.5 | 0.04 | 2759 | mg/L as P | 00665 | AKP01 | N160 | 00665AKP01 | NWQL | Unfiltered | Metals_Carbon | N | I465003 | H
Phosphorus as P, FIL, CFA, ALK-P | 2022 | 2570116 | 2022-10-26 |  | 0.1009 | 0.098 | 102.9592 | 2.9592 | 0.006 | 0.48333 | 0.02 | 2757 | mg/L as P | 00666 | CL063 | N153 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2022 | 2710052 | 2022-11-08 |  | 0.094 | 0.098 | 95.9184 | -4.0816 | 0.006 | -0.66667 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N153 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2022 | 2210118 | 2022-08-31 |  | 0.2842 | 0.293 | 96.9966 | -3.0034 | 0.01465 | -0.60068 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N154 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2022 | 2360392 | 2022-09-26 |  | 0.285 | 0.293 | 97.2696 | -2.7304 | 0.01465 | -0.54608 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N154 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2022 | 2080419 | 2022-08-12 |  | 0.1009 | 0.098 | 102.9592 | 2.9592 | 0.006 | 0.48333 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N153 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 1020109 | 2023-04-19 |  | 0.257 | 0.28 | 91.7857 | -8.2143 | 0.014 | -1.6429 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N158 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 1170149 | 2023-06-21 |  | 0.273 | 0.28 | 97.5 | -2.5 | 0.014 | -0.5 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N158 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 1650067 | 2023-07-21 |  | 0.277 | 0.28 | 98.9286 | -1.0714 | 0.014 | -0.21429 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N158 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 1840087 | 2023-09-01 |  | 0.276 | 0.28 | 98.5714 | -1.4286 | 0.014 | -0.28571 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N158 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 2860104 | 2022-12-06 |  | 0.663 | 0.67 | 98.9552 | -1.0448 | 0.0335 | -0.20896 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N156 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 2990137 | 2022-12-15 |  | 0.67 | 0.67 | 100 | 0 | 0.0335 | 0 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N156 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 2280171 | 2024-02-14 |  | 0.265 | 0.28 | 94.6429 | -5.3571 | 0.014 | -1.0714 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N158 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 3130112 | 2023-01-04 |  | 0.136 | 0.131 | 103.8168 | 3.8168 | 0.007 | 0.71429 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N155 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 3260046 | 2023-01-11 |  | 0.141 | 0.131 | 107.6336 | 7.6336 | 0.007 | 1.4286 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N155 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 1300162 | 2023-08-30 |  | 0.115 | 0.117 | 98.2906 | -1.7094 | 0.006 | -0.33333 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N157 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 1440062 | 2023-09-28 |  | 0.111 | 0.117 | 94.8718 | -5.1282 | 0.006 | -1 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N157 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 0470004 | 2023-02-24 |  | 0.522 | 0.67 | 77.9104 | -22.0896 | 0.0335 | -4.4179 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N156 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 0620098 | 2023-03-14 |  | 0.693 | 0.67 | 103.4328 | 3.4328 | 0.0335 | 0.68657 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N156 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 0190116 | 2023-02-02 |  | 0.144 | 0.131 | 109.9237 | 9.9237 | 0.007 | 1.8571 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N155 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 0310089 | 2023-02-09 |  | 0.138 | 0.131 | 105.3435 | 5.3435 | 0.007 | 1 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N155 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 0740035 | 2023-03-30 |  | 0.142 | 0.131 | 108.3969 | 8.3969 | 0.007 | 1.5714 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N155 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 0880094 | 2023-04-11 |  | 0.138 | 0.131 | 105.3435 | 5.3435 | 0.007 | 1 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N155 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 3490123 | 2023-01-30 |  | 0.667 | 0.67 | 99.5522 | -0.44776 | 0.0335 | -0.089552 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N156 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 0040115 | 2023-01-31 |  | 0.675 | 0.67 | 100.7463 | 0.74627 | 0.0335 | 0.14925 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N156 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 1940235 | 2023-10-11 |  | 0.123 | 0.117 | 105.1282 | 5.1282 | 0.006 | 1 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N157 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2023 | 2060140 | 2023-11-17 |  | 0.117 | 0.117 | 100 | 0 | 0.006 | 0 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N157 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2024 | 0440080 | 2024-04-24 |  | 0.359 | 0.375 | 95.7333 | -4.2667 | 0.01875 | -0.85333 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N160 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2024 | 0580161 | 2024-03-19 |  | 0.367 | 0.375 | 97.8667 | -2.1333 | 0.01875 | -0.42667 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N160 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2024 | 0090035 | 2024-04-06 |  | 0.127 | 0.128 | 99.2188 | -0.78125 | 0.0064 | -0.15625 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N159 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2024 | 0030063 | 2024-04-06 |  | 0.032 | 0.0375 | 85.3333 | -14.6667 | 0.005 | -1.1 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N160X | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2024 | 3460241 | 2024-03-06 |  | 0.364 | 0.375 | 97.0667 | -2.9333 | 0.01875 | -0.58667 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N160 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I
Phosphorus as P, FIL, CFA, ALK-P | 2024 | 3610064 | 2024-03-19 |  | 0.367 | 0.375 | 97.8667 | -2.1333 | 0.01875 | -0.42667 | 0.01 | 2757 | mg/L as P | 00666 | CL063 | N160 | 00666CL063 | NWQL | Filtered | Metals_Carbon | N | I265003 | I