## IBSP Data
Parameter Description | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc | % Recov | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Units | Parmcode | Methcode | Blind Sample ID | pmcode | labname | Phase: | NWQL_Section | analtype | twri | methcode_old
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2580149 | 2022-11-02 |  | 0.0972 | 0.098 | 99.1837 | -0.81633 | 0.006 | -0.13333 | 0.008 | 2333 | mg/L (as P) | 00665 | CL021 | N153 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2660046 | 2022-11-15 |  | 0.1003 | 0.098 | 102.3469 | 2.3469 | 0.006 | 0.38333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N153 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2720120 | 2022-11-22 |  | 0.0972 | 0.098 | 99.1837 | -0.81633 | 0.006 | -0.13333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N153 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2500497 | 2022-10-25 |  | 0.0281 | 0.0293 | 95.9044 | -4.0956 | 0.0015 | -0.8 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N154X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2570114 | 2022-11-09 |  | 0.0287 | 0.0293 | 97.9522 | -2.0478 | 0.0015 | -0.4 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N154X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 1670122 | 2022-08-03 |  | 0.0281 | 0.0293 | 95.9044 | -4.0956 | 0.0015 | -0.8 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N154X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 1740031 | 2022-08-09 |  | 0.0265 | 0.0293 | 90.4437 | -9.5563 | 0.0015 | -1.8667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N154X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 1810188 | 2022-08-17 |  | 0.0276 | 0.0293 | 94.198 | -5.802 | 0.0015 | -1.1333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N154X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 1730127 | 2022-08-09 |  | 0.097 | 0.098 | 98.9796 | -1.0204 | 0.006 | -0.16667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N153 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2230329 | 2022-09-22 |  | 0.0277 | 0.0293 | 94.5392 | -5.4608 | 0.0015 | -1.0667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N154X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2300209 | 2022-10-05 |  | 0.0295 | 0.0293 | 100.6826 | 0.68259 | 0.0015 | 0.13333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N154X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2370218 | 2022-10-13 |  | 0.0302 | 0.0293 | 103.0717 | 3.0717 | 0.0015 | 0.6 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N154X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2140178 | 2022-09-15 |  | 0.1012 | 0.098 | 103.2653 | 3.2653 | 0.006 | 0.53333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N153 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2210119 | 2022-09-27 |  | 0.0994 | 0.098 | 101.4286 | 1.4286 | 0.006 | 0.23333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N153 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2280356 | 2022-10-05 |  | 0.0991 | 0.098 | 101.1224 | 1.1224 | 0.006 | 0.18333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N153 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 1950117 | 2022-08-25 |  | 0.0974 | 0.098 | 99.3878 | -0.61224 | 0.006 | -0.1 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N153 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2020023 | 2022-08-25 |  | 0.0976 | 0.098 | 99.5918 | -0.40816 | 0.006 | -0.066667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N153 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2090179 | 2022-09-14 |  | 0.098 | 0.098 | 100 | 0 | 0.006 | 0 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N153 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 1870091 | 2022-08-18 |  | 0.0283 | 0.0293 | 96.587 | -3.413 | 0.0015 | -0.66667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N154X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 1930195 | 2022-08-23 |  | 0.0294 | 0.0293 | 100.3413 | 0.3413 | 0.0015 | 0.066667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N154X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2022 | 2000025 | 2022-08-24 |  | 0.0296 | 0.0293 | 101.0239 | 1.0239 | 0.0015 | 0.2 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N154X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2570187 | 2023-10-18 |  | 0.1143 | 0.117 | 97.6923 | -2.3077 | 0.006 | -0.45 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2640110 | 2023-10-24 |  | 0.1187 | 0.117 | 101.453 | 1.453 | 0.006 | 0.28333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2720020 | 2023-12-08 |  | 0.1171 | 0.117 | 100.0855 | 0.08547 | 0.006 | 0.016667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2490135 | 2023-10-05 |  | 0.0257 | 0.028 | 91.7857 | -8.2143 | 0.0015 | -1.5333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2560091 | 2023-10-17 |  | 0.0258 | 0.028 | 92.1429 | -7.8571 | 0.0015 | -1.4667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2620182 | 2023-10-20 |  | 0.0278 | 0.028 | 99.2857 | -0.71429 | 0.0015 | -0.13333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1090192 | 2023-05-18 |  | 0.0272 | 0.028 | 97.1429 | -2.8571 | 0.0015 | -0.53333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1150153 | 2023-06-01 |  | 0.0278 | 0.028 | 99.2857 | -0.71429 | 0.0015 | -0.13333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1230177 | 2023-05-31 |  | 0.0279 | 0.028 | 99.6429 | -0.35714 | 0.0015 | -0.066667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0940131 | 2023-05-04 |  | 0.114 | 0.117 | 97.4359 | -2.5641 | 0.006 | -0.5 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1020107 | 2023-05-25 |  | 0.1122 | 0.117 | 95.8974 | -4.1026 | 0.006 | -0.8 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1100090 | 2023-05-26 |  | 0.1149 | 0.117 | 98.2051 | -1.7949 | 0.006 | -0.35 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1660195 | 2023-07-20 |  | 0.028 | 0.028 | 100 | 0 | 0.0015 | 0 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1790032 | 2023-08-04 |  | 0.0258 | 0.028 | 92.1429 | -7.8571 | 0.0015 | -1.4667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1860130 | 2023-08-03 |  | 0.0264 | 0.028 | 94.2857 | -5.7143 | 0.0015 | -1.0667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1570043 | 2023-07-12 |  | 0.1055 | 0.117 | 90.1709 | -9.8291 | 0.006 | -1.9167 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1650069 | 2023-07-20 |  | 0.1112 | 0.117 | 95.0427 | -4.9573 | 0.006 | -0.96667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1730213 | 2023-08-02 |  | 0.1133 | 0.117 | 96.8376 | -3.1624 | 0.006 | -0.61667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2910109 | 2022-12-01 |  | 0.0675 | 0.067 | 100.7463 | 0.74627 | 0.00335 | 0.14925 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2930114 | 2022-12-06 |  | 0.0679 | 0.067 | 101.3433 | 1.3433 | 0.00335 | 0.26866 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 3000168 | 2022-12-08 |  | 0.0679 | 0.067 | 101.3433 | 1.3433 | 0.00335 | 0.26866 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2770117 | 2022-11-22 |  | 0.1376 | 0.131 | 105.0382 | 5.0382 | 0.007 | 0.94286 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2860106 | 2022-12-01 |  | 0.1375 | 0.131 | 104.9618 | 4.9618 | 0.007 | 0.92857 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2920223 | 2022-12-06 |  | 0.1391 | 0.131 | 106.1832 | 6.1832 | 0.007 | 1.1571 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2290215 | 2023-09-20 |  | 0.0268 | 0.028 | 95.7143 | -4.2857 | 0.0015 | -0.8 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2360089 | 2023-10-03 |  | 0.0277 | 0.028 | 98.9286 | -1.0714 | 0.0015 | -0.2 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2480100 | 2023-10-04 |  | 0.0279 | 0.028 | 99.6429 | -0.35714 | 0.0015 | -0.066667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2200131 | 2023-09-06 |  | 0.1114 | 0.117 | 95.2137 | -4.7863 | 0.006 | -0.93333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2280170 | 2023-09-13 |  | 0.1145 | 0.117 | 97.8632 | -2.1368 | 0.006 | -0.41667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2350098 | 2023-09-18 |  | 0.1143 | 0.117 | 97.6923 | -2.3077 | 0.006 | -0.45 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 3190027 | 2022-12-28 |  | 0.1382 | 0.131 | 105.4962 | 5.4962 | 0.007 | 1.0286 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 3210271 | 2023-01-05 |  | 0.1387 | 0.131 | 105.8779 | 5.8779 | 0.007 | 1.1 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 3340031 | 2023-01-25 |  | 0.139 | 0.131 | 106.1069 | 6.1069 | 0.007 | 1.1429 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 3060051 | 2022-12-07 |  | 0.0667 | 0.067 | 99.5522 | -0.44776 | 0.00335 | -0.089552 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 3130111 | 2022-12-15 |  | 0.0674 | 0.067 | 100.597 | 0.59701 | 0.00335 | 0.1194 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 3200146 | 2023-02-01 |  | 0.0709 | 0.067 | 105.8209 | 5.8209 | 0.00335 | 1.1642 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1310001 | 2023-06-23 |  | 0.1116 | 0.117 | 95.3846 | -4.6154 | 0.006 | -0.9 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1380204 | 2023-05-31 |  | 0.1159 | 0.117 | 99.0598 | -0.94017 | 0.006 | -0.18333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1460004 | 2023-07-11 |  | 0.1102 | 0.117 | 94.188 | -5.812 | 0.006 | -1.1333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1240213 | 2023-06-13 |  | 0.0278 | 0.028 | 99.2857 | -0.71429 | 0.0015 | -0.13333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1300165 | 2023-06-22 |  | 0.0261 | 0.028 | 93.2143 | -6.7857 | 0.0015 | -1.2667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1360050 | 2023-06-23 |  | 0.024 | 0.028 | 85.7143 | -14.2857 | 0.0015 | -2.6667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0540081 | 2023-03-15 |  | 0.066 | 0.067 | 98.5075 | -1.4925 | 0.00335 | -0.29851 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0660113 | 2023-04-11 |  | 0.0642 | 0.067 | 95.8209 | -4.1791 | 0.00335 | -0.83582 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0380148 | 2023-03-03 |  | 0.1329 | 0.131 | 101.4504 | 1.4504 | 0.007 | 0.27143 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0590094 | 2023-03-23 |  | 0.1361 | 0.131 | 103.8931 | 3.8931 | 0.007 | 0.72857 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0240119 | 2023-02-23 |  | 0.137 | 0.131 | 104.5802 | 4.5802 | 0.007 | 0.85714 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0320034 | 2023-03-01 |  | 0.1366 | 0.131 | 104.2748 | 4.2748 | 0.007 | 0.8 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0100104 | 2023-02-10 |  | 0.0744 | 0.067 | 111.0448 | 11.0448 | 0.00335 | 2.209 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0250119 | 2023-02-23 |  | 0.0666 | 0.067 | 99.403 | -0.59701 | 0.00335 | -0.1194 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0750100 | 2023-04-25 |  | 0.1368 | 0.131 | 104.4275 | 4.4275 | 0.007 | 0.82857 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0820083 | 2023-04-27 |  | 0.1385 | 0.131 | 105.7252 | 5.7252 | 0.007 | 1.0714 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0890107 | 2023-05-03 |  | 0.1377 | 0.131 | 105.1145 | 5.1145 | 0.007 | 0.95714 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0670100 | 2023-04-05 |  | 0.0647 | 0.067 | 96.5672 | -3.4328 | 0.00335 | -0.68657 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0740034 | 2023-04-19 |  | 0.0674 | 0.067 | 100.597 | 0.59701 | 0.00335 | 0.1194 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0800082 | 2023-04-25 |  | 0.0659 | 0.067 | 98.3582 | -1.6418 | 0.00335 | -0.32836 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 3540136 | 2023-02-07 |  | 0.0687 | 0.067 | 102.5373 | 2.5373 | 0.00335 | 0.50746 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 0050054 | 2023-02-07 |  | 0.0654 | 0.067 | 97.6119 | -2.3881 | 0.00335 | -0.47761 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N156X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 3400092 | 2023-01-26 |  | 0.143 | 0.131 | 109.1603 | 9.1603 | 0.007 | 1.7143 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 3610136 | 2023-02-08 |  | 0.1334 | 0.131 | 101.8321 | 1.8321 | 0.007 | 0.34286 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N155 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1980053 | 2023-08-11 |  | 0.1144 | 0.117 | 97.7778 | -2.2222 | 0.006 | -0.43333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2020028 | 2023-08-16 |  | 0.1138 | 0.117 | 97.265 | -2.735 | 0.006 | -0.53333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 2080233 | 2023-08-23 |  | 0.1123 | 0.117 | 95.9829 | -4.0171 | 0.006 | -0.78333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N157 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1870311 | 2023-08-03 |  | 0.0304 | 0.028 | 108.5714 | 8.5714 | 0.0015 | 1.6 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1940236 | 2023-08-11 |  | 0.0279 | 0.028 | 99.6429 | -0.35714 | 0.0015 | -0.066667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2023 | 1990168 | 2023-08-17 |  | 0.0252 | 0.028 | 90 | -10 | 0.0015 | -1.8667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N158X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 1020163 | 2024-04-20 |  | 0.0288 | 0.0275 | 104.7273 | 4.7273 | 0.0015 | 0.86667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N162X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 1090164 | 2024-05-02 |  | 0.0276 | 0.0275 | 100.3636 | 0.36364 | 0.0015 | 0.066667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N162X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 0930094 | 2024-04-12 |  | 0.0987 | 0.13 | 75.9231 | -24.0769 | 0.007 | -4.4714 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N161 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 1000109 | 2024-04-17 |  | 0.0977 | 0.13 | 75.1538 | -24.8462 | 0.007 | -4.6143 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N161 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 1070228 | 2024-04-26 |  | 0.1005 | 0.13 | 77.3077 | -22.6923 | 0.007 | -4.2143 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N161 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 2860133 | 2024-03-01 |  | 0.0367 | 0.0375 | 97.8667 | -2.1333 | 0.001875 | -0.42667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N160X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 2930013 | 2024-03-12 |  | 0.0354 | 0.0375 | 94.4 | -5.6 | 0.001875 | -1.12 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N160X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 2990159 | 2024-04-01 |  | 0.0379 | 0.0375 | 101.0667 | 1.0667 | 0.001875 | 0.21333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N160X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 2760037 | 2023-12-08 |  | 0.1278 | 0.128 | 99.8438 | -0.15625 | 0.0064 | -0.03125 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N159 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 2850093 | 2024-03-27 |  | 0.1292 | 0.128 | 100.9375 | 0.9375 | 0.0064 | 0.1875 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N159 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 2900164 | 2024-03-07 |  | 0.1255 | 0.128 | 98.0469 | -1.9531 | 0.0064 | -0.39063 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N159 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 0460204 | 2024-04-22 |  | 0.0393 | 0.0375 | 104.8 | 4.8 | 0.001875 | 0.96 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N160X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 0610077 | 2024-03-21 |  | 0.0378 | 0.0375 | 100.8 | 0.8 | 0.001875 | 0.16 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N160X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 0520082 | 2024-04-19 |  | 0.1336 | 0.128 | 104.375 | 4.375 | 0.0064 | 0.875 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N159 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 0790097 | 2024-04-06 |  | 0.1295 | 0.128 | 101.1719 | 1.1719 | 0.0064 | 0.23438 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N159 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 0810191 | 2024-04-15 |  | 0.1347 | 0.128 | 105.2344 | 5.2344 | 0.0064 | 1.0469 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N159 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 0880081 | 2024-04-12 |  | 0.1326 | 0.128 | 103.5938 | 3.5938 | 0.0064 | 0.71875 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N159 | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 0660046 | 2024-03-26 |  | 0.0368 | 0.0375 | 98.1333 | -1.8667 | 0.001875 | -0.37333 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N160X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 0730123 | 2024-04-04 |  | 0.034 | 0.0375 | 90.6667 | -9.3333 | 0.001875 | -1.8667 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N160X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus (as P), UNF, CFA, ACD-P, LL | 2024 | 0800006 | 2024-04-15 |  | 0.0413 | 0.0375 | 110.1333 | 10.1333 | 0.001875 | 2.0267 | 0.003 | 2333 | mg/L as P | 00665 | CL021 | N160X | 00665CL021 | NWQL | Unfiltered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2580149 | 2022-11-09 |  | 0.1001 | 0.098 | 102.1429 | 2.1429 | 0.006 | 0.35 | 0.006 | 2331 | mg/L as P | 00666 | CL020 | N153 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2660046 | 2022-11-17 |  | 0.0991 | 0.098 | 101.1224 | 1.1224 | 0.006 | 0.18333 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N153 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2720120 | 2022-11-17 |  | 0.0984 | 0.098 | 100.4082 | 0.40816 | 0.006 | 0.066667 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N153 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2500497 | 2022-10-25 |  | 0.0269 | 0.0293 | 91.8089 | -8.1911 | 0.0021499 | -1.1163 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N154X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2570114 | 2022-11-09 |  | 0.0288 | 0.0293 | 98.2935 | -1.7065 | 0.0021499 | -0.23257 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N154X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2630182 | 2022-11-17 |  | 0.0288 | 0.0293 | 98.2935 | -1.7065 | 0.0021499 | -0.23257 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N154X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 1810188 | 2022-08-11 |  | 0.0291 | 0.0293 | 99.3174 | -0.68259 | 0.0021499 | -0.093027 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N154X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2230329 | 2022-09-21 |  | 0.0298 | 0.0293 | 101.7065 | 1.7065 | 0.0021499 | 0.23257 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N154X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2300209 | 2022-09-29 |  | 0.028 | 0.0293 | 95.5631 | -4.4369 | 0.0021499 | -0.60467 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N154X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2370218 | 2022-10-04 |  | 0.0273 | 0.0293 | 93.1741 | -6.8259 | 0.0021499 | -0.93027 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N154X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2140178 | 2022-09-21 |  | 0.1022 | 0.098 | 104.2857 | 4.2857 | 0.006 | 0.7 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N153 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2210119 | 2022-09-22 |  | 0.1029 | 0.098 | 105 | 5 | 0.006 | 0.81667 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N153 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2280356 | 2022-09-28 |  | 0.1025 | 0.098 | 104.5918 | 4.5918 | 0.006 | 0.75 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N153 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 1950117 | 2022-08-24 |  | 0.0989 | 0.098 | 100.9184 | 0.91837 | 0.006 | 0.15 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N153 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2020023 | 2022-08-30 |  | 0.0983 | 0.098 | 100.3061 | 0.30612 | 0.006 | 0.05 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N153 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2090179 | 2022-09-08 |  | 0.0992 | 0.098 | 101.2245 | 1.2245 | 0.006 | 0.2 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N153 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 1870091 | 2022-08-17 |  | 0.0293 | 0.0293 | 100 | 0 | 0.0021499 | 0 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N154X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 1930195 | 2022-08-18 |  | 0.0274 | 0.0293 | 93.5154 | -6.4846 | 0.0021499 | -0.88375 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N154X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2022 | 2000025 | 2022-08-30 |  | 0.0273 | 0.0293 | 93.1741 | -6.8259 | 0.0021499 | -0.93027 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N154X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2570187 | 2023-10-11 |  | 0.1182 | 0.117 | 101.0256 | 1.0256 | 0.006 | 0.2 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2640110 | 2023-10-13 |  | 0.1178 | 0.117 | 100.6838 | 0.68376 | 0.006 | 0.13333 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2720020 | 2024-03-05 |  | 0.1152 | 0.117 | 98.4615 | -1.5385 | 0.006 | -0.3 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2490135 | 2023-10-03 |  | 0.0253 | 0.028 | 90.3571 | -9.6429 | 0.0021011 | -1.285 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2560091 | 2023-10-11 |  | 0.0281 | 0.028 | 100.3571 | 0.35714 | 0.0021011 | 0.047594 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2620182 | 2023-10-13 |  | 0.0302 | 0.028 | 107.8571 | 7.8571 | 0.0021011 | 1.0471 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1090192 | 2023-05-09 |  | 0.0276 | 0.028 | 98.5714 | -1.4286 | 0.0021011 | -0.19037 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1150153 | 2023-05-26 |  | 0.026 | 0.028 | 92.8571 | -7.1429 | 0.0021011 | -0.95187 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1230177 | 2023-05-17 |  | 0.0286 | 0.028 | 102.1429 | 2.1429 | 0.0021011 | 0.28556 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0940131 | 2023-04-19 |  | 0.1133 | 0.117 | 96.8376 | -3.1624 | 0.006 | -0.61667 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1020107 | 2023-05-31 |  | 0.1156 | 0.117 | 98.8034 | -1.1966 | 0.006 | -0.23333 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1100090 | 2023-05-09 |  | 0.1152 | 0.117 | 98.4615 | -1.5385 | 0.006 | -0.3 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1660195 | 2023-07-19 |  | 0.0287 | 0.028 | 102.5 | 2.5 | 0.0021011 | 0.33316 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1790032 | 2023-07-26 |  | 0.0266 | 0.028 | 95 | -5 | 0.0021011 | -0.66631 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1860130 | 2023-08-01 |  | 0.0265 | 0.028 | 94.6429 | -5.3571 | 0.0021011 | -0.7139 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1570043 | 2023-06-22 |  | 0.1122 | 0.117 | 95.8974 | -4.1026 | 0.006 | -0.8 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1650069 | 2023-06-28 |  | 0.1088 | 0.117 | 92.9915 | -7.0085 | 0.006 | -1.3667 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1730213 | 2023-07-27 |  | 0.1164 | 0.117 | 99.4872 | -0.51282 | 0.006 | -0.1 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2910109 | 2022-12-07 |  | 0.0671 | 0.067 | 100.1493 | 0.14925 | 0.0035652 | 0.028049 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2930114 | 2022-12-07 |  | 0.0662 | 0.067 | 98.806 | -1.194 | 0.0035652 | -0.22439 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 3000168 | 2022-12-14 |  | 0.0666 | 0.067 | 99.403 | -0.59701 | 0.0035652 | -0.1122 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2770117 | 2022-11-17 |  | 0.1391 | 0.131 | 106.1832 | 6.1832 | 0.007 | 1.1571 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2860106 | 2022-11-30 |  | 0.1434 | 0.131 | 109.4656 | 9.4656 | 0.007 | 1.7714 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2920223 | 2022-12-07 |  | 0.1394 | 0.131 | 106.4122 | 6.4122 | 0.007 | 1.2 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2290215 | 2023-09-14 |  | 0.0268 | 0.028 | 95.7143 | -4.2857 | 0.0021011 | -0.57112 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2360089 | 2023-09-27 |  | 0.0268 | 0.028 | 95.7143 | -4.2857 | 0.0021011 | -0.57112 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2480100 | 2023-09-28 |  | 0.0268 | 0.028 | 95.7143 | -4.2857 | 0.0021011 | -0.57112 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2200131 | 2023-09-07 |  | 0.1148 | 0.117 | 98.1197 | -1.8803 | 0.006 | -0.36667 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2280170 | 2023-09-14 |  | 0.1092 | 0.117 | 93.3333 | -6.6667 | 0.006 | -1.3 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2350098 | 2023-09-18 |  | 0.1123 | 0.117 | 95.9829 | -4.0171 | 0.006 | -0.78333 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 3190027 | 2022-12-21 |  | 0.1426 | 0.131 | 108.855 | 8.855 | 0.007 | 1.6571 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 3210271 | 2022-12-28 |  | 0.1403 | 0.131 | 107.0992 | 7.0992 | 0.007 | 1.3286 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 3340031 | 2023-01-05 |  | 0.1429 | 0.131 | 109.084 | 9.084 | 0.007 | 1.7 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 3060051 | 2022-12-14 |  | 0.0654 | 0.067 | 97.6119 | -2.3881 | 0.0035652 | -0.44879 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 3130111 | 2022-12-21 |  | 0.0669 | 0.067 | 99.8507 | -0.14925 | 0.0035652 | -0.028049 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 3200146 | 2023-01-20 |  | 0.0706 | 0.067 | 105.3731 | 5.3731 | 0.0035652 | 1.0098 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1310001 | 2023-06-08 |  | 0.1147 | 0.117 | 98.0342 | -1.9658 | 0.006 | -0.38333 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1460004 | 2023-06-22 |  | 0.1098 | 0.117 | 93.8462 | -6.1538 | 0.006 | -1.2 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1240213 | 2023-05-25 |  | 0.0275 | 0.028 | 98.2143 | -1.7857 | 0.0021011 | -0.23797 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1300165 | 2023-05-31 |  | 0.0297 | 0.028 | 106.0714 | 6.0714 | 0.0021011 | 0.80909 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1360050 | 2023-06-08 |  | 0.0286 | 0.028 | 102.1429 | 2.1429 | 0.0021011 | 0.28556 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0540081 | 2023-03-16 |  | 0.0655 | 0.067 | 97.7612 | -2.2388 | 0.0035652 | -0.42074 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0660113 | 2023-03-21 |  | 0.065 | 0.067 | 97.0149 | -2.9851 | 0.0035652 | -0.56098 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0590094 | 2023-03-16 |  | 0.1383 | 0.131 | 105.5725 | 5.5725 | 0.007 | 1.0429 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0240119 | 2023-02-16 |  | 0.1388 | 0.131 | 105.9542 | 5.9542 | 0.007 | 1.1143 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0320034 | 2023-02-17 |  | 0.1391 | 0.131 | 106.1832 | 6.1832 | 0.007 | 1.1571 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0100104 | 2023-02-14 |  | 0.07 | 0.067 | 104.4776 | 4.4776 | 0.0035652 | 0.84147 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0250119 | 2023-02-16 |  | 0.0692 | 0.067 | 103.2836 | 3.2836 | 0.0035652 | 0.61708 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0750100 | 2023-04-06 |  | 0.135 | 0.131 | 103.0534 | 3.0534 | 0.007 | 0.57143 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0820083 | 2023-04-11 |  | 0.1379 | 0.131 | 105.2672 | 5.2672 | 0.007 | 0.98571 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0890107 | 2023-04-20 |  | 0.1375 | 0.131 | 104.9618 | 4.9618 | 0.007 | 0.92857 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0670100 | 2023-03-21 |  | 0.0629 | 0.067 | 93.8806 | -6.1194 | 0.0035652 | -1.15 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0740034 | 2023-03-28 |  | 0.0659 | 0.067 | 98.3582 | -1.6418 | 0.0035652 | -0.30854 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0800082 | 2023-04-11 |  | 0.0674 | 0.067 | 100.597 | 0.59701 | 0.0035652 | 0.1122 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 3540136 | 2023-01-24 |  | 0.0671 | 0.067 | 100.1493 | 0.14925 | 0.0035652 | 0.028049 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 0050054 | 2023-02-02 |  | 0.0679 | 0.067 | 101.3433 | 1.3433 | 0.0035652 | 0.25244 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N156X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 3400092 | 2023-01-05 |  | 0.1356 | 0.131 | 103.5115 | 3.5115 | 0.007 | 0.65714 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 3610136 | 2023-02-02 |  | 0.1397 | 0.131 | 106.6412 | 6.6412 | 0.007 | 1.2429 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N155 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1980053 | 2023-08-16 |  | 0.1137 | 0.117 | 97.1795 | -2.8205 | 0.006 | -0.55 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2020028 | 2023-07-26 |  | 0.1129 | 0.117 | 96.4957 | -3.5043 | 0.006 | -0.68333 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 2080233 | 2023-08-29 |  | 0.1108 | 0.117 | 94.7009 | -5.2991 | 0.006 | -1.0333 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N157 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1870311 | 2023-08-01 |  | 0.0292 | 0.028 | 104.2857 | 4.2857 | 0.0021011 | 0.57112 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1940236 | 2023-08-16 |  | 0.0278 | 0.028 | 99.2857 | -0.71429 | 0.0021011 | -0.095187 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1990168 | 2023-08-17 |  | 0.0259 | 0.028 | 92.5 | -7.5 | 0.0021011 | -0.99947 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N158X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1520009 | 2023-06-08 |  | 0.0521 |  |  |  | 0.0015 |  | 0.003 | 2331 | mg/L as P | 00666 | CL020 |  | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1520007 | 2023-06-08 |  | 0.0492 |  |  |  | 0.0015 |  | 0.003 | 2331 | mg/L as P | 00666 | CL020 |  | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2023 | 1520008 | 2023-06-08 |  | 0.0499 |  |  |  | 0.0015 |  | 0.003 | 2331 | mg/L as P | 00666 | CL020 |  | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 1020163 | 2024-04-24 |  | 0.0283 | 0.0275 | 102.9091 | 2.9091 | 0.0020824 | 0.38418 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N162X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 1090164 | 2024-05-01 |  | 0.0286 | 0.0275 | 104 | 4 | 0.0020824 | 0.52825 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N162X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 0930094 | 2024-04-11 |  | 0.0974 | 0.13 | 74.9231 | -25.0769 | 0.007 | -4.6571 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N161 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 1000109 | 2024-04-17 |  | 0.0967 | 0.13 | 74.3846 | -25.6154 | 0.007 | -4.7571 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N161 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 1070228 | 2024-05-01 |  | 0.0987 | 0.13 | 75.9231 | -24.0769 | 0.007 | -4.4714 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N161 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 2860133 | 2024-03-06 |  | 0.0359 | 0.0375 | 95.7333 | -4.2667 | 0.0024577 | -0.651 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N160X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 2930013 | 2024-03-16 |  | 0.0356 | 0.0375 | 94.9333 | -5.0667 | 0.0024577 | -0.77306 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N160X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 2990159 | 2024-03-12 |  | 0.0381 | 0.0375 | 101.6 | 1.6 | 0.0024577 | 0.24413 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N160X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 2760037 | 2024-03-05 |  | 0.1318 | 0.128 | 102.9688 | 2.9688 | 0.0064 | 0.59375 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N159 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 2850093 | 2024-03-06 |  | 0.13 | 0.128 | 101.5625 | 1.5625 | 0.0064 | 0.3125 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N159 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 2900164 | 2024-03-06 |  | 0.1303 | 0.128 | 101.7969 | 1.7969 | 0.0064 | 0.35937 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N159 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 3120061 | 2024-03-19 |  | 0.0352 | 0.0375 | 93.8667 | -6.1333 | 0.0024577 | -0.93582 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N160X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 3190185 | 2024-03-30 |  | 0.036 | 0.0375 | 96 | -4 | 0.0024577 | -0.61031 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N160X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 0460204 | 2024-04-01 |  | 0.0385 | 0.0375 | 102.6667 | 2.6667 | 0.0024577 | 0.40688 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N160X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 0610077 | 2024-03-21 |  | 0.0384 | 0.0375 | 102.4 | 2.4 | 0.0024577 | 0.36619 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N160X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 0370151 | 2024-04-19 |  | 0.1368 | 0.128 | 106.875 | 6.875 | 0.0064 | 1.375 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N159 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 0520082 | 2024-03-30 |  | 0.1336 | 0.128 | 104.375 | 4.375 | 0.0064 | 0.875 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N159 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 0790097 | 2024-03-25 |  | 0.1325 | 0.128 | 103.5156 | 3.5156 | 0.0064 | 0.70313 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N159 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 0810191 | 2024-03-27 |  | 0.1306 | 0.128 | 102.0312 | 2.0312 | 0.0064 | 0.40625 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N159 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 0880081 | 2024-04-16 |  | 0.1298 | 0.128 | 101.4062 | 1.4062 | 0.0064 | 0.28125 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N159 | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 0660046 | 2024-03-21 |  | 0.0368 | 0.0375 | 98.1333 | -1.8667 | 0.0024577 | -0.28481 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N160X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 0730123 | 2024-03-23 |  | 0.0362 | 0.0375 | 96.5333 | -3.4667 | 0.0024577 | -0.52894 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N160X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 0800006 | 2024-03-25 |  | 0.0382 | 0.0375 | 101.8667 | 1.8667 | 0.0024577 | 0.28481 | 0.003 | 2331 | mg/L as P | 00666 | CL020 | N160X | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 3190003 | 2023-11-29 |  | 0.321 |  |  |  | 0.0015 |  | 0.003 | 2331 | mg/L as P | 00666 | CL020 |  | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 3190005 | 2023-11-29 |  | 0.3542 |  |  |  | 0.0015 |  | 0.003 | 2331 | mg/L as P | 00666 | CL020 |  | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G
Phosphorus as P, FIL, CFA, ACD-P, LL | 2024 | 3190004 | 2023-11-29 |  | 0.3344 |  |  |  | 0.0015 |  | 0.003 | 2331 | mg/L as P | 00666 | CL020 |  | 00666CL020 | NWQL | Filtered | Metals_Carbon | N | 365.1 | G