## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25168-75166 | 67.8831 | 1.7585 | 2.5905 | 25 | mg/L
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25172-75168 | 30.52 | 0.96964 | 3.1771 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25172-75170 | 31.4964 | 0.408 | 1.2954 | 22 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25172-75174 | 58.9027 | 0.23703 | 0.40241 | 22 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25174-75176 | 37.0214 | 0.2409 | 0.6507 | 22 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25178-75176 | 28.6613 | 0.24447 | 0.85297 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25180-75176 | 35.4413 | 0.24274 | 0.6849 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25180-75178 | 39.3138 | 0.20496 | 0.52133 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25180-75184 | 48.2748 | 0.39065 | 0.80922 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25182-75180 | 54.1821 | 0.69702 | 1.2864 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25184-75182 | 37.9771 | 0.7641 | 2.012 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25184-75186 | 49.7935 | 0.61141 | 1.2279 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25186-75188 | 77.8479 | 0.64266 | 0.82554 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25188-75192 | 39.8492 | 0.91562 | 2.2977 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25190-75194 | 58.8994 | 0.6389 | 1.0847 | 16 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25192-75190 | 42.7231 | 0.48054 | 1.1248 | 16 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25194-75192 | 34.0712 | 0.47979 | 1.4082 | 16 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25194-75196 | 76.6408 | 0.32618 | 0.42559 | 12 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25196-75198 | 47.9867 | 0.23149 | 0.48241 | 12 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25198-75194 | 55.8808 | 0.32236 | 0.57687 | 12 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25198-75200 | 31.8525 | 0.93585 | 2.9381 | 12 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25200-75202 | 21.405 | 0.61174 | 2.8579 | 12 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25202-75198 | 32.3158 | 0.71159 | 2.202 | 12 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25202-75206 | 36.6775 | 0.087702 | 0.23912 | 4 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25204-75202 | 24.1475 | 0.093586 | 0.38756 | 4 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 25206-75204 | 41.6075 | 0.087321 | 0.20987 | 4 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50164-50166 | 47.2596 | 0.49478 | 1.0469 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50164-50DIW | 6.775 | 0.16197 | 2.3907 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50168-50164 | 20.7896 | 0.40021 | 1.9251 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50168-50170 | 30.2083 | 0.26807 | 0.8874 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 50168-50DIW | 15.7753 | 0.60396 | 3.8285 | 47 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75166-25DIW | 62.1875 | 0.46906 | 0.75427 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75170-25DIW | 23.7523 | 0.22501 | 0.94731 | 22 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75172-25176 | 33.3743 | 0.28419 | 0.85153 | 21 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75172-25DIW | 27.3459 | 0.32366 | 1.1836 | 46 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75174-25DIW | 50.94 | 0.23493 | 0.46118 | 22 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75176-25DIW | 21.0602 | 0.1862 | 0.88415 | 47 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75178-25DIW | 24.9912 | 0.23853 | 0.95447 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75180-25DIW | 45.8817 | 0.42147 | 0.91861 | 47 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75182-25DIW | 27.4804 | 0.61979 | 2.2554 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75184-25188 | 54.9948 | 0.37489 | 0.68169 | 23 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75184-25DIW | 32.3917 | 2.1193 | 6.5426 | 47 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75186-25DIW | 39.4263 | 0.61713 | 1.5653 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75188-25190 | 77.3886 | 1.6914 | 2.1856 | 22 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75188-25DIW | 65.6248 | 0.91718 | 1.3976 | 42 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75190-25192 | 43.0096 | 0.7865 | 1.8287 | 24 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75190-25DIW | 37.16 | 0.86773 | 2.3351 | 31 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75192-25DIW | 19.249 | 0.40672 | 2.113 | 40 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75194-25DIW | 47.3258 | 0.49117 | 1.0378 | 36 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75196-25DIW | 61.6194 | 0.64445 | 1.0459 | 16 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75198-25DIW | 28.3924 | 0.46961 | 1.654 | 21 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75200-25DIW | 23.1508 | 0.73189 | 3.1614 | 12 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75202-25DIW | 15.0021 | 0.93387 | 6.2249 | 14 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75204-25DIW | 32.6675 | 1.6448 | 5.0351 | 4 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | 75206-25DIW | 32.9913 | 0.96379 | 2.9214 | 8 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M202 | 18.4525 | 0.078899 | 0.42758 | 4 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M204 | 42.2875 | 0.34846 | 0.82403 | 4 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M206 | 42.91 | 0.08165 | 0.19028 | 4 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M208 | 70.9275 | 1.8714 | 2.6384 | 8 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M210 | 25.995 | 0.26872 | 1.0337 | 12 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M212 | 23.7183 | 0.30127 | 1.2702 | 12 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M214 | 41.6558 | 0.49202 | 1.1811 | 12 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M216 | 30.563 | 0.29833 | 0.97612 | 10 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M218 | 30.2192 | 0.47079 | 1.5579 | 12 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M220 | 53.5518 | 1.0593 | 1.9781 | 11 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M222 | 58.4136 | 1.3667 | 2.3397 | 11 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M224 | 23.7609 | 0.68819 | 2.8963 | 11 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M226 | 50.472 | 1.0774 | 2.1347 | 10 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M228 | 35.523 | 0.62906 | 1.7708 | 10 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M230 | 52.1878 | 0.72515 | 1.3895 | 9 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M232 | 14.6304 | 0.55234 | 3.7753 | 9 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M234 | 35.7414 | 1.0455 | 2.9251 | 6 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M236 | 17.3701 | 0.71303 | 4.1049 | 6 | mg/l CaCO3
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 | TT040 | UNF | M240 | 27.2326 | 1.0049 | 3.6901 | 4 | mg/l CaCO3