## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL |  | 0.6982 | 0.96065 | 137.5893 | 20 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N100 | 0.78118 | 0.030945 | 3.9613 | 22 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N101 | 0.40175 | 0.024946 | 6.2092 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N102 | 0.95092 | 0.030682 | 3.2265 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N103 | 0.33475 | 0.02346 | 7.0082 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N104 | 0.76404 | 0.036532 | 4.7814 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N105 | 0.30004 | 0.029704 | 9.8998 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N106 | 1.1816 | 0.054051 | 4.5743 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N107 | 0.254 | 0.044331 | 17.4531 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N108 | 0.52154 | 0.036371 | 6.9738 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N109 | 0.24933 | 0.019403 | 7.7821 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N110 | 0.75856 | 0.055471 | 7.3128 | 18 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N111 | 0.28754 | 0.021817 | 7.5876 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N112 | 0.85537 | 0.031299 | 3.6591 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N113 | 0.23742 | 0.031765 | 13.3796 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N114 | 1.1071 | 0.057029 | 5.1512 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N115 | 0.23933 | 0.029829 | 12.4636 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N116 | 0.44292 | 0.022712 | 5.1277 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N117 | 0.417 | 0.045341 | 10.8732 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N118 | 0.95792 | 0.059822 | 6.245 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N119 | 0.28618 | 0.036597 | 12.7881 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N120 | 0.5435 | 0.023689 | 4.3586 | 10 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N121 | 0.17083 | 0.0577 | 33.7754 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N122 | 0.6023 | 0.038787 | 6.4399 | 10 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N123 | 0.30392 | 0.026131 | 8.598 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N124 | 0.17567 | 0.02331 | 13.2692 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N125 | 0.15808 | 0.029084 | 18.3981 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N126 | 0.38508 | 0.029479 | 7.6551 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N127 | 0.13617 | 0.030786 | 22.6092 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N128 | 0.503 | 0.017822 | 3.5432 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N129 | 0.19075 | 0.024827 | 13.0155 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N130 | 0.52958 | 0.024604 | 4.6459 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N131 | 0.12675 | 0.024658 | 19.4541 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N132 | 0.28818 | 0.027741 | 9.6262 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N133 | 0.117 | 0.020976 | 17.9284 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N134 | 0.18125 | 0.034131 | 18.831 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N135 | 0.17208 | 0.015078 | 8.7622 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N136 | 0.4078 | 0.038848 | 9.5263 | 5 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N137 | 0.12458 | 0.024663 | 19.7964 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N138 | 0.46308 | 0.016588 | 3.5822 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N139 | 0.12125 | 0.015453 | 12.7445 | 8 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N140 | 0.48122 | 0.017726 | 3.6834 | 9 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N141 | 0.1515 | 0.028849 | 19.0423 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N142 | 0.5835 | 0.019746 | 3.3841 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N143 | 0.16725 | 0.028371 | 16.9634 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N144 | 0.35667 | 0.034307 | 9.6188 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N145 | 0.10673 | 0.021072 | 19.7435 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N146 | 0.35675 | 0.049743 | 13.9434 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N147 | 0.1285 | 0.017297 | 13.4606 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N148 | 0.30783 | 0.029732 | 9.6584 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N149 | 0.17667 | 0.022187 | 12.5584 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N150 | 0.41417 | 0.025351 | 6.1211 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N151 | 0.07975 | 0.015088 | 18.9196 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N152 | 0.314 | 0.068498 | 21.8147 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N153 | 0.095952 | 0.030276 | 31.5533 | 21 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N155 | 0.098958 | 0.022003 | 22.2345 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N156 | 0.38029 | 0.052755 | 13.8722 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N157 | 0.07755 | 0.010531 | 13.579 | 20 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N158 | 0.22613 | 0.038147 | 16.8696 | 23 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N159 | 0.090625 | 0.024183 | 26.6852 | 8 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N160 | 0.518 | 0.020335 | 3.9256 | 5 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N83 | 0.23315 | 0.029624 | 12.7062 | 20 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N84 | 1.07 | 0.033964 | 3.1742 | 23 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N85 | 0.17804 | 0.018831 | 10.5764 | 23 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N86 | 0.99565 | 0.036424 | 3.6583 | 23 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N87 | 0.27962 | 0.030136 | 10.7772 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N88 | 1.2891 | 0.035966 | 2.79 | 16 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N89 | 0.28391 | 0.024511 | 8.6334 | 23 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N90 | 0.5215 | 0.024582 | 4.7137 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N91 | 0.084737 | 0.033471 | 39.5001 | 19 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N92 | 1.0373 | 0.049699 | 4.7913 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N93 | 0.15867 | 0.021396 | 13.485 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N94 | 0.7133 | 0.022394 | 3.1395 | 23 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N95 | 0.18311 | 0.01799 | 9.8252 | 19 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N96 | 0.69759 | 0.025554 | 3.6632 | 22 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N97 | 0.36517 | 0.016689 | 4.5701 | 23 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N98 | 0.6345 | 0.028033 | 4.4181 | 24 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | N99 | 0.18641 | 0.032856 | 17.6255 | 22 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | NS13 | 2.8897 | 0.10243 | 3.5448 | 20 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | NS15 | 0.86635 | 0.041457 | 4.7853 | 51 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | NS17 | 1.7929 | 0.091304 | 5.0924 | 71 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | NS17X2 | 0.89625 | 0.022721 | 2.5351 | 4 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | NS19 | 2.2174 | 0.076155 | 3.4344 | 92 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | NS21 | 1.4893 | 0.055441 | 3.7227 | 84 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | NS23 | 0.68065 | 0.037006 | 5.4369 | 66 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | NS25 | 3.5792 | 0.11072 | 3.0934 | 84 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | NS27 | 3.7587 | 0.11281 | 3.0013 | 72 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | NS29 | 3.3914 | 0.25347 | 7.4739 | 74 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA | 00623 | KJ002 | FIL | NS31 | 4.4661 | 0.10696 | 2.3949 | 49 | mg/L as N