## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | N83 | 0.25975 | 0.028222 | 10.8652 | 8 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | N84 | 1.0758 | 0.02405 | 2.2355 | 10 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | N85 | 0.17591 | 0.020632 | 11.7289 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | N86 | 0.977 | 0.02142 | 2.1924 | 11 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | N87 | 0.291 | 0.0042426 | 1.458 | 4 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | N88 | 1.3163 | 0.027208 | 2.067 | 4 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | N89 | 0.29542 | 0.023177 | 7.8455 | 12 | mg/L as N
Kjeldahl Nitrogen (NH3+NH4 plus org N; as N), FIL, CFA, ACD | 00623 | KJ003 | FIL | N90 | 0.53775 | 0.027063 | 5.0326 | 12 | mg/L as N