## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N100 | 0.718 | 0.0060414 | 0.84143 | 22 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N101 | 0.35992 | 0.0063924 | 1.7761 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N102 | 0.971 | 0.019007 | 1.9575 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N103 | 0.27467 | 0.0037261 | 1.3566 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N104 | 0.82517 | 0.0096579 | 1.1704 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N105 | 0.17375 | 0.0049454 | 2.8462 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N106 | 1.1098 | 0.015103 | 1.361 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N107 | 0.13642 | 0.0059849 | 4.3872 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N108 | 0.92317 | 0.013672 | 1.481 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N109 | 0.19175 | 0.0086288 | 4.5 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N110 | 1.4381 | 0.052434 | 3.646 | 18 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N112 | 1.3847 | 0.0046188 | 0.33357 | 3 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N83 | 0.0598 | 0.0078109 | 13.0617 | 20 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N84 | 1.2039 | 0.026763 | 2.223 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N85 | 0.16578 | 0.008754 | 5.2804 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N86 | 0.6817 | 0.016027 | 2.351 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N87 | 0.18996 | 0.0068808 | 3.6223 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N88 | 1.3575 | 0.049504 | 3.6467 | 16 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N89 | 0.27033 | 0.016078 | 5.9474 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N90 | 0.76154 | 0.017881 | 2.348 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N91 | 0.13243 | 0.008016 | 6.0528 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N92 | 1.4597 | 0.088223 | 6.0441 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N93 | 0.13533 | 0.0036673 | 2.7098 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N94 | 0.93826 | 0.011083 | 1.1813 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N95 | 0.092579 | 0.0059658 | 6.444 | 19 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N96 | 1.1498 | 0.012961 | 1.1273 | 22 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N97 | 0.36091 | 0.009765 | 2.7056 | 23 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N98 | 1.027 | 0.023152 | 2.2544 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | N99 | 0.235 | 0.0062888 | 2.676 | 22 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | NS12 | 0.38147 | 0.010205 | 2.6753 | 19 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | NS14 | 0.23073 | 0.010219 | 4.4289 | 45 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | NS16 | 0.74008 | 0.019284 | 2.6057 | 77 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | NS16X2 | 0.3625 | 0.012152 | 3.3522 | 4 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | NS18 | 0.39847 | 0.0079415 | 1.993 | 93 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL | 00631 | CL048 | FIL | NS20 | 0.28873 | 0.0064383 | 2.2299 | 73 | mg/L as N