## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N100X | 0.071055 | 0.001969 | 2.771 | 29 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N101 | 0.35867 | 0.0061659 | 1.7191 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N102X | 0.097113 | 0.0018583 | 1.9135 | 16 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N103 | 0.28112 | 0.0063287 | 2.2513 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N104X | 0.084492 | 0.0025892 | 3.0645 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N105 | 0.17956 | 0.0069003 | 3.8429 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N106X | 0.11413 | 0.002547 | 2.2316 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N107 | 0.13551 | 0.0035273 | 2.6029 | 35 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N108X | 0.09385 | 0.0027067 | 2.884 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N109 | 0.18903 | 0.0023113 | 1.2227 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N110X | 0.142 | 0.0041899 | 2.9507 | 28 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N111 | 0.314 | 0.0026458 | 0.8426 | 3 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N83 | 0.06185 | 0.0024343 | 3.9358 | 40 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N84X | 0.11886 | 0.0035396 | 2.978 | 21 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N85 | 0.17283 | 0.0072305 | 4.1837 | 46 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N86X | 0.06965 | 0.0043923 | 6.3062 | 20 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N87 | 0.19186 | 0.0078999 | 4.1175 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N88X | 0.13029 | 0.0041961 | 3.2205 | 24 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N89 | 0.26931 | 0.0058496 | 2.1721 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N90X | 0.074556 | 0.0020205 | 2.7101 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N91 | 0.13209 | 0.0044064 | 3.3359 | 34 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N92X | 0.14047 | 0.0049838 | 3.548 | 15 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N93 | 0.13354 | 0.0026936 | 2.017 | 35 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N94X | 0.093257 | 0.0020342 | 2.1812 | 35 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N95 | 0.088032 | 0.0017978 | 2.0423 | 31 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N96X | 0.11292 | 0.002382 | 2.1094 | 26 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N97 | 0.36167 | 0.0065309 | 1.8058 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N98X | 0.10233 | 0.0023849 | 2.3307 | 36 | mg/L as N
Nitrate plus Nitrite (as N), FIL, COL, LL | 00631 | CL050 | FIL | N99 | 0.23563 | 0.0063294 | 2.6861 | 32 | mg/L as N