## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrate plus Nitrite (as N), FIL, EPA | 00631 | CL047 | FIL | N83 | 0.064125 | 0.0065561 | 10.2239 | 8 | mg/L as N
Nitrate plus Nitrite (as N), FIL, EPA | 00631 | CL047 | FIL | N84 | 1.223 | 0.011421 | 0.93387 | 10 | mg/L as N
Nitrate plus Nitrite (as N), FIL, EPA | 00631 | CL047 | FIL | N85 | 0.173 | 0.0017056 | 0.9859 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, EPA | 00631 | CL047 | FIL | N86 | 0.678 | 0.0047117 | 0.69494 | 11 | mg/L as N
Nitrate plus Nitrite (as N), FIL, EPA | 00631 | CL047 | FIL | N87 | 0.19225 | 0.0020616 | 1.0723 | 4 | mg/L as N
Nitrate plus Nitrite (as N), FIL, EPA | 00631 | CL047 | FIL | N88 | 1.2977 | 0.00057735 | 0.044491 | 3 | mg/L as N
Nitrate plus Nitrite (as N), FIL, EPA | 00631 | CL047 | FIL | N89 | 0.26942 | 0.0069865 | 2.5932 | 12 | mg/L as N
Nitrate plus Nitrite (as N), FIL, EPA | 00631 | CL047 | FIL | N90 | 0.72833 | 0.015945 | 2.1892 | 12 | mg/L as N