## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate as P, FIL, COL | 00671 | CL053 | FIL | N83 | 0.1486 | 0.0054715 | 3.682 | 20 | mg/L (as P)
Orthophosphate as P, FIL, COL | 00671 | CL053 | FIL | N84 | 0.67874 | 0.011868 | 1.7485 | 23 | mg/L as P
Orthophosphate as P, FIL, COL | 00671 | CL053 | FIL | N85 | 0.15835 | 0.0083482 | 5.272 | 23 | mg/L as P
Orthophosphate as P, FIL, COL | 00671 | CL053 | FIL | N87 | 0.18146 | 0.0039229 | 2.1619 | 24 | mg/L as P
Orthophosphate as P, FIL, COL | 00671 | CL053 | FIL | N88 | 1.1591 | 0.030806 | 2.6577 | 24 | mg/L as P
Orthophosphate as P, FIL, COL | 00671 | CL053 | FIL | N89 | 0.2745 | 0.0059281 | 2.1596 | 8 | mg/L as P
Orthophosphate as P, FIL, COL | 00671 | CL053 | FIL | N90 | 0.44513 | 0.01067 | 2.397 | 8 | mg/L as P
Orthophosphate as P, FIL, COL | 00671 | CL053 | FIL | NS12 | 0.35121 | 0.019139 | 5.4493 | 19 | mg/L as P
Orthophosphate as P, FIL, COL | 00671 | CL053 | FIL | NS14 | 0.17409 | 0.0071853 | 4.1274 | 45 | mg/L as P
Orthophosphate as P, FIL, COL | 00671 | CL053 | FIL | NS16 | 0.86243 | 0.015317 | 1.7761 | 7 | mg/L as P