## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate as P, FIL, COL, LL | 00671 | CL057 | FIL | N83 | 0.1567 | 0.0053263 | 3.399 | 40 | mg/L (as P)
Orthophosphate as P, FIL, COL, LL | 00671 | CL057 | FIL | N84X | 0.06519 | 0.0019905 | 3.0533 | 21 | mg/L as P
Orthophosphate as P, FIL, COL, LL | 00671 | CL057 | FIL | N85 | 0.16178 | 0.0056289 | 3.4793 | 46 | mg/L as P
Orthophosphate as P, FIL, COL, LL | 00671 | CL057 | FIL | N87 | 0.17878 | 0.0061184 | 3.4224 | 36 | mg/L as P
Orthophosphate as P, FIL, COL, LL | 00671 | CL057 | FIL | N88X | 0.10967 | 0.0029179 | 2.6607 | 36 | mg/L as P
Orthophosphate as P, FIL, COL, LL | 00671 | CL057 | FIL | N89 | 0.27042 | 0.0074767 | 2.7649 | 12 | mg/L as P
Orthophosphate as P, FIL, COL, LL | 00671 | CL057 | FIL | N90X | 0.041583 | 0.0035792 | 8.6073 | 12 | mg/L as P