## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL |  | 0.18662 | 0.13368 | 71.6336 | 24 | mg/L (as P)
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N100 | 0.65259 | 0.013966 | 2.1401 | 22 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N101 | 0.33719 | 0.013117 | 3.8901 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N102 | 1.2637 | 0.02214 | 1.7521 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N103 | 0.28813 | 0.007839 | 2.7206 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N104 | 0.70854 | 0.016143 | 2.2784 | 23 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N105 | 0.22662 | 0.010814 | 4.772 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N106 | 1.2436 | 0.034489 | 2.7732 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N108 | 0.5478 | 0.013272 | 2.4228 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N109 | 0.19136 | 0.0070336 | 3.6756 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N110 | 0.57722 | 0.011472 | 1.9875 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N111 | 0.28018 | 0.0075816 | 2.706 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N112 | 1.2838 | 0.028997 | 2.2587 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N114 | 1.0736 | 0.026293 | 2.449 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N115 | 0.23598 | 0.0065825 | 2.7894 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N116 | 0.41403 | 0.016173 | 3.9062 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N117 | 0.3623 | 0.014317 | 3.9518 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N118 | 0.7408 | 0.030087 | 4.0614 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N120 | 0.68019 | 0.021195 | 3.116 | 10 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N121 | 0.090525 | 0.0023026 | 2.5436 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N123 | 0.26579 | 0.0064941 | 2.4433 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N124 | 0.19448 | 0.0045703 | 2.3501 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N125 | 0.22193 | 0.0073092 | 3.2934 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N126 | 0.49916 | 0.011178 | 2.2393 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N127 | 0.10876 | 0.0034203 | 3.1449 | 11 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N128 | 0.43837 | 0.011494 | 2.622 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N129 | 0.2134 | 0.0039817 | 1.8658 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N130 | 0.58646 | 0.013098 | 2.2334 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N131 | 0.044146 | 0.00078219 | 1.7718 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N132 | 0.29906 | 0.0061737 | 2.0644 | 11 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N133 | 0.089701 | 0.002126 | 2.3701 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N134 | 0.27112 | 0.0032789 | 1.2094 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N135 | 0.1613 | 0.0038224 | 2.3698 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N136 | 0.39035 | 0.0064293 | 1.6471 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N137 | 0.12875 | 0.0032165 | 2.4982 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N138 | 0.61954 | 0.021708 | 3.5039 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N139 | 0.10328 | 0.0052067 | 5.0416 | 8 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N140 | 0.28876 | 0.011248 | 3.8954 | 9 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N141 | 0.14716 | 0.0087789 | 5.9657 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N142 | 0.49896 | 0.034843 | 6.9832 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N143 | 0.169 | 0.0085501 | 5.0591 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N144 | 0.39065 | 0.035013 | 8.9627 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N145 | 0.13517 | 0.005709 | 4.2235 | 10 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N146 | 0.3326 | 0.01803 | 5.421 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N147 | 0.19534 | 0.0066646 | 3.4117 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N148 | 0.29425 | 0.020947 | 7.1186 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N149 | 0.16863 | 0.0049426 | 2.931 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N150 | 0.32014 | 0.015395 | 4.8089 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N151 | 0.079212 | 0.0031476 | 3.9736 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N152 | 0.32046 | 0.0076664 | 2.3923 | 12 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N153 | 0.089241 | 0.0034261 | 3.8391 | 22 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N154 | 0.28248 | 0.0091736 | 3.2475 | 22 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N155 | 0.13289 | 0.0045028 | 3.3885 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N156 | 0.65278 | 0.020494 | 3.1394 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N157 | 0.10652 | 0.00308 | 2.8913 | 20 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N158 | 0.2773 | 0.0073303 | 2.6435 | 23 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N159 | 0.12296 | 0.0024354 | 1.9806 | 8 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N89 | 0.27512 | 0.0099229 | 3.6068 | 40 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N90 | 0.45774 | 0.0088834 | 1.9407 | 16 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N90X | 0.04572 | 0.00096444 | 2.1094 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N91 | 0.037632 | 0.0012107 | 3.2171 | 23 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N92 | 1.4923 | 0.029644 | 1.9864 | 23 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N94 | 0.74272 | 0.021168 | 2.8501 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N95 | 0.22017 | 0.0079646 | 3.6175 | 19 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N96 | 0.97124 | 0.024953 | 2.5692 | 22 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N97 | 0.23476 | 0.0077896 | 3.3181 | 8 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N98 | 0.58865 | 0.01157 | 1.9655 | 24 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | N99 | 0.18531 | 0.0053427 | 2.8832 | 22 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | NS16 | 0.84203 | 0.023109 | 2.7444 | 70 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | NS16X2 | 0.42041 | 0.011954 | 2.8434 | 4 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | NS18 | 0.26391 | 0.0099308 | 3.7629 | 92 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | NS20 | 0.12989 | 0.0031845 | 2.4517 | 94 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | NS22 | 0.12157 | 0.0031376 | 2.581 | 75 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | NS24 | 0.49672 | 0.015135 | 3.047 | 94 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | NS26 | 0.48026 | 0.012032 | 2.5053 | 88 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | NS28 | 2.1157 | 0.10141 | 4.793 | 89 | mg/L as P
Orthophosphate as P, FIL, DA | 00671 | PHM01 | FIL | NS30 | 0.47213 | 0.019128 | 4.0515 | 95 | mg/L as P