## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 1790078 | 2022-08-03 |  | 5.6822 | 5.58 | 101.8315 | 1.8315 | 0.385 | 0.26545 |  | 3301 | Sample was diluted |  |  | ug/L | T237 | ICPMS22214B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 1930200 | 2022-08-04 |  | 4.4238 | 4.1 | 107.8976 | 7.8976 | 0.219 | 1.4785 | 0.1 | 3301 |  |  |  | µg/L | T233 | ICPMS22215B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 2000024 | 2022-08-04 |  | 3.7945 | 3.68 | 103.1114 | 3.1114 | 0.193 | 0.59326 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS22215B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 2080416 | 2022-08-08 |  | 3.9349 | 4.1 | 95.9732 | -4.0268 | 0.219 | -0.75388 | 0.1 | 3301 |  |  |  | µg/L | T233 | ICPMS22220A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 2140174 | 2022-08-09 |  | 4.5058 | 4.8 | 93.8708 | -6.1292 | 0.26 | -1.1315 | 0.1 | 3301 |  |  |  | µg/L | T235 | ICPMS22220A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 1870090 | 2022-08-15 |  | 3.909 | 3.68 | 106.2228 | 6.2228 | 0.193 | 1.1865 | 0.1 | 3301 | Sample was diluted |  |  | µg/L | T241 | ICPMS22223B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 2210114 | 2022-08-19 |  | 0.5141 | 0.496 | 103.6492 | 3.6492 | 0.103 | 0.17573 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS22229B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 2280351 | 2022-08-26 |  | 4.8151 | 4.8 | 100.3146 | 0.31458 | 0.26 | 0.058077 | 0.1 | 3301 |  |  |  | µg/L | T235 | ICPMS22238A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 2360390 | 2022-09-21 |  | 0.4279 | 0.496 | 86.2702 | -13.7298 | 0.103 | -0.66117 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS22263B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 2570117 | 2022-09-28 |  | 5.3577 | 5.36 | 99.9571 | -0.04291 | 0.452 | -0.0050885 | 0.1 | 3301 |  |  |  | µg/L | T239 | ICPMS22269A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 2500494 | 2022-10-05 |  | 5.2922 | 5.58 | 94.8423 | -5.1577 | 0.385 | -0.74753 | 0.1 | 3301 |  |  |  | µg/L | T237 | ICPMS22277A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2022 | 2630184 | 2022-10-05 |  | 5.6495 | 5.58 | 101.2455 | 1.2455 | 0.385 | 0.18052 | 0.1 | 3301 |  |  |  | µg/L | T237 | ICPMS22277A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2770114 | 2022-10-26 |  | 3.1998 | 3.09 | 103.5534 | 3.5534 | 0.208 | 0.52788 | 0.1 | 3301 |  |  |  | µg/L | T245 | ICPMS22298B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2860101 | 2022-10-28 |  | 3.7767 | 3.68 | 102.6277 | 2.6277 | 0.193 | 0.50104 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS22300A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2920222 | 2022-10-28 |  | 3.0989 | 3.09 | 100.288 | 0.28803 | 0.208 | 0.042788 | 0.1 | 3301 |  |  |  | µg/L | T245 | ICPMS22300A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2990136 | 2022-11-01 |  | 3.8211 | 3.68 | 103.8342 | 3.8342 | 0.193 | 0.73109 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS22305B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 3060049 | 2022-11-16 |  | 0.4173 | 0.496 | 84.1331 | -15.8669 | 0.103 | -0.76408 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS22320A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 3130109 | 2022-11-16 |  | 6.3678 | 6.35 | 100.2803 | 0.28031 | 0.525 | 0.033905 | 0.1 | 3301 |  |  |  | µg/L | T247 | ICPMS22320A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 3610135 | 2023-01-09 |  | 5.2007 | 5.36 | 97.028 | -2.972 | 0.452 | -0.35243 | 0.1 | 3301 |  |  |  | µg/L | T239 | ICPMS23009A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 3200145 | 2023-01-28 |  | 0.4716 | 0.496 | 95.0806 | -4.9194 | 0.103 | -0.23689 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS23027A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 3330054 | 2023-02-02 |  | 6.5381 | 6.35 | 102.9622 | 2.9622 | 0.525 | 0.35829 | 0.1 | 3301 |  |  |  | µg/L | T247 | ICPMS23032A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 3490121 | 2023-02-09 |  | 5.4859 | 5.58 | 98.3136 | -1.6864 | 0.385 | -0.24442 | 0.1 | 3301 |  |  |  | µg/L | T237 | ICPMS23040A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0100103 | 2023-02-14 |  | 3.9181 | 3.68 | 106.4701 | 6.4701 | 0.193 | 1.2337 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS23045A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0190114 | 2023-02-16 |  | 3.2291 | 3.09 | 104.5016 | 4.5016 | 0.208 | 0.66875 | 0.1 | 3301 |  |  |  | µg/L | T245 | ICPMS23047A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0310087 | 2023-02-17 |  | 3.022 | 3.09 | 97.7994 | -2.2006 | 0.208 | -0.32692 | 0.1 | 3301 |  |  |  | µg/L | T245 | ICPMS23048A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0380151 | 2023-02-18 |  | 6.4688 | 6.35 | 101.8709 | 1.8709 | 0.525 | 0.22629 | 0.1 | 3301 |  |  |  | µg/L | T247 | ICPMS23048A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 3400090 | 2023-02-21 |  | 5.4024 | 5.36 | 100.791 | 0.79104 | 0.452 | 0.093805 | 0.1 | 3301 |  |  |  | µg/L | T239 | ICPMS23052A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0250122 | 2023-02-21 |  | 3.937 | 3.68 | 106.9837 | 6.9837 | 0.193 | 1.3316 | 0.1 | 3301 | Sample was diluted |  |  | µg/L | T241 | ICPMS23052A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0470007 | 2023-03-16 |  | 0.443 | 0.496 | 89.3145 | -10.6855 | 0.103 | -0.51456 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS23074A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0590092 | 2023-03-16 |  | 6.2453 | 6.35 | 98.3512 | -1.6488 | 0.525 | -0.19943 | 0.1 | 3301 |  |  |  | µg/L | T247 | ICPMS23074A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0040114 | 2023-03-22 |  | 5.9356 | 5.58 | 106.3728 | 6.3728 | 0.385 | 0.92364 | 0.1 | 3301 | Sample was diluted |  |  | µg/L | T237 | ICPMS23080A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0740033 | 2023-03-22 |  | 5.2229 | 5.36 | 97.4422 | -2.5578 | 0.452 | -0.30332 | 0.1 | 3301 |  |  |  | µg/L | T239 | ICPMS23080A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0670102 | 2023-03-25 |  | 5.7091 | 5.58 | 102.3136 | 2.3136 | 0.385 | 0.33532 | 0.1 | 3301 |  |  |  | µg/L | T237 | ICPMS23083B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0620097 | 2023-03-25 |  | 0.4708 | 0.496 | 94.9194 | -5.0806 | 0.103 | -0.24466 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS23083B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0800075 | 2023-03-30 |  | 6.2776 | 5.58 | 112.5018 | 12.5018 | 0.385 | 1.8119 | 0.1 | 3301 |  |  |  | µg/L | T237 | ICPMS23089B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0880093 | 2023-04-28 |  | 5.3687 | 5.36 | 100.1623 | 0.16231 | 0.452 | 0.019248 | 0.1 | 3301 |  |  |  | µg/L | T239 | ICPMS23117A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1020111 | 2023-04-28 |  | 3.7661 | 3.68 | 102.3397 | 2.3397 | 0.193 | 0.44611 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS23117A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 0940130 | 2023-04-28 |  | 3.278 | 3.09 | 106.0841 | 6.0841 | 0.208 | 0.90385 | 0.1 | 3301 |  |  |  | µg/L | T245 | ICPMS23117A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1100089 | 2023-05-01 |  | 3.4152 | 3.09 | 110.5243 | 10.5243 | 0.208 | 1.5635 | 0.1 | 3301 |  |  |  | µg/L | T245 | ICPMS23121B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1240210 | 2023-05-20 |  | 0.4303 | 0.496 | 86.754 | -13.246 | 0.103 | -0.63786 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS23139A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1170147 | 2023-05-23 |  | 3.9633 | 3.68 | 107.6984 | 7.6984 | 0.193 | 1.4679 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS23142B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1300167 | 2023-05-24 |  | 6.2362 | 6.35 | 98.2079 | -1.7921 | 0.525 | -0.21676 | 0.1 | 3301 |  |  |  | µg/L | T247 | ICPMS23142B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1360048 | 2023-05-25 |  | 0.491 | 0.496 | 98.9919 | -1.0081 | 0.103 | -0.048544 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS23144C
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1440060 | 2023-06-06 |  | 6.6944 | 6.35 | 105.4236 | 5.4236 | 0.525 | 0.656 | 0.1 | 3301 |  |  |  | µg/L | T247 | ICPMS23156B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1570041 | 2023-06-15 |  | 5.3213 | 5.36 | 99.278 | -0.72201 | 0.452 | -0.085619 | 0.1 | 3301 |  |  |  | µg/L | T239 | ICPMS23164A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1650066 | 2023-06-26 |  | 5.6967 | 5.58 | 102.0914 | 2.0914 | 0.385 | 0.30312 | 0.1 | 3301 |  |  |  | µg/L | T237 | ICPMS23177B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1730211 | 2023-06-28 |  | 5.7596 | 5.36 | 107.4552 | 7.4552 | 0.452 | 0.88407 | 0.1 | 3301 |  |  |  | µg/L | T239 | ICPMS23179A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1840086 | 2023-07-18 |  | 5.7868 | 5.58 | 103.7061 | 3.7061 | 0.385 | 0.53714 | 0.1 | 3301 |  |  |  | µg/L | T237 | ICPMS23198A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1870310 | 2023-07-18 |  | 3.9564 | 3.68 | 107.5109 | 7.5109 | 0.193 | 1.4321 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS23198A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1990166 | 2023-07-28 |  | 3.6619 | 3.68 | 99.5082 | -0.49185 | 0.193 | -0.093782 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS23208B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 1940234 | 2023-07-28 |  | 3.0522 | 3.09 | 98.7767 | -1.2233 | 0.208 | -0.18173 | 0.1 | 3301 |  |  |  | µg/L | T245 | ICPMS23208B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2060142 | 2023-08-08 |  | 3.3177 | 3.09 | 107.3689 | 7.3689 | 0.208 | 1.0947 | 0.1 | 3301 |  |  |  | µg/L | T245 | ICPMS23219A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2200127 | 2023-09-01 |  | 5.903 | 6.35 | 92.9606 | -7.0394 | 0.525 | -0.85143 | 0.1 | 3301 |  |  |  | µg/L | T247 | ICPMS23241B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2280173 | 2023-09-08 |  | 0.4038 | 0.496 | 81.4113 | -18.5887 | 0.103 | -0.89515 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS23250A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2490138 | 2023-09-18 |  | 5.4359 | 5.58 | 97.4176 | -2.5824 | 0.385 | -0.37429 | 0.1 | 3301 |  |  |  | µg/L | T237 | ICPMS23257A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2620178 | 2023-09-26 |  | 5.3964 | 5.58 | 96.7097 | -3.2903 | 0.385 | -0.47688 | 0.1 | 3301 |  |  |  | µg/L | T237 | ICPMS23269A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2350096 | 2023-09-27 |  | 6.1049 | 6.35 | 96.1402 | -3.8598 | 0.525 | -0.46686 | 0.1 | 3301 |  |  |  | µg/L | T247 | ICPMS23269A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2440134 | 2023-10-04 |  | 0.4121 | 0.496 | 83.0847 | -16.9153 | 0.103 | -0.81456 | 0.1 | 3301 | Analyte detected in laboratory blank |  |  | µg/L | T243 | ICPMS23276A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2560088 | 2023-10-21 |  | 5.5694 | 5.36 | 103.9067 | 3.9067 | 0.452 | 0.46327 | 0.1 | 3301 |  |  |  | µg/L | T239 | ICPMS23292A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2023 | 2690094 | 2023-10-21 |  | 5.3461 | 5.36 | 99.7407 | -0.25933 | 0.452 | -0.030752 | 0.1 | 3301 |  |  |  | µg/L | T239 | ICPMS23292A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 2980081 | 2023-12-15 |  | 3.6759 | 3.68 | 99.8886 | -0.11141 | 0.193 | -0.021244 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS23346A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 2850090 | 2023-12-19 |  | 3.6129 | 3.68 | 98.1766 | -1.8234 | 0.193 | -0.34767 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS23353A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 3250150 | 2023-12-20 |  | 0.4587 | 0.496 | 92.4798 | -7.5202 | 0.103 | -0.36214 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS23353A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 2760034 | 2023-12-21 |  | 3.1411 | 3.09 | 101.6537 | 1.6537 | 0.208 | 0.24567 | 0.1 | 3301 |  |  |  | µg/L | T245 | ICPMS23354A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 3340080 | 2023-12-21 |  | 6.0529 | 6.35 | 95.3213 | -4.6787 | 0.525 | -0.5659 | 0.1 | 3301 |  |  |  | µg/L | T247 | ICPMS23354A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 3390052 | 2023-12-21 |  | 13.622 | 14.4 | 94.5972 | -5.4028 | 0.72 | -1.0806 | 0.1 | 3301 |  |  |  | µg/L | T251 | ICPMS23354A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 3530158 | 2024-01-18 |  | 13.8031 | 14.4 | 95.8549 | -4.1451 | 0.72 | -0.82903 | 0.1 | 3301 |  |  |  | µg/L | T251 | ICPMS24010A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 0090034 | 2024-01-23 |  | 3.2064 | 3.09 | 103.767 | 3.767 | 0.208 | 0.55962 | 0.1 | 3301 |  |  |  | µg/L | T245 | ICPMS24022A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 0030060 | 2024-01-30 |  | 3.566 | 3.68 | 96.9022 | -3.0978 | 0.193 | -0.59067 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS24025A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 2900161 | 2024-01-30 |  | 3.1377 | 3.09 | 101.5437 | 1.5437 | 0.208 | 0.22933 | 0.1 | 3301 | Sample was diluted |  |  | µg/L | T245 | ICPMS24025A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 3460243 | 2024-01-30 |  | 16.6758 | 16.2 | 102.937 | 2.937 | 1.45 | 0.32814 | 0.1 | 3301 |  |  |  | µg/L | T249 | ICPMS24025A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 3610063 | 2024-01-30 |  | 17.0709 | 16.2 | 105.3759 | 5.3759 | 1.45 | 0.60062 | 0.1 | 3301 |  |  |  | µg/L | T249 | ICPMS24025A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 0170010 | 2024-02-16 |  | 3.6765 | 3.68 | 99.9049 | -0.095109 | 0.193 | -0.018135 | 0.1 | 3301 |  |  |  | µg/L | T241 | ICPMS24047A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 0370147 | 2024-02-23 |  | 6.0862 | 6.35 | 95.8457 | -4.1543 | 0.525 | -0.50248 | 0.1 | 3301 |  |  |  | µg/L | T247 | ICPMS24053A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 0230080 | 2024-02-27 |  | 3.1759 | 3.09 | 102.7799 | 2.7799 | 0.208 | 0.41298 | 0.1 | 3301 |  |  |  | µg/L | T245 | ICPMS24057B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 0440078 | 2024-03-07 |  | 0.4137 | 0.496 | 83.4073 | -16.5927 | 0.103 | -0.79903 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS24065A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 0520079 | 2024-03-12 |  | 6.1665 | 6.35 | 97.1102 | -2.8898 | 0.525 | -0.34952 | 0.1 | 3301 |  |  |  | µg/L | T247 | ICPMS24071A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 0580158 | 2024-03-28 |  | 0.5692 | 0.496 | 114.7581 | 14.7581 | 0.103 | 0.71068 | 0.1 | 3301 |  |  |  | µg/L | T243 | ICPMS24086B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 0660042 | 2024-03-28 |  | 16.6089 | 16.2 | 102.5241 | 2.5241 | 1.45 | 0.282 | 0.1 | 3301 |  |  |  | µg/L | T249 | ICPMS24086B
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 0730120 | 2024-04-24 |  | 13.6328 | 14.4 | 94.6722 | -5.3278 | 0.72 | -1.0656 | 0.1 | 3301 |  |  |  | µg/L | T251 | ICPMS24113A
Arsenic, UNF, cICP-MS | 01002 | PLM77 | UNF | 2024 | 0880015 | 2024-04-24 |  | 13.6006 | 14.4 | 94.4486 | -5.5514 | 0.72 | -1.1103 | 0.1 | 3301 |  |  |  | µg/L | T251 | ICPMS24113A