## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 2350173 | 2022-09-06 |  | 1.949 | 1.88 | 103.6702 | 3.6702 | 0.5 | 0.138 |  | 3511 | Below the reporting level but at or above the detection level |  |  | ug/L | T235 | ICPOE22244A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 2560120 | 2022-09-27 |  | 2.559 | 2.75 | 93.0545 | -6.9455 | 0.5 | -0.382 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE22269B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 2220143 | 2022-09-30 |  | 1.903 | 1.88 | 101.2234 | 1.2234 | 0.5 | 0.046 | 1 | 3511 | Below the reporting level but at or above the detection level |  |  | µg/L | T235 | ICPOE22272A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2022 | 2700272 | 2022-10-17 |  | 3.276 | 2.75 | 119.1273 | 19.1273 | 0.5 | 1.052 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE22290A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 2850200 | 2022-10-25 |  | 2.014 | 2.36 | 85.339 | -14.661 | 0.5 | -0.692 | 1 | 3511 |  |  |  | µg/L | T245 | ICPOE22297A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 2980100 | 2022-11-03 |  | 2.282 | 2.36 | 96.6949 | -3.3051 | 0.5 | -0.156 | 1 | 3511 |  |  |  | µg/L | T245 | ICPOE22307A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 3480158 | 2022-12-22 |  | 2.721 | 3.06 | 88.9216 | -11.0784 | 0.5 | -0.678 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE22355B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 3630098 | 2023-01-10 |  | 2.135 | 3.06 | 69.7712 | -30.2288 | 0.5 | -1.85 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE23010A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 0730106 | 2023-03-22 |  | 2.819 | 2.75 | 102.5091 | 2.5091 | 0.5 | 0.138 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE23081A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 0450135 | 2023-03-22 |  | 8.417 | 8.2 | 102.6463 | 2.6463 | 0.574 | 0.37805 | 1 | 3511 |  |  |  | µg/L | T247 | ICPOE23081A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 0610266 | 2023-04-27 |  | 8.406 | 8.2 | 102.5122 | 2.5122 | 0.574 | 0.35889 | 1 | 3511 |  |  |  | µg/L | T247 | ICPOE23117A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 0870135 | 2023-05-02 |  | 3.386 | 2.75 | 123.1273 | 23.1273 | 0.5 | 1.272 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE23122B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 1010253 | 2023-05-03 |  | 2.79 | 2.36 | 118.2203 | 18.2203 | 0.5 | 0.86 | 1 | 3511 |  |  |  | µg/L | T245 | ICPOE23122B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 1160089 | 2023-05-03 |  | 2.418 | 2.36 | 102.4576 | 2.4576 | 0.5 | 0.116 | 1 | 3511 |  |  |  | µg/L | T245 | ICPOE23123B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 1640229 | 2023-06-23 |  | 2.777 | 3.06 | 90.7516 | -9.2484 | 0.5 | -0.566 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE23166A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 1800090 | 2023-07-06 |  | 2.246 | 3.06 | 73.3987 | -26.6013 | 0.5 | -1.628 | 1 | 3511 |  |  |  | µg/L | T239 | ICPOE23186C
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 2260045 | 2023-08-30 |  | 7.931 | 8.2 | 96.7195 | -3.2805 | 0.574 | -0.46864 | 1 | 3511 |  |  |  | µg/L | T247 | ICPOE23235A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 2430075 | 2023-09-14 |  | 7.761 | 8.2 | 94.6463 | -5.3537 | 0.574 | -0.76481 | 1 | 3511 |  |  |  | µg/L | T247 | ICPOE23257B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 2560013 | 2023-09-20 |  | 2.964 | 2.75 | 107.7818 | 7.7818 | 0.5 | 0.428 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE23263A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2023 | 2680194 | 2023-10-04 |  | 2.484 | 2.75 | 90.3273 | -9.6727 | 0.5 | -0.532 | 1 | 3511 |  |  |  | µg/L | T237 | ICPOE23277A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2024 | 2840060 | 2023-11-01 |  | 2.378 | 2.36 | 100.7627 | 0.76271 | 0.5 | 0.036 | 1 | 3511 |  |  |  | µg/L | T245 | ICPOE23305A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2024 | 2970145 | 2023-11-07 |  | 2.297 | 2.36 | 97.3305 | -2.6695 | 0.5 | -0.126 | 1 | 3511 |  |  |  | µg/L | T245 | ICPOE23311A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2024 | 3420207 | 2023-12-14 |  | 2.346 | 2.35 | 99.8298 | -0.17021 | 0.5 | -0.008 | 1 | 3511 |  |  |  | µg/L | T251 | ICPOE23348A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2024 | 3560062 | 2024-01-22 |  | 2.902 | 2.35 | 123.4894 | 23.4894 | 0.5 | 1.104 | 1 | 3511 |  |  |  | µg/L | T251 | ICPOE24019A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2024 | 0540083 | 2024-03-19 |  | 8.904 | 8.2 | 108.5854 | 8.5854 | 0.574 | 1.2265 | 1 | 3511 |  |  |  | µg/L | T247 | ICPOE24078A
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2024 | 0720125 | 2024-04-19 |  | 2.759 | 3.26 | 84.6319 | -15.3681 | 0.5 | -1.002 | 1 | 3511 |  |  |  | µg/L | T249 | ICPOE24110B
Chromium, UNF, ICP-OES | 01034 | PLO07 | UNF | 2024 | 0820074 | 2024-04-19 |  | 3.151 | 3.26 | 96.6564 | -3.3436 | 0.5 | -0.218 | 1 | 3511 |  |  |  | µg/L | T249 | ICPOE24110B