## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 1790078 | 2022-08-02 |  | 254.2319 | 266 | 95.5759 | -4.4241 | 13.3 | -0.88482 | 1.8 | 3138 | Sample was diluted |  |  | ug/L | T237 | ICPMS22214A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2000024 | 2022-08-03 |  | 193.7976 | 193 | 100.4133 | 0.41326 | 10.4 | 0.076692 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS22215A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 1880163 | 2022-08-04 |  | 446.4413 | 446 | 100.0989 | 0.098946 | 25.6 | 0.017238 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS22215A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 1870090 | 2022-08-10 |  | 174.2557 | 193 | 90.2879 | -9.7121 | 10.4 | -1.8023 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS22222A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2020026 | 2022-08-10 |  | 453.3981 | 446 | 101.6588 | 1.6588 | 25.6 | 0.28899 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS22221A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2140174 | 2022-08-31 |  | 25.758 | 24.8 | 103.8629 | 3.8629 | 1.54 | 0.62208 | 2 | 3138 |  |  |  | µg/L | T235 | ICPMS22243A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2090181 | 2022-08-31 |  | 14.4255 | 13.2 | 109.2841 | 9.2841 | 1.25 | 0.9804 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS22242A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2160003 | 2022-09-01 |  | 13.6177 | 13.2 | 103.1644 | 3.1644 | 1.25 | 0.33416 | 2 | 3138 |  |  |  | µg/L | T239 | ICPMS22243A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2280351 | 2022-09-08 |  | 25.3181 | 24.8 | 102.0891 | 2.0891 | 1.54 | 0.33643 | 2 | 3138 |  |  |  | µg/L | T235 | ICPMS22251A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2300212 | 2022-09-09 |  | 14.0518 | 13.2 | 106.453 | 6.453 | 1.25 | 0.68144 | 2 | 3138 |  |  |  | µg/L | T239 | ICPMS22251A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2230330 | 2022-09-16 |  | 202.9864 | 193 | 105.1743 | 5.1743 | 10.4 | 0.96023 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS22258B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2370217 | 2022-09-19 |  | 200.8404 | 193 | 104.0624 | 4.0624 | 10.4 | 0.75388 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS22262A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2360390 | 2022-09-19 |  | 464.0477 | 446 | 104.0466 | 4.0466 | 25.6 | 0.70499 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS22262A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2210114 | 2022-09-22 |  | 455.4835 | 446 | 102.1263 | 2.1263 | 25.6 | 0.37045 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS22264A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2500494 | 2022-09-23 |  | 268.1642 | 266 | 100.8136 | 0.81361 | 13.3 | 0.16272 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS22265A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2580150 | 2022-09-29 |  | 25.903 | 24.8 | 104.4476 | 4.4476 | 1.54 | 0.71623 | 2 | 3138 |  |  |  | µg/L | T235 | ICPMS22270A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2510441 | 2022-09-29 |  | 190.9776 | 193 | 98.9521 | -1.0479 | 10.4 | -0.19446 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS22270A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2570117 | 2022-09-30 |  | 13.5356 | 13.2 | 102.5424 | 2.5424 | 1.25 | 0.26848 | 2 | 3138 |  |  |  | µg/L | T239 | ICPMS22270A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2720121 | 2022-10-20 |  | 25.4539 | 24.8 | 102.6367 | 2.6367 | 1.54 | 0.42461 | 2 | 3138 |  |  |  | µg/L | T235 | ICPMS22286A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2660048 | 2022-10-31 |  | 197.2621 | 193 | 102.2083 | 2.2083 | 10.4 | 0.40982 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS22304A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2770114 | 2022-11-01 |  | 166.3351 | 167 | 99.6019 | -0.39814 | 8.35 | -0.079629 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS22305A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2790113 | 2022-11-02 |  | 10.3358 | 10.2 | 101.3314 | 1.3314 | 1.36 | 0.099853 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS22305A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2022 | 2630184 | 2022-11-07 |  | 268.1027 | 266 | 100.7905 | 0.79049 | 13.3 | 0.1581 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS22311A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2930117 | 2022-11-10 |  | 10.9752 | 10.2 | 107.6 | 7.6 | 1.36 | 0.57 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS22313A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2920222 | 2022-11-16 |  | 162.6061 | 167 | 97.3689 | -2.6311 | 8.35 | -0.52622 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS22320B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2860101 | 2022-11-17 |  | 197.8655 | 193 | 102.521 | 2.521 | 10.4 | 0.46784 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS22321A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3130109 | 2022-12-02 |  | 11.2692 | 10.2 | 110.4824 | 10.4824 | 1.36 | 0.78618 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS22325A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3000165 | 2022-12-05 |  | 258.4154 | 266 | 97.1486 | -2.8514 | 13.3 | -0.57027 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS22339A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3070229 | 2022-12-07 |  | 264.9128 | 266 | 99.5913 | -0.40872 | 13.3 | -0.081744 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS22340A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3060049 | 2022-12-07 |  | 459.6422 | 446 | 103.0588 | 3.0588 | 25.6 | 0.5329 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS22340A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3330054 | 2022-12-21 |  | 11.0935 | 10.2 | 108.7598 | 8.7598 | 1.36 | 0.65699 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS22354A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2990136 | 2022-12-28 |  | 196.5699 | 193 | 101.8497 | 1.8497 | 10.4 | 0.34326 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS22362A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3190029 | 2022-12-28 |  | 168.3688 | 167 | 100.8196 | 0.81964 | 8.35 | 0.16393 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS22362A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3200145 | 2022-12-29 |  | 472.5538 | 446 | 105.9538 | 5.9538 | 25.6 | 1.0373 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS22362A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3210270 | 2023-01-03 |  | 267.8685 | 266 | 100.7024 | 0.70244 | 13.3 | 0.14049 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23003A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3340029 | 2023-01-06 |  | 165.0858 | 167 | 98.8538 | -1.1462 | 8.35 | -0.22925 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23006A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3400090 | 2023-01-07 |  | 13.3825 | 13.2 | 101.3826 | 1.3826 | 1.25 | 0.146 | 2 | 3138 |  |  |  | µg/L | T239 | ICPMS23006A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3420127 | 2023-02-24 |  | 165.5741 | 167 | 99.1462 | -0.85383 | 8.35 | -0.17077 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23055A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3610135 | 2023-03-03 |  | 13.4028 | 13.2 | 101.5364 | 1.5364 | 1.25 | 0.16224 | 2 | 3138 |  |  |  | µg/L | T239 | ICPMS23061A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3620086 | 2023-03-16 |  | 175.429 | 167 | 105.0473 | 5.0473 | 8.35 | 1.0095 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23075A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0100103 | 2023-03-17 |  | 189.4333 | 193 | 98.152 | -1.848 | 10.4 | -0.34295 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS23076A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 3490121 | 2023-03-24 |  | 270.0881 | 266 | 101.5369 | 1.5369 | 13.3 | 0.30738 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23083A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0040114 | 2023-03-24 |  | 269.8462 | 266 | 101.4459 | 1.4459 | 13.3 | 0.28919 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23083A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0120192 | 2023-03-25 |  | 455.9775 | 446 | 102.2371 | 2.2371 | 25.6 | 0.38975 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS23083A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0380151 | 2023-03-28 |  | 10.7376 | 10.2 | 105.2706 | 5.2706 | 1.36 | 0.39529 | 2 | 3138 | Below the reporting level but at or above the detection level |  | Sample was diluted | µg/L | T247 | ICPMS23086A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0190114 | 2023-03-29 |  | 168.5358 | 167 | 100.9196 | 0.91964 | 8.35 | 0.18393 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23088B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0400092 | 2023-03-30 |  | 14.0669 | 13.2 | 106.5674 | 6.5674 | 1.25 | 0.69352 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23088B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0260067 | 2023-03-31 |  | 452.4376 | 446 | 101.4434 | 1.4434 | 25.6 | 0.25147 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS23089A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0250122 | 2023-04-04 |  | 194.757 | 193 | 100.9104 | 0.91036 | 10.4 | 0.16894 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS23093A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0600115 | 2023-04-05 |  | 13.608 | 13.2 | 103.0909 | 3.0909 | 1.25 | 0.3264 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23093A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0590092 | 2023-04-05 |  | 10.9107 | 10.2 | 106.9676 | 6.9676 | 1.36 | 0.52257 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23093A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0470007 | 2023-04-07 |  | 455.5959 | 446 | 102.1515 | 2.1515 | 25.6 | 0.37484 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS23096A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0740033 | 2023-04-13 |  | 13.9584 | 13.2 | 105.7455 | 5.7455 | 1.25 | 0.60672 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23102A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0310087 | 2023-04-13 |  | 162.9848 | 167 | 97.5957 | -2.4043 | 8.35 | -0.48086 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23103A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0750097 | 2023-04-13 |  | 11.4535 | 10.2 | 112.2892 | 12.2892 | 1.36 | 0.92169 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23102A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0880093 | 2023-04-15 |  | 13.5966 | 13.2 | 103.0045 | 3.0045 | 1.25 | 0.31728 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23104A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0800075 | 2023-04-21 |  | 271.1566 | 266 | 101.9386 | 1.9386 | 13.3 | 0.38771 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23109A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0890105 | 2023-04-21 |  | 10.2992 | 10.2 | 100.9725 | 0.97255 | 1.36 | 0.072941 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23109A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0960142 | 2023-04-24 |  | 10.5509 | 10.2 | 103.4402 | 3.4402 | 1.36 | 0.25801 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23111C
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1150156 | 2023-04-28 |  | 10.4042 | 10.2 | 102.002 | 2.002 | 1.36 | 0.15015 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23116A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0820081 | 2023-05-04 |  | 192.9867 | 193 | 99.9931 | -0.0068912 | 10.4 | -0.0012788 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS23123A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0670102 | 2023-05-05 |  | 268.9997 | 266 | 101.1277 | 1.1277 | 13.3 | 0.22554 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23124A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0680149 | 2023-05-05 |  | 195.6095 | 193 | 101.3521 | 1.3521 | 10.4 | 0.25091 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS23124A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0620097 | 2023-05-06 |  | 462.5904 | 446 | 103.7198 | 3.7198 | 25.6 | 0.64806 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS23124A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1090190 | 2023-05-11 |  | 263.4768 | 266 | 99.0514 | -0.94857 | 13.3 | -0.18971 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23130A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1020111 | 2023-05-11 |  | 195.0221 | 193 | 101.0477 | 1.0477 | 10.4 | 0.19443 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS23130A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 0940130 | 2023-05-11 |  | 167.6949 | 167 | 100.4161 | 0.41611 | 8.35 | 0.083222 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23130A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1100089 | 2023-05-11 |  | 171.7312 | 167 | 102.8331 | 2.8331 | 8.35 | 0.56661 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23130A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1170147 | 2023-05-18 |  | 192.4401 | 193 | 99.7099 | -0.2901 | 10.4 | -0.053837 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS23137A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1230174 | 2023-05-19 |  | 261.2219 | 266 | 98.2037 | -1.7963 | 13.3 | -0.35926 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23138A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1240210 | 2023-05-20 |  | 459.2732 | 446 | 102.9761 | 2.9761 | 25.6 | 0.51848 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS23138A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1300167 | 2023-05-20 |  | 10.456 | 10.2 | 102.5098 | 2.5098 | 1.36 | 0.18824 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23138A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1250199 | 2023-05-23 |  | 261.1705 | 266 | 98.1844 | -1.8156 | 13.3 | -0.36312 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23142A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1310002 | 2023-05-25 |  | 170.7859 | 167 | 102.267 | 2.267 | 8.35 | 0.4534 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23145A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1380201 | 2023-06-01 |  | 266.1609 | 266 | 100.0605 | 0.060489 | 13.3 | 0.012098 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23151A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1440060 | 2023-06-01 |  | 10.5968 | 10.2 | 103.8902 | 3.8902 | 1.36 | 0.29176 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23145C
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1360048 | 2023-06-02 |  | 473.7112 | 446 | 106.2133 | 6.2133 | 25.6 | 1.0825 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS23151A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1570041 | 2023-06-09 |  | 13.2213 | 13.2 | 100.1614 | 0.16136 | 1.25 | 0.01704 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23159A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1460002 | 2023-06-21 |  | 175.661 | 167 | 105.1862 | 5.1862 | 8.35 | 1.0372 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23172A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1650066 | 2023-07-05 |  | 267.9707 | 266 | 100.7409 | 0.74086 | 13.3 | 0.14817 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23181A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1660194 | 2023-07-05 |  | 472.0753 | 446 | 105.8465 | 5.8465 | 25.6 | 1.0186 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS23181A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1590232 | 2023-07-05 |  | 173.9276 | 167 | 104.1483 | 4.1483 | 8.35 | 0.82965 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23181A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1790028 | 2023-07-21 |  | 160.1916 | 167 | 95.9231 | -4.0769 | 8.35 | -0.81538 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23201A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1730211 | 2023-07-22 |  | 13.45 | 13.2 | 101.8939 | 1.8939 | 1.25 | 0.2 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23201A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1840086 | 2023-07-26 |  | 264.5367 | 266 | 99.4499 | -0.55011 | 13.3 | -0.11002 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23206A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1870310 | 2023-07-26 |  | 190.9806 | 193 | 98.9537 | -1.0463 | 10.4 | -0.19417 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS23206A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1860127 | 2023-07-27 |  | 462.9658 | 446 | 103.804 | 3.804 | 25.6 | 0.66273 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS23206A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1920171 | 2023-08-08 |  | 493.1177 | 446 | 110.5645 | 10.5645 | 25.6 | 1.8405 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS23220A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1940234 | 2023-08-08 |  | 167.3129 | 167 | 100.1874 | 0.18737 | 8.35 | 0.037473 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23220A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1980050 | 2023-08-10 |  | 12.9338 | 13.2 | 97.9833 | -2.0167 | 1.25 | -0.21296 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23221A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2080234 | 2023-08-19 |  | 13.4212 | 13.2 | 101.6758 | 1.6758 | 1.25 | 0.17696 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23230A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2020024 | 2023-08-19 |  | 459.134 | 446 | 102.9448 | 2.9448 | 25.6 | 0.51305 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS23230A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 1990166 | 2023-08-29 |  | 195.0096 | 193 | 101.0412 | 1.0412 | 10.4 | 0.19323 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS23241A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2060142 | 2023-08-29 |  | 168.7923 | 167 | 101.0732 | 1.0732 | 8.35 | 0.21465 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS23241A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2200127 | 2023-08-31 |  | 10.6041 | 10.2 | 103.9618 | 3.9618 | 1.36 | 0.29713 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23243A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2220099 | 2023-09-01 |  | 14.0774 | 13.2 | 106.647 | 6.647 | 1.25 | 0.70192 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23243A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2280173 | 2023-10-17 |  | 506.7495 | 446 | 113.621 | 13.621 | 25.6 | 2.373 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS23290A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2290218 | 2023-10-20 |  | 192.9422 | 193 | 99.9701 | -0.029948 | 10.4 | -0.0055577 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS23292B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2350096 | 2023-11-02 |  | 10.7558 | 10.2 | 105.449 | 5.449 | 1.36 | 0.40868 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23306A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2360087 | 2023-11-04 |  | 13.8608 | 13.2 | 105.0061 | 5.0061 | 1.25 | 0.52864 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23307A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2490138 | 2023-12-06 |  | 266.5003 | 266 | 100.1881 | 0.18808 | 13.3 | 0.037617 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS23340B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2480098 | 2023-12-06 |  | 191.8999 | 193 | 99.43 | -0.57 | 10.4 | -0.10578 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS23340B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2690094 | 2023-12-19 |  | 14.0786 | 13.2 | 106.6561 | 6.6561 | 1.25 | 0.70288 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23352A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2720018 | 2023-12-19 |  | 10.6377 | 10.2 | 104.2912 | 4.2912 | 1.36 | 0.32184 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23352A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2560088 | 2023-12-20 |  | 13.7745 | 13.2 | 104.3523 | 4.3523 | 1.25 | 0.4596 | 2 | 3138 | Sample was diluted |  |  | µg/L | T239 | ICPMS23353B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2570185 | 2023-12-20 |  | 10.5544 | 10.2 | 103.4745 | 3.4745 | 1.36 | 0.26059 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23353B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 2770168 | 2023-12-20 |  | 10.2742 | 10.2 | 100.7275 | 0.72745 | 1.36 | 0.054559 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS23353B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2440134 | 2024-01-05 |  | 508.1644 | 446 | 113.9382 | 13.9382 | 25.6 | 2.4283 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS24004A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2620178 | 2024-01-11 |  | 261.76 | 266 | 98.406 | -1.594 | 13.3 | -0.3188 | 2 | 3138 | Sample was diluted |  |  | µg/L | T237 | ICPMS24011A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2500323 | 2024-01-11 |  | 194.4405 | 193 | 100.7464 | 0.74637 | 10.4 | 0.13851 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS24011A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2023 | 2640106 | 2024-01-11 |  | 192.2199 | 193 | 99.5958 | -0.4042 | 10.4 | -0.07501 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS24011A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 2930009 | 2024-01-11 |  | 10.721 | 10.2 | 105.1078 | 5.1078 | 1.36 | 0.38309 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS24010B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 2860131 | 2024-01-11 |  | 280.3939 | 261 | 107.4306 | 7.4306 | 19.6 | 0.98948 | 2 | 3138 | Sample was diluted |  |  | µg/L | T249 | ICPMS24010B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 2760034 | 2024-01-12 |  | 168.111 | 167 | 100.6653 | 0.66527 | 8.35 | 0.13305 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS24012A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 2900161 | 2024-01-18 |  | 167.9419 | 167 | 100.564 | 0.56401 | 8.35 | 0.1128 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS24018A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 2850090 | 2024-01-19 |  | 198.1759 | 193 | 102.6818 | 2.6818 | 10.4 | 0.49768 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS24019A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3390052 | 2024-03-20 |  | 10.1372 | 8.2 | 123.6244 | 23.6244 | 1 | 1.9372 | 2 | 3138 |  |  |  | µg/L | T251 | ICPMS24080A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3210042 | 2024-03-22 |  | 168.1259 | 167 | 100.6742 | 0.67419 | 8.35 | 0.13484 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS24082A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3350124 | 2024-03-22 |  | 164.9402 | 167 | 98.7666 | -1.2334 | 8.35 | -0.24668 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS24082A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3420007 | 2024-03-22 |  | 170.0443 | 167 | 101.8229 | 1.8229 | 8.35 | 0.36459 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS24082A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3530158 | 2024-03-22 |  | 8.3995 | 8.2 | 102.4329 | 2.4329 | 1 | 0.1995 | 2 | 3138 |  |  |  | µg/L | T251 | ICPMS24081A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3250150 | 2024-03-23 |  | 479.2601 | 446 | 107.4574 | 7.4574 | 25.6 | 1.2992 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS24082A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3340080 | 2024-03-23 |  | 10.5654 | 10.2 | 103.5824 | 3.5824 | 1.36 | 0.26868 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS24082A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0370147 | 2024-03-23 |  | 10.8684 | 10.2 | 106.5529 | 6.5529 | 1.36 | 0.49147 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS24082A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3130127 | 2024-03-23 |  | 280.409 | 261 | 107.4364 | 7.4364 | 19.6 | 0.99026 | 2 | 3138 | Sample was diluted |  |  | µg/L | T249 | ICPMS24082A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3320173 | 2024-03-23 |  | 275.443 | 261 | 105.5337 | 5.5337 | 19.6 | 0.73689 | 2 | 3138 | Sample was diluted |  |  | µg/L | T249 | ICPMS24082A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3460243 | 2024-03-23 |  | 276.2436 | 261 | 105.8405 | 5.8405 | 19.6 | 0.77773 | 2 | 3138 | Sample was diluted |  |  | µg/L | T249 | ICPMS24082A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0390102 | 2024-03-23 |  | 12.0308 | 8.2 | 146.7171 | 46.7171 | 1 | 3.8308 | 2 | 3138 |  |  |  | µg/L | T251 | ICPMS24082B
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0530093 | 2024-03-23 |  | 11.5388 | 8.2 | 140.7171 | 40.7171 | 1 | 3.3388 | 2 | 3138 |  |  |  | µg/L | T251 | ICPMS24082C
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0520079 | 2024-03-24 |  | 10.5845 | 10.2 | 103.7696 | 3.7696 | 1.36 | 0.28272 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS24082C
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0440078 | 2024-03-30 |  | 479.7425 | 446 | 107.5656 | 7.5656 | 25.6 | 1.3181 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS24089A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0730120 | 2024-03-30 |  | 11.3432 | 8.2 | 138.3317 | 38.3317 | 1 | 3.1432 | 2 | 3138 |  |  |  | µg/L | T251 | ICPMS24090A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 2980081 | 2024-04-05 |  | 203.0582 | 193 | 105.2115 | 5.2115 | 10.4 | 0.96713 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS24093A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0030060 | 2024-04-05 |  | 210.1298 | 193 | 108.8755 | 8.8755 | 10.4 | 1.6471 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS24093A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0170010 | 2024-04-05 |  | 207.4823 | 193 | 107.5038 | 7.5038 | 10.4 | 1.3925 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS24093A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0670127 | 2024-04-05 |  | 194.3336 | 193 | 100.691 | 0.69098 | 10.4 | 0.12823 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS24095A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0580158 | 2024-04-05 |  | 482.9451 | 446 | 108.2837 | 8.2837 | 25.6 | 1.4432 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS24095A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0040087 | 2024-04-05 |  | 462.2625 | 446 | 103.6463 | 3.6463 | 25.6 | 0.63525 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS24093A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0180110 | 2024-04-05 |  | 465.9817 | 446 | 104.4802 | 4.4802 | 25.6 | 0.78054 | 2 | 3138 | Sample was diluted |  |  | µg/L | T243 | ICPMS24093A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0230080 | 2024-04-05 |  | 178.2564 | 167 | 106.7404 | 6.7404 | 8.35 | 1.3481 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS24093A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3550283 | 2024-04-05 |  | 176.2776 | 167 | 105.5554 | 5.5554 | 8.35 | 1.1111 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS24093A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0660042 | 2024-04-05 |  | 271.3215 | 261 | 103.9546 | 3.9546 | 19.6 | 0.52661 | 2 | 3138 | Sample was diluted |  |  | µg/L | T249 | ICPMS24095A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 3610063 | 2024-04-05 |  | 285.4898 | 261 | 109.3831 | 9.3831 | 19.6 | 1.2495 | 2 | 3138 | Sample was diluted |  |  | µg/L | T249 | ICPMS24093A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0790095 | 2024-04-07 |  | 10.6548 | 10.2 | 104.4588 | 4.4588 | 1.36 | 0.33441 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS24097A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0090034 | 2024-04-10 |  | 175.7979 | 167 | 105.2682 | 5.2682 | 8.35 | 1.0536 | 2 | 3138 | Sample was diluted |  |  | µg/L | T245 | ICPMS24101A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0810189 | 2024-04-13 |  | 197.4026 | 193 | 102.2811 | 2.2811 | 10.4 | 0.42333 | 2 | 3138 | Sample was diluted |  |  | µg/L | T241 | ICPMS24102A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0880015 | 2024-04-13 |  | 12.0081 | 8.2 | 146.4402 | 46.4402 | 1 | 3.8081 | 2 | 3138 |  |  |  | µg/L | T251 | ICPMS24102A
Zinc, FIL, cICP-MS | 01090 | PLM10 | FIL | 2024 | 0880078 | 2024-04-14 |  | 10.722 | 10.2 | 105.1176 | 5.1176 | 1.36 | 0.38382 | 2 | 3138 |  |  |  | µg/L | T247 | ICPMS24102A