## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 3400090 | 2023-02-02 |  | 260.0628 | 231 | 112.5813 | 12.5813 | 16.8 | 1.7299 |  | 3415 |  |  |  | ug/L | T239 | ICPMS23032A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0250122 | 2023-02-02 |  | 8.5139 | 8.67 | 98.1995 | -1.8005 | 2.5 | -0.06244 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23032A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 3330054 | 2023-02-02 |  | 158.1907 | 142 | 111.4019 | 11.4019 | 9.08 | 1.7831 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23032A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 3490121 | 2023-02-09 |  | 9.9077 | 10.5 | 94.359 | -5.641 | 2.5 | -0.23692 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T237 | ICPMS23040A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0040114 | 2023-02-14 |  | 10.2765 | 10.5 | 97.8714 | -2.1286 | 2.5 | -0.0894 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS23045A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0100103 | 2023-02-14 |  | 8.4693 | 8.67 | 97.6851 | -2.3149 | 2.5 | -0.08028 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23045A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0190114 | 2023-02-16 |  | 8.062 | 8.24 | 97.8398 | -2.1602 | 2.5 | -0.0712 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23047A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0310087 | 2023-02-17 |  | 8.626 | 8.24 | 104.6845 | 4.6845 | 2.5 | 0.1544 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23048A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0380151 | 2023-02-18 |  | 160.916 | 142 | 113.3211 | 13.3211 | 9.08 | 2.0833 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23048A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0590092 | 2023-03-16 |  | 141.1845 | 142 | 99.4257 | -0.5743 | 9.08 | -0.089813 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T247 | ICPMS23074A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0740033 | 2023-03-22 |  | 250.4284 | 231 | 108.4106 | 8.4106 | 16.8 | 1.1565 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23080A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0670102 | 2023-03-25 |  | 11.0369 | 10.5 | 105.1133 | 5.1133 | 2.5 | 0.21476 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T237 | ICPMS23083B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0620097 | 2023-03-25 |  | 312.2401 | 275 | 113.5419 | 13.5419 | 14.6 | 2.5507 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS23083B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0800075 | 2023-03-30 |  | 10.8709 | 10.5 | 103.5324 | 3.5324 | 2.5 | 0.14836 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T237 | ICPMS23089B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0880093 | 2023-04-28 |  | 267.8575 | 231 | 115.9556 | 15.9556 | 16.8 | 2.1939 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23117A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1020111 | 2023-04-28 |  | 8.0324 | 8.67 | 92.6459 | -7.3541 | 2.5 | -0.25504 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23117A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0470007 | 2023-04-28 |  | 334.759 | 275 | 121.7305 | 21.7305 | 14.6 | 4.0931 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS23117A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 0940130 | 2023-04-28 |  | 7.5998 | 8.24 | 92.2306 | -7.7694 | 2.5 | -0.25608 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23117A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1100089 | 2023-05-05 |  | 7.9825 | 8.24 | 96.875 | -3.125 | 2.5 | -0.103 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23125C
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1240210 | 2023-05-20 |  | 323.5122 | 275 | 117.6408 | 17.6408 | 14.6 | 3.3228 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T243 | ICPMS23139A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1170147 | 2023-05-23 |  | 9.0491 | 8.67 | 104.3725 | 4.3725 | 2.5 | 0.15164 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23142B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1440060 | 2023-06-06 |  | 159.6937 | 142 | 112.4604 | 12.4604 | 9.08 | 1.9486 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23156B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1300167 | 2023-06-10 |  | 165.336 | 142 | 116.4338 | 16.4338 | 9.08 | 2.57 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23160A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1360048 | 2023-06-22 |  | 327.0307 | 275 | 118.9203 | 18.9203 | 14.6 | 3.5637 | 5 | 3415 | Sample was diluted |  |  | µg/L | T243 | ICPMS23171A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1650066 | 2023-06-26 |  | 11.6887 | 10.5 | 111.321 | 11.321 | 2.5 | 0.47548 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T237 | ICPMS23177B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1570041 | 2023-07-18 |  | 248.2179 | 231 | 107.4536 | 7.4536 | 16.8 | 1.0249 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23198A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1870310 | 2023-07-18 |  | 11.7419 | 8.67 | 135.4314 | 35.4314 | 2.5 | 1.2288 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T241 | ICPMS23198A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1990166 | 2023-07-28 |  | 9.2972 | 8.67 | 107.2341 | 7.2341 | 2.5 | 0.25088 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria | Below the reporting level but at or above the detection level |  | µg/L | T241 | ICPMS23208B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1940234 | 2023-07-28 |  | 8.3393 | 8.24 | 101.2051 | 1.2051 | 2.5 | 0.03972 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria | Below the reporting level but at or above the detection level |  | µg/L | T245 | ICPMS23208B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1840086 | 2023-08-01 |  | 11.0239 | 10.5 | 104.9895 | 4.9895 | 2.5 | 0.20956 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS23213A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 1730211 | 2023-08-01 |  | 229.2254 | 231 | 99.2318 | -0.76823 | 16.8 | -0.10563 | 5 | 3415 | Sample was diluted |  |  | µg/L | T239 | ICPMS23213A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2060142 | 2023-08-08 |  | 9.2851 | 8.24 | 112.6833 | 12.6833 | 2.5 | 0.41804 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23219A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2280173 | 2023-09-08 |  | 314.916 | 275 | 114.5149 | 14.5149 | 14.6 | 2.734 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS23250A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2490138 | 2023-09-18 |  | 11.3313 | 10.5 | 107.9171 | 7.9171 | 2.5 | 0.33252 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS23257A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2620178 | 2023-09-26 |  | 11.2316 | 10.5 | 106.9676 | 6.9676 | 2.5 | 0.29264 | 5 | 3415 |  |  |  | µg/L | T237 | ICPMS23269A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2200127 | 2023-09-27 |  | 157.7458 | 142 | 111.0886 | 11.0886 | 9.08 | 1.7341 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23269A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2350096 | 2023-09-27 |  | 157.3195 | 142 | 110.7884 | 10.7884 | 9.08 | 1.6872 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS23269A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2440134 | 2023-10-04 |  | 297.1706 | 275 | 108.062 | 8.062 | 14.6 | 1.5185 | 5 | 3415 |  |  |  | µg/L | T243 | ICPMS23276A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2560088 | 2023-10-21 |  | 266.1937 | 231 | 115.2354 | 15.2354 | 16.8 | 2.0949 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23292A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2023 | 2690094 | 2023-10-21 |  | 255.7886 | 231 | 110.731 | 10.731 | 16.8 | 1.4755 | 5 | 3415 |  |  |  | µg/L | T239 | ICPMS23292A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 2850090 | 2023-10-26 |  | 8.5025 | 8.67 | 98.0681 | -1.9319 | 2.5 | -0.067 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23299B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 2760034 | 2023-11-28 |  | 7.7963 | 8.24 | 94.6153 | -5.3847 | 2.5 | -0.17748 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23332A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 2900161 | 2023-12-06 |  | 7.6927 | 8.24 | 93.358 | -6.642 | 2.5 | -0.21892 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS23340A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 2980081 | 2023-12-15 |  | 8.9862 | 8.67 | 103.6471 | 3.6471 | 2.5 | 0.12648 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS23346A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3390052 | 2023-12-21 |  | 91.966 | 89.8 | 102.412 | 2.412 | 4.6 | 0.47087 | 5 | 3415 |  |  |  | µg/L | T251 | ICPMS23354A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3530158 | 2024-01-18 |  | 91.267 | 89.8 | 101.6336 | 1.6336 | 4.6 | 0.31891 | 5 | 3415 |  |  |  | µg/L | T251 | ICPMS24010A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0090034 | 2024-01-23 |  | 8.3536 | 8.24 | 101.3786 | 1.3786 | 2.5 | 0.04544 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS24022A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0030060 | 2024-01-30 |  | 9.1855 | 8.67 | 105.9458 | 5.9458 | 2.5 | 0.2062 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS24025A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3460243 | 2024-01-30 |  | 230.3629 | 211 | 109.1767 | 9.1767 | 11.9 | 1.6271 | 5 | 3415 |  |  |  | µg/L | T249 | ICPMS24025A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3610063 | 2024-01-30 |  | 239.5461 | 211 | 113.529 | 13.529 | 11.9 | 2.3988 | 5 | 3415 |  |  |  | µg/L | T249 | ICPMS24025A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3250150 | 2024-02-15 |  | 308.1509 | 275 | 112.0549 | 12.0549 | 14.6 | 2.2706 | 5 | 3415 | Sample was diluted |  |  | µg/L | T243 | ICPMS24046A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0170010 | 2024-02-16 |  | 8.6802 | 8.67 | 100.1176 | 0.11765 | 2.5 | 0.00408 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS24047A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3120058 | 2024-02-22 |  | 278.254 | 275 | 101.1833 | 1.1833 | 14.6 | 0.22288 | 5 | 3415 | Sample was diluted |  |  | µg/L | T243 | ICPMS24051A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 3340080 | 2024-02-23 |  | 157.1827 | 142 | 110.692 | 10.692 | 9.08 | 1.6721 | 5 | 3415 | Sample was diluted |  |  | µg/L | T247 | ICPMS24053A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0370147 | 2024-02-27 |  | 160.7671 | 142 | 113.2163 | 13.2163 | 9.08 | 2.0669 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS24057B
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0440078 | 2024-03-07 |  | 357.8998 | 275 | 130.1454 | 30.1454 | 14.6 | 5.6781 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T243 | ICPMS24065A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0520079 | 2024-03-12 |  | 159.1658 | 142 | 112.0886 | 12.0886 | 9.08 | 1.8905 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T247 | ICPMS24071A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0580158 | 2024-04-09 |  | 306.6062 | 275 | 111.4932 | 11.4932 | 14.6 | 2.1648 | 5 | 3415 | Sample was diluted |  |  | µg/L | T243 | ICPMS24099A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0660042 | 2024-04-09 |  | 230.6884 | 211 | 109.331 | 9.331 | 11.9 | 1.6545 | 5 | 3415 | Sample was diluted |  |  | µg/L | T249 | ICPMS24099A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0730120 | 2024-04-24 |  | 93.5522 | 89.8 | 104.1784 | 4.1784 | 4.6 | 0.8157 | 5 | 3415 |  |  |  | µg/L | T251 | ICPMS24113A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0880015 | 2024-04-24 |  | 93.3859 | 89.8 | 103.9932 | 3.9932 | 4.6 | 0.77954 | 5 | 3415 |  |  |  | µg/L | T251 | ICPMS24113A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0930091 | 2024-04-29 |  | 8.9922 | 8.24 | 109.1286 | 9.1286 | 2.5 | 0.30088 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS24115A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 0800002 | 2024-04-30 |  | 221.2891 | 211 | 104.8764 | 4.8764 | 11.9 | 0.86463 | 5 | 3415 | Sample was diluted |  |  | µg/L | T249 | ICPMS24121A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 1070224 | 2024-05-07 |  | 9.0764 | 8.24 | 110.1505 | 10.1505 | 2.5 | 0.33456 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T245 | ICPMS24127A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 1000107 | 2024-05-08 |  | 9.4045 | 8.67 | 108.4717 | 8.4717 | 2.5 | 0.2938 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS24127A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 1150013 | 2024-05-17 |  | 9.5976 | 8.67 | 110.699 | 10.699 | 2.5 | 0.37104 | 5 | 3415 | Below the reporting level but at or above the detection level |  |  | µg/L | T241 | ICPMS24137A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 1560043 | 2024-06-18 |  | 95.2025 | 89.8 | 106.0161 | 6.0161 | 4.6 | 1.1745 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T251 | ICPMS24163A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 1280107 | 2024-06-27 |  | 332.9463 | 275 | 121.0714 | 21.0714 | 14.6 | 3.9689 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria | Sample was diluted |  | µg/L | T243 | ICPMS24177A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 1500144 | 2024-07-10 |  | 163.4152 | 142 | 115.0811 | 15.0811 | 9.08 | 2.3585 | 5 | 3415 |  |  |  | µg/L | T247 | ICPMS24190A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 1720052 | 2024-07-18 |  | 89.175 | 89.8 | 99.304 | -0.69599 | 4.6 | -0.13587 | 5 | 3415 | Lab control sample (LCS) recovery outside of range or criteria |  |  | µg/L | T251 | ICPMS24200A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 1420090 | 2024-08-13 |  | 327.8937 | 275 | 119.2341 | 19.2341 | 14.6 | 3.6229 | 5 | 3415 | Sample was diluted |  |  | µg/L | T243 | ICPMS24226A
Boron, UNF, ICP-MS | 01022 | PLM78 | UNF | 2024 | 1370189 | 2024-08-13 |  | 167.4005 | 142 | 117.8877 | 17.8877 | 9.08 | 2.7974 | 5 | 3415 | Sample was diluted |  |  | µg/L | T247 | ICPMS24226A