## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0190115 | 2023-02-01 |  | 0.101 | 0.133 | 75.9398 | -24.0602 | 0.112 | -0.28571 | 0.14 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23030F
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0250118 | 2023-02-01 |  | 0.151 | 0.133 | 113.5338 | 13.5338 | 0.112 | 0.16071 | 0.07 | 1986 |  |  |  | mg/L as N | N155 | KJNT_23031D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0260068 | 2023-02-01 |  | 0.427 | 0.404 | 105.6931 | 5.6931 | 0.111 | 0.20721 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23031D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0240118 | 2023-02-01 |  | 0.42 | 0.404 | 103.9604 | 3.9604 | 0.111 | 0.14414 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23031B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2022 | 2360394 | 2023-02-02 |  | 0.099 | 0.1 | 99 | -1 | 0.049 | -0.020408 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N153 | KJNT_23033B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2022 | 2500495 | 2023-02-14 |  | 0.097 | 0.1 | 97 | -3 | 0.049 | -0.061224 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N153 | KJNT_23045B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0310088 | 2023-02-17 |  | 0.15 | 0.133 | 112.782 | 12.782 | 0.112 | 0.15179 | 0.07 | 1986 |  |  |  | mg/L as N | N155 | KJNT_23047A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0320035 | 2023-02-17 |  | 0.386 | 0.404 | 95.5446 | -4.4554 | 0.111 | -0.16216 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23047A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0400094 | 2023-02-23 |  | 0.085 | 0.133 | 63.9098 | -36.0902 | 0.112 | -0.42857 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23052B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0380147 | 2023-02-24 |  | 0.375 | 0.404 | 92.8218 | -7.1782 | 0.111 | -0.26126 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23047D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0470005 | 2023-02-24 |  | 0.365 | 0.404 | 90.3465 | -9.6535 | 0.111 | -0.35135 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23052C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0540082 | 2023-02-28 |  | 0.169 | 0.133 | 127.0677 | 27.0677 | 0.112 | 0.32143 | 0.07 | 1986 |  |  |  | mg/L as N | N155 | KJNT_23058B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2770118 | 2023-03-09 |  | 0.358 | 0.404 | 88.6139 | -11.3861 | 0.111 | -0.41441 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N156 | KJNT_23066C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2790115 | 2023-03-14 |  | 0.094 | 0.133 | 70.6767 | -29.3233 | 0.112 | -0.34821 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N155 | KJNT_23069A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2910108 | 2023-03-14 |  | 0.083 | 0.133 | 62.406 | -37.594 | 0.112 | -0.44643 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N155 | KJNT_23072D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2860105 | 2023-03-14 |  | 0.395 | 0.404 | 97.7723 | -2.2277 | 0.111 | -0.081081 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N156 | KJNT_23072C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2920224 | 2023-03-14 |  | 0.681 | 0.404 | 168.5644 | 68.5644 | 0.111 | 2.4955 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N156 | KJNT_23073A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0590095 | 2023-03-15 |  | 0.374 | 0.404 | 92.5743 | -7.4257 | 0.111 | -0.27027 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23073C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0600117 | 2023-03-16 |  | 0.081 | 0.133 | 60.9023 | -39.0977 | 0.112 | -0.46429 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23074A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0620099 | 2023-03-16 |  | 0.7 | 0.404 | 173.2673 | 73.2673 | 0.111 | 2.6667 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23075D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0660112 | 2023-03-17 |  | 0.071 | 0.133 | 53.3835 | -46.6165 | 0.112 | -0.55357 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23075E
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0670101 | 2023-03-17 |  | 0.108 | 0.133 | 81.203 | -18.797 | 0.112 | -0.22321 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23076A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0740036 | 2023-03-21 |  | 0.2 | 0.133 | 150.3759 | 50.3759 | 0.112 | 0.59821 | 0.07 | 1986 |  |  |  | mg/L as N | N155 | KJNT_23079D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0750099 | 2023-03-22 |  | 0.23 | 0.404 | 56.9307 | -43.0693 | 0.111 | -1.5676 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23079F
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2930113 | 2023-03-23 |  | 0.134 | 0.133 | 100.7519 | 0.75188 | 0.112 | 0.0089286 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N155 | KJNT_23081C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0800083 | 2023-03-27 |  | 0.102 | 0.133 | 76.6917 | -23.3083 | 0.112 | -0.27679 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N155 | KJNT_23082C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0680151 | 2023-03-28 |  | 0.381 | 0.404 | 94.3069 | -5.6931 | 0.111 | -0.20721 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23083A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0820085 | 2023-03-28 |  | 0.294 | 0.404 | 72.7723 | -27.2277 | 0.111 | -0.99099 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23083B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0880095 | 2023-03-31 |  | 0.319 | 0.133 | 239.8496 | 139.8496 | 0.112 | 1.6607 | 0.07 | 1986 |  |  |  | mg/L as N | N155 | KJNT_23090A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0890108 | 2023-03-31 |  | 0.39 | 0.404 | 96.5347 | -3.4653 | 0.111 | -0.12613 | 0.07 | 1986 |  |  |  | mg/L as N | N156 | KJNT_23090B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1020108 | 2023-04-27 |  | 0.262 | 0.245 | 106.9388 | 6.9388 | 0.11 | 0.15455 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23117A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 0940132 | 2023-05-01 |  | 0.292 | 0.245 | 119.1837 | 19.1837 | 0.11 | 0.42727 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23103A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1090193 | 2023-05-02 |  | 0.102 | 0.086 | 118.6047 | 18.6047 | 0.082 | 0.19512 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23118B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1100091 | 2023-05-02 |  | 0.228 | 0.245 | 93.0612 | -6.9388 | 0.11 | -0.15455 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23118C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1170150 | 2023-05-10 |  | 0.24 | 0.245 | 97.9592 | -2.0408 | 0.11 | -0.045455 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23128B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1230176 | 2023-05-11 |  | 0.103 | 0.086 | 119.7674 | 19.7674 | 0.082 | 0.20732 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23131A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1240212 | 2023-05-16 |  | 0.257 | 0.245 | 104.898 | 4.898 | 0.11 | 0.10909 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23131C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1300164 | 2023-05-25 |  | 0.08 | 0.086 | 93.0233 | -6.9767 | 0.082 | -0.073171 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23144B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1300163 | 2023-05-25 |  | 0.245 | 0.245 | 100 | 0 | 0.11 | 0 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23144B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1360049 | 2023-05-30 |  | 0.101 | 0.086 | 117.4419 | 17.4419 | 0.082 | 0.18293 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23150A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1360051 | 2023-05-30 |  | 0.268 | 0.245 | 109.3878 | 9.3878 | 0.11 | 0.20909 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23150A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1440064 | 2023-06-01 |  | 0.236 | 0.245 | 96.3265 | -3.6735 | 0.11 | -0.081818 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23152A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1570044 | 2023-06-13 |  | 0.237 | 0.245 | 96.7347 | -3.2653 | 0.11 | -0.072727 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23163B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1650068 | 2023-06-22 |  | 0.207 | 0.245 | 84.4898 | -15.5102 | 0.11 | -0.34545 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23172A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1730212 | 2023-07-05 |  | 0.254 | 0.245 | 103.6735 | 3.6735 | 0.11 | 0.081818 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23186A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1790031 | 2023-07-19 |  | 0.073 | 0.086 | 84.8837 | -15.1163 | 0.082 | -0.15854 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23195B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1840088 | 2023-07-20 |  | 0.18 | 0.245 | 73.4694 | -26.5306 | 0.11 | -0.59091 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23199C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1920172 | 2023-07-27 |  | 0.208 | 0.245 | 84.898 | -15.102 | 0.11 | -0.33636 | 0.07 | 1986 | Matrix spike (MS) recovery outside of acceptable range |  |  | mg/L as N | N158 | KJNT_23205B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1980052 | 2023-07-28 |  | 0.224 | 0.245 | 91.4286 | -8.5714 | 0.11 | -0.19091 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23207D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 1990167 | 2023-08-02 |  | 0.083 | 0.086 | 96.5116 | -3.4884 | 0.082 | -0.036585 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N157 | KJNT_23212B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2020027 | 2023-08-03 |  | 0.247 | 0.245 | 100.8163 | 0.81633 | 0.11 | 0.018182 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23212E
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2080232 | 2023-08-10 |  | 0.25 | 0.245 | 102.0408 | 2.0408 | 0.11 | 0.045455 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23221D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2280169 | 2023-08-24 |  | 0.244 | 0.245 | 99.5918 | -0.40816 | 0.11 | -0.0090909 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23234C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2500320 | 2023-09-22 |  | 0.244 | 0.245 | 99.5918 | -0.40816 | 0.11 | -0.0090909 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23255F
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2570186 | 2023-09-27 |  | 0.221 | 0.245 | 90.2041 | -9.7959 | 0.11 | -0.21818 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23268A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2200130 | 2023-09-27 |  | 0.197 | 0.245 | 80.4082 | -19.5918 | 0.11 | -0.43636 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KJNT_23229B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2720019 | 2023-10-12 |  | 0.16 | 0.245 | 65.3061 | -34.6939 | 0.11 | -0.77273 | 0.07 | 1986 |  |  |  | mg/L as N | N158 | KJNT_23283C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2860132 | 2023-10-20 |  | 0.085 | 0.12 | 70.8333 | -29.1667 | 0.035 | -1 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N159 | KJNT_23292A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2850092 | 2023-10-20 |  | 0.569 | 0.54 | 105.3704 | 5.3704 | 0.069 | 0.42029 | 0.07 | 1986 |  |  |  | mg/L as N | N160 | KJNT_23292A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2760036 | 2023-10-25 |  | 0.47 | 0.54 | 87.037 | -12.963 | 0.069 | -1.0145 | 0.07 | 1986 |  |  |  | mg/L as N | N160 | KJNT_23297B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2900165 | 2023-10-25 |  | 0.478 | 0.54 | 88.5185 | -11.4815 | 0.069 | -0.89855 | 0.07 | 1986 |  |  |  | mg/L as N | N160 | KJNT_23297B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2990158 | 2023-11-03 |  | 0.079 | 0.12 | 65.8333 | -34.1667 | 0.035 | -1.1714 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N159 | KJNT_23305A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2930012 | 2023-11-29 |  | 0.136 | 0.12 | 113.3333 | 13.3333 | 0.035 | 0.45714 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_23331A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2980083 | 2023-12-01 |  | 0.518 | 0.54 | 95.9259 | -4.0741 | 0.069 | -0.31884 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_23334A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3130130 | 2023-12-01 |  | 0.511 | 0.54 | 94.6296 | -5.3704 | 0.069 | -0.42029 | 0.07 | 1986 |  |  |  | mg/L as N | N160 | KJNT_23334A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3190186 | 2023-12-15 |  | 0.077 | 0.12 | 64.1667 | -35.8333 | 0.035 | -1.2286 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_23348B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3250151 | 2023-12-18 |  | 0.125 | 0.12 | 104.1667 | 4.1667 | 0.035 | 0.14286 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N159 | KJNT_23349B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3210044 | 2023-12-18 |  | 0.467 | 0.54 | 86.4815 | -13.5185 | 0.069 | -1.058 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_23349A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3320177 | 2023-12-20 |  | 0.466 | 0.54 | 86.2963 | -13.7037 | 0.069 | -1.0725 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_23353B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3340082 | 2023-12-21 |  | 0.075 | 0.12 | 62.5 | -37.5 | 0.035 | -1.2857 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N159 | KJNT_23355A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3420010 | 2024-01-08 |  | 0.113 | 0.12 | 94.1667 | -5.8333 | 0.035 | -0.2 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24002B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3460242 | 2024-02-06 |  | 0.554 | 0.54 | 102.5926 | 2.5926 | 0.069 | 0.2029 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24036B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3470279 | 2024-02-29 |  | 0.135 | 0.12 | 112.5 | 12.5 | 0.035 | 0.42857 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24058A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3530162 | 2024-03-08 |  | 0.502 | 0.54 | 92.963 | -7.037 | 0.069 | -0.55072 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24067B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0230081 | 2024-03-12 |  | 0.097 | 0.12 | 80.8333 | -19.1667 | 0.035 | -0.65714 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24031A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2023 | 2640109 | 2024-03-13 |  | 0.227 | 0.245 | 92.6531 | -7.3469 | 0.11 | -0.16364 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N158 | KJNT_23270B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3350126 | 2024-03-18 |  | 0.487 | 0.54 | 90.1852 | -9.8148 | 0.069 | -0.76812 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_23355B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0030062 | 2024-03-19 |  | 0.156 | 0.12 | 130 | 30 | 0.035 | 1.0286 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N159 | KJNT_24078C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0040090 | 2024-03-19 |  | 0.53 | 0.54 | 98.1481 | -1.8519 | 0.069 | -0.14493 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24078C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3610065 | 2024-03-20 |  | 0.553 | 0.54 | 102.4074 | 2.4074 | 0.069 | 0.18841 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24078B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3550285 | 2024-03-23 |  | 0.074 | 0.12 | 61.6667 | -38.3333 | 0.035 | -1.3143 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24075A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0580160 | 2024-03-26 |  | 0.546 | 0.54 | 101.1111 | 1.1111 | 0.069 | 0.086957 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24085C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0610078 | 2024-04-01 |  | 0.083 | 0.12 | 69.1667 | -30.8333 | 0.035 | -1.0571 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24088D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0660045 | 2024-04-06 |  | 0.109 | 0.12 | 90.8333 | -9.1667 | 0.035 | -0.31429 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24096A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0170013 | 2024-04-10 |  | 0.096 | 0.12 | 80 | -20 | 0.035 | -0.68571 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24099A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0120127 | 2024-04-10 |  | 0.454 | 0.54 | 84.0741 | -15.9259 | 0.069 | -1.2464 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24099A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 3390055 | 2024-04-11 |  | 0.431 | 0.54 | 79.8148 | -20.1852 | 0.069 | -1.5797 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24079A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0180111 | 2024-04-15 |  | 0.483 | 0.54 | 89.4444 | -10.5556 | 0.069 | -0.82609 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24102D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0790096 | 2024-04-18 |  | 0.396 | 0.54 | 73.3333 | -26.6667 | 0.069 | -2.087 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24103D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0250068 | 2024-04-20 |  | 0.438 | 0.54 | 81.1111 | -18.8889 | 0.069 | -1.4783 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24103E
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0880017 | 2024-04-26 |  | 0.099 | 0.12 | 82.5 | -17.5 | 0.035 | -0.6 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24115B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0880080 | 2024-04-26 |  | 0.426 | 0.54 | 78.8889 | -21.1111 | 0.069 | -1.6522 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24115B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0930095 | 2024-04-29 |  | 2.707 | 2.75 | 98.4364 | -1.5636 | 0.158 | -0.27215 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24116B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0800005 | 2024-05-04 |  | 0.105 | 0.12 | 87.5 | -12.5 | 0.035 | -0.42857 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N159 | KJNT_24123F
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0670130 | 2024-05-04 |  | 0.468 | 0.54 | 86.6667 | -13.3333 | 0.069 | -1.0435 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24123E
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1000110 | 2024-05-07 |  | 2.729 | 2.75 | 99.2364 | -0.76364 | 0.158 | -0.13291 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24124D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1070227 | 2024-05-09 |  | 2.705 | 2.75 | 98.3636 | -1.6364 | 0.158 | -0.28481 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24128B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1150017 | 2024-05-16 |  | 2.724 | 2.75 | 99.0545 | -0.94545 | 0.158 | -0.16456 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24135B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1300152 | 2024-05-29 |  | 2.598 | 2.75 | 94.4727 | -5.5273 | 0.158 | -0.96203 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24142E
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0810193 | 2024-05-30 |  | 0.574 | 0.54 | 106.2963 | 6.2963 | 0.069 | 0.49275 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N160 | KJNT_24150A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 0730122 | 2024-06-11 |  | 0.162 | 0.12 | 135 | 35 | 0.035 | 1.2 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N159 | KJNT_24095A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1500148 | 2024-06-11 |  | 0.244 | 0.14 | 174.2857 | 74.2857 | 0.09 | 1.1556 | 0.07 | 1986 |  |  |  | mg/L as N | N161 | KJNT_24157E
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1520090 | 2024-06-13 |  | 2.636 | 2.75 | 95.8545 | -4.1455 | 0.158 | -0.72152 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24164A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1280109 | 2024-06-21 |  | 0.181 | 0.14 | 129.2857 | 29.2857 | 0.09 | 0.45556 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N161 | KJNT_24142C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1370193 | 2024-06-21 |  | 0.205 | 0.14 | 146.4286 | 46.4286 | 0.09 | 0.72222 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N161 | KJNT_24150C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1380120 | 2024-06-21 |  | 2.705 | 2.75 | 98.3636 | -1.6364 | 0.158 | -0.28481 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24150C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1440177 | 2024-06-25 |  | 2.625 | 2.75 | 95.4545 | -4.5455 | 0.158 | -0.79114 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24157B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1420094 | 2024-06-26 |  | 0.152 | 0.14 | 108.5714 | 8.5714 | 0.09 | 0.13333 | 0.07 | 1986 | Holding time exceeded | Lab control sample (LCS) recovery outside of range or criteria | See result laboratory comment | mg/L as N | N161 | KJNT_24151C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1560041 | 2024-07-09 |  | 2.818 | 2.75 | 102.4727 | 2.4727 | 0.158 | 0.43038 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24179A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1580168 | 2024-07-17 |  | 0.159 | 0.14 | 113.5714 | 13.5714 | 0.09 | 0.21111 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N161 | KJNT_24191A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1650134 | 2024-07-19 |  | 0.092 | 0.14 | 65.7143 | -34.2857 | 0.09 | -0.53333 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N161 | KJNT_24198B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1720184 | 2024-07-24 |  | 0.15 | 0.14 | 107.1429 | 7.1429 | 0.09 | 0.11111 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N161 | KJNT_24205C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1630118 | 2024-07-25 |  | 2.83 | 2.75 | 102.9091 | 2.9091 | 0.158 | 0.50633 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24205A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1720054 | 2024-07-26 |  | 2.795 | 2.75 | 101.6364 | 1.6364 | 0.158 | 0.28481 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24205B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1790108 | 2024-07-31 |  | 0.114 | 0.14 | 81.4286 | -18.5714 | 0.09 | -0.28889 | 0.07 | 1986 | Holding time exceeded | Below the reporting level but at or above the detection level | See result laboratory comment | mg/L as N | N161 | KJNT_24212C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1910047 | 2024-08-05 |  | 0.126 | 0.14 | 90 | -10 | 0.09 | -0.15556 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24214B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1930207 | 2024-08-07 |  | 2.747 | 2.75 | 99.8909 | -0.10909 | 0.158 | -0.018987 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24219A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 1980277 | 2024-08-08 |  | 0.1 | 0.14 | 71.4286 | -28.5714 | 0.09 | -0.44444 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24219D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2050133 | 2024-08-12 |  | 0.101 | 0.14 | 72.1429 | -27.8571 | 0.09 | -0.43333 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24222D
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2080149 | 2024-08-14 |  | 2.629 | 2.75 | 95.6 | -4.4 | 0.158 | -0.76582 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24226C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2130066 | 2024-08-15 |  | 0.14 | 0.14 | 100 | 0 | 0.09 | 0 | 0.07 | 1986 |  |  |  | mg/L as N | N161 | KJNT_24226E
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2190100 | 2024-08-20 |  | 2.661 | 2.75 | 96.7636 | -3.2364 | 0.158 | -0.56329 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24228B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2140188 | 2024-08-20 |  | 2.572 | 2.75 | 93.5273 | -6.4727 | 0.158 | -1.1266 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24228B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2000170 | 2024-08-22 |  | 2.65 | 2.75 | 96.3636 | -3.6364 | 0.158 | -0.63291 | 0.07 | 1986 | Holding time exceeded | See result laboratory comment |  | mg/L as N | N162 | KJNT_24233A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2210223 | 2024-08-27 |  | 0.129 | 0.14 | 92.1429 | -7.8571 | 0.09 | -0.12222 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24233C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2260089 | 2024-08-27 |  | 2.637 | 2.75 | 95.8909 | -4.1091 | 0.158 | -0.71519 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24233E
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2280182 | 2024-08-29 |  | 0.106 | 0.14 | 75.7143 | -24.2857 | 0.09 | -0.37778 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24240C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2350151 | 2024-08-30 |  | 0.177 | 0.14 | 126.4286 | 26.4286 | 0.09 | 0.41111 | 0.07 | 1986 |  |  |  | mg/L as N | N161 | KJNT_24240G
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2400286 | 2024-09-03 |  | 2.606 | 2.75 | 94.7636 | -5.2364 | 0.158 | -0.91139 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24242C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2330318 | 2024-09-04 |  | 2.663 | 2.75 | 96.8364 | -3.1636 | 0.158 | -0.55063 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24240F
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2420143 | 2024-09-10 |  | 0.109 | 0.14 | 77.8571 | -22.1429 | 0.09 | -0.34444 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24247C
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2540043 | 2024-09-13 |  | 2.757 | 2.75 | 100.2545 | 0.25455 | 0.158 | 0.044304 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24255B
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2600023 | 2024-09-19 |  | 0.143 | 0.14 | 102.1429 | 2.1429 | 0.09 | 0.033333 | 0.07 | 1986 |  |  |  | mg/L as N | N161 | KJNT_24261A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2610049 | 2024-09-19 |  | 0.13 | 0.14 | 92.8571 | -7.1429 | 0.09 | -0.11111 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24261A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2600042 | 2024-09-19 |  | 2.6 | 2.75 | 94.5455 | -5.4545 | 0.158 | -0.94937 | 0.07 | 1986 |  |  |  | mg/L as N | N162 | KJNT_24261A
Total ammonia + organic nitrogen as N, water, unfltd | 00625 | KJ008 | UNF | 2024 | 2480181 | 2024-09-23 |  | 0.132 | 0.14 | 94.2857 | -5.7143 | 0.09 | -0.088889 | 0.07 | 1986 | Below the reporting level but at or above the detection level |  |  | mg/L as N | N161 | KJNT_24263A