## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Analysis Date | Remark Code | Lab Value | Expected Conc. | % Recovery | % Bias | 1 QCU | # of QCUs | Report Level | Labcode | Value Qualifier1 | Value Qualifier2 | Value Qualifier3 | Units | Blind Sample ID | Setno
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 3610136 | 2023-02-02 |  | 0.1397 | 0.131 | 106.6412 | 6.6412 | 0.007 | 1.2429 | 0.006 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELD_23030B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0050054 | 2023-02-02 |  | 0.0679 | 0.067 | 101.3433 | 1.3433 | 0.0035652 | 0.25244 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELD_23030B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0100104 | 2023-02-14 |  | 0.07 | 0.067 | 104.4776 | 4.4776 | 0.0035652 | 0.84147 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N156X | PELD_23031A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0240119 | 2023-02-16 |  | 0.1388 | 0.131 | 105.9542 | 5.9542 | 0.007 | 1.1143 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N155 | PELD_23047A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0250119 | 2023-02-16 |  | 0.0692 | 0.067 | 103.2836 | 3.2836 | 0.0035652 | 0.61708 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23047A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0320034 | 2023-02-17 |  | 0.1391 | 0.131 | 106.1832 | 6.1832 | 0.007 | 1.1571 | 0.003 | 2331 |  |  |  | mg/L as P | N155 | PELD_23047B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0590094 | 2023-03-16 |  | 0.1383 | 0.131 | 105.5725 | 5.5725 | 0.007 | 1.0429 | 0.003 | 2331 |  |  |  | mg/L as P | N155 | PELD_23072B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0540081 | 2023-03-16 |  | 0.0655 | 0.067 | 97.7612 | -2.2388 | 0.0035652 | -0.42074 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23072B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0660113 | 2023-03-21 |  | 0.065 | 0.067 | 97.0149 | -2.9851 | 0.0035652 | -0.56098 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23079B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0670100 | 2023-03-21 |  | 0.0629 | 0.067 | 93.8806 | -6.1194 | 0.0035652 | -1.15 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23079B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0740034 | 2023-03-28 |  | 0.0659 | 0.067 | 98.3582 | -1.6418 | 0.0035652 | -0.30854 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23081A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0750100 | 2023-04-06 |  | 0.135 | 0.131 | 103.0534 | 3.0534 | 0.007 | 0.57143 | 0.003 | 2331 |  |  |  | mg/L as P | N155 | PELD_23094A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0820083 | 2023-04-11 |  | 0.1379 | 0.131 | 105.2672 | 5.2672 | 0.007 | 0.98571 | 0.003 | 2331 |  |  |  | mg/L as P | N155 | PELD_23096A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0800082 | 2023-04-11 |  | 0.0674 | 0.067 | 100.597 | 0.59701 | 0.0035652 | 0.1122 | 0.003 | 2331 |  |  |  | mg/L as P | N156X | PELD_23096A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0940131 | 2023-04-19 |  | 0.1133 | 0.117 | 96.8376 | -3.1624 | 0.006 | -0.61667 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23107B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 0890107 | 2023-04-20 |  | 0.1375 | 0.131 | 104.9618 | 4.9618 | 0.007 | 0.92857 | 0.003 | 2331 |  |  |  | mg/L as P | N155 | PELD_23101A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1100090 | 2023-05-09 |  | 0.1152 | 0.117 | 98.4615 | -1.5385 | 0.006 | -0.3 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23124A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1090192 | 2023-05-09 |  | 0.0276 | 0.028 | 98.5714 | -1.4286 | 0.0021011 | -0.19037 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23124A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1230177 | 2023-05-17 |  | 0.0286 | 0.028 | 102.1429 | 2.1429 | 0.0021011 | 0.28556 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23136A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1240213 | 2023-05-25 |  | 0.0275 | 0.028 | 98.2143 | -1.7857 | 0.0021011 | -0.23797 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23142A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1150153 | 2023-05-26 |  | 0.026 | 0.028 | 92.8571 | -7.1429 | 0.0021011 | -0.95187 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23130A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1020107 | 2023-05-31 |  | 0.1156 | 0.117 | 98.8034 | -1.1966 | 0.006 | -0.23333 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23150B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1300165 | 2023-05-31 |  | 0.0297 | 0.028 | 106.0714 | 6.0714 | 0.0021011 | 0.80909 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23150B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1310001 | 2023-06-08 |  | 0.1147 | 0.117 | 98.0342 | -1.9658 | 0.006 | -0.38333 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23157B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1360050 | 2023-06-08 |  | 0.0286 | 0.028 | 102.1429 | 2.1429 | 0.0021011 | 0.28556 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23157B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1570043 | 2023-06-22 |  | 0.1122 | 0.117 | 95.8974 | -4.1026 | 0.006 | -0.8 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23166B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1460004 | 2023-06-22 |  | 0.1098 | 0.117 | 93.8462 | -6.1538 | 0.006 | -1.2 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23166B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1650069 | 2023-06-28 |  | 0.1088 | 0.117 | 92.9915 | -7.0085 | 0.006 | -1.3667 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23178A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1660195 | 2023-07-19 |  | 0.0287 | 0.028 | 102.5 | 2.5 | 0.0021011 | 0.33316 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23192A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2020028 | 2023-07-26 |  | 0.1129 | 0.117 | 96.4957 | -3.5043 | 0.006 | -0.68333 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23205A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1790032 | 2023-07-26 |  | 0.0266 | 0.028 | 95 | -5 | 0.0021011 | -0.66631 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23205A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1730213 | 2023-07-27 |  | 0.1164 | 0.117 | 99.4872 | -0.51282 | 0.006 | -0.1 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23192B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1860130 | 2023-08-01 |  | 0.0265 | 0.028 | 94.6429 | -5.3571 | 0.0021011 | -0.7139 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23212B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1870311 | 2023-08-01 |  | 0.0292 | 0.028 | 104.2857 | 4.2857 | 0.0021011 | 0.57112 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23212B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1980053 | 2023-08-16 |  | 0.1137 | 0.117 | 97.1795 | -2.8205 | 0.006 | -0.55 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23219B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1940236 | 2023-08-16 |  | 0.0278 | 0.028 | 99.2857 | -0.71429 | 0.0021011 | -0.095187 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23219B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 1990168 | 2023-08-17 |  | 0.0259 | 0.028 | 92.5 | -7.5 | 0.0021011 | -0.99947 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23222A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2080233 | 2023-08-29 |  | 0.1108 | 0.117 | 94.7009 | -5.2991 | 0.006 | -1.0333 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23240A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2200131 | 2023-09-07 |  | 0.1148 | 0.117 | 98.1197 | -1.8803 | 0.006 | -0.36667 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23248A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2280170 | 2023-09-14 |  | 0.1092 | 0.117 | 93.3333 | -6.6667 | 0.006 | -1.3 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_23248C
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2290215 | 2023-09-14 |  | 0.0268 | 0.028 | 95.7143 | -4.2857 | 0.0021011 | -0.57112 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23256A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2350098 | 2023-09-18 |  | 0.1123 | 0.117 | 95.9829 | -4.0171 | 0.006 | -0.78333 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23261A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2360089 | 2023-09-27 |  | 0.0268 | 0.028 | 95.7143 | -4.2857 | 0.0021011 | -0.57112 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N158X | PELD_23264A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2480100 | 2023-09-28 |  | 0.0268 | 0.028 | 95.7143 | -4.2857 | 0.0021011 | -0.57112 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23270A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2490135 | 2023-10-03 |  | 0.0253 | 0.028 | 90.3571 | -9.6429 | 0.0021011 | -1.285 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23275A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2570187 | 2023-10-11 |  | 0.1182 | 0.117 | 101.0256 | 1.0256 | 0.006 | 0.2 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23279A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2560091 | 2023-10-11 |  | 0.0281 | 0.028 | 100.3571 | 0.35714 | 0.0021011 | 0.047594 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23279A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2640110 | 2023-10-13 |  | 0.1178 | 0.117 | 100.6838 | 0.68376 | 0.006 | 0.13333 | 0.003 | 2331 |  |  |  | mg/L as P | N157 | PELD_23279C
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2620182 | 2023-10-13 |  | 0.0302 | 0.028 | 107.8571 | 7.8571 | 0.0021011 | 1.0471 | 0.003 | 2331 |  |  |  | mg/L as P | N158X | PELD_23279B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2023 | 2720020 | 2024-03-05 |  | 0.1152 | 0.117 | 98.4615 | -1.5385 | 0.006 | -0.3 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N157 | PELD_24036A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2760037 | 2024-03-05 |  | 0.1318 | 0.128 | 102.9688 | 2.9688 | 0.0064 | 0.59375 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N159 | PELD_24036A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2850093 | 2024-03-06 |  | 0.13 | 0.128 | 101.5625 | 1.5625 | 0.0064 | 0.3125 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N159 | PELD_24036C
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2900164 | 2024-03-06 |  | 0.1303 | 0.128 | 101.7969 | 1.7969 | 0.0064 | 0.35937 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N159 | PELD_24036C
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2860133 | 2024-03-06 |  | 0.0359 | 0.0375 | 95.7333 | -4.2667 | 0.0024577 | -0.651 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160X | PELD_24036C
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2990159 | 2024-03-12 |  | 0.0381 | 0.0375 | 101.6 | 1.6 | 0.0024577 | 0.24413 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160X | PELD_24061A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2930013 | 2024-03-16 |  | 0.0356 | 0.0375 | 94.9333 | -5.0667 | 0.0024577 | -0.77306 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160X | PELD_24036D
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 3120061 | 2024-03-19 |  | 0.0352 | 0.0375 | 93.8667 | -6.1333 | 0.0024577 | -0.93582 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160X | PELD_24076A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 0610077 | 2024-03-21 |  | 0.0384 | 0.0375 | 102.4 | 2.4 | 0.0024577 | 0.36619 | 0.003 | 2331 |  |  |  | mg/L as P | N160X | PELD_24079A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 0660046 | 2024-03-21 |  | 0.0368 | 0.0375 | 98.1333 | -1.8667 | 0.0024577 | -0.28481 | 0.003 | 2331 |  |  |  | mg/L as P | N160X | PELD_24079A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 0730123 | 2024-03-23 |  | 0.0362 | 0.0375 | 96.5333 | -3.4667 | 0.0024577 | -0.52894 | 0.003 | 2331 |  |  |  | mg/L as P | N160X | PELD_24079C
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 0790097 | 2024-03-25 |  | 0.1325 | 0.128 | 103.5156 | 3.5156 | 0.0064 | 0.70313 | 0.003 | 2331 |  |  |  | mg/L as P | N159 | PELD_24082A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 0800006 | 2024-03-25 |  | 0.0382 | 0.0375 | 101.8667 | 1.8667 | 0.0024577 | 0.28481 | 0.003 | 2331 |  |  |  | mg/L as P | N160X | PELD_24082A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 0810191 | 2024-03-27 |  | 0.1306 | 0.128 | 102.0312 | 2.0312 | 0.0064 | 0.40625 | 0.003 | 2331 |  |  |  | mg/L as P | N159 | PELD_24082C
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 0520082 | 2024-03-30 |  | 0.1336 | 0.128 | 104.375 | 4.375 | 0.0064 | 0.875 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N159 | PELD_24088A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 3190185 | 2024-03-30 |  | 0.036 | 0.0375 | 96 | -4 | 0.0024577 | -0.61031 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160X | PELD_24082B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 0460204 | 2024-04-01 |  | 0.0385 | 0.0375 | 102.6667 | 2.6667 | 0.0024577 | 0.40688 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N160X | PELD_24088B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 0880081 | 2024-04-16 |  | 0.1298 | 0.128 | 101.4062 | 1.4062 | 0.0064 | 0.28125 | 0.003 | 2331 |  |  |  | mg/L as P | N159 | PELD_24106A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 0370151 | 2024-04-19 |  | 0.1368 | 0.128 | 106.875 | 6.875 | 0.0064 | 1.375 | 0.003 | 2331 | Holding time exceeded | See result laboratory comment |  | mg/L as P | N159 | PELD_24109A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1020163 | 2024-04-24 |  | 0.0283 | 0.0275 | 102.9091 | 2.9091 | 0.0020824 | 0.38418 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24114A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1090164 | 2024-05-01 |  | 0.0286 | 0.0275 | 104 | 4 | 0.0020824 | 0.52825 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24116C
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1160214 | 2024-05-14 |  | 0.0264 | 0.0275 | 96 | -4 | 0.0020824 | -0.52825 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24134A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1280110 | 2024-05-21 |  | 0.0269 | 0.0275 | 97.8182 | -2.1818 | 0.0020824 | -0.28814 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24138A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1380121 | 2024-05-31 |  | 0.1323 | 0.13 | 101.7692 | 1.7692 | 0.007 | 0.32857 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24151A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1370192 | 2024-05-31 |  | 0.0277 | 0.0275 | 100.7273 | 0.72727 | 0.0020824 | 0.096045 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24151A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1440176 | 2024-06-06 |  | 0.1318 | 0.13 | 101.3846 | 1.3846 | 0.007 | 0.25714 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24156A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1420093 | 2024-06-06 |  | 0.0269 | 0.0275 | 97.8182 | -2.1818 | 0.0020824 | -0.28814 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24155A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1560042 | 2024-06-07 |  | 0.1327 | 0.13 | 102.0769 | 2.0769 | 0.007 | 0.38571 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24157A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1520091 | 2024-06-07 |  | 0.1256 | 0.13 | 96.6154 | -3.3846 | 0.007 | -0.62857 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24157A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1630119 | 2024-06-14 |  | 0.1292 | 0.13 | 99.3846 | -0.61538 | 0.007 | -0.11429 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24164A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1650133 | 2024-06-21 |  | 0.0264 | 0.0275 | 96 | -4 | 0.0020824 | -0.52825 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24172A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1720055 | 2024-07-08 |  | 0.1353 | 0.13 | 104.0769 | 4.0769 | 0.007 | 0.75714 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24187B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1720185 | 2024-07-08 |  | 0.0283 | 0.0275 | 102.9091 | 2.9091 | 0.0020824 | 0.38418 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24187B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1790109 | 2024-07-15 |  | 0.031 | 0.0275 | 112.7273 | 12.7273 | 0.0020824 | 1.6808 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24194A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1910046 | 2024-07-16 |  | 0.0285 | 0.0275 | 103.6364 | 3.6364 | 0.0020824 | 0.48023 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24197A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2000169 | 2024-08-06 |  | 0.1342 | 0.13 | 103.2308 | 3.2308 | 0.007 | 0.6 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24215A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 1980278 | 2024-08-06 |  | 0.0289 | 0.0275 | 105.0909 | 5.0909 | 0.0020824 | 0.67232 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24215A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2050134 | 2024-08-08 |  | 0.0263 | 0.0275 | 95.6364 | -4.3636 | 0.0020824 | -0.57627 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24219A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2080150 | 2024-08-13 |  | 0.1311 | 0.13 | 100.8462 | 0.84615 | 0.007 | 0.15714 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24225A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2190099 | 2024-08-23 |  | 0.1291 | 0.13 | 99.3077 | -0.69231 | 0.007 | -0.12857 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24232A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2140187 | 2024-08-23 |  | 0.1308 | 0.13 | 100.6154 | 0.61538 | 0.007 | 0.11429 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24232A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2260088 | 2024-08-27 |  | 0.1309 | 0.13 | 100.6923 | 0.69231 | 0.007 | 0.12857 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24239A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2280183 | 2024-09-04 |  | 0.0278 | 0.0275 | 101.0909 | 1.0909 | 0.0020824 | 0.14407 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24242A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2350149 | 2024-09-06 |  | 0.0273 | 0.0275 | 99.2727 | -0.72727 | 0.0020824 | -0.096045 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24249A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2330319 | 2024-09-11 |  | 0.1323 | 0.13 | 101.7692 | 1.7692 | 0.007 | 0.32857 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24253A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2420142 | 2024-09-23 |  | 0.0275 | 0.0275 | 100 | 0 | 0.0020824 | 0 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24263A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2480182 | 2024-09-27 |  | 0.0272 | 0.0275 | 98.9091 | -1.0909 | 0.0020824 | -0.14407 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24269A
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2600041 | 2024-10-03 |  | 0.1347 | 0.13 | 103.6154 | 3.6154 | 0.007 | 0.67143 | 0.003 | 2331 |  |  |  | mg/L as P | N161 | PELD_24275B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2600024 | 2024-10-03 |  | 0.0271 | 0.0275 | 98.5455 | -1.4545 | 0.0020824 | -0.19209 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24275B
Phosphorus as P, water, fltd, LL | 00666 | CL020 | FIL | 2024 | 2610048 | 2024-10-03 |  | 0.0263 | 0.0275 | 95.6364 | -4.3636 | 0.0020824 | -0.57627 | 0.003 | 2331 |  |  |  | mg/L as P | N162X | PELD_24275B