## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4298009 | 1984-10-24 | 92 | 92.4 | 99.5671 | -0.4329 | -0.13082 | [5 empty] | mg/L | 25DW/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4300005 | 1984-10-26 | 100 | 92.4 | 108.2251 | 8.2251 | 2.4856 | [5 empty] | mg/L | 25DW/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4304003 | 1984-10-30 | 91 | 92.4 | 98.4848 | -1.5152 | -0.45788 | [5 empty] | mg/L | 25DW/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4297042 | 1984-10-23 | 176 | 176 | 100 | 0 | 0 | [5 empty] | mg/L | 5086/5088
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4305056 | 1984-10-31 | 174 | 176 | 98.8636 | -1.1364 | -0.39494 | [5 empty] | mg/L | 5086/5088
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4307005 | 1984-11-02 | 175 | 176 | 99.4318 | -0.56818 | -0.19747 | [5 empty] | mg/L | 5086/5088
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4289044 | 1984-10-15 | 165 | 163 | 101.227 | 1.227 | 0.42088 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4296033 | 1984-10-22 | 164 | 163 | 100.6135 | 0.6135 | 0.21044 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4292084 | 1984-10-18 | 164 | 163 | 100.6135 | 0.6135 | 0.21044 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4296102 | 1984-10-22 | 164 | 163 | 100.6135 | 0.6135 | 0.21044 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4300078 | 1984-10-26 | 164 | 163 | 100.6135 | 0.6135 | 0.21044 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4286015 | 1984-10-12 | 162 | 161 | 100.6211 | 0.62112 | 0.21259 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4286014 | 1984-10-12 | 162 | 161 | 100.6211 | 0.62112 | 0.21259 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4286016 | 1984-10-12 | 162 | 161 | 100.6211 | 0.62112 | 0.21259 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4286001 | 1984-10-12 | 162 | 161 | 100.6211 | 0.62112 | 0.21259 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4286006 | 1984-10-12 | 162 | 161 | 100.6211 | 0.62112 | 0.21259 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4289040 | 1984-10-15 | 162 | 161 | 100.6211 | 0.62112 | 0.21259 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4289042 | 1984-10-15 | 162 | 161 | 100.6211 | 0.62112 | 0.21259 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5109003 | 1985-04-19 | 168 | 161 | 104.3478 | 4.3478 | 1.4881 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5102022 | 1985-04-12 | 80 | 82.5 | 96.9697 | -3.0303 | -0.88652 | [5 empty] | mg/L | 33DW/6780
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5102011 | 1985-04-12 | 176 | 181 | 97.2376 | -2.7624 | -0.96451 | [5 empty] | mg/L | 5084/5088
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5074015 | 1985-03-15 | 153 | 154 | 99.3506 | -0.64935 | -0.22046 | [5 empty] | mg/L | 3384/6786
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5077053 | 1985-03-18 | 153 | 154 | 99.3506 | -0.64935 | -0.22046 | [5 empty] | mg/L | 3384/6786
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5079005 | 1985-03-20 | 152 | 154 | 98.7013 | -1.2987 | -0.44092 | [5 empty] | mg/L | 3384/6786
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5084012 | 1985-03-25 | 142 | 154 | 92.2078 | -7.7922 | -2.6455 | [5 empty] | mg/L | 3384/6786
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5087011 | 1985-03-28 | 153 | 154 | 99.3506 | -0.64935 | -0.22046 | [5 empty] | mg/L | 3384/6786
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5088037 | 1985-03-29 | 153 | 154 | 99.3506 | -0.64935 | -0.22046 | [5 empty] | mg/L | 3384/6786
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5088039 | 1985-03-29 | 142 | 143 | 99.3007 | -0.6993 | -0.23408 | [5 empty] | mg/L | 2588/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5092032 | 1985-04-02 | 142 | 143 | 99.3007 | -0.6993 | -0.23408 | [5 empty] | mg/L | 2588/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5071040 | 1985-03-12 | 142 | 144 | 98.6111 | -1.3889 | -0.46555 | [5 empty] | mg/L | 2580/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5071049 | 1985-03-12 | 142 | 144 | 98.6111 | -1.3889 | -0.46555 | [5 empty] | mg/L | 2580/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5073022 | 1985-03-14 | 142 | 144 | 98.6111 | -1.3889 | -0.46555 | [5 empty] | mg/L | 2580/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5066087 | 1985-03-07 | 199 | 201 | 99.005 | -0.99502 | -0.35311 | [5 empty] | mg/L | ST88
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5071088 | 1985-03-12 | 201 | 201 | 100 | 0 | 0 | [5 empty] | mg/L | ST88
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5071100 | 1985-03-12 | 200 | 201 | 99.5025 | -0.49751 | -0.17655 | [5 empty] | mg/L | ST88
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5077055 | 1985-03-18 | 200 | 201 | 99.5025 | -0.49751 | -0.17655 | [5 empty] | mg/L | ST88
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5079004 | 1985-03-20 | 199 | 201 | 99.005 | -0.99502 | -0.35311 | [5 empty] | mg/L | ST88
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5087014 | 1985-03-28 | 200 | 201 | 99.5025 | -0.49751 | -0.17655 | [5 empty] | mg/L | ST88
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5100061 | 1985-04-10 | 159 | 161 | 98.7578 | -1.2422 | -0.42517 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5108048 | 1985-04-18 | 158 | 161 | 98.1366 | -1.8634 | -0.63776 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5100058 | 1985-04-10 | 81 | 82.5 | 98.1818 | -1.8182 | -0.53191 | [5 empty] | mg/L | 33DW/6780
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5108045 | 1985-04-18 | 81 | 82.5 | 98.1818 | -1.8182 | -0.53191 | [5 empty] | mg/L | 33DW/6780
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5099017 | 1985-04-09 | 250 | 181 | 138.1215 | 38.1215 | 13.3102 | [5 empty] | mg/L | 5084/5088
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5108049 | 1985-04-18 | 179 | 181 | 98.895 | -1.105 | -0.3858 | [5 empty] | mg/L | 5084/5088
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4311081 | 1984-11-06 | 150 | 151 | 99.3377 | -0.66225 | -0.22401 | [5 empty] | mg/L | ST86
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4318059 | 1984-11-13 | 149 | 151 | 98.6755 | -1.3245 | -0.44803 | [5 empty] | mg/L | ST86
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4318060 | 1984-11-13 | 150 | 151 | 99.3377 | -0.66225 | -0.22401 | [5 empty] | mg/L | ST86
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4320005 | 1984-11-15 | 149 | 151 | 98.6755 | -1.3245 | -0.44803 | [5 empty] | mg/L | ST86
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4320007 | 1984-11-15 | 150 | 151 | 99.3377 | -0.66225 | -0.22401 | [5 empty] | mg/L | ST86
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4332010 | 1984-11-27 | 149 | 151 | 98.6755 | -1.3245 | -0.44803 | [5 empty] | mg/L | ST86
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4332007 | 1984-11-27 | 150 | 151 | 99.3377 | -0.66225 | -0.22401 | [5 empty] | mg/L | ST86
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4339054 | 1984-12-04 | 183 | 184 | 99.4565 | -0.54348 | -0.19026 | [5 empty] | mg/L | 3386/6788
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4340014 | 1984-12-05 | 184 | 184 | 100 | 0 | 0 | [5 empty] | mg/L | 3386/6788
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4325027 | 1984-11-20 | 244 | 191 | 127.7487 | 27.7487 | 9.7714 | [5 empty] | mg/L | 2584/7588
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4339058 | 1984-12-04 | 191 | 191 | 100 | 0 | 0 | [5 empty] | mg/L | 2584/7588
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4339059 | 1984-12-04 | 191 | 191 | 100 | 0 | 0 | [5 empty] | mg/L | 2584/7588
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4339060 | 1984-12-04 | 189 | 191 | 98.9529 | -1.0471 | -0.36873 | [5 empty] | mg/L | 2584/7588
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4345012 | 1984-12-10 | 191 | 191 | 100 | 0 | 0 | [5 empty] | mg/L | 2584/7588
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4325029 | 1984-11-20 | 62 | 61.6 | 100.6494 | 0.64935 | 0.17253 | [5 empty] | mg/L | 50DW/5080
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4332032 | 1984-11-27 | 60 | 61.6 | 97.4026 | -2.5974 | -0.69013 | [5 empty] | mg/L | 50DW/5080
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 4338009 | 1984-12-03 | 60 | 61.6 | 97.4026 | -2.5974 | -0.69013 | [5 empty] | mg/L | 50DW/5080
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5039030 | 1985-02-08 | 151 | 151 | 100 | 0 | 0 | [5 empty] | mg/L | ST86
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5056165 | 1985-02-25 | 149 | 151 | 98.6755 | -1.3245 | -0.44803 | [5 empty] | mg/L | ST86
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5059072 | 1985-02-28 | 149 | 151 | 98.6755 | -1.3245 | -0.44803 | [5 empty] | mg/L | ST86
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5044015 | 1985-02-13 | 183 | 184 | 99.4565 | -0.54348 | -0.19026 | [5 empty] | mg/L | 3386/6788
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5059066 | 1985-02-28 | 183 | 184 | 99.4565 | -0.54348 | -0.19026 | [5 empty] | mg/L | 3386/6788
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5051030 | 1985-02-20 | 60 | 61.6 | 97.4026 | -2.5974 | -0.69013 | [5 empty] | mg/L | 50DW/5080
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5059070 | 1985-02-28 | 60 | 61.6 | 97.4026 | -2.5974 | -0.69013 | [5 empty] | mg/L | 50DW/5080
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5039029 | 1985-02-08 | 190 | 191 | 99.4764 | -0.52356 | -0.18437 | [5 empty] | mg/L | 2584/7588
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5051029 | 1985-02-20 | 190 | 191 | 99.4764 | -0.52356 | -0.18437 | [5 empty] | mg/L | 2584/7588
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5056162 | 1985-02-25 | 189 | 191 | 98.9529 | -1.0471 | -0.36873 | [5 empty] | mg/L | 2584/7588
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5059071 | 1985-02-28 | 190 | 191 | 99.4764 | -0.52356 | -0.18437 | [5 empty] | mg/L | 2584/7588
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5023037 | 1985-01-23 | 162 | 163 | 99.3865 | -0.6135 | -0.21044 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5023023 | 1985-01-23 | 166 | 163 | 101.8405 | 1.8405 | 0.63131 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5028109 | 1985-01-28 | 162 | 163 | 99.3865 | -0.6135 | -0.21044 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5028111 | 1985-01-28 | 163 | 163 | 100 | 0 | 0 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5031010 | 1985-01-31 | 164 | 163 | 100.6135 | 0.6135 | 0.21044 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5032031 | 1985-02-01 | 163 | 163 | 100 | 0 | 0 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5035008 | 1985-02-04 | 163 | 163 | 100 | 0 | 0 | [5 empty] | mg/L | 2588/7586
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5007064 | 1985-01-07 | 160 | 161 | 99.3789 | -0.62112 | -0.21259 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5015020 | 1985-01-15 | 161 | 161 | 100 | 0 | 0 | [5 empty] | mg/L | ST84
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5007066 | 1985-01-07 | 92 | 92.4 | 99.5671 | -0.4329 | -0.13082 | [5 empty] | mg/L | 25DW/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5015009 | 1985-01-15 | 93 | 92.4 | 100.6494 | 0.64935 | 0.19623 | [5 empty] | mg/L | 25DW/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5014074 | 1985-01-14 | 92 | 92.4 | 99.5671 | -0.4329 | -0.13082 | [5 empty] | mg/L | 25DW/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5016030 | 1985-01-16 | 93 | 92.4 | 100.6494 | 0.64935 | 0.19623 | [5 empty] | mg/L | 25DW/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5017016 | 1985-01-17 | 92 | 92.4 | 99.5671 | -0.4329 | -0.13082 | [5 empty] | mg/L | 25DW/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5018094 | 1985-01-18 | 92 | 92.4 | 99.5671 | -0.4329 | -0.13082 | [5 empty] | mg/L | 25DW/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5022003 | 1985-01-22 | 92 | 92.4 | 99.5671 | -0.4329 | -0.13082 | [5 empty] | mg/L | 25DW/7580
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5011059 | 1985-01-11 | 175 | 176 | 99.4318 | -0.56818 | -0.19747 | [5 empty] | mg/L | 5086/5088
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5015019 | 1985-01-15 | 176 | 176 | 100 | 0 | 0 | [5 empty] | mg/L | 5086/5088
Acid Neutralizing Capacity (ANC; as CaCO3), UNF, TITR | 90410 |  | UNF | 1985 | 5032063 | 1985-02-01 | 175 | 176 | 99.4318 | -0.56818 | -0.19747 | [5 empty] | mg/L | 5086/5088