## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6112041 | 1986-04-22 | 4.2 | 4.22 | 99.5261 | -0.47393 | -0.039365 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6112023 | 1986-04-22 | 4.2 | 4.22 | 99.5261 | -0.47393 | -0.039365 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6114065 | 1986-04-24 | 0.29 | 0.25 | 116 | 16 | 0.18328 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6119120 | 1986-04-29 | 0.28 | 0.25 | 112 | 12 | 0.13746 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6199014 | 1986-07-18 | 0.29 | 0.25 | 116 | 16 | 0.18328 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6212044 | 1986-07-31 | 0.28 | 0.25 | 112 | 12 | 0.13746 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 5330002 | 1985-11-26 | 0.19 | 0.16 | 118.75 | 18.75 | 0.14172 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 5330004 | 1985-11-26 | 0.19 | 0.16 | 118.75 | 18.75 | 0.14172 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 5330002 | 1985-11-26 | 0.19 | 0.16 | 118.75 | 18.75 | 0.14172 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6104087 | 1986-04-14 | 4.1 | 4.22 | 97.1564 | -2.8436 | -0.23619 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6115018 | 1986-04-25 | 4.1 | 4.22 | 97.1564 | -2.8436 | -0.23619 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6107049 | 1986-04-17 | 0.27 | 0.25 | 108 | 8 | 0.091638 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6128010 | 1986-05-08 | 0.29 | 0.25 | 116 | 16 | 0.18328 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6055014 | 1986-02-24 | 0.22 | 0.185 | 118.9189 | 18.9189 | 0.16393 | 0.01 | 1259 |  |  |  | mg/L | 88 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6230125 | 1986-08-18 | 0.12 | 0.053 | 226.4151 | 126.4151 | 0.32864 | 0.01 | 1259 |  |  |  | mg/L | 82 /50
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6239083 | 1986-08-27 | 0.12 | 0.053 | 226.4151 | 126.4151 | 0.32864 | 0.01 | 1259 |  |  |  | mg/L | 82 /50
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6055012 | 1986-02-24 | 0.24 | 0.185 | 129.7297 | 29.7297 | 0.25761 | 0.01 | 1259 |  |  |  | mg/L | 88 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6062009 | 1986-03-03 | 0.2 | 0.185 | 108.1081 | 8.1081 | 0.070256 | 0.01 | 1259 |  |  |  | mg/L | 88 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6219064 | 1986-08-07 | 0.23 | 0.185 | 124.3243 | 24.3243 | 0.21077 | 0.01 | 1259 |  |  |  | mg/L | 88 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6245171 | 1986-09-02 | 0.24 | 0.185 | 129.7297 | 29.7297 | 0.25761 | 0.01 | 1259 |  |  |  | mg/L | 88 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6190001 | 1986-07-09 | 4.2 | 4.22 | 99.5261 | -0.47393 | -0.039365 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6211058 | 1986-07-30 | 4.2 | 4.22 | 99.5261 | -0.47393 | -0.039365 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7069030 | 1987-03-10 | 4.1 | 4.22 | 97.1564 | -2.8436 | -0.23619 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7248019 | 1987-09-05 | 4.1 | 4.22 | 97.1564 | -2.8436 | -0.23619 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7248016 | 1987-09-05 | 4.1 | 4.22 | 97.1564 | -2.8436 | -0.23619 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7248017 | 1987-09-05 | 2.2 | 2.18 | 100.9174 | 0.91743 | 0.055689 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7248018 | 1987-09-05 | 2.2 | 2.18 | 100.9174 | 0.91743 | 0.055689 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 6287011 | 1986-10-14 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 6287082 | 1986-10-14 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7015023 | 1987-01-15 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7023011 | 1987-01-23 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 6282011 | 1986-10-09 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 6294046 | 1986-10-21 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7098001 | 1987-04-08 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7111001 | 1987-04-21 | 0.16 | 0.16 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7041010 | 1987-02-10 | 0.16 | 0.17 | 94.1176 | -5.8824 | -0.047079 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7054056 | 1987-02-23 | 0.17 | 0.17 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7040056 | 1987-02-09 | 0.14 | 0.17 | 82.3529 | -17.6471 | -0.14124 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7054023 | 1987-02-23 | 0.14 | 0.17 | 82.3529 | -17.6471 | -0.14124 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7224112 | 1987-08-12 | 0.17 | 0.17 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7233168 | 1987-08-21 | 0.14 | 0.17 | 82.3529 | -17.6471 | -0.14124 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7139047 | 1987-05-19 | 2.2 | 2.18 | 100.9174 | 0.91743 | 0.055689 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7149114 | 1987-05-29 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7152010 | 1987-06-01 | 0.15 | 0.17 | 88.2353 | -11.7647 | -0.094158 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 770189. | 1988-03-17 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 880092. | 1988-03-28 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 2540056 | 1988-09-10 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 2540057 | 1988-09-10 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7286022 | 1987-10-13 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7296118 | 1987-10-23 | 2.2 | 2.18 | 100.9174 | 0.91743 | 0.055689 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1030116 | 1988-04-12 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1190003 | 1988-04-28 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.61257 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7286024 | 1987-10-13 | 0.16 | 0.17 | 94.1176 | -5.8824 | -0.047079 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7296117 | 1987-10-23 | 0.15 | 0.17 | 88.2353 | -11.7647 | -0.094158 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1120037 | 1988-04-21 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.37663 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 280078. | 1988-01-28 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.42371 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 2080086 | 1988-07-26 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.42371 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 2080087 | 1988-07-26 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.42371 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7286038 | 1987-10-13 | 0.15 | 0.17 | 88.2353 | -11.7647 | -0.094158 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7299053 | 1987-10-26 | 0.15 | 0.17 | 88.2353 | -11.7647 | -0.094158 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1160124 | 1988-04-25 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.37663 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1190006 | 1988-04-28 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.37663 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7279001 | 1987-10-06 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7292128 | 1987-10-19 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1050068 | 1988-04-14 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1050069 | 1988-04-14 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 560097. | 1988-02-25 | 0.12 | 0.17 | 70.5882 | -29.4118 | -0.23539 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 530046. | 1988-02-22 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.37663 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1810087 | 1988-06-29 | 0.04 | 0.08 | 50 | -50 | -0.19433 | 0.01 | 1259 |  |  |  | mg/L | P10
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1830149 | 1988-07-01 | 0.03 | 0.08 | 37.5 | -62.5 | -0.24291 | 0.01 | 1259 |  |  |  | mg/L | P10
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1610122 | 1988-06-09 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.42371 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1720106 | 1988-06-20 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.42371 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1950102 | 1988-07-13 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.61257 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 2080057 | 1988-07-26 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 830108. | 1989-03-24 | 0.7 | 0.66 | 106.0606 | 6.0606 | 0.1806 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 930109. | 1989-04-03 | 0.68 | 0.66 | 103.0303 | 3.0303 | 0.090302 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2610179 | 1989-09-18 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2710056 | 1989-09-28 | 0.68 | 0.66 | 103.0303 | 3.0303 | 0.090302 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 650060. | 1989-03-06 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 790143. | 1989-03-20 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2610180 | 1989-09-18 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2650047 | 1989-09-22 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2910239 | 1988-10-17 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.43654 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2880090 | 1988-10-14 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2950003 | 1988-10-21 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1170083 | 1989-04-27 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1220048 | 1989-05-02 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 340142. | 1989-02-03 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 340143. | 1989-02-03 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1920048 | 1989-07-11 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2000029 | 1989-07-19 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2850051 | 1988-10-11 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 3000081 | 1988-10-26 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1210076 | 1989-05-01 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1210035 | 1989-05-01 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 390074. | 1989-02-08 | 0.69 | 0.66 | 104.5455 | 4.5455 | 0.13545 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 480135. | 1989-02-17 | 0.71 | 0.66 | 107.5758 | 7.5758 | 0.22575 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2190011 | 1989-08-07 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2220197 | 1989-08-10 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2290072 | 1989-08-17 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.49111 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2430123 | 1989-08-31 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.43654 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2400108 | 1989-08-28 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.49111 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 460008. | 1989-02-15 | 0.7 | 0.66 | 106.0606 | 6.0606 | 0.1806 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 610061. | 1989-03-02 | 0.7 | 0.66 | 106.0606 | 6.0606 | 0.1806 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2160069 | 1989-08-04 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045151 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2220075 | 1989-08-10 | 0.65 | 0.66 | 98.4848 | -1.5152 | -0.045151 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1720103 | 1989-06-21 | 0.07 | 0.17 | 41.1765 | -58.8235 | -0.54567 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1720104 | 1989-06-21 | 0.07 | 0.17 | 41.1765 | -58.8235 | -0.54567 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1720101 | 1989-06-21 | 1.9 | 0.66 | 287.8788 | 187.8788 | 5.5987 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1720102 | 1989-06-21 | 2.7 | 0.66 | 409.0909 | 309.0909 | 9.2108 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1880266 | 1989-07-07 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.43654 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2070173 | 1989-07-26 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.49111 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 940029. | 1990-04-04 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 940030. | 1990-04-04 | 0.68 | 0.66 | 103.0303 | 3.0303 | 0.090572 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2560072 | 1990-09-13 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2560071 | 1990-09-13 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 940032. | 1990-04-04 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.65116 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 940031. | 1990-04-04 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2560069 | 1990-09-13 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2560070 | 1990-09-13 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2790099 | 1989-10-06 | 0.06 | 0.12 | 50 | -50 | -0.33475 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2860042 | 1989-10-13 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1030004 | 1990-04-13 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1160059 | 1990-04-26 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2930047 | 1989-10-20 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.65116 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2990010 | 1989-10-26 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 950055. | 1990-04-05 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.65116 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1090040 | 1990-04-19 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 180032. | 1990-01-18 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 320068. | 1990-02-01 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1870028 | 1990-07-06 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.65116 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1980030 | 1990-07-17 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3070113 | 1989-11-03 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3210098 | 1989-11-17 | 0.68 | 0.66 | 103.0303 | 3.0303 | 0.090572 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1360035 | 1990-05-16 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1420013 | 1990-05-22 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3340051 | 1989-11-30 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3340050 | 1989-11-30 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3180058 | 1989-11-14 | 0.01 | 0.66 | 1.5152 | -98.4848 | -2.9436 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3320044 | 1989-11-28 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1370093 | 1990-05-17 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1440087 | 1990-05-24 | 0.64 | 0.66 | 96.9697 | -3.0303 | -0.090572 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2860120 | 1989-10-13 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.27896 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 960099. | 1990-04-06 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1100025 | 1990-04-20 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2910056 | 1989-10-18 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.65116 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3050128 | 1989-11-01 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1150019 | 1990-04-25 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 510019. | 1990-02-20 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2350102 | 1990-08-23 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2350103 | 1990-08-23 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 510020. | 1990-02-20 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 590083. | 1990-02-28 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2430355 | 1990-08-31 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2430354 | 1990-08-31 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 390012. | 1990-02-08 | 0.09 | 0.12 | 75 | -25 | -0.16737 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2290065 | 1990-08-17 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.27896 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2470368 | 1990-09-04 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.27896 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 510157. | 1990-02-20 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 590119. | 1990-02-28 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2220048 | 1990-08-10 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2360329 | 1990-08-24 | 0.68 | 0.66 | 103.0303 | 3.0303 | 0.090572 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 100036. | 1990-01-10 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 290029. | 1990-01-29 | 0.09 | 0.12 | 75 | -25 | -0.16737 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1940131 | 1990-07-13 | 0.06 | 0.12 | 50 | -50 | -0.33475 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2080100 | 1990-07-27 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.27896 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 710075. | 1991-03-12 | 0.09 | 0.12 | 75 | -25 | -0.17827 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 710077. | 1991-03-12 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2530656 | 1991-09-10 | 0.05 | 0.12 | 41.6667 | -58.3333 | -0.41597 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2620113 | 1991-09-19 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.29712 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 710076. | 1991-03-12 | 1.5 | 1.38 | 108.6957 | 8.6957 | 0.47018 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2520393 | 1991-09-09 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1060007 | 1991-04-16 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1190107 | 1991-04-29 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1920003 | 1991-07-11 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1550048 | 1991-06-04 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1550050 | 1991-06-04 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1550049 | 1991-06-04 | 0.44 | 0.49 | 89.7959 | -10.2041 | -0.25798 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1350004 | 1991-05-15 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1400149 | 1991-05-20 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2910209 | 1990-10-18 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2990039 | 1990-10-26 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1120291 | 1991-04-22 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1050050 | 1991-04-15 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2280359 | 1991-08-16 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.29712 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2330145 | 1991-08-21 | 0.4 | 0.49 | 81.6327 | -18.3673 | -0.46437 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2350121 | 1991-08-23 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 510008. | 1991-02-20 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.15479 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2170006 | 1991-08-05 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 420236. | 1991-02-11 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.29712 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 630068. | 1991-03-04 | 0.1 | 0.12 | 83.3333 | -16.6667 | -0.11885 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2190195 | 1991-08-07 | 0.1 | 0.12 | 83.3333 | -16.6667 | -0.11885 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2390032 | 1991-08-27 | 0.11 | 0.12 | 91.6667 | -8.3333 | -0.059425 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2110200 | 1991-07-30 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.10319 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2130168 | 1991-08-01 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 3510139 | 1990-12-17 | 1.5 | 1.38 | 108.6957 | 8.6957 | 0.47018 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 3620001 | 1990-12-28 | 1.5 | 1.38 | 108.6957 | 8.6957 | 0.47018 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1780242 | 1991-06-27 | 1.5 | 1.38 | 108.6957 | 8.6957 | 0.47018 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1820182 | 1991-07-01 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 3470117 | 1990-12-13 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1820044 | 1991-07-01 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.29712 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 220004. | 1991-01-22 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 280161. | 1991-01-28 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1860020 | 1991-07-05 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2030088 | 1991-07-22 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 90049.0 | 1991-01-09 | 0.43 | 0.49 | 87.7551 | -12.2449 | -0.30958 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2120029 | 1991-07-31 | 0.44 | 0.49 | 89.7959 | -10.2041 | -0.25798 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 730105. | 1991-03-14 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 870102. | 1991-03-28 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2610037 | 1991-09-18 | 1.2 | 1.38 | 86.9565 | -13.0435 | -0.70527 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2660130 | 1991-09-23 | 1 | 1.38 | 72.4638 | -27.5362 | -1.4889 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 650103. | 1991-03-06 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2490297 | 1991-09-06 | 0.1 | 0.12 | 83.3333 | -16.6667 | -0.11885 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 3600104 | 1990-12-26 | 0.04 | 0.12 | 33.3333 | -66.6667 | -0.4754 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1570066 | 1991-06-06 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1630010 | 1991-06-12 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 3600105 | 1990-12-26 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1700009 | 1991-06-19 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15