## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6167100 | 1986-06-16 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | ug/L | 2583/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6170121 | 1986-06-19 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2583/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6202198 | 1986-07-21 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6209133 | 1986-07-28 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6045108 | 1986-02-14 | 1.2 | 1.1 | 109.0909 | 9.0909 | 0.05277 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6057074 | 1986-02-26 | 1.2 | 1.1 | 109.0909 | 9.0909 | 0.05277 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6252239 | 1986-09-09 | 1.6 | 1.1 | 145.4545 | 45.4545 | 0.26385 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6086004 | 1986-03-27 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6086003 | 1986-03-27 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6106004 | 1986-04-16 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6108032 | 1986-04-18 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6126019 | 1986-05-06 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6122111 | 1986-05-02 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6198176 | 1986-07-17 | 0.8 | 4.45 | 17.9775 | -82.0225 | -1.3358 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6198201 | 1986-07-17 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6128054 | 1986-05-08 | 1.4 | 1.1 | 127.2727 | 27.2727 | 0.15831 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6136091 | 1986-05-16 | 1.4 | 1.1 | 127.2727 | 27.2727 | 0.15831 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6134064 | 1986-05-14 | 1.4 | 1.1 | 127.2727 | 27.2727 | 0.15831 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6156038 | 1986-06-05 | 1.6 | 1.1 | 145.4545 | 45.4545 | 0.26385 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6170055 | 1986-06-19 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6170050 | 1986-06-19 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6055019 | 1986-02-24 | 1.2 | 1.1 | 109.0909 | 9.0909 | 0.05277 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6062011 | 1986-03-03 | 1.1 | 1.1 | 100 | 0 | 0 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6245168 | 1986-09-02 | 1 | 1.1 | 90.9091 | -9.0909 | -0.05277 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6077135 | 1986-03-18 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6079111 | 1986-03-20 | 4.6 | 4.45 | 103.3708 | 3.3708 | 0.054895 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6087073 | 1986-03-28 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6190025 | 1986-07-09 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6199018 | 1986-07-18 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6198036 | 1986-07-17 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6198218 | 1986-07-17 | 1.4 | 4.45 | 31.4607 | -68.5393 | -1.1162 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7069060 | 1987-03-10 | 4.3 | 3.3 | 130.303 | 30.303 | 0.409 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7585
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7248111 | 1987-09-05 | 4.8 | 3.3 | 145.4545 | 45.4545 | 0.6135 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7585
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7132195 | 1987-05-12 | 7.4 | 5.6 | 132.1429 | 32.1429 | 0.59603 | 0.5 | 1254 |  |  |  | µg/L | 5093/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7155062 | 1987-06-04 | 6.5 | 5.6 | 116.0714 | 16.0714 | 0.29801 | 0.5 | 1254 |  |  |  | µg/L | 5093/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7065007 | 1987-03-06 | 4.1 | 3.3 | 124.2424 | 24.2424 | 0.3272 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7585
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7268040 | 1987-09-25 | 3.7 | 3.3 | 112.1212 | 12.1212 | 0.1636 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7585
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 7286029 | 1987-10-13 | 0.5 | 1.18 | 42.3729 | -57.6271 | -0.35509 | 0.5 | 1254 |  |  |  | µg/L | 2599/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 1030124 | 1988-04-12 | 0.5 | 1.18 | 42.3729 | -57.6271 | -0.35509 | 0.5 | 1254 |  |  |  | µg/L | 2599/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 7286003 | 1987-10-13 | 0.5 | 1.18 | 42.3729 | -57.6271 | -0.35509 | 0.5 | 1254 |  |  |  | µg/L | 2599/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 1940184 | 1988-07-12 | 7.3 | 7.5 | 97.3333 | -2.6667 | -0.057225 | 0.5 | 1254 |  |  |  | µg/L | 5097/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 7334111 | 1987-11-30 | 6.8 | 7.5 | 90.6667 | -9.3333 | -0.20029 | 0.5 | 1254 |  |  |  | µg/L | 5097/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 1450057 | 1988-05-24 | 8.4 | 8.4 | 100 | 0 | 0 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7593
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 530044. | 1988-02-22 | 7.3 | 7.5 | 97.3333 | -2.6667 | -0.057225 | 0.5 | 1254 |  |  |  | µg/L | 5097/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 670112. | 1988-03-07 | 10 | 8.4 | 119.0476 | 19.0476 | 0.43011 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7593
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 2640030 | 1988-09-20 | 8.8 | 8.4 | 104.7619 | 4.7619 | 0.10753 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7593
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1580074 | 1989-06-07 | 0.7 | 3.53 | 19.83 | -80.17 | -1.2161 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7599
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 400061. | 1989-02-09 | 9.4 | 8.95 | 105.0279 | 5.0279 | 0.12404 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 2190002 | 1989-08-07 | 8.1 | 8.95 | 90.5028 | -9.4972 | -0.23429 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 2640165 | 1989-09-21 | 0.5 | 3.53 | 14.1643 | -85.8357 | -1.302 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7599
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 2910080 | 1988-10-17 | 4.4 | 4.47 | 98.434 | -1.566 | -0.027421 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1080019 | 1989-04-18 | 4.5 | 4.47 | 100.6711 | 0.67114 | 0.011752 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 170119. | 1989-01-17 | 4.7 | 4.47 | 105.1454 | 5.1454 | 0.090097 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1980304 | 1989-07-17 | 2.2 | 4.47 | 49.217 | -50.783 | -0.88922 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1280227 | 1989-05-08 | 8.7 | 8.95 | 97.2067 | -2.7933 | -0.068908 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1420053 | 1989-05-22 | 8.2 | 8.95 | 91.6201 | -8.3799 | -0.20673 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 2700235 | 1989-09-27 | 0.5 | 3.53 | 14.1643 | -85.8357 | -1.302 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7599
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 260076. | 1989-01-26 | 4.6 | 4.47 | 102.9083 | 2.9083 | 0.050924 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1910140 | 1989-07-10 | 4.2 | 4.47 | 93.9597 | -6.0403 | -0.10577 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 3450175 | 1989-12-11 | 8 | 8.25 | 96.9697 | -3.0303 | -0.065147 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 1650188 | 1990-06-14 | 8.2 | 8.25 | 99.3939 | -0.60606 | -0.013029 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 290051. | 1990-01-29 | 5.2 | 4.47 | 116.3311 | 16.3311 | 0.22321 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 90043.0 | 1990-01-09 | 10 | 8.95 | 111.7318 | 11.7318 | 0.26633 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 2470117 | 1990-09-04 | 9.1 | 8.95 | 101.676 | 1.676 | 0.038047 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 360105. | 1990-02-05 | 9.2 | 8.95 | 102.7933 | 2.7933 | 0.063412 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 2150136 | 1990-08-03 | 10 | 8.95 | 111.7318 | 11.7318 | 0.26633 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 870108. | 1990-03-28 | 7.5 | 8.25 | 90.9091 | -9.0909 | -0.19544 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 3280083 | 1989-11-24 | 0.5 | 8.95 | 5.5866 | -94.4134 | -2.1433 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 1300202 | 1990-05-10 | 9.3 | 8.95 | 103.9106 | 3.9106 | 0.088776 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 3210146 | 1989-11-17 | 8.7 | 8.95 | 97.2067 | -2.7933 | -0.063412 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 1290104 | 1990-05-09 | 8.2 | 8.95 | 91.6201 | -8.3799 | -0.19023 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 3530003 | 1989-12-19 | 7.8 | 8.25 | 94.5455 | -5.4545 | -0.11726 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 1650294 | 1990-06-14 | 8 | 8.25 | 96.9697 | -3.0303 | -0.065147 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 850036. | 1990-03-26 | 8.2 | 8.25 | 99.3939 | -0.60606 | -0.013029 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 2740030 | 1990-10-01 | 6.8 | 8.25 | 82.4242 | -17.5758 | -0.37785 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 230057. | 1990-01-23 | 4.8 | 4.47 | 107.3826 | 7.3826 | 0.1009 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 3440316 | 1990-12-10 | 18 | 19.5 | 92.3077 | -7.6923 | -0.30423 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7507
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 300052. | 1991-01-30 | 9.5 | 8.95 | 106.1453 | 6.1453 | 0.13424 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 510001. | 1991-02-20 | 23 | 22 | 104.5455 | 4.5455 | 0.19501 | 0.5 | 1254 |  |  |  | µg/L | 5007/5001
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 370127. | 1991-02-06 | 23 | 22 | 104.5455 | 4.5455 | 0.19501 | 0.5 | 1254 |  |  |  | µg/L | 5007/5001
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 780137. | 1991-03-19 | 20 | 19.5 | 102.5641 | 2.5641 | 0.10141 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7507
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 3180007 | 1990-11-14 | 9.5 | 8.95 | 106.1453 | 6.1453 | 0.13424 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 3340071 | 1990-11-30 | 8.7 | 8.95 | 97.2067 | -2.7933 | -0.06102 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1560022 | 1991-06-05 | 12 | 8.95 | 134.0782 | 34.0782 | 0.74444 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1540087 | 1991-06-03 | 12 | 8.95 | 134.0782 | 34.0782 | 0.74444 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1820324 | 1991-07-01 | 9.2 | 8.95 | 102.7933 | 2.7933 | 0.06102 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 2200045 | 1991-08-08 | 10 | 8.95 | 111.7318 | 11.7318 | 0.25628 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 2350079 | 1991-08-23 | 6.9 | 8.95 | 77.095 | -22.905 | -0.50036 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 670086. | 1991-03-08 | 21 | 19.5 | 107.6923 | 7.6923 | 0.30423 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7507
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 2730278 | 1991-09-30 | 30 | 19.5 | 153.8462 | 53.8462 | 2.1296 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7507
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 2900045 | 1990-10-17 | 11 | 8.95 | 122.905 | 22.905 | 0.50036 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 3050017 | 1990-11-01 | 10 | 8.95 | 111.7318 | 11.7318 | 0.25628 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1000116 | 1991-04-10 | 4.8 | 4.47 | 107.3826 | 7.3826 | 0.088162 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1200006 | 1991-04-30 | 5.2 | 4.47 | 116.3311 | 16.3311 | 0.19502 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1930141 | 1991-07-12 | 4.1 | 4.47 | 91.7226 | -8.2774 | -0.098848 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 2060209 | 1991-07-25 | 4.7 | 4.47 | 105.1454 | 5.1454 | 0.061446 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 390198. | 1991-02-08 | 10 | 8.95 | 111.7318 | 11.7318 | 0.25628 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW