## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2120250 | 1989-07-31 | 14 | 12.8 | 109.375 | 9.375 | 0.26362 | 1 | 1561 |  |  |  | ug/L | 5001/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2400045 | 1989-08-28 | 7 | 5.78 | 121.1073 | 21.1073 | 0.4255 | 1 | 1561 |  |  |  | µg/L | 25DW/7503
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 1910282 | 1989-07-10 | 2 | 1.55 | 129.0323 | 29.0323 | 0.24298 | 1 | 1561 |  |  |  | µg/L | 3399/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2190065 | 1989-08-07 | 1 | 3.15 | 31.746 | -68.254 | -0.96154 | 1 | 1561 |  |  |  | µg/L | 33DW/6799
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 1280228 | 1989-05-08 | 3 | 3.15 | 95.2381 | -4.7619 | -0.067084 | 1 | 1561 |  |  |  | µg/L | 33DW/6799
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 1420064 | 1989-05-22 | 1 | 3.15 | 31.746 | -68.254 | -0.96154 | 1 | 1561 |  |  |  | µg/L | 33DW/6799
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2510360 | 1989-09-08 | 11 | 11.4 | 96.4912 | -3.5088 | -0.094877 | 1 | 1561 |  |  |  | µg/L | 5003/5097
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2570134 | 1989-09-14 | 10 | 8.95 | 111.7318 | 11.7318 | 0.28942 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2650038 | 1989-09-22 | 13 | 8.95 | 145.2514 | 45.2514 | 1.1163 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2050075 | 1989-07-24 | 15 | 12.8 | 117.1875 | 17.1875 | 0.4833 | 1 | 1561 |  |  |  | µg/L | 5001/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 1980018 | 1989-07-17 | 1 | 1.55 | 64.5161 | -35.4839 | -0.29698 | 1 | 1561 |  |  |  | µg/L | 3399/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2000206 | 1989-07-19 | 1 | 1.55 | 64.5161 | -35.4839 | -0.29698 | 1 | 1561 |  |  |  | µg/L | 3399/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2090147 | 1989-07-28 | 13 | 12.8 | 101.5625 | 1.5625 | 0.043937 | 1 | 1561 |  |  |  | µg/L | 5001/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 1360157 | 1989-05-16 | 1 | 3.15 | 31.746 | -68.254 | -0.96154 | 1 | 1561 |  |  |  | µg/L | 33DW/6799
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 1670092 | 1989-06-16 | 11 | 8.95 | 122.905 | 22.905 | 0.56505 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 1670093 | 1989-06-16 | 13 | 11.4 | 114.0351 | 14.0351 | 0.37951 | 1 | 1561 |  |  |  | µg/L | 5003/5097
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 1360156 | 1989-05-16 | 7 | 5.78 | 121.1073 | 21.1073 | 0.4255 | 1 | 1561 |  |  |  | µg/L | 25DW/7503
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2160076 | 1989-08-04 | 1 | 3.15 | 31.746 | -68.254 | -0.96154 | 1 | 1561 |  |  |  | µg/L | 33DW/6799
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2330049 | 1989-08-21 | 8 | 5.78 | 138.4083 | 38.4083 | 0.77427 | 1 | 1561 |  |  |  | µg/L | 25DW/7503
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2640162 | 1989-09-21 | 12 | 11.4 | 105.2632 | 5.2632 | 0.14231 | 1 | 1561 |  |  |  | µg/L | 5003/5097
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2680118 | 1989-09-25 | 13 | 11.4 | 114.0351 | 14.0351 | 0.37951 | 1 | 1561 |  |  |  | µg/L | 5003/5097
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1989 | 2700234 | 1989-09-27 | 12 | 8.95 | 134.0782 | 34.0782 | 0.84068 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3600141 | 1989-12-26 | 19 | 16.9 | 112.426 | 12.426 | 0.40896 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3600060 | 1989-12-26 | 18 | 16.9 | 106.5089 | 6.5089 | 0.21422 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1830145 | 1990-07-02 | 16 | 16.9 | 94.6746 | -5.3254 | -0.17527 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 120107. | 1990-01-12 | 22 | 22 | 100 | 0 | 0 | 1 | 1561 |  |  |  | µg/L | 5001/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1980050 | 1990-07-17 | 20 | 22 | 90.9091 | -9.0909 | -0.33898 | 1 | 1561 |  |  |  | µg/L | 5001/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 430121. | 1990-02-12 | 19 | 19.5 | 97.4359 | -2.5641 | -0.090498 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 2340109 | 1990-08-22 | 18 | 19.5 | 92.3077 | -7.6923 | -0.27149 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 220210. | 1990-01-22 | 4 | 3.63 | 110.1928 | 10.1928 | 0.11767 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 240060. | 1990-01-24 | 4 | 3.63 | 110.1928 | 10.1928 | 0.11767 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 250137. | 1990-01-25 | 5 | 3.63 | 137.741 | 37.741 | 0.43568 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 450185. | 1990-02-14 | 8 | 7.37 | 108.5482 | 8.5482 | 0.17002 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 460081. | 1990-02-15 | 8 | 7.37 | 108.5482 | 8.5482 | 0.17002 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3190122 | 1989-11-15 | 6 | 7.37 | 81.4111 | -18.5889 | -0.36972 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3210148 | 1989-11-17 | 7 | 7.37 | 94.9796 | -5.0204 | -0.099852 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3210149 | 1989-11-17 | 7 | 7.37 | 94.9796 | -5.0204 | -0.099852 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3250004 | 1989-11-21 | 8 | 7.37 | 108.5482 | 8.5482 | 0.17002 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3280080 | 1989-11-24 | 9 | 7.37 | 122.1167 | 22.1167 | 0.43989 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1440235 | 1990-05-24 | 7 | 7.37 | 94.9796 | -5.0204 | -0.099852 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1490075 | 1990-05-29 | 8 | 7.37 | 108.5482 | 8.5482 | 0.17002 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 430155. | 1990-02-12 | 9 | 7.37 | 122.1167 | 22.1167 | 0.43989 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 450009. | 1990-02-14 | 8 | 7.37 | 108.5482 | 8.5482 | 0.17002 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 540053. | 1990-02-23 | 20 | 19.5 | 102.5641 | 2.5641 | 0.090498 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 2220017 | 1990-08-10 | 17 | 19.5 | 87.1795 | -12.8205 | -0.45249 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 730115. | 1990-03-14 | 17 | 16.9 | 100.5917 | 0.59172 | 0.019474 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 870155. | 1990-03-28 | 16 | 16.9 | 94.6746 | -5.3254 | -0.17527 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 870114. | 1990-03-28 | 17 | 16.9 | 100.5917 | 0.59172 | 0.019474 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 2780016 | 1989-10-05 | 4 | 3.63 | 110.1928 | 10.1928 | 0.11767 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 2920100 | 1989-10-19 | 4 | 3.63 | 110.1928 | 10.1928 | 0.11767 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3000032 | 1989-10-27 | 3 | 3.63 | 82.6446 | -17.3554 | -0.20035 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 950057. | 1990-04-05 | 4 | 3.63 | 110.1928 | 10.1928 | 0.11767 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1090041 | 1990-04-19 | 4 | 3.63 | 110.1928 | 10.1928 | 0.11767 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 260036. | 1990-01-26 | 4 | 3.63 | 110.1928 | 10.1928 | 0.11767 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 2920040 | 1989-10-19 | 4 | 3.63 | 110.1928 | 10.1928 | 0.11767 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 2960283 | 1989-10-23 | 5 | 3.63 | 137.741 | 37.741 | 0.43568 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1080080 | 1990-04-18 | 5 | 3.63 | 137.741 | 37.741 | 0.43568 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 220182. | 1990-01-22 | 5 | 3.63 | 137.741 | 37.741 | 0.43568 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3190114 | 1989-11-15 | 19 | 19.5 | 97.4359 | -2.5641 | -0.090498 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1510306 | 1990-05-31 | 20 | 19.5 | 102.5641 | 2.5641 | 0.090498 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3120080 | 1989-11-08 | 7 | 7.37 | 94.9796 | -5.0204 | -0.099852 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3330080 | 1989-11-29 | 9 | 7.37 | 122.1167 | 22.1167 | 0.43989 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3340135 | 1989-11-30 | 9 | 7.37 | 122.1167 | 22.1167 | 0.43989 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3380037 | 1989-12-04 | 6 | 7.37 | 81.4111 | -18.5889 | -0.36972 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1280023 | 1990-05-08 | 7 | 7.37 | 94.9796 | -5.0204 | -0.099852 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1440268 | 1990-05-24 | 8 | 7.37 | 108.5482 | 8.5482 | 0.17002 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3530014 | 1989-12-19 | 18 | 16.9 | 106.5089 | 6.5089 | 0.21422 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1650288 | 1990-06-14 | 16 | 16.9 | 94.6746 | -5.3254 | -0.17527 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3170219 | 1989-11-13 | 21 | 19.5 | 107.6923 | 7.6923 | 0.27149 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 3310050 | 1989-11-27 | 21 | 19.5 | 107.6923 | 7.6923 | 0.27149 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1350025 | 1990-05-15 | 41 | 19.5 | 210.2564 | 110.2564 | 3.8914 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1360012 | 1990-05-16 | 19 | 19.5 | 97.4359 | -2.5641 | -0.090498 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 590121. | 1990-02-28 | 12 | 7.37 | 162.8223 | 62.8223 | 1.2495 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 610184. | 1990-03-02 | 9 | 7.37 | 122.1167 | 22.1167 | 0.43989 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 2360353 | 1990-08-24 | 7 | 7.37 | 94.9796 | -5.0204 | -0.099852 | 1 | 1561 |  |  |  | µg/L | 33DW/6705
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 610181. | 1990-03-02 | 22 | 19.5 | 112.8205 | 12.8205 | 0.45249 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 2470366 | 1990-09-04 | 18 | 19.5 | 92.3077 | -7.6923 | -0.27149 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 730233. | 1990-03-14 | 15 | 16.9 | 88.7574 | -11.2426 | -0.37001 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 730239. | 1990-03-14 | 15 | 16.9 | 88.7574 | -11.2426 | -0.37001 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 730085. | 1990-03-14 | 16 | 16.9 | 94.6746 | -5.3254 | -0.17527 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 730092. | 1990-03-14 | 16 | 16.9 | 94.6746 | -5.3254 | -0.17527 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 850024. | 1990-03-26 | 18 | 16.9 | 106.5089 | 6.5089 | 0.21422 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 2610029 | 1990-09-18 | 18 | 16.9 | 106.5089 | 6.5089 | 0.21422 | 1 | 1561 |  |  |  | µg/L | 5007/5003
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 100040. | 1990-01-10 | 5 | 3.63 | 137.741 | 37.741 | 0.43568 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 260099. | 1990-01-26 | 7 | 3.63 | 192.8375 | 92.8375 | 1.0717 | 1 | 1561 |  |  |  | µg/L | 3305/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 250116. | 1990-01-25 | 22 | 22 | 100 | 0 | 0 | 1 | 1561 |  |  |  | µg/L | 5001/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1990 | 1980049 | 1990-07-17 | 21 | 22 | 95.4545 | -4.5455 | -0.16949 | 1 | 1561 |  |  |  | µg/L | 5001/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1770114 | 1991-06-26 | 21 | 22.4 | 93.75 | -6.25 | -0.27134 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3440311 | 1990-12-10 | 10 | 8.95 | 111.7318 | 11.7318 | 0.25628 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1640188 | 1991-06-13 | 11 | 8.95 | 122.905 | 22.905 | 0.50036 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3600063 | 1990-12-26 | 23 | 19.5 | 117.9487 | 17.9487 | 0.70987 | 1 | 1561 |  |  |  | µg/L | 25DW/7507
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 100025. | 1991-01-10 | 18 | 18.4 | 97.8261 | -2.1739 | -0.082583 | 1 | 1561 |  |  |  | µg/L | 5001/5011
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1840153 | 1991-07-03 | 18 | 18.4 | 97.8261 | -2.1739 | -0.082583 | 1 | 1561 |  |  |  | µg/L | 5001/5011
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 420229. | 1991-02-11 | 12 | 14.1 | 85.1064 | -14.8936 | -0.46626 | 1 | 1561 |  |  |  | µg/L | 25DW/7511
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 350039. | 1991-02-04 | 12 | 11.5 | 104.3478 | 4.3478 | 0.11632 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1960301 | 1991-07-15 | 16 | 11.5 | 139.1304 | 39.1304 | 1.0469 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 530129. | 1991-02-22 | 23 | 23.4 | 98.2906 | -1.7094 | -0.076356 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3370123 | 1990-12-03 | 24 | 23.4 | 102.5641 | 2.5641 | 0.11453 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3370124 | 1990-12-03 | 25 | 23.4 | 106.8376 | 6.8376 | 0.30543 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 630013. | 1991-03-04 | 24 | 23.4 | 102.5641 | 2.5641 | 0.11453 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1540114 | 1991-06-03 | 32 | 23.4 | 136.7521 | 36.7521 | 1.6417 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1550101 | 1991-06-04 | 28 | 23.4 | 119.6581 | 19.6581 | 0.8781 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 580035. | 1991-02-27 | 23 | 23.4 | 98.2906 | -1.7094 | -0.076356 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 460177. | 1991-02-15 | 13 | 14.1 | 92.1986 | -7.8014 | -0.24423 | 1 | 1561 |  |  |  | µg/L | 25DW/7511
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2260086 | 1991-08-14 | 17 | 14.1 | 120.5674 | 20.5674 | 0.64389 | 1 | 1561 |  |  |  | µg/L | 25DW/7511
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 950179. | 1991-04-05 | 18 | 18.4 | 97.8261 | -2.1739 | -0.082583 | 1 | 1561 |  |  |  | µg/L | 5001/5011
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 670098. | 1991-03-08 | 25 | 22.4 | 111.6071 | 11.6071 | 0.50392 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 740041. | 1991-03-15 | 20 | 22.4 | 89.2857 | -10.7143 | -0.46515 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2490300 | 1991-09-06 | 21 | 22.4 | 93.75 | -6.25 | -0.27134 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2630022 | 1991-09-20 | 20 | 22.4 | 89.2857 | -10.7143 | -0.46515 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 800081. | 1991-03-21 | 9 | 8.95 | 100.5587 | 0.55866 | 0.012204 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 910235. | 1991-04-01 | 12 | 8.95 | 134.0782 | 34.0782 | 0.74444 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2660070 | 1991-09-23 | 10 | 8.95 | 111.7318 | 11.7318 | 0.25628 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2660131 | 1991-09-23 | 9 | 8.95 | 100.5587 | 0.55866 | 0.012204 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 940004. | 1991-04-04 | 9 | 11.5 | 78.2609 | -21.7391 | -0.5816 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2120031 | 1991-07-31 | 18 | 18.4 | 97.8261 | -2.1739 | -0.082583 | 1 | 1561 |  |  |  | µg/L | 5001/5011
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2000302 | 1991-07-19 | 19 | 11.5 | 165.2174 | 65.2174 | 1.7448 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3020026 | 1990-10-29 | 12 | 11.5 | 104.3478 | 4.3478 | 0.11632 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1120095 | 1991-04-22 | 13 | 11.5 | 113.0435 | 13.0435 | 0.34896 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 300053. | 1991-01-30 | 12 | 11.5 | 104.3478 | 4.3478 | 0.11632 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1960280 | 1991-07-15 | 15 | 11.5 | 130.4348 | 30.4348 | 0.81424 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3120011 | 1990-11-08 | 2 | 14.1 | 14.1844 | -85.8156 | -2.6866 | 1 | 1561 |  |  |  | µg/L | 25DW/7511
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1350116 | 1991-05-15 | 14 | 14.1 | 99.2908 | -0.70922 | -0.022203 | 1 | 1561 |  |  |  | µg/L | 25DW/7511
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3240022 | 1990-11-20 | 25 | 23.4 | 106.8376 | 6.8376 | 0.30543 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3310050 | 1990-11-27 | 28 | 23.4 | 119.6581 | 19.6581 | 0.8781 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1260589 | 1991-05-06 | 24 | 23.4 | 102.5641 | 2.5641 | 0.11453 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1280028 | 1991-05-08 | 24 | 23.4 | 102.5641 | 2.5641 | 0.11453 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1580218 | 1991-06-07 | 11 | 8.95 | 122.905 | 22.905 | 0.50036 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1640024 | 1991-06-13 | 24 | 22.4 | 107.1429 | 7.1429 | 0.3101 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3190131 | 1990-11-15 | 12 | 14.1 | 85.1064 | -14.8936 | -0.46626 | 1 | 1561 |  |  |  | µg/L | 25DW/7511
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3240021 | 1990-11-20 | 13 | 14.1 | 92.1986 | -7.8014 | -0.24423 | 1 | 1561 |  |  |  | µg/L | 25DW/7511
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1430016 | 1991-05-23 | 17 | 14.1 | 120.5674 | 20.5674 | 0.64389 | 1 | 1561 |  |  |  | µg/L | 25DW/7511
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1480090 | 1991-05-28 | 16 | 14.1 | 113.4752 | 13.4752 | 0.42186 | 1 | 1561 |  |  |  | µg/L | 25DW/7511
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 420238. | 1991-02-11 | 22 | 23.4 | 94.0171 | -5.9829 | -0.26725 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 510005. | 1991-02-20 | 12 | 14.1 | 85.1064 | -14.8936 | -0.46626 | 1 | 1561 |  |  |  | µg/L | 25DW/7511
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2330119 | 1991-08-21 | 17 | 14.1 | 120.5674 | 20.5674 | 0.64389 | 1 | 1561 |  |  |  | µg/L | 25DW/7511
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 910080. | 1991-04-01 | 23 | 22.4 | 102.6786 | 2.6786 | 0.11629 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 910087. | 1991-04-01 | 22 | 22.4 | 98.2143 | -1.7857 | -0.077525 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2730262 | 1991-09-30 | 21 | 22.4 | 93.75 | -6.25 | -0.27134 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 670087. | 1991-03-08 | 10 | 8.95 | 111.7318 | 11.7318 | 0.25628 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2620044 | 1991-09-19 | 11 | 8.95 | 122.905 | 22.905 | 0.50036 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3100015 | 1990-11-06 | 11 | 11.5 | 95.6522 | -4.3478 | -0.11632 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1200010 | 1991-04-30 | 12 | 11.5 | 104.3478 | 4.3478 | 0.11632 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2780084 | 1990-10-05 | 17 | 18.4 | 92.3913 | -7.6087 | -0.28904 | 1 | 1561 |  |  |  | µg/L | 5001/5011
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1020228 | 1991-04-12 | 17 | 18.4 | 92.3913 | -7.6087 | -0.28904 | 1 | 1561 |  |  |  | µg/L | 5001/5011
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3100023 | 1990-11-06 | 17 | 18.4 | 92.3913 | -7.6087 | -0.28904 | 1 | 1561 |  |  |  | µg/L | 5001/5011
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1020179 | 1991-04-12 | 16 | 18.4 | 86.9565 | -13.0435 | -0.4955 | 1 | 1561 |  |  |  | µg/L | 5001/5011
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 2990002 | 1990-10-26 | 12 | 11.5 | 104.3478 | 4.3478 | 0.11632 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 980091. | 1991-04-08 | 10 | 11.5 | 86.9565 | -13.0435 | -0.34896 | 1 | 1561 |  |  |  | µg/L | 3309/67DW
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3440248 | 1990-12-10 | 10 | 8.95 | 111.7318 | 11.7318 | 0.25628 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1640189 | 1991-06-13 | 12 | 8.95 | 134.0782 | 34.0782 | 0.74444 | 1 | 1561 |  |  |  | µg/L | 50DW/5001
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3600016 | 1990-12-26 | 22 | 22.4 | 98.2143 | -1.7857 | -0.077525 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1760157 | 1991-06-25 | 23 | 22.4 | 102.6786 | 2.6786 | 0.11629 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 600080. | 1991-03-01 | 22 | 23.4 | 94.0171 | -5.9829 | -0.26725 | 1 | 1561 |  |  |  | µg/L | 33DW/6709
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 3450161 | 1990-12-11 | 22 | 22.4 | 98.2143 | -1.7857 | -0.077525 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1570007 | 1991-06-06 | 24 | 22.4 | 107.1429 | 7.1429 | 0.3101 | 1 | 1561 |  |  |  | µg/L | 5011/5007
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 590075. | 1991-02-28 | 17 | 18.4 | 92.3913 | -7.6087 | -0.28904 | 1 | 1561 |  |  |  | µg/L | 5001/5011
Lead, UNF, GFAA | 01051 | GF100 | UNF | 1991 | 1890048 | 1991-07-08 | 17 | 18.4 | 92.3913 | -7.6087 | -0.28904 | 1 | 1561 |  |  |  | µg/L | 5001/5011