## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 940029. | 1990-04-04 | 10.3 | 10 | 103 | 3 | 0.8 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 940030. | 1990-04-04 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2560072 | 1990-09-13 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2560071 | 1990-09-13 | 10.3 | 10 | 103 | 3 | 0.8 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 940032. | 1990-04-04 | 27.4 | 29 | 94.4828 | -5.5172 | -4.2667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 940031. | 1990-04-04 | 27.3 | 29 | 94.1379 | -5.8621 | -4.5333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2560069 | 1990-09-13 | 27.7 | 29 | 95.5172 | -4.4828 | -3.4667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2560070 | 1990-09-13 | 27.7 | 29 | 95.5172 | -4.4828 | -3.4667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2790099 | 1989-10-06 | 2.8 | 2.77 | 101.083 | 1.083 | 0.08 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2860042 | 1989-10-13 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.45333 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1030004 | 1990-04-13 | 2.9 | 2.77 | 104.6931 | 4.6931 | 0.34667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1160059 | 1990-04-26 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.18667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2930047 | 1989-10-20 | 27 | 29 | 93.1034 | -6.8966 | -5.3333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2990010 | 1989-10-26 | 27.3 | 29 | 94.1379 | -5.8621 | -4.5333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 950055. | 1990-04-05 | 27.3 | 29 | 94.1379 | -5.8621 | -4.5333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1090040 | 1990-04-19 | 27.4 | 29 | 94.4828 | -5.5172 | -4.2667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 180032. | 1990-01-18 | 27.9 | 29 | 96.2069 | -3.7931 | -2.9333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 320068. | 1990-02-01 | 26.6 | 29 | 91.7241 | -8.2759 | -6.4 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1870028 | 1990-07-06 | 27.3 | 29 | 94.1379 | -5.8621 | -4.5333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1980030 | 1990-07-17 | 27.4 | 29 | 94.4828 | -5.5172 | -4.2667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3070113 | 1989-11-03 | 10.6 | 10 | 106 | 6 | 1.6 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3210098 | 1989-11-17 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1360035 | 1990-05-16 | 10.7 | 10 | 107 | 7 | 1.8667 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1420013 | 1990-05-22 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3340051 | 1989-11-30 | 2.5 | 2.77 | 90.2527 | -9.7473 | -0.72 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3340050 | 1989-11-30 | 2.4 | 2.77 | 86.6426 | -13.3574 | -0.98667 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3180058 | 1989-11-14 | 9.9 | 10 | 99 | -1 | -0.26667 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3320044 | 1989-11-28 | 9.8 | 10 | 98 | -2 | -0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1370093 | 1990-05-17 | 10.7 | 10 | 107 | 7 | 1.8667 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1440087 | 1990-05-24 | 10 | 10 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2860120 | 1989-10-13 | 2.2 | 2.77 | 79.4224 | -20.5776 | -1.52 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 960099. | 1990-04-06 | 2.9 | 2.77 | 104.6931 | 4.6931 | 0.34667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1100025 | 1990-04-20 | 2.5 | 2.77 | 90.2527 | -9.7473 | -0.72 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2910056 | 1989-10-18 | 25.5 | 29 | 87.931 | -12.069 | -9.3333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3050128 | 1989-11-01 | 27.4 | 29 | 94.4828 | -5.5172 | -4.2667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1150019 | 1990-04-25 | 27.4 | 29 | 94.4828 | -5.5172 | -4.2667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 510019. | 1990-02-20 | 9.8 | 10 | 98 | -2 | -0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 590084. | 1990-02-28 | 10 | 10 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2350102 | 1990-08-23 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2350103 | 1990-08-23 | 10 | 10 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 510020. | 1990-02-20 | 3.2 | 2.77 | 115.5235 | 15.5235 | 1.1467 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 590083. | 1990-02-28 | 3.2 | 2.77 | 115.5235 | 15.5235 | 1.1467 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2430355 | 1990-08-31 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.18667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2430354 | 1990-08-31 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.18667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 390012. | 1990-02-08 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.45333 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 610173. | 1990-03-02 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.45333 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2290065 | 1990-08-17 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.18667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2470368 | 1990-09-04 | 2.9 | 2.77 | 104.6931 | 4.6931 | 0.34667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 510157. | 1990-02-20 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 590119. | 1990-02-28 | 10 | 10 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2220048 | 1990-08-10 | 10.1 | 10 | 101 | 1 | 0.26667 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2360329 | 1990-08-24 | 10.3 | 10 | 103 | 3 | 0.8 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 100036. | 1990-01-10 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.45333 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 290029. | 1990-01-29 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.18667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1940131 | 1990-07-13 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.45333 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2080100 | 1990-07-27 | 2.8 | 2.77 | 101.083 | 1.083 | 0.08 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 710075. | 1991-03-12 | 2.8 | 2.77 | 101.083 | 1.083 | 0.053997 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 710077. | 1991-03-12 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2530656 | 1991-09-10 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2620113 | 1991-09-19 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 710076. | 1991-03-12 | 12.4 | 12 | 103.3333 | 3.3333 | 0.34072 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2520393 | 1991-09-09 | 12.6 | 12 | 105 | 5 | 0.51107 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1060007 | 1991-04-16 | 35.9 | 34.9 | 102.8653 | 2.8653 | 0.36924 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1190107 | 1991-04-29 | 33.7 | 34.9 | 96.5616 | -3.4384 | -0.44308 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1920003 | 1991-07-11 | 11.9 | 12 | 99.1667 | -0.83333 | -0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1550048 | 1991-06-04 | 2.5 | 2.77 | 90.2527 | -9.7473 | -0.48597 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1550050 | 1991-06-04 | 35.8 | 34.9 | 102.5788 | 2.5788 | 0.33231 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1550049 | 1991-06-04 | 34.7 | 34.9 | 99.4269 | -0.57307 | -0.073847 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1350004 | 1991-05-15 | 2.8 | 2.77 | 101.083 | 1.083 | 0.053997 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1400149 | 1991-05-20 | 2.9 | 2.77 | 104.6931 | 4.6931 | 0.23399 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2910209 | 1990-10-18 | 35.5 | 34.9 | 101.7192 | 1.7192 | 0.22154 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2990039 | 1990-10-26 | 12.1 | 12 | 100.8333 | 0.83333 | 0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1120291 | 1991-04-22 | 12.7 | 12 | 105.8333 | 5.8333 | 0.59625 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1050050 | 1991-04-15 | 12.4 | 12 | 103.3333 | 3.3333 | 0.34072 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2280359 | 1991-08-16 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.12599 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2330145 | 1991-08-21 | 35.5 | 34.9 | 101.7192 | 1.7192 | 0.22154 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2350121 | 1991-08-23 | 34.9 | 34.9 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 510008. | 1991-02-20 | 34 | 34.9 | 97.4212 | -2.5788 | -0.33231 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2170006 | 1991-08-05 | 35 | 34.9 | 100.2865 | 0.28653 | 0.036924 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 420236. | 1991-02-11 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 630068. | 1991-03-04 | 7.6 | 2.77 | 274.3682 | 174.3682 | 8.6935 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2190195 | 1991-08-07 | 3.1 | 2.77 | 111.9134 | 11.9134 | 0.59396 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2390032 | 1991-08-27 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2110200 | 1991-07-30 | 34.3 | 34.9 | 98.2808 | -1.7192 | -0.22154 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2130168 | 1991-08-01 | 34.6 | 34.9 | 99.1404 | -0.8596 | -0.11077 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 3510139 | 1990-12-17 | 13.2 | 12 | 110 | 99999999999999840 | 1.0221 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 3620001 | 1990-12-28 | 12.5 | 12 | 104.1667 | 4.1667 | 0.42589 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1780242 | 1991-06-27 | 13.2 | 12 | 110 | 99999999999999840 | 1.0221 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1820182 | 1991-07-01 | 12.4 | 12 | 103.3333 | 3.3333 | 0.34072 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 3470117 | 1990-12-13 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.12599 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1820044 | 1991-07-01 | 2.8 | 2.77 | 101.083 | 1.083 | 0.053997 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 220004. | 1991-01-22 | 11.9 | 12 | 99.1667 | -0.83333 | -0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 280161. | 1991-01-28 | 12 | 12 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1860020 | 1991-07-05 | 11.9 | 12 | 99.1667 | -0.83333 | -0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2030088 | 1991-07-22 | 11.9 | 12 | 99.1667 | -0.83333 | -0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 90049.0 | 1991-01-09 | 35 | 34.9 | 100.2865 | 0.28653 | 0.036924 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2120029 | 1991-07-31 | 34.9 | 34.9 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 730105. | 1991-03-14 | 14.1 | 12 | 117.5 | 17.5 | 1.7888 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 870102. | 1991-03-28 | 14.8 | 12 | 123.3333 | 23.3333 | 2.385 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2610037 | 1991-09-18 | 12.5 | 12 | 104.1667 | 4.1667 | 0.42589 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2660130 | 1991-09-23 | 12.3 | 12 | 102.5 | 2.5 | 0.25554 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 650103. | 1991-03-06 | 2.5 | 2.77 | 90.2527 | -9.7473 | -0.48597 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2490297 | 1991-09-06 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 3600104 | 1990-12-26 | 2.8 | 2.77 | 101.083 | 1.083 | 0.053997 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1570066 | 1991-06-06 | 2.5 | 2.77 | 90.2527 | -9.7473 | -0.48597 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1630010 | 1991-06-12 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.12599 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 3600105 | 1990-12-26 | 12.1 | 12 | 100.8333 | 0.83333 | 0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1700009 | 1991-06-19 | 12 | 12 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P15