## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrite (NO2 as N), UNF | 00615 | CL110 | UNF |  | 0.46 | 0.39134 | 85.0732 | 19 | mg/L