## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate (PO4 as P), FIL, IC, LL | 00671 | IC024 | FIL |  | 1e+15 | 0 | 0 | 10 | mg/L
Orthophosphate (PO4 as P), FIL, IC, LL | 00671 | IC024 | FIL | 84 /200 | 0.01 | 0 | 0 | 6 | mg/L
Orthophosphate (PO4 as P), FIL, IC, LL | 00671 | IC024 | FIL | 88 /200 | 0.01 | 0 | 0 | 5 | mg/L
Orthophosphate (PO4 as P), FIL, IC, LL | 00671 | IC024 | FIL | P11 | 0.011224 | 0.0038905 | 34.6609 | 49 | mg/L
Orthophosphate (PO4 as P), FIL, IC, LL | 00671 | IC024 | FIL | P12 | 0.01 | 0 | 0 | 28 | mg/L
Orthophosphate (PO4 as P), FIL, IC, LL | 00671 | IC024 | FIL | P13 | 0.01 | 0 | 0 | 18 | mg/L
Orthophosphate (PO4 as P), FIL, IC, LL | 00671 | IC024 | FIL | P3 | 0.01 | 0 | 0 | 9 | mg/L
Orthophosphate (PO4 as P), FIL, IC, LL | 00671 | IC024 | FIL | P5 | 0.010909 | 0.0030151 | 27.6385 | 11 | mg/L
Orthophosphate (PO4 as P), FIL, IC, LL | 00671 | IC024 | FIL | P8 | 0.01 | 0 | 0 | 29 | mg/L