## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, COL, LL | 00666 | CL059 | FIL |  | 0.00725 | 0.0063415 | 87.4686 | 8 | mg/L
Phosphorus (as P), FIL, COL, LL | 00666 | CL059 | FIL | 88 /200 | 0.005 | 0 | 0 | 5 | mg/L
Phosphorus (as P), FIL, COL, LL | 00666 | CL059 | FIL | P11 | 0.0076471 | 0.0059049 | 77.2177 | 17 | mg/L
Phosphorus (as P), FIL, COL, LL | 00666 | CL059 | FIL | P12 | 0.0033333 | 0.0038668 | 116.0049 | 15 | mg/L
Phosphorus (as P), FIL, COL, LL | 00666 | CL059 | FIL | P13 | 0.0026154 | 0.0047504 | 181.6324 | 26 | mg/L
Phosphorus (as P), FIL, COL, LL | 00666 | CL059 | FIL | P14 | 0.015667 | 0.031149 | 198.8241 | 6 | mg/L
Phosphorus (as P), FIL, COL, LL | 00666 | CL059 | FIL | P15 | 0.078933 | 0.0088678 | 11.2346 | 15 | mg/L
Phosphorus (as P), FIL, COL, LL | 00666 | CL059 | FIL | P3 | 0.004 | 0.0032863 | 82.1584 | 6 | mg/L
Phosphorus (as P), FIL, COL, LL | 00666 | CL059 | FIL | P5 | 0.0076 | 0.010922 | 143.7165 | 5 | mg/L
Phosphorus (as P), FIL, COL, LL | 00666 | CL059 | FIL | P8 | 0.0035238 | 0.0026004 | 73.7942 | 21 | mg/L