## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6112041 | 1986-04-22 | 4.2 | 4.22 | 99.5261 | -0.47393 | -0.039365 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6112023 | 1986-04-22 | 4.2 | 4.22 | 99.5261 | -0.47393 | -0.039365 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6114065 | 1986-04-24 | 0.29 | 0.25 | 116 | 16 | 0.18328 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6119120 | 1986-04-29 | 0.28 | 0.25 | 112 | 12 | 0.13746 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6199014 | 1986-07-18 | 0.29 | 0.25 | 116 | 16 | 0.18328 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6212044 | 1986-07-31 | 0.28 | 0.25 | 112 | 12 | 0.13746 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 5330002 | 1985-11-26 | 0.19 | 0.16 | 118.75 | 18.75 | 0.14172 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 5330004 | 1985-11-26 | 0.19 | 0.16 | 118.75 | 18.75 | 0.14172 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 5330002 | 1985-11-26 | 0.19 | 0.16 | 118.75 | 18.75 | 0.14172 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6104087 | 1986-04-14 | 4.1 | 4.22 | 97.1564 | -2.8436 | -0.23619 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6115018 | 1986-04-25 | 4.1 | 4.22 | 97.1564 | -2.8436 | -0.23619 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6107049 | 1986-04-17 | 0.27 | 0.25 | 108 | 8 | 0.091638 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6128010 | 1986-05-08 | 0.29 | 0.25 | 116 | 16 | 0.18328 | 0.01 | 1259 |  |  |  | mg/L | 84 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6055014 | 1986-02-24 | 0.22 | 0.185 | 118.9189 | 18.9189 | 0.16393 | 0.01 | 1259 |  |  |  | mg/L | 88 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6230125 | 1986-08-18 | 0.12 | 0.053 | 226.4151 | 126.4151 | 0.32864 | 0.01 | 1259 |  |  |  | mg/L | 82 /50
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6239083 | 1986-08-27 | 0.12 | 0.053 | 226.4151 | 126.4151 | 0.32864 | 0.01 | 1259 |  |  |  | mg/L | 82 /50
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6055012 | 1986-02-24 | 0.24 | 0.185 | 129.7297 | 29.7297 | 0.25761 | 0.01 | 1259 |  |  |  | mg/L | 88 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6062009 | 1986-03-03 | 0.2 | 0.185 | 108.1081 | 8.1081 | 0.070256 | 0.01 | 1259 |  |  |  | mg/L | 88 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6219064 | 1986-08-07 | 0.23 | 0.185 | 124.3243 | 24.3243 | 0.21077 | 0.01 | 1259 |  |  |  | mg/L | 88 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6245171 | 1986-09-02 | 0.24 | 0.185 | 129.7297 | 29.7297 | 0.25761 | 0.01 | 1259 |  |  |  | mg/L | 88 /200
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6190001 | 1986-07-09 | 4.2 | 4.22 | 99.5261 | -0.47393 | -0.039365 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1986 | 6211058 | 1986-07-30 | 4.2 | 4.22 | 99.5261 | -0.47393 | -0.039365 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7069030 | 1987-03-10 | 4.1 | 4.22 | 97.1564 | -2.8436 | -0.23619 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7248019 | 1987-09-05 | 4.1 | 4.22 | 97.1564 | -2.8436 | -0.23619 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7248016 | 1987-09-05 | 4.1 | 4.22 | 97.1564 | -2.8436 | -0.23619 | 0.01 | 1259 |  |  |  | mg/L | P3
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7248017 | 1987-09-05 | 2.2 | 2.18 | 100.9174 | 0.91743 | 0.055689 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7248018 | 1987-09-05 | 2.2 | 2.18 | 100.9174 | 0.91743 | 0.055689 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 6287011 | 1986-10-14 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 6287082 | 1986-10-14 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7015023 | 1987-01-15 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7023011 | 1987-01-23 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 6282011 | 1986-10-09 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 6294046 | 1986-10-21 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7098001 | 1987-04-08 | 0.15 | 0.16 | 93.75 | -6.25 | -0.047241 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7111001 | 1987-04-21 | 0.16 | 0.16 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P5
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7041010 | 1987-02-10 | 0.16 | 0.17 | 94.1176 | -5.8824 | -0.047079 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7054056 | 1987-02-23 | 0.17 | 0.17 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7040056 | 1987-02-09 | 0.14 | 0.17 | 82.3529 | -17.6471 | -0.14124 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7054023 | 1987-02-23 | 0.14 | 0.17 | 82.3529 | -17.6471 | -0.14124 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7224112 | 1987-08-12 | 0.17 | 0.17 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7233168 | 1987-08-21 | 0.14 | 0.17 | 82.3529 | -17.6471 | -0.14124 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7139047 | 1987-05-19 | 2.2 | 2.18 | 100.9174 | 0.91743 | 0.055689 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7149114 | 1987-05-29 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1987 | 7152010 | 1987-06-01 | 0.15 | 0.17 | 88.2353 | -11.7647 | -0.094158 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 770189. | 1988-03-17 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 880092. | 1988-03-28 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 2540056 | 1988-09-10 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 2540057 | 1988-09-10 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7286022 | 1987-10-13 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7296118 | 1987-10-23 | 2.2 | 2.18 | 100.9174 | 0.91743 | 0.055689 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1030116 | 1988-04-12 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1190003 | 1988-04-28 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.61257 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7286024 | 1987-10-13 | 0.16 | 0.17 | 94.1176 | -5.8824 | -0.047079 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7296117 | 1987-10-23 | 0.15 | 0.17 | 88.2353 | -11.7647 | -0.094158 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1120037 | 1988-04-21 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.37663 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 280078. | 1988-01-28 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.42371 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 2080086 | 1988-07-26 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.42371 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 2080087 | 1988-07-26 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.42371 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7286038 | 1987-10-13 | 0.15 | 0.17 | 88.2353 | -11.7647 | -0.094158 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7299053 | 1987-10-26 | 0.15 | 0.17 | 88.2353 | -11.7647 | -0.094158 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1160124 | 1988-04-25 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.37663 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1190006 | 1988-04-28 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.37663 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7279001 | 1987-10-06 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 7292128 | 1987-10-19 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1050068 | 1988-04-14 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1050069 | 1988-04-14 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 560097. | 1988-02-25 | 0.12 | 0.17 | 70.5882 | -29.4118 | -0.23539 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 530046. | 1988-02-22 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.37663 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1810087 | 1988-06-29 | 0.04 | 0.08 | 50 | -50 | -0.19433 | 0.01 | 1259 |  |  |  | mg/L | P10
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1830149 | 1988-07-01 | 0.03 | 0.08 | 37.5 | -62.5 | -0.24291 | 0.01 | 1259 |  |  |  | mg/L | P10
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1610122 | 1988-06-09 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.42371 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1720106 | 1988-06-20 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.42371 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 1950102 | 1988-07-13 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.61257 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1988 | 2080057 | 1988-07-26 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.33413 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 830108. | 1989-03-24 | 0.7 | 0.66 | 106.0606 | 6.0606 | 0.1806 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 930109. | 1989-04-03 | 0.68 | 0.66 | 103.0303 | 3.0303 | 0.090302 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2610179 | 1989-09-18 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2710056 | 1989-09-28 | 0.68 | 0.66 | 103.0303 | 3.0303 | 0.090302 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 650060. | 1989-03-06 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 790143. | 1989-03-20 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2610180 | 1989-09-18 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2650047 | 1989-09-22 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2910239 | 1988-10-17 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.43654 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2880090 | 1988-10-14 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2950003 | 1988-10-21 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1170083 | 1989-04-27 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1220048 | 1989-05-02 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 340142. | 1989-02-03 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 340143. | 1989-02-03 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1920048 | 1989-07-11 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2000029 | 1989-07-19 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.3529 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2850051 | 1988-10-11 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 3000081 | 1988-10-26 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1210076 | 1989-05-01 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1210035 | 1989-05-01 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.64698 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 390074. | 1989-02-08 | 0.69 | 0.66 | 104.5455 | 4.5455 | 0.13545 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 480135. | 1989-02-17 | 0.71 | 0.66 | 107.5758 | 7.5758 | 0.22575 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2190011 | 1989-08-07 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2220197 | 1989-08-10 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2290072 | 1989-08-17 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.49111 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2430123 | 1989-08-31 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.43654 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2400108 | 1989-08-28 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.49111 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 460008. | 1989-02-15 | 0.7 | 0.66 | 106.0606 | 6.0606 | 0.1806 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 610061. | 1989-03-02 | 0.7 | 0.66 | 106.0606 | 6.0606 | 0.1806 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2160069 | 1989-08-04 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045151 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2220075 | 1989-08-10 | 0.65 | 0.66 | 98.4848 | -1.5152 | -0.045151 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1720103 | 1989-06-21 | 0.07 | 0.17 | 41.1765 | -58.8235 | -0.54567 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1720104 | 1989-06-21 | 0.07 | 0.17 | 41.1765 | -58.8235 | -0.54567 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1720101 | 1989-06-21 | 1.9 | 0.66 | 287.8788 | 187.8788 | 5.5987 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1720102 | 1989-06-21 | 2.7 | 0.66 | 409.0909 | 309.0909 | 9.2108 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 1880266 | 1989-07-07 | 0.09 | 0.17 | 52.9412 | -47.0588 | -0.43654 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1989 | 2070173 | 1989-07-26 | 0.08 | 0.17 | 47.0588 | -52.9412 | -0.49111 | 0.01 | 1259 |  |  |  | mg/L | P8
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 940029. | 1990-04-04 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 940030. | 1990-04-04 | 0.68 | 0.66 | 103.0303 | 3.0303 | 0.090572 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2560072 | 1990-09-13 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2560071 | 1990-09-13 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 940032. | 1990-04-04 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.65116 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 940031. | 1990-04-04 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2560069 | 1990-09-13 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2560070 | 1990-09-13 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2790099 | 1989-10-06 | 0.06 | 0.12 | 50 | -50 | -0.33475 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2860042 | 1989-10-13 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1030004 | 1990-04-13 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1160059 | 1990-04-26 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2930047 | 1989-10-20 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.65116 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2990010 | 1989-10-26 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 950055. | 1990-04-05 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.65116 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1090040 | 1990-04-19 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 180032. | 1990-01-18 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 320068. | 1990-02-01 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1870028 | 1990-07-06 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.65116 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1980030 | 1990-07-17 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3070113 | 1989-11-03 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3210098 | 1989-11-17 | 0.68 | 0.66 | 103.0303 | 3.0303 | 0.090572 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1360035 | 1990-05-16 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1420013 | 1990-05-22 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3340051 | 1989-11-30 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3340050 | 1989-11-30 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3180058 | 1989-11-14 | 0.01 | 0.66 | 1.5152 | -98.4848 | -2.9436 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3320044 | 1989-11-28 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1370093 | 1990-05-17 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1440087 | 1990-05-24 | 0.64 | 0.66 | 96.9697 | -3.0303 | -0.090572 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2860120 | 1989-10-13 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.27896 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 960099. | 1990-04-06 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1100025 | 1990-04-20 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2910056 | 1989-10-18 | 2.4 | 2.18 | 110.0917 | 10.0917 | 0.65116 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 3050128 | 1989-11-01 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1150019 | 1990-04-25 | 2.3 | 2.18 | 105.5046 | 5.5046 | 0.35518 | 0.01 | 1259 |  |  |  | mg/L | P11
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 510019. | 1990-02-20 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2350102 | 1990-08-23 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2350103 | 1990-08-23 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 510020. | 1990-02-20 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 590083. | 1990-02-28 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2430355 | 1990-08-31 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2430354 | 1990-08-31 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 390012. | 1990-02-08 | 0.09 | 0.12 | 75 | -25 | -0.16737 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2290065 | 1990-08-17 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.27896 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2470368 | 1990-09-04 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.27896 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 510157. | 1990-02-20 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 590119. | 1990-02-28 | 0.66 | 0.66 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2220048 | 1990-08-10 | 0.67 | 0.66 | 101.5152 | 1.5152 | 0.045286 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2360329 | 1990-08-24 | 0.68 | 0.66 | 103.0303 | 3.0303 | 0.090572 | 0.01 | 1259 |  |  |  | mg/L | P12
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 100036. | 1990-01-10 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.22316 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 290029. | 1990-01-29 | 0.09 | 0.12 | 75 | -25 | -0.16737 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 1940131 | 1990-07-13 | 0.06 | 0.12 | 50 | -50 | -0.33475 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1990 | 2080100 | 1990-07-27 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.27896 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 710075. | 1991-03-12 | 0.09 | 0.12 | 75 | -25 | -0.17827 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 710077. | 1991-03-12 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2530656 | 1991-09-10 | 0.05 | 0.12 | 41.6667 | -58.3333 | -0.41597 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2620113 | 1991-09-19 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.29712 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 710076. | 1991-03-12 | 1.5 | 1.38 | 108.6957 | 8.6957 | 0.47018 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2520393 | 1991-09-09 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1060007 | 1991-04-16 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1190107 | 1991-04-29 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1920003 | 1991-07-11 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1550048 | 1991-06-04 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1550050 | 1991-06-04 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1550049 | 1991-06-04 | 0.44 | 0.49 | 89.7959 | -10.2041 | -0.25798 | 0.01 | 1259 |  |  |  | mg/L
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1350004 | 1991-05-15 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1400149 | 1991-05-20 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2910209 | 1990-10-18 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2990039 | 1990-10-26 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1120291 | 1991-04-22 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1050050 | 1991-04-15 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2280359 | 1991-08-16 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.29712 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2330145 | 1991-08-21 | 0.4 | 0.49 | 81.6327 | -18.3673 | -0.46437 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2350121 | 1991-08-23 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 510008. | 1991-02-20 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.15479 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2170006 | 1991-08-05 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 420236. | 1991-02-11 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.29712 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 630068. | 1991-03-04 | 0.1 | 0.12 | 83.3333 | -16.6667 | -0.11885 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2190195 | 1991-08-07 | 0.1 | 0.12 | 83.3333 | -16.6667 | -0.11885 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2390032 | 1991-08-27 | 0.11 | 0.12 | 91.6667 | -8.3333 | -0.059425 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2110200 | 1991-07-30 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.10319 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2130168 | 1991-08-01 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.20639 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 3510139 | 1990-12-17 | 1.5 | 1.38 | 108.6957 | 8.6957 | 0.47018 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 3620001 | 1990-12-28 | 1.5 | 1.38 | 108.6957 | 8.6957 | 0.47018 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1780242 | 1991-06-27 | 1.5 | 1.38 | 108.6957 | 8.6957 | 0.47018 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1820182 | 1991-07-01 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 3470117 | 1990-12-13 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1820044 | 1991-07-01 | 0.07 | 0.12 | 58.3333 | -41.6667 | -0.29712 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 220004. | 1991-01-22 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 280161. | 1991-01-28 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1860020 | 1991-07-05 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2030088 | 1991-07-22 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 90049.0 | 1991-01-09 | 0.43 | 0.49 | 87.7551 | -12.2449 | -0.30958 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2120029 | 1991-07-31 | 0.44 | 0.49 | 89.7959 | -10.2041 | -0.25798 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 730105. | 1991-03-14 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 870102. | 1991-03-28 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2610037 | 1991-09-18 | 1.2 | 1.38 | 86.9565 | -13.0435 | -0.70527 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2660130 | 1991-09-23 | 1 | 1.38 | 72.4638 | -27.5362 | -1.4889 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 650103. | 1991-03-06 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 2490297 | 1991-09-06 | 0.1 | 0.12 | 83.3333 | -16.6667 | -0.11885 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 3600104 | 1990-12-26 | 0.04 | 0.12 | 33.3333 | -66.6667 | -0.4754 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1570066 | 1991-06-06 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1630010 | 1991-06-12 | 0.08 | 0.12 | 66.6667 | -33.3333 | -0.2377 | 0.01 | 1259 |  |  |  | mg/L | P13
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 3600105 | 1990-12-26 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1991 | 1700009 | 1991-06-19 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.078364 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 650038. | 1992-03-05 | 0.94 | 1 | 94 | -6 | -0.27523 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 710030. | 1992-03-11 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2460340 | 1992-09-02 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 770005. | 1992-03-17 | 0.39 | 0.416 | 93.75 | -6.25 | -0.14583 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2600006 | 1992-09-16 | 0.41 | 0.416 | 98.5577 | -1.4423 | -0.033653 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2810038 | 1991-10-08 | 0.49 | 0.49 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2950117 | 1991-10-22 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.2182 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1050060 | 1992-04-14 | 0.44 | 0.49 | 89.7959 | -10.2041 | -0.27275 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1250212 | 1992-05-04 | 0.42 | 0.49 | 85.7143 | -14.2857 | -0.38185 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2810037 | 1991-10-08 | 0.38 | 0.416 | 91.3462 | -8.6538 | -0.20192 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2050026 | 1992-07-23 | 0.39 | 0.416 | 93.75 | -6.25 | -0.14583 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1500141 | 1992-05-29 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1270106 | 1992-05-06 | 0.42 | 0.49 | 85.7143 | -14.2857 | -0.38185 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1350127 | 1992-05-14 | 0.44 | 0.49 | 89.7959 | -10.2041 | -0.27275 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1290124 | 1992-05-08 | 0.44 | 0.49 | 89.7959 | -10.2041 | -0.27275 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1410188 | 1992-05-20 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.16365 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1400050 | 1992-05-19 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2900040 | 1991-10-17 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.2182 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1000002 | 1992-04-09 | 0.44 | 0.49 | 89.7959 | -10.2041 | -0.27275 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1110273 | 1992-04-20 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.1091 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2890033 | 1991-10-16 | 0.38 | 0.416 | 91.3462 | -8.6538 | -0.20192 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1000082 | 1992-04-09 | 0.38 | 0.416 | 91.3462 | -8.6538 | -0.20192 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 410239. | 1992-02-10 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2170182 | 1992-08-04 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 430019. | 1992-02-12 | 0.47 | 0.49 | 95.9184 | -4.0816 | -0.1091 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 520077. | 1992-02-21 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.2182 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2230109 | 1992-08-10 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.2182 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2380167 | 1992-08-25 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.16365 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 410006. | 1992-02-10 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.16365 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 430111. | 1992-02-12 | 0.46 | 0.49 | 93.8776 | -6.1224 | -0.16365 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2230108 | 1992-08-10 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.2182 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2170011 | 1992-08-04 | 0.45 | 0.49 | 91.8367 | -8.1633 | -0.2182 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 510007. | 1992-02-20 | 0.97 | 1 | 97 | -3 | -0.13761 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2300011 | 1992-08-17 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1950010 | 1992-07-13 | 0.43 | 0.49 | 87.7551 | -12.2449 | -0.3273 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2030028 | 1992-07-21 | 0.44 | 0.49 | 89.7959 | -10.2041 | -0.27275 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1670005 | 1992-06-15 | 0.39 | 0.416 | 93.75 | -6.25 | -0.14583 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 3510083 | 1991-12-17 | 0.94 | 1 | 94 | -6 | -0.27523 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1740319 | 1992-06-22 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1780025 | 1992-06-26 | 0.99 | 1 | 99 | -1 | -0.045872 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2170015 | 1992-08-04 | 0.39 | 0.416 | 93.75 | -6.25 | -0.14583 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1950082 | 1992-07-13 | 0.43 | 0.49 | 87.7551 | -12.2449 | -0.3273 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2100195 | 1992-07-28 | 0.48 | 0.49 | 97.9592 | -2.0408 | -0.054549 | 0.01 | 1259 |  |  |  | mg/L | P14
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2800122 | 1992-10-06 | 0.38 | 0.416 | 91.3462 | -8.6538 | -0.20192 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 730017. | 1992-03-13 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 860097. | 1992-03-26 | 0.98 | 1 | 98 | -2 | -0.091743 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2690014 | 1992-09-25 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 2720237 | 1992-09-28 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1630005 | 1992-06-11 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1700001 | 1992-06-18 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1992 | 1560047 | 1992-06-04 | 0.39 | 0.416 | 93.75 | -6.25 | -0.14583 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 740179. | 1993-03-15 | 0.96 | 1 | 96 | -4 | -0.22222 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 900242. | 1993-03-31 | 0.97 | 1 | 97 | -3 | -0.16667 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2570021 | 1993-09-14 | 0.99 | 1 | 99 | -1 | -0.055556 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2660048 | 1993-09-23 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 690128. | 1993-03-10 | 0.37 | 0.416 | 88.9423 | -11.0577 | -0.27329 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2600169 | 1993-09-17 | 0.42 | 0.416 | 100.9615 | 0.96154 | 0.023764 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2890003 | 1992-10-15 | 0.92 | 0.94 | 97.8723 | -2.1277 | -0.11186 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2960018 | 1992-10-22 | 0.92 | 0.94 | 97.8723 | -2.1277 | -0.11186 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1090311 | 1993-04-19 | 0.84 | 0.94 | 89.3617 | -10.6383 | -0.55928 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1190177 | 1993-04-29 | 0.82 | 0.94 | 87.234 | -12.766 | -0.67114 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 3020019 | 1992-10-28 | 0.35 | 0.416 | 84.1346 | -15.8654 | -0.39211 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1030084 | 1993-04-13 | 0.37 | 0.416 | 88.9423 | -11.0577 | -0.27329 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 190145. | 1993-01-19 | 0.38 | 0.416 | 91.3462 | -8.6538 | -0.21388 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1960233 | 1993-07-15 | 0.38 | 0.416 | 91.3462 | -8.6538 | -0.21388 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 3320302 | 1992-11-27 | 0.99 | 1 | 99 | -1 | -0.055556 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1330158 | 1993-05-13 | 0.96 | 1 | 96 | -4 | -0.22222 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 3080141 | 1992-11-03 | 0.9 | 0.94 | 95.7447 | -4.2553 | -0.22371 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 3220018 | 1992-11-17 | 0.9 | 0.94 | 95.7447 | -4.2553 | -0.22371 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1250200 | 1993-05-05 | 0.89 | 0.94 | 94.6809 | -5.3191 | -0.27964 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1410012 | 1993-05-21 | 0.86 | 0.94 | 91.4894 | -8.5106 | -0.44743 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 3250266 | 1992-11-20 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.10661 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1470152 | 1993-05-27 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.10661 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 3230083 | 1992-11-18 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1380038 | 1993-05-18 | 0.97 | 1 | 97 | -3 | -0.16667 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2800190 | 1992-10-06 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.10661 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 990065. | 1993-04-09 | 1.3 | 1.38 | 94.2029 | -5.7971 | -0.42644 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2870048 | 1992-10-13 | 0.42 | 0.416 | 100.9615 | 0.96154 | 0.023764 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1030030 | 1993-04-13 | 0.37 | 0.416 | 88.9423 | -11.0577 | -0.27329 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 410026. | 1993-02-10 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2230117 | 1993-08-11 | 0.99 | 1 | 99 | -1 | -0.055556 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 550006. | 1993-02-24 | 0.92 | 0.94 | 97.8723 | -2.1277 | -0.11186 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2220137 | 1993-08-10 | 0.89 | 0.94 | 94.6809 | -5.3191 | -0.27964 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 430071. | 1993-02-12 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.10661 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 470012. | 1993-02-16 | 1.3 | 1.38 | 94.2029 | -5.7971 | -0.42644 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2250104 | 1993-08-13 | 1.3 | 1.38 | 94.2029 | -5.7971 | -0.42644 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2380122 | 1993-08-26 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.10661 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 480041. | 1993-02-17 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2320086 | 1993-08-20 | 0.98 | 1 | 98 | -2 | -0.11111 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 210011. | 1993-01-21 | 0.87 | 0.94 | 92.5532 | -7.4468 | -0.3915 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2140146 | 1993-08-02 | 0.86 | 0.94 | 91.4894 | -8.5106 | -0.44743 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 3510164 | 1992-12-16 | 0.39 | 0.416 | 93.75 | -6.25 | -0.15447 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1590082 | 1993-06-08 | 0.37 | 0.416 | 88.9423 | -11.0577 | -0.27329 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 3440214 | 1992-12-09 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1600107 | 1993-06-09 | 950 | 1 | 95000 | 94900 | 5272.2222 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 140007. | 1993-01-14 | 0.41 | 0.416 | 98.5577 | -1.4423 | -0.035646 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1880157 | 1993-07-07 | 0.28 | 0.416 | 67.3077 | -32.6923 | -0.80798 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 60006.0 | 1993-01-06 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.10661 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 290009. | 1993-01-29 | 1.3 | 1.38 | 94.2029 | -5.7971 | -0.42644 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1930186 | 1993-07-12 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.10661 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2030009 | 1993-07-22 | 1.4 | 1.38 | 101.4493 | 1.4493 | 0.10661 | 0.01 | 1259 |  |  |  | mg/L | P15
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 760144. | 1993-03-17 | 0.39 | 0.416 | 93.75 | -6.25 | -0.15447 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 2530490 | 1993-09-10 | 0.37 | 0.416 | 88.9423 | -11.0577 | -0.27329 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 820067. | 1993-03-23 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 3420002 | 1993-12-08 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 3580007 | 1992-12-23 | 0.96 | 1 | 96 | -4 | -0.22222 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 40004.0 | 1993-01-04 | 0.96 | 1 | 96 | -4 | -0.22222 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1730188 | 1993-06-22 | 0.9 | 1 | 90 | -10 | -0.55556 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1870220 | 1993-07-06 | 1.1 | 1 | 110 | 10 | 0.55556 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 3440155 | 1992-12-09 | 0.39 | 0.416 | 93.75 | -6.25 | -0.15447 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1993 | 1670034 | 1993-06-16 | 0.37 | 0.416 | 88.9423 | -11.0577 | -0.27329 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 680102. | 1994-03-09 | 0.91 | 0.94 | 96.8085 | -3.1915 | -0.15504 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 820003. | 1994-03-23 | 0.91 | 0.94 | 96.8085 | -3.1915 | -0.15504 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 2630306 | 1994-09-20 | 0.91 | 0.94 | 96.8085 | -3.1915 | -0.15504 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 2940001 | 1993-10-21 | 0.97 | 1 | 97 | -3 | -0.15385 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 3010177 | 1993-10-28 | 0.94 | 1 | 94 | -6 | -0.30769 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 1090204 | 1994-04-19 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 1180318 | 1994-04-28 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 3130098 | 1993-11-09 | 0.85 | 0.94 | 90.4255 | -9.5745 | -0.46512 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 3280086 | 1993-11-24 | 0.94 | 0.94 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 1290117 | 1994-05-09 | 0.9 | 0.94 | 95.7447 | -4.2553 | -0.20672 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 1440127 | 1994-05-24 | 0.9 | 0.94 | 95.7447 | -4.2553 | -0.20672 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 3420077 | 1993-12-08 | 1.2 | 1.14 | 105.2632 | 5.2632 | 0.30227 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 1520186 | 1994-06-01 | 1.2 | 1.14 | 105.2632 | 5.2632 | 0.30227 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 2800063 | 1993-10-07 | 0.39 | 0.416 | 93.75 | -6.25 | -0.14412 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 980033. | 1994-04-08 | 0.38 | 0.416 | 91.3462 | -8.6538 | -0.19956 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 400085. | 1994-02-09 | 0.37 | 0.416 | 88.9423 | -11.0577 | -0.25499 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 2220113 | 1994-08-10 | 0.38 | 0.416 | 91.3462 | -8.6538 | -0.19956 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 460011. | 1994-02-15 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 530047. | 1994-02-22 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 2340150 | 1994-08-22 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 2440194 | 1994-09-01 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 60003.0 | 1994-01-06 | 0.9 | 0.94 | 95.7447 | -4.2553 | -0.20672 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 310019. | 1994-01-31 | 0.92 | 0.94 | 97.8723 | -2.1277 | -0.10336 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 2000169 | 1994-07-19 | 0.89 | 0.94 | 94.6809 | -5.3191 | -0.2584 | 0.01 | 1259 |  |  |  | mg/L | P18
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 3440015 | 1993-12-10 | 0.4 | 0.416 | 96.1538 | -3.8462 | -0.088692 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 1600125 | 1994-06-09 | 0.37 | 0.416 | 88.9423 | -11.0577 | -0.25499 | 0.01 | 1259 |  |  |  | mg/L | P17
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 200079. | 1994-01-20 | 1.1 | 1.14 | 96.4912 | -3.5088 | -0.20151 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 2020245 | 1994-07-21 | 1.1 | 1.14 | 96.4912 | -3.5088 | -0.20151 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 2110203 | 1994-07-30 | 1.2 | 1.14 | 105.2632 | 5.2632 | 0.30227 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 910175. | 1994-04-01 | 1.2 | 1.14 | 105.2632 | 5.2632 | 0.30227 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 2720375 | 1994-09-29 | 1.2 | 1.14 | 105.2632 | 5.2632 | 0.30227 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 3560036 | 1993-12-22 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 40089.0 | 1994-01-04 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 1710112 | 1994-06-20 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1994 | 1800167 | 1994-06-29 | 1 | 1 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P16
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 670002. | 1995-03-08 | 1.4 | 1.14 | 122.807 | 22.807 | 1.2507 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 2550154 | 1995-09-12 | 1.2 | 1.14 | 105.2632 | 5.2632 | 0.28863 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 2980017 | 1994-10-25 | 0.01 | 1.14 | 0.87719 | -99.1228 | -5.4358 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 1170188 | 1995-04-27 | 1.2 | 1.14 | 105.2632 | 5.2632 | 0.28863 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 3130028 | 1994-11-09 | 0.1 | 0.14 | 71.4286 | -28.5714 | -0.24114 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 1430024 | 1995-05-23 | 0.11 | 0.14 | 78.5714 | -21.4286 | -0.18085 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 3270002 | 1994-11-23 | 4.1 | 3.9 | 105.1282 | 5.1282 | 0.61767 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 1320150 | 1995-05-12 | 4 | 3.9 | 102.5641 | 2.5641 | 0.30883 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 2910081 | 1994-10-18 | 0.12 | 0.14 | 85.7143 | -14.2857 | -0.12057 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 1040037 | 1995-04-14 | 0.1 | 0.14 | 71.4286 | -28.5714 | -0.24114 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 0390017 | 1995-02-08 | 4.1 | 3.9 | 105.1282 | 5.1282 | 0.61767 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 2210080 | 1995-08-09 | 4.7 | 3.9 | 120.5128 | 20.5128 | 2.4707 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 0540104 | 1995-02-23 | 0.05 | 0.14 | 35.7143 | -64.2857 | -0.54256 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 2340119 | 1995-08-22 | 0.12 | 0.14 | 85.7143 | -14.2857 | -0.12057 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 0110002 | 1995-01-11 | 0.12 | 0.14 | 85.7143 | -14.2857 | -0.12057 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 2060089 | 1995-07-25 | 0.04 | 0.14 | 28.5714 | -71.4286 | -0.60285 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 3410152 | 1994-12-07 | 4.1 | 3.9 | 105.1282 | 5.1282 | 0.61767 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 1570048 | 1995-06-06 | 4.3 | 3.9 | 110.2564 | 10.2564 | 1.2353 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 0240046 | 1995-01-24 | 1.2 | 1.14 | 105.2632 | 5.2632 | 0.28863 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 1930194 | 1995-07-12 | 1.1 | 1.14 | 96.4913 | -3.5087 | -0.19242 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 0790013 | 1995-03-20 | 3.8 | 3.9 | 97.4359 | -2.5641 | -0.30883 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 2630027 | 1995-09-20 | 4 | 3.9 | 102.5641 | 2.5641 | 0.30883 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 3540124 | 1994-12-20 | 1.2 | 1.14 | 105.2632 | 5.2632 | 0.28863 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1995 | 1670302 | 1995-06-16 | 1.2 | 1.14 | 105.2632 | 5.2632 | 0.28863 | 0.01 | 1259 |  |  |  | mg/L | P19
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 2700091 | 1996-09-26 | 0.16 | 0.31 | 51.6129 | -48.3871 | -0.79369 | 0.01 | 1259 |  |  |  | mg/L | P23
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 3000033 | 1995-10-27 | 0.25 | 0.31 | 80.6452 | -19.3548 | -0.31748 | 0.01 | 1259 |  |  |  | mg/L | P23
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 1160179 | 1996-04-25 | 0.24 | 0.31 | 77.4194 | -22.5806 | -0.37039 | 0.01 | 1259 |  |  |  | mg/L | P23
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 3240032 | 1995-11-20 | 0.1 | 0.14 | 71.4286 | -28.5714 | -0.21732 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 1280126 | 1996-05-07 | 0.08 | 0.14 | 57.1429 | -42.8571 | -0.32598 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 3280014 | 1995-11-24 | 3.9 | 3.9 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 1450107 | 1996-05-24 | 3.9 | 3.9 | 100 | 0 | 0 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 2850001 | 1995-10-12 | 0.12 | 0.14 | 85.7143 | -14.2857 | -0.10866 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 1010109 | 1996-04-10 | 0.1 | 0.14 | 71.4286 | -28.5714 | -0.21732 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 0600028 | 1996-02-29 | 4.1 | 3.9 | 105.1282 | 5.1282 | 0.68236 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 2400051 | 1996-08-27 | 3.7 | 3.9 | 94.8718 | -5.1282 | -0.68236 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 0380020 | 1996-02-07 | 0.11 | 0.14 | 78.5714 | -21.4286 | -0.16299 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 2220028 | 1996-08-09 | 0.08 | 0.14 | 57.1429 | -42.8571 | -0.32598 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 0120001 | 1996-01-12 | 0.08 | 0.14 | 57.1429 | -42.8571 | -0.32598 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 1930042 | 1996-07-11 | 0.06 | 0.14 | 42.8571 | -57.1429 | -0.43464 | 0.01 | 1259 |  |  |  | mg/L | P20
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 0080123 | 1996-01-08 | 3.7 | 3.9 | 94.8718 | -5.1282 | -0.68236 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 1580042 | 1996-06-06 | 4.3 | 3.9 | 110.2564 | 10.2564 | 1.3647 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 0290057 | 1996-01-29 | 0.25 | 0.31 | 80.6452 | -19.3548 | -0.31748 | 0.01 | 1259 |  |  |  | mg/L | P23
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 2060151 | 1996-07-24 | 0.23 | 0.31 | 74.1935 | -25.8065 | -0.4233 | 0.01 | 1259 |  |  |  | mg/L | P23
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 0660111 | 1996-03-06 | 4.2 | 3.9 | 107.6923 | 7.6923 | 1.0235 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 2570509 | 1996-09-13 | 3.7 | 3.9 | 94.8718 | -5.1282 | -0.68236 | 0.01 | 1259 |  |  |  | mg/L | P21
Chloride, FIL, IC, LL | 00940 | IC024 | FIL | 1996 | 1730083 | 1996-06-21 | 0.24 | 0.31 | 77.4194 | -22.5806 | -0.37039 | 0.01 | 1259 |  |  |  | mg/L | P23