## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6167100 | 1986-06-16 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | ug/L | 2583/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6170121 | 1986-06-19 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2583/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6202198 | 1986-07-21 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6209133 | 1986-07-28 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6045108 | 1986-02-14 | 1.2 | 1.1 | 109.0909 | 9.0909 | 0.05277 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6057074 | 1986-02-26 | 1.2 | 1.1 | 109.0909 | 9.0909 | 0.05277 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6252239 | 1986-09-09 | 1.6 | 1.1 | 145.4545 | 45.4545 | 0.26385 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6086004 | 1986-03-27 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6086003 | 1986-03-27 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6106004 | 1986-04-16 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6108032 | 1986-04-18 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6126019 | 1986-05-06 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6122111 | 1986-05-02 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6198176 | 1986-07-17 | 0.8 | 4.45 | 17.9775 | -82.0225 | -1.3358 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6198201 | 1986-07-17 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6128054 | 1986-05-08 | 1.4 | 1.1 | 127.2727 | 27.2727 | 0.15831 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6136091 | 1986-05-16 | 1.4 | 1.1 | 127.2727 | 27.2727 | 0.15831 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6134064 | 1986-05-14 | 1.4 | 1.1 | 127.2727 | 27.2727 | 0.15831 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6156038 | 1986-06-05 | 1.6 | 1.1 | 145.4545 | 45.4545 | 0.26385 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6170055 | 1986-06-19 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6170050 | 1986-06-19 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6055019 | 1986-02-24 | 1.2 | 1.1 | 109.0909 | 9.0909 | 0.05277 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6062011 | 1986-03-03 | 1.1 | 1.1 | 100 | 0 | 0 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6245168 | 1986-09-02 | 1 | 1.1 | 90.9091 | -9.0909 | -0.05277 | 0.5 | 1254 |  |  |  | µg/L | 2585/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6077135 | 1986-03-18 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6079111 | 1986-03-20 | 4.6 | 4.45 | 103.3708 | 3.3708 | 0.054895 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6087073 | 1986-03-28 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6190025 | 1986-07-09 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6199018 | 1986-07-18 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6198036 | 1986-07-17 | 0.5 | 4.45 | 11.236 | -88.764 | -1.4456 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1986 | 6198218 | 1986-07-17 | 1.4 | 4.45 | 31.4607 | -68.5393 | -1.1162 | 0.5 | 1254 |  |  |  | µg/L | 2589/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7069060 | 1987-03-10 | 4.3 | 3.3 | 130.303 | 30.303 | 0.409 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7585
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7248111 | 1987-09-05 | 4.8 | 3.3 | 145.4545 | 45.4545 | 0.6135 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7585
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7132195 | 1987-05-12 | 7.4 | 5.6 | 132.1429 | 32.1429 | 0.59603 | 0.5 | 1254 |  |  |  | µg/L | 5093/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7155062 | 1987-06-04 | 6.5 | 5.6 | 116.0714 | 16.0714 | 0.29801 | 0.5 | 1254 |  |  |  | µg/L | 5093/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7065007 | 1987-03-06 | 4.1 | 3.3 | 124.2424 | 24.2424 | 0.3272 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7585
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1987 | 7268040 | 1987-09-25 | 3.7 | 3.3 | 112.1212 | 12.1212 | 0.1636 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7585
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 7286029 | 1987-10-13 | 0.5 | 1.18 | 42.3729 | -57.6271 | -0.35509 | 0.5 | 1254 |  |  |  | µg/L | 2599/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 1030124 | 1988-04-12 | 0.5 | 1.18 | 42.3729 | -57.6271 | -0.35509 | 0.5 | 1254 |  |  |  | µg/L | 2599/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 7286003 | 1987-10-13 | 0.5 | 1.18 | 42.3729 | -57.6271 | -0.35509 | 0.5 | 1254 |  |  |  | µg/L | 2599/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 1940184 | 1988-07-12 | 7.3 | 7.5 | 97.3333 | -2.6667 | -0.057225 | 0.5 | 1254 |  |  |  | µg/L | 5097/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 7334111 | 1987-11-30 | 6.8 | 7.5 | 90.6667 | -9.3333 | -0.20029 | 0.5 | 1254 |  |  |  | µg/L | 5097/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 1450057 | 1988-05-24 | 8.4 | 8.4 | 100 | 0 | 0 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7593
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 530044. | 1988-02-22 | 7.3 | 7.5 | 97.3333 | -2.6667 | -0.057225 | 0.5 | 1254 |  |  |  | µg/L | 5097/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 670112. | 1988-03-07 | 10 | 8.4 | 119.0476 | 19.0476 | 0.43011 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7593
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1988 | 2640030 | 1988-09-20 | 8.8 | 8.4 | 104.7619 | 4.7619 | 0.10753 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7593
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1580074 | 1989-06-07 | 0.7 | 3.53 | 19.83 | -80.17 | -1.2161 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7599
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 400061. | 1989-02-09 | 9.4 | 8.95 | 105.0279 | 5.0279 | 0.12404 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 2190002 | 1989-08-07 | 8.1 | 8.95 | 90.5028 | -9.4972 | -0.23429 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 2640165 | 1989-09-21 | 0.5 | 3.53 | 14.1643 | -85.8357 | -1.302 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7599
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 2910080 | 1988-10-17 | 4.4 | 4.47 | 98.434 | -1.566 | -0.027421 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1080019 | 1989-04-18 | 4.5 | 4.47 | 100.6711 | 0.67114 | 0.011752 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 170119. | 1989-01-17 | 4.7 | 4.47 | 105.1454 | 5.1454 | 0.090097 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1980304 | 1989-07-17 | 2.2 | 4.47 | 49.217 | -50.783 | -0.88922 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1280227 | 1989-05-08 | 8.7 | 8.95 | 97.2067 | -2.7933 | -0.068908 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1420053 | 1989-05-22 | 8.2 | 8.95 | 91.6201 | -8.3799 | -0.20673 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 2700235 | 1989-09-27 | 0.5 | 3.53 | 14.1643 | -85.8357 | -1.302 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7599
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 260076. | 1989-01-26 | 4.6 | 4.47 | 102.9083 | 2.9083 | 0.050924 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1989 | 1910140 | 1989-07-10 | 4.2 | 4.47 | 93.9597 | -6.0403 | -0.10577 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 3450175 | 1989-12-11 | 8 | 8.25 | 96.9697 | -3.0303 | -0.065147 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 1650188 | 1990-06-14 | 8.2 | 8.25 | 99.3939 | -0.60606 | -0.013029 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 290051. | 1990-01-29 | 5.2 | 4.47 | 116.3311 | 16.3311 | 0.22321 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 90043.0 | 1990-01-09 | 10 | 8.95 | 111.7318 | 11.7318 | 0.26633 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 2470117 | 1990-09-04 | 9.1 | 8.95 | 101.676 | 1.676 | 0.038047 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 360105. | 1990-02-05 | 9.2 | 8.95 | 102.7933 | 2.7933 | 0.063412 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 2150136 | 1990-08-03 | 10 | 8.95 | 111.7318 | 11.7318 | 0.26633 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 870108. | 1990-03-28 | 7.5 | 8.25 | 90.9091 | -9.0909 | -0.19544 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 3280083 | 1989-11-24 | 0.5 | 8.95 | 5.5866 | -94.4134 | -2.1433 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 1300202 | 1990-05-10 | 9.3 | 8.95 | 103.9106 | 3.9106 | 0.088776 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 3210146 | 1989-11-17 | 8.7 | 8.95 | 97.2067 | -2.7933 | -0.063412 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 1290104 | 1990-05-09 | 8.2 | 8.95 | 91.6201 | -8.3799 | -0.19023 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 3530003 | 1989-12-19 | 7.8 | 8.25 | 94.5455 | -5.4545 | -0.11726 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 1650294 | 1990-06-14 | 8 | 8.25 | 96.9697 | -3.0303 | -0.065147 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 850036. | 1990-03-26 | 8.2 | 8.25 | 99.3939 | -0.60606 | -0.013029 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 2740030 | 1990-10-01 | 6.8 | 8.25 | 82.4242 | -17.5758 | -0.37785 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7505
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1990 | 230057. | 1990-01-23 | 4.8 | 4.47 | 107.3826 | 7.3826 | 0.1009 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 3440316 | 1990-12-10 | 18 | 19.5 | 92.3077 | -7.6923 | -0.30423 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7507
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 300052. | 1991-01-30 | 9.5 | 8.95 | 106.1453 | 6.1453 | 0.13424 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 510001. | 1991-02-20 | 23 | 22 | 104.5455 | 4.5455 | 0.19501 | 0.5 | 1254 |  |  |  | µg/L | 5007/5001
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 370127. | 1991-02-06 | 23 | 22 | 104.5455 | 4.5455 | 0.19501 | 0.5 | 1254 |  |  |  | µg/L | 5007/5001
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 780137. | 1991-03-19 | 20 | 19.5 | 102.5641 | 2.5641 | 0.10141 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7507
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 3180007 | 1990-11-14 | 9.5 | 8.95 | 106.1453 | 6.1453 | 0.13424 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 3340071 | 1990-11-30 | 8.7 | 8.95 | 97.2067 | -2.7933 | -0.06102 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1560022 | 1991-06-05 | 12 | 8.95 | 134.0782 | 34.0782 | 0.74444 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1540087 | 1991-06-03 | 12 | 8.95 | 134.0782 | 34.0782 | 0.74444 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1820324 | 1991-07-01 | 9.2 | 8.95 | 102.7933 | 2.7933 | 0.06102 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 2200045 | 1991-08-08 | 10 | 8.95 | 111.7318 | 11.7318 | 0.25628 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 2350079 | 1991-08-23 | 6.9 | 8.95 | 77.095 | -22.905 | -0.50036 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 670086. | 1991-03-08 | 21 | 19.5 | 107.6923 | 7.6923 | 0.30423 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7507
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 2730278 | 1991-09-30 | 30 | 19.5 | 153.8462 | 53.8462 | 2.1296 | 0.5 | 1254 |  |  |  | µg/L | 25DW/7507
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 2900045 | 1990-10-17 | 11 | 8.95 | 122.905 | 22.905 | 0.50036 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 3050017 | 1990-11-01 | 10 | 8.95 | 111.7318 | 11.7318 | 0.25628 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1000116 | 1991-04-10 | 4.8 | 4.47 | 107.3826 | 7.3826 | 0.088162 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1200006 | 1991-04-30 | 5.2 | 4.47 | 116.3311 | 16.3311 | 0.19502 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 1930141 | 1991-07-12 | 4.1 | 4.47 | 91.7226 | -8.2774 | -0.098848 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 2060209 | 1991-07-25 | 4.7 | 4.47 | 105.1454 | 5.1454 | 0.061446 | 0.5 | 1254 |  |  |  | µg/L | 2501/75DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1991 | 390198. | 1991-02-08 | 10 | 8.95 | 111.7318 | 11.7318 | 0.25628 | 0.5 | 1254 |  |  |  | µg/L | 5001/50DW
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 3450002 | 1991-12-11 | 5.8 | 5.78 | 100.346 | 0.34602 | 0.0060827 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 1740015 | 1992-06-22 | 6.7 | 5.78 | 115.917 | 15.917 | 0.27981 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 290018. | 1992-01-29 | 6.2 | 1.92 | 322.9167 | 222.9167 | 1.4748 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 2160215 | 1992-08-03 | 2.8 | 1.92 | 145.8333 | 45.8333 | 0.30324 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 520076. | 1992-02-21 | 5.7 | 3.85 | 148.0519 | 48.0519 | 0.59774 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 2440144 | 1992-08-31 | 4.8 | 3.85 | 124.6753 | 24.6753 | 0.30695 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 510011. | 1992-02-20 | 5.9 | 3.85 | 153.2468 | 53.2468 | 0.66236 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 2320072 | 1992-08-19 | 0.5 | 3.85 | 12.987 | -87.013 | -1.0824 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 850149. | 1992-03-25 | 6.4 | 5.78 | 110.7266 | 10.7266 | 0.18856 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 2600141 | 1992-09-16 | 7.3 | 5.78 | 126.2976 | 26.2976 | 0.46229 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 3110058 | 1991-11-07 | 4.7 | 3.85 | 122.0779 | 22.0779 | 0.27464 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 1340043 | 1992-05-13 | 5.6 | 3.85 | 145.4545 | 45.4545 | 0.56543 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 3260011 | 1991-11-22 | 3.9 | 3.85 | 101.2987 | 1.2987 | 0.016155 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 1350133 | 1992-05-14 | 5.3 | 3.85 | 137.6623 | 37.6623 | 0.4685 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 3460109 | 1991-12-12 | 3.7 | 5.78 | 64.0138 | -35.9862 | -0.6326 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 1690028 | 1992-06-17 | 6.2 | 5.78 | 107.2664 | 7.2664 | 0.12774 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 780004. | 1992-03-18 | 6.5 | 5.78 | 112.4567 | 12.4567 | 0.21898 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 2740135 | 1992-09-30 | 6 | 5.78 | 103.8062 | 3.8062 | 0.06691 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 2810028 | 1991-10-08 | 2.7 | 1.92 | 140.625 | 40.625 | 0.26878 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 2970051 | 1991-10-24 | 2.3 | 1.92 | 119.7917 | 19.7917 | 0.13094 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 980005. | 1992-04-07 | 3.6 | 1.92 | 187.5 | 87.5 | 0.57891 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 1180244 | 1992-04-27 | 2.6 | 1.92 | 135.4167 | 35.4167 | 0.23432 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 230007. | 1992-01-23 | 2.9 | 1.92 | 151.0417 | 51.0417 | 0.3377 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1992 | 2120082 | 1992-07-30 | 2.6 | 1.92 | 135.4167 | 35.4167 | 0.23432 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25103
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 3440156 | 1992-12-09 | 0.8 | 0.429 | 186.4802 | 86.4802 | 0.17153 | 0.5 | 1254 |  |  |  | µg/L | 67DW-33113
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 1670024 | 1993-06-16 | 0.5 | 0.429 | 116.5501 | 16.5501 | 0.032826 | 0.5 | 1254 |  |  |  | µg/L | 67DW-33113
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 270024. | 1993-01-27 | 1.7 | 1.25 | 136 | 36 | 0.20045 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 1960095 | 1993-07-15 | 1.9 | 1.25 | 152 | 52 | 0.28953 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 610020. | 1993-03-02 | 2.6 | 2.5 | 104 | 4 | 0.042194 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 2450218 | 1993-09-02 | 2.6 | 2.5 | 104 | 4 | 0.042194 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 480038. | 1993-02-17 | 2.5 | 2.5 | 100 | 0 | 0 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 2320088 | 1993-08-20 | 2.6 | 2.5 | 104 | 4 | 0.042194 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 890017. | 1993-03-30 | 0.5 | 0.429 | 116.5501 | 16.5501 | 0.032826 | 0.5 | 1254 |  |  |  | µg/L | 67DW-33113
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 2730153 | 1993-09-30 | 0.6 | 0.429 | 139.8601 | 39.8601 | 0.079061 | 0.5 | 1254 |  |  |  | µg/L | 67DW-33113
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 3280075 | 1992-11-23 | 2.7 | 2.5 | 108 | 8 | 0.084388 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 1470037 | 1993-05-27 | 2.5 | 2.5 | 100 | 0 | 0 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 3350372 | 1992-11-30 | 3 | 2.5 | 120 | 20 | 0.21097 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 1320104 | 1993-05-12 | 2.7 | 2.5 | 108 | 8 | 0.084388 | 0.5 | 1254 |  |  |  | µg/L | 50DW-50117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 3560291 | 1992-12-21 | 0.5 | 0.429 | 116.5501 | 16.5501 | 0.032826 | 0.5 | 1254 |  |  |  | µg/L | 67DW-33113
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 1800459 | 1993-06-29 | 0.5 | 0.429 | 116.5501 | 16.5501 | 0.032826 | 0.5 | 1254 |  |  |  | µg/L | 67DW-33113
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 760145. | 1993-03-17 | 0.5 | 0.429 | 116.5501 | 16.5501 | 0.032826 | 0.5 | 1254 |  |  |  | µg/L | 67DW-33113
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 2600172 | 1993-09-17 | 0.5 | 0.429 | 116.5501 | 16.5501 | 0.032826 | 0.5 | 1254 |  |  |  | µg/L | 67DW-33113
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 2950025 | 1992-10-21 | 2 | 1.25 | 160 | 60 | 0.33408 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 1030087 | 1993-04-13 | 1.4 | 1.25 | 112 | 12 | 0.066815 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 2820140 | 1992-10-08 | 0.9 | 1.25 | 72 | -28 | -0.1559 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 1190062 | 1993-04-29 | 2.1 | 1.25 | 168 | 68 | 0.37862 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 140006. | 1993-01-14 | 1.1 | 1.25 | 88 | -12 | -0.066815 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1993 | 2090008 | 1993-07-28 | 0.7 | 1.25 | 56 | -44 | -0.24499 | 0.5 | 1254 |  |  |  | µg/L | 75DW-25117
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 3540143 | 1993-12-20 | 6 | 5.81 | 103.2702 | 3.2702 | 0.11676 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 1660126 | 1994-06-15 | 6.3 | 5.81 | 108.4337 | 8.4337 | 0.30113 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 130137. | 1994-01-13 | 5.5 | 5.19 | 105.973 | 5.973 | 0.19964 | 0.5 | 1254 |  |  |  | µg/L | 33DW-67121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 1930252 | 1994-07-12 | 5.5 | 5.19 | 105.973 | 5.973 | 0.19964 | 0.5 | 1254 |  |  |  | µg/L | 33DW-67121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 610003. | 1994-03-02 | 5.8 | 5.81 | 99.8279 | -0.17212 | -0.0061455 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 2410019 | 1994-08-29 | 6.3 | 5.81 | 108.4337 | 8.4337 | 0.30113 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 540189. | 1994-02-23 | 6.1 | 5.81 | 104.9914 | 4.9914 | 0.17822 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 2290058 | 1994-08-17 | 6.1 | 5.81 | 104.9914 | 4.9914 | 0.17822 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 750032. | 1994-03-16 | 6.1 | 5.81 | 104.9914 | 4.9914 | 0.17822 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 2700342 | 1994-09-27 | 6.3 | 5.81 | 108.4337 | 8.4337 | 0.30113 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 3340018 | 1993-11-30 | 6.3 | 5.81 | 108.4337 | 8.4337 | 0.30113 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 1380099 | 1994-05-18 | 6.1 | 5.81 | 104.9914 | 4.9914 | 0.17822 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 3360080 | 1993-12-02 | 6.1 | 5.81 | 104.9914 | 4.9914 | 0.17822 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 1470395 | 1994-05-27 | 6.4 | 5.81 | 110.1549 | 10.1549 | 0.36259 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 3640001 | 1993-12-30 | 6 | 5.81 | 103.2702 | 3.2702 | 0.11676 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 1780148 | 1994-06-27 | 6.3 | 5.81 | 108.4337 | 8.4337 | 0.30113 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 800115. | 1994-03-21 | 5.9 | 5.81 | 101.5491 | 1.5491 | 0.05531 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 2570090 | 1994-09-14 | 6.4 | 5.81 | 110.1549 | 10.1549 | 0.36259 | 0.5 | 1254 |  |  |  | µg/L | 25DW-75121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 3010104 | 1993-10-28 | 5.2 | 5.19 | 100.1927 | 0.19268 | 0.00644 | 0.5 | 1254 |  |  |  | µg/L | 33DW-67121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 1160056 | 1994-04-26 | 5.7 | 5.19 | 109.8266 | 9.8266 | 0.32844 | 0.5 | 1254 |  |  |  | µg/L | 33DW-67121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 2940058 | 1993-10-21 | 5.3 | 5.19 | 102.1195 | 2.1195 | 0.07084 | 0.5 | 1254 |  |  |  | µg/L | 33DW-67121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 1040063 | 1994-04-14 | 6 | 5.19 | 115.6069 | 15.6069 | 0.52164 | 0.5 | 1254 |  |  |  | µg/L | 33DW-67121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 260062. | 1994-01-26 | 5.5 | 5.19 | 105.973 | 5.973 | 0.19964 | 0.5 | 1254 |  |  |  | µg/L | 33DW-67121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1994 | 2080049 | 1994-07-27 | 5.3 | 5.19 | 102.1195 | 2.1195 | 0.07084 | 0.5 | 1254 |  |  |  | µg/L | 33DW-67121
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1995 | 3480095 | 1994-12-14 | 2.3 | 2.027 | 113.4682 | 13.4682 | 0.20174 | 0.5 | 1254 |  |  |  | µg/L | 75DIW-25125
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1995 | 1660014 | 1995-06-15 | 2.1 | 2.027 | 103.6014 | 3.6014 | 0.053945 | 0.5 | 1254 |  |  |  | µg/L | 75DIW-25125
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1995 | 520138. | 1995-02-21 | 2.2 | 2.027 | 108.5348 | 8.5348 | 0.12784 | 0.5 | 1254 |  |  |  | µg/L | 75DIW-25125
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1995 | 2290092 | 1995-08-17 | 2.4 | 2.027 | 118.4016 | 18.4016 | 0.27563 | 0.5 | 1254 |  |  |  | µg/L | 75DIW-25125
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1995 | 730051. | 1995-03-14 | 2.5 | 2.027 | 123.335 | 23.335 | 0.34953 | 0.5 | 1254 |  |  |  | µg/L | 75DIW-25125
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1995 | 2560088 | 1995-09-13 | 2.3 | 2.027 | 113.4682 | 13.4682 | 0.20174 | 0.5 | 1254 |  |  |  | µg/L | 75DIW-25125
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1995 | 3200059 | 1994-11-16 | 2 | 2.027 | 98.668 | -1.332 | -0.019952 | 0.5 | 1254 |  |  |  | µg/L | 75DIW-25125
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1995 | 2930066 | 1994-10-20 | 2.5 | 2.027 | 123.335 | 23.335 | 0.34953 | 0.5 | 1254 |  |  |  | µg/L | 75DIW-25125
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1995 | 1160189 | 1995-04-26 | 2.1 | 2.027 | 103.6014 | 3.6014 | 0.053945 | 0.5 | 1254 |  |  |  | µg/L | 75DIW-25125
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1995 | 0190025 | 1995-01-19 | 2.4 | 2.027 | 118.4016 | 18.4016 | 0.27564 | 0.5 | 1254 |  |  |  | µg/L | 75DIW-25125
Lead, FIL, GFAA, LL | 01049 | GF078 | FIL | 1995 | 2010096 | 1995-07-20 | 2.2 | 2.027 | 108.5348 | 8.5348 | 0.12784 | 0.5 | 1254 |  |  |  | µg/L | 75DIW-25125