## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 380097. | 1995-02-07 | 0.105 | 0.108 | 97.2222 | -2.7778 | -0.12475 | 0.01 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 390009. | 1995-02-08 | 0.105 | 0.108 | 97.2222 | -2.7778 | -0.12475 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 540095. | 1995-02-23 | 0.112 | 0.108 | 103.7037 | 3.7037 | 0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3070055 | 1994-11-03 | 0.114 | 0.108 | 105.5556 | 5.5556 | 0.2495 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3130023 | 1994-11-09 | 0.002 | 0.108 | 1.8519 | -98.1481 | -4.4079 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3270094 | 1994-11-23 | 0.114 | 0.108 | 105.5556 | 5.5556 | 0.2495 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3430092 | 1994-12-09 | 0.113 | 0.108 | 104.6296 | 4.6296 | 0.20792 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3530030 | 1994-12-19 | 0.113 | 0.108 | 104.6296 | 4.6296 | 0.20792 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3570337 | 1994-12-23 | 0.104 | 0.108 | 96.2963 | -3.7037 | -0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3630004 | 1994-12-29 | 0.101 | 0.108 | 93.5185 | -6.4815 | -0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 170018. | 1995-01-17 | 0.098 | 0.108 | 90.7407 | -9.2593 | -0.41583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 190028. | 1995-01-19 | 0.099 | 0.108 | 91.6667 | -8.3333 | -0.37425 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 300067. | 1995-01-30 | 0.095 | 0.108 | 87.963 | -12.037 | -0.54059 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2500252 | 1995-09-07 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2630025 | 1995-09-20 | 1.2 | 1.04 | 115.3846 | 15.3846 | 2.0986 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2650081 | 1995-09-22 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2700048 | 1995-09-27 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 720152. | 1995-03-13 | 0.106 | 0.108 | 98.1481 | -1.8519 | -0.083167 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 810073. | 1995-03-22 | 0.106 | 0.108 | 98.1481 | -1.8519 | -0.083167 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 930151. | 1995-04-03 | 0.101 | 0.108 | 93.5185 | -6.4815 | -0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1010170 | 1995-04-11 | 0.1 | 0.108 | 92.5926 | -7.4074 | -0.33267 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1170183 | 1995-04-27 | 0.107 | 0.108 | 99.0741 | -0.92593 | -0.041583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1940140 | 1995-07-13 | 0.051 | 0.108 | 47.2222 | -52.7778 | -2.3703 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2060084 | 1995-07-25 | 0.051 | 0.108 | 47.2222 | -52.7778 | -2.3703 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2080141 | 1995-07-27 | 0.054 | 0.108 | 50 | -50 | -2.2455 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2140067 | 1995-08-02 | 0.053 | 0.108 | 49.0741 | -50.9259 | -2.2871 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1350120 | 1995-05-15 | 0.083 | 0.108 | 76.8519 | -23.1481 | -1.0396 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1430041 | 1995-05-23 | 0.082 | 0.108 | 75.9259 | -24.0741 | -1.0812 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1520157 | 1995-06-01 | 0.102 | 0.108 | 94.4444 | -5.5556 | -0.2495 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1280026 | 1995-05-08 | 0.106 | 0.108 | 98.1481 | -1.8519 | -0.083167 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1380076 | 1995-05-18 | 0.081 | 0.108 | 75 | -25 | -1.1228 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3420024 | 1994-12-08 | 0.099 | 0.108 | 91.6667 | -8.3333 | -0.37425 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3480102 | 1994-12-14 | 0.112 | 0.108 | 103.7037 | 3.7037 | 0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3550065 | 1994-12-21 | 0.199 | 0.108 | 184.2593 | 84.2593 | 3.7841 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3070054 | 1994-11-03 | 0.115 | 0.108 | 106.4815 | 6.4815 | 0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3130022 | 1994-11-09 | 0.004 | 0.108 | 3.7037 | -96.2963 | -4.3247 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3270095 | 1994-11-23 | 0.122 | 0.108 | 112.963 | 12.963 | 0.58217 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3430091 | 1994-12-09 | 0.115 | 0.108 | 106.4815 | 6.4815 | 0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3530034 | 1994-12-19 | 0.099 | 0.108 | 91.6667 | -8.3333 | -0.37425 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3570336 | 1994-12-23 | 0.112 | 0.108 | 103.7037 | 3.7037 | 0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3630003 | 1994-12-29 | 0.108 | 0.108 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0170017 | 1995-01-17 | 0.103 | 0.108 | 95.3704 | -4.6296 | -0.20792 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0190021 | 1995-01-19 | 0.107 | 0.108 | 99.0741 | -0.92593 | -0.041583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0330056 | 1995-02-02 | 0.118 | 0.108 | 109.2593 | 9.2593 | 0.41583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1090090 | 1995-04-19 | 0.097 | 0.108 | 89.8148 | -10.1852 | -0.45742 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1110112 | 1995-04-21 | 0.105 | 0.108 | 97.2222 | -2.7778 | -0.12475 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1170173 | 1995-04-27 | 0.108 | 0.108 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1210185 | 1995-05-01 | 0.104 | 0.108 | 96.2963 | -3.7037 | -0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0380096 | 1995-02-07 | 0.094 | 0.108 | 87.037 | -12.963 | -0.58217 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0390010 | 1995-02-08 | 0.096 | 0.108 | 88.8889 | -11.1111 | -0.499 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0540094 | 1995-02-23 | 0.099 | 0.108 | 91.6667 | -8.3333 | -0.37425 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2210099 | 1995-08-09 | 0.978 | 1.04 | 94.0385 | -5.9615 | -0.81322 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2340117 | 1995-08-22 | 0.995 | 1.04 | 95.6731 | -4.3269 | -0.59024 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2360159 | 1995-08-24 | 1 | 1.04 | 96.1538 | -3.8462 | -0.52466 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2420072 | 1995-08-30 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2190037 | 1995-08-07 | 0.999 | 1.04 | 96.0577 | -3.9423 | -0.53778 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2280192 | 1995-08-16 | 1 | 1.04 | 96.1538 | -3.8462 | -0.52466 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0720153 | 1995-03-13 | 0.112 | 0.108 | 103.7037 | 3.7037 | 0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0810072 | 1995-03-22 | 0.11 | 0.108 | 101.8519 | 1.8519 | 0.083167 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0930150 | 1995-04-03 | 0.103 | 0.108 | 95.3704 | -4.6296 | -0.20792 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0090088 | 1995-01-09 | 0.1 | 0.108 | 92.5926 | -7.4074 | -0.33267 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0110003 | 1995-01-11 | 0.101 | 0.108 | 93.5185 | -6.4815 | -0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0260051 | 1995-01-26 | 0.095 | 0.108 | 87.963 | -12.037 | -0.54059 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1580022 | 1995-06-07 | 0.091 | 0.108 | 84.2593 | -15.7407 | -0.70692 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1670294 | 1995-06-16 | 0.089 | 0.108 | 82.4074 | -17.5926 | -0.79009 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1730205 | 1995-06-22 | 0.081 | 0.108 | 75 | -25 | -1.1228 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1780116 | 1995-06-27 | 0.082 | 0.108 | 75.9259 | -24.0741 | -1.0812 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1570051 | 1995-06-06 | 0.086 | 0.108 | 79.6296 | -20.3704 | -0.91484 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1630345 | 1995-06-12 | 0.085 | 0.108 | 78.7037 | -21.2963 | -0.95642 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0090089 | 1995-01-09 | 0.107 | 0.108 | 99.0741 | -0.92593 | -0.041583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0110009 | 1995-01-11 | 0.108 | 0.108 | 100 | 0 | 0 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 0260055 | 1995-01-26 | 0.107 | 0.108 | 99.0741 | -0.92593 | -0.041583 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 1910188 | 1995-07-10 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2000165 | 1995-07-19 | 1 | 1.04 | 96.1538 | -3.8462 | -0.52466 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2500243 | 1995-09-07 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 2550141 | 1995-09-12 | 1.1 | 1.04 | 105.7692 | 5.7692 | 0.78699 | 0.015 | 1980 |  |  |  | mg/L | N46
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3420029 | 1994-12-08 | 0.104 | 0.108 | 96.2963 | -3.7037 | -0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3480101 | 1994-12-14 | 0.115 | 0.108 | 106.4815 | 6.4815 | 0.29108 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1995 | 3550066 | 1994-12-21 | 0.104 | 0.108 | 96.2963 | -3.7037 | -0.16633 | 0.015 | 1980 |  |  |  | mg/L | N43
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 1090044 | 1996-04-18 | 0.172 | 0.165 | 104.2424 | 4.2424 | 0.23549 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 2920107 | 1995-10-19 | 0.059 | 0.06 | 98.3333 | -1.6667 | -0.043668 | 0.015 | 1980 |  |  |  | mg/L | N45
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 1350021 | 1996-05-14 | 0.18 | 0.165 | 109.0909 | 9.0909 | 0.50463 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 3240006 | 1995-11-20 | 0.075 | 0.06 | 125 | 25 | 0.65502 | 0.015 | 1980 |  |  |  | mg/L | N45
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 2280276 | 1996-08-15 | 0.171 | 0.165 | 103.6364 | 3.6364 | 0.20185 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 0190025 | 1996-01-19 | 0.095 | 0.06 | 158.3333 | 58.3333 | 1.5284 | 0.015 | 1980 |  |  |  | mg/L | N45
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 1640154 | 1996-06-12 | 0.187 | 0.165 | 113.3334 | 13.3334 | 0.74012 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 2040105 | 1996-07-22 | 0.317 | 0.165 | 192.1213 | 92.1213 | 5.1135 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 2640056 | 1996-09-20 | 0.253 | 0.165 | 153.3334 | 53.3334 | 2.9605 | 0.015 | 1980 |  |  |  | mg/L | N47
Ammonia (NH3 as N), FIL, COL, LL | 00608 | CL039 | FIL | 1996 | 3480014 | 1995-12-14 | 0.066 | 0.06 | 110 | 10 | 0.26201 | 0.015 | 1980 |  |  |  | mg/L | N45