## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Water Year | Lab Sample ID | Logged in Date | Lab Value | Expected Conc. | % Recov | % Bias | # of FPS (SD) | Report Level | Labcode | Data Qualifier1 | Data Qualifier2 | Data Qualifier3 | Units | Blind Sample ID | Setno
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 940029. | 1990-04-04 | 10.3 | 10 | 103 | 3 | 0.8 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 940030. | 1990-04-04 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2560072 | 1990-09-13 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2560071 | 1990-09-13 | 10.3 | 10 | 103 | 3 | 0.8 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 940032. | 1990-04-04 | 27.4 | 29 | 94.4828 | -5.5172 | -4.2667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 940031. | 1990-04-04 | 27.3 | 29 | 94.1379 | -5.8621 | -4.5333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2560069 | 1990-09-13 | 27.7 | 29 | 95.5172 | -4.4828 | -3.4667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2560070 | 1990-09-13 | 27.7 | 29 | 95.5172 | -4.4828 | -3.4667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2790099 | 1989-10-06 | 2.8 | 2.77 | 101.083 | 1.083 | 0.08 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2860042 | 1989-10-13 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.45333 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1030004 | 1990-04-13 | 2.9 | 2.77 | 104.6931 | 4.6931 | 0.34667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1160059 | 1990-04-26 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.18667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2930047 | 1989-10-20 | 27 | 29 | 93.1034 | -6.8966 | -5.3333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2990010 | 1989-10-26 | 27.3 | 29 | 94.1379 | -5.8621 | -4.5333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 950055. | 1990-04-05 | 27.3 | 29 | 94.1379 | -5.8621 | -4.5333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1090040 | 1990-04-19 | 27.4 | 29 | 94.4828 | -5.5172 | -4.2667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 180032. | 1990-01-18 | 27.9 | 29 | 96.2069 | -3.7931 | -2.9333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 320068. | 1990-02-01 | 26.6 | 29 | 91.7241 | -8.2759 | -6.4 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1870028 | 1990-07-06 | 27.3 | 29 | 94.1379 | -5.8621 | -4.5333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1980030 | 1990-07-17 | 27.4 | 29 | 94.4828 | -5.5172 | -4.2667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3070113 | 1989-11-03 | 10.6 | 10 | 106 | 6 | 1.6 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3210098 | 1989-11-17 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1360035 | 1990-05-16 | 10.7 | 10 | 107 | 7 | 1.8667 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1420013 | 1990-05-22 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3340051 | 1989-11-30 | 2.5 | 2.77 | 90.2527 | -9.7473 | -0.72 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3340050 | 1989-11-30 | 2.4 | 2.77 | 86.6426 | -13.3574 | -0.98667 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3180058 | 1989-11-14 | 9.9 | 10 | 99 | -1 | -0.26667 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3320044 | 1989-11-28 | 9.8 | 10 | 98 | -2 | -0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1370093 | 1990-05-17 | 10.7 | 10 | 107 | 7 | 1.8667 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1440087 | 1990-05-24 | 10 | 10 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2860120 | 1989-10-13 | 2.2 | 2.77 | 79.4224 | -20.5776 | -1.52 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 960099. | 1990-04-06 | 2.9 | 2.77 | 104.6931 | 4.6931 | 0.34667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1100025 | 1990-04-20 | 2.5 | 2.77 | 90.2527 | -9.7473 | -0.72 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2910056 | 1989-10-18 | 25.5 | 29 | 87.931 | -12.069 | -9.3333 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 3050128 | 1989-11-01 | 27.4 | 29 | 94.4828 | -5.5172 | -4.2667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1150019 | 1990-04-25 | 27.4 | 29 | 94.4828 | -5.5172 | -4.2667 | 0.5 | 1269 |  |  |  | uS/cm | P11
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 510019. | 1990-02-20 | 9.8 | 10 | 98 | -2 | -0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 590084. | 1990-02-28 | 10 | 10 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2350102 | 1990-08-23 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2350103 | 1990-08-23 | 10 | 10 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 510020. | 1990-02-20 | 3.2 | 2.77 | 115.5235 | 15.5235 | 1.1467 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 590083. | 1990-02-28 | 3.2 | 2.77 | 115.5235 | 15.5235 | 1.1467 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2430355 | 1990-08-31 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.18667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2430354 | 1990-08-31 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.18667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 390012. | 1990-02-08 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.45333 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 610173. | 1990-03-02 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.45333 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2290065 | 1990-08-17 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.18667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2470368 | 1990-09-04 | 2.9 | 2.77 | 104.6931 | 4.6931 | 0.34667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 510157. | 1990-02-20 | 10.2 | 10 | 102 | 2 | 0.53333 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 590119. | 1990-02-28 | 10 | 10 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2220048 | 1990-08-10 | 10.1 | 10 | 101 | 1 | 0.26667 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2360329 | 1990-08-24 | 10.3 | 10 | 103 | 3 | 0.8 | 0.5 | 1269 |  |  |  | uS/cm | P12
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 100036. | 1990-01-10 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.45333 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 290029. | 1990-01-29 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.18667 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 1940131 | 1990-07-13 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.45333 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1990 | 2080100 | 1990-07-27 | 2.8 | 2.77 | 101.083 | 1.083 | 0.08 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 710075. | 1991-03-12 | 2.8 | 2.77 | 101.083 | 1.083 | 0.053997 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 710077. | 1991-03-12 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2530656 | 1991-09-10 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2620113 | 1991-09-19 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 710076. | 1991-03-12 | 12.4 | 12 | 103.3333 | 3.3333 | 0.34072 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2520393 | 1991-09-09 | 12.6 | 12 | 105 | 5 | 0.51107 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1060007 | 1991-04-16 | 35.9 | 34.9 | 102.8653 | 2.8653 | 0.36924 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1190107 | 1991-04-29 | 33.7 | 34.9 | 96.5616 | -3.4384 | -0.44308 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1920003 | 1991-07-11 | 11.9 | 12 | 99.1667 | -0.83333 | -0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1550048 | 1991-06-04 | 2.5 | 2.77 | 90.2527 | -9.7473 | -0.48597 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1550050 | 1991-06-04 | 35.8 | 34.9 | 102.5788 | 2.5788 | 0.33231 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1550049 | 1991-06-04 | 34.7 | 34.9 | 99.4269 | -0.57307 | -0.073847 | 0.5 | 1269 |  |  |  | uS/cm
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1350004 | 1991-05-15 | 2.8 | 2.77 | 101.083 | 1.083 | 0.053997 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1400149 | 1991-05-20 | 2.9 | 2.77 | 104.6931 | 4.6931 | 0.23399 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2910209 | 1990-10-18 | 35.5 | 34.9 | 101.7192 | 1.7192 | 0.22154 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2990039 | 1990-10-26 | 12.1 | 12 | 100.8333 | 0.83333 | 0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1120291 | 1991-04-22 | 12.7 | 12 | 105.8333 | 5.8333 | 0.59625 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1050050 | 1991-04-15 | 12.4 | 12 | 103.3333 | 3.3333 | 0.34072 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2280359 | 1991-08-16 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.12599 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2330145 | 1991-08-21 | 35.5 | 34.9 | 101.7192 | 1.7192 | 0.22154 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2350121 | 1991-08-23 | 34.9 | 34.9 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 510008. | 1991-02-20 | 34 | 34.9 | 97.4212 | -2.5788 | -0.33231 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2170006 | 1991-08-05 | 35 | 34.9 | 100.2865 | 0.28653 | 0.036924 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 420236. | 1991-02-11 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 630068. | 1991-03-04 | 7.6 | 2.77 | 274.3682 | 174.3682 | 8.6935 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2190195 | 1991-08-07 | 3.1 | 2.77 | 111.9134 | 11.9134 | 0.59396 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2390032 | 1991-08-27 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2110200 | 1991-07-30 | 34.3 | 34.9 | 98.2808 | -1.7192 | -0.22154 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2130168 | 1991-08-01 | 34.6 | 34.9 | 99.1404 | -0.8596 | -0.11077 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 3510139 | 1990-12-17 | 13.2 | 12 | 110 | 99999999999999808 | 1.0221 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 3620001 | 1990-12-28 | 12.5 | 12 | 104.1667 | 4.1667 | 0.42589 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1780242 | 1991-06-27 | 13.2 | 12 | 110 | 99999999999999808 | 1.0221 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1820182 | 1991-07-01 | 12.4 | 12 | 103.3333 | 3.3333 | 0.34072 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 3470117 | 1990-12-13 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.12599 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1820044 | 1991-07-01 | 2.8 | 2.77 | 101.083 | 1.083 | 0.053997 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 220004. | 1991-01-22 | 11.9 | 12 | 99.1667 | -0.83333 | -0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 280161. | 1991-01-28 | 12 | 12 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1860020 | 1991-07-05 | 11.9 | 12 | 99.1667 | -0.83333 | -0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2030088 | 1991-07-22 | 11.9 | 12 | 99.1667 | -0.83333 | -0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 90049.0 | 1991-01-09 | 35 | 34.9 | 100.2865 | 0.28653 | 0.036924 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2120029 | 1991-07-31 | 34.9 | 34.9 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 730105. | 1991-03-14 | 14.1 | 12 | 117.5 | 17.5 | 1.7888 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 870102. | 1991-03-28 | 14.8 | 12 | 123.3333 | 23.3333 | 2.385 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2610037 | 1991-09-18 | 12.5 | 12 | 104.1667 | 4.1667 | 0.42589 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2660130 | 1991-09-23 | 12.3 | 12 | 102.5 | 2.5 | 0.25554 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 650103. | 1991-03-06 | 2.5 | 2.77 | 90.2527 | -9.7473 | -0.48597 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 2490297 | 1991-09-06 | 2.6 | 2.77 | 93.8628 | -6.1372 | -0.30598 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 3600104 | 1990-12-26 | 2.8 | 2.77 | 101.083 | 1.083 | 0.053997 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1570066 | 1991-06-06 | 2.5 | 2.77 | 90.2527 | -9.7473 | -0.48597 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1630010 | 1991-06-12 | 2.7 | 2.77 | 97.4729 | -2.5271 | -0.12599 | 0.5 | 1269 |  |  |  | uS/cm | P13
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 3600105 | 1990-12-26 | 12.1 | 12 | 100.8333 | 0.83333 | 0.085179 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1991 | 1700009 | 1991-06-19 | 12 | 12 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 650038. | 1992-03-05 | 41.7 | 44.1 | 94.5578 | -5.4422 | -0.83583 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 710030. | 1992-03-11 | 41.9 | 44.1 | 95.0113 | -4.9887 | -0.76618 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2460340 | 1992-09-02 | 42.5 | 44.1 | 96.3719 | -3.6281 | -0.55722 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 770005. | 1992-03-17 | 6.7 | 7 | 95.7143 | -4.2857 | -0.34562 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2600006 | 1992-09-16 | 6.8 | 7 | 97.1429 | -2.8571 | -0.23041 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2810038 | 1991-10-08 | 35 | 34.9 | 100.2865 | 0.28653 | 0.042112 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2950117 | 1991-10-22 | 34.4 | 34.9 | 98.5673 | -1.4327 | -0.21056 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1050060 | 1992-04-14 | 35.1 | 34.9 | 100.5731 | 0.57307 | 0.084225 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1250212 | 1992-05-04 | 35.1 | 34.9 | 100.5731 | 0.57307 | 0.084225 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2810037 | 1991-10-08 | 6.8 | 7 | 97.1429 | -2.8571 | -0.23041 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 160041. | 1992-01-16 | 6.9 | 7 | 98.5714 | -1.4286 | -0.11521 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2050026 | 1992-07-23 | 6.5 | 7 | 92.8571 | -7.1429 | -0.57604 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3160022 | 1991-11-12 | 41.1 | 44.1 | 93.1973 | -6.8027 | -1.0448 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1500141 | 1992-05-29 | 43 | 44.1 | 97.5057 | -2.4943 | -0.38309 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3100035 | 1991-11-06 | 43 | 34.9 | 123.2092 | 23.2092 | 3.4111 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3240021 | 1991-11-20 | 35.4 | 34.9 | 101.4327 | 1.4327 | 0.21056 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1270106 | 1992-05-06 | 34.5 | 34.9 | 98.8539 | -1.1461 | -0.16845 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1350127 | 1992-05-14 | 34.9 | 34.9 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3110054 | 1991-11-07 | 35.3 | 34.9 | 101.1461 | 1.1461 | 0.16845 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3160070 | 1991-11-12 | 36 | 34.9 | 103.1519 | 3.1519 | 0.46324 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1290124 | 1992-05-08 | 34.7 | 34.9 | 99.4269 | -0.57307 | -0.084225 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1410188 | 1992-05-20 | 35 | 34.9 | 100.2865 | 0.28653 | 0.042112 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3100036 | 1991-11-06 | 35.7 | 44.1 | 80.9524 | -19.0476 | -2.9254 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1400050 | 1992-05-19 | 42.7 | 44.1 | 96.8254 | -3.1746 | -0.48757 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2810127 | 1991-10-08 | 35.2 | 34.9 | 100.8596 | 0.8596 | 0.12634 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2900040 | 1991-10-17 | 35 | 34.9 | 100.2865 | 0.28653 | 0.042112 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1000002 | 1992-04-09 | 34.8 | 34.9 | 99.7135 | -0.28653 | -0.042112 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1110273 | 1992-04-20 | 35.1 | 34.9 | 100.5731 | 0.57307 | 0.084225 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2890033 | 1991-10-16 | 7.4 | 7 | 105.7143 | 5.7143 | 0.46083 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1000082 | 1992-04-09 | 6.4 | 7 | 91.4286 | -8.5714 | -0.69124 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 410239. | 1992-02-10 | 43 | 44.1 | 97.5057 | -2.4943 | -0.38309 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2170182 | 1992-08-04 | 42.4 | 44.1 | 96.1451 | -3.8549 | -0.59205 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 430019. | 1992-02-12 | 35.7 | 34.9 | 102.2923 | 2.2923 | 0.3369 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 520077. | 1992-02-21 | 34.8 | 34.9 | 99.7135 | -0.28653 | -0.042112 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2230109 | 1992-08-10 | 35.2 | 34.9 | 100.8596 | 0.8596 | 0.12634 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2380167 | 1992-08-25 | 35.1 | 34.9 | 100.5731 | 0.57307 | 0.084225 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 410006. | 1992-02-10 | 35 | 34.9 | 100.2865 | 0.28653 | 0.042112 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 430111. | 1992-02-12 | 35.8 | 34.9 | 102.5788 | 2.5788 | 0.37901 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2230108 | 1992-08-10 | 35.1 | 34.9 | 100.5731 | 0.57307 | 0.084225 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2170011 | 1992-08-04 | 34.8 | 34.9 | 99.7135 | -0.28653 | -0.042112 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 510007. | 1992-02-20 | 42.3 | 44.1 | 95.9184 | -4.0816 | -0.62687 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2300011 | 1992-08-17 | 43.3 | 44.1 | 98.1859 | -1.8141 | -0.27861 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 140044. | 1992-01-14 | 35.4 | 34.9 | 101.4327 | 1.4327 | 0.21056 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 230002. | 1992-01-23 | 36 | 34.9 | 103.1519 | 3.1519 | 0.46324 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1950010 | 1992-07-13 | 35.2 | 34.9 | 100.8596 | 0.8596 | 0.12634 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2030028 | 1992-07-21 | 35.5 | 34.9 | 101.7192 | 1.7192 | 0.25267 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3500224 | 1991-12-16 | 6.6 | 7 | 94.2857 | -5.7143 | -0.46083 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1670005 | 1992-06-15 | 6.6 | 7 | 94.2857 | -5.7143 | -0.46083 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3380045 | 1991-12-04 | 41.7 | 44.1 | 94.5578 | -5.4422 | -0.83583 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3510083 | 1991-12-17 | 42 | 44.1 | 95.2381 | -4.7619 | -0.73135 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1740319 | 1992-06-22 | 43.6 | 44.1 | 98.8662 | -1.1338 | -0.17413 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1780025 | 1992-06-26 | 42.8 | 44.1 | 97.0522 | -2.9478 | -0.45274 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 290145. | 1992-01-29 | 6.9 | 7 | 98.5714 | -1.4286 | -0.11521 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2170015 | 1992-08-04 | 6.8 | 7 | 97.1429 | -2.8571 | -0.23041 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 90137.0 | 1992-01-09 | 35.4 | 34.9 | 101.4327 | 1.4327 | 0.21056 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 160040. | 1992-01-16 | 35.5 | 34.9 | 101.7192 | 1.7192 | 0.25267 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1950082 | 1992-07-13 | 35.4 | 34.9 | 101.4327 | 1.4327 | 0.21056 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2100195 | 1992-07-28 | 35.5 | 34.9 | 101.7192 | 1.7192 | 0.25267 | 0.5 | 1269 |  |  |  | uS/cm | P14
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2800122 | 1992-10-06 | 6.4 | 7 | 91.4286 | -8.5714 | -0.69124 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 730017. | 1992-03-13 | 43 | 44.1 | 97.5057 | -2.4943 | -0.38309 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 860097. | 1992-03-26 | 44.5 | 44.1 | 100.907 | 0.90703 | 0.1393 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2690014 | 1992-09-25 | 42.6 | 44.1 | 96.5986 | -3.4014 | -0.52239 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 2720237 | 1992-09-28 | 42.5 | 44.1 | 96.3719 | -3.6281 | -0.55722 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3430007 | 1991-12-09 | 42.7 | 44.1 | 96.8254 | -3.1746 | -0.48757 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3500235 | 1991-12-16 | 42.9 | 44.1 | 97.2789 | -2.7211 | -0.41791 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1630005 | 1992-06-11 | 43.2 | 44.1 | 97.9592 | -2.0408 | -0.31344 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1700001 | 1992-06-18 | 43.4 | 44.1 | 98.4127 | -1.5873 | -0.24378 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 3520096 | 1991-12-18 | 6.7 | 7 | 95.7143 | -4.2857 | -0.34562 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1992 | 1560047 | 1992-06-04 | 6.8 | 7 | 97.1429 | -2.8571 | -0.23041 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 740179. | 1993-03-15 | 44.3 | 44.1 | 100.4535 | 0.45351 | 0.095265 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 900242. | 1993-03-31 | 44.3 | 44.1 | 100.4535 | 0.45351 | 0.095265 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2570021 | 1993-09-14 | 44 | 44.1 | 99.7732 | -0.22676 | -0.047633 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2660048 | 1993-09-23 | 43.6 | 44.1 | 98.8662 | -1.1338 | -0.23816 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 690128. | 1993-03-10 | 7.5 | 7 | 107.1429 | 7.1429 | 0.59666 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2600169 | 1993-09-17 | 12.1 | 7 | 172.8571 | 72.8571 | 6.0859 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2890003 | 1992-10-15 | 11.7 | 11.7 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2960018 | 1992-10-22 | 11.6 | 11.7 | 99.1453 | -0.8547 | -0.10022 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1090311 | 1993-04-19 | 12.2 | 11.7 | 104.2735 | 4.2735 | 0.5011 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1190177 | 1993-04-29 | 11.9 | 11.7 | 101.7094 | 1.7094 | 0.20044 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 3020019 | 1992-10-28 | 7.1 | 7 | 101.4286 | 1.4286 | 0.11933 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1030084 | 1993-04-13 | 7.1 | 7 | 101.4286 | 1.4286 | 0.11933 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 190145. | 1993-01-19 | 6.7 | 7 | 95.7143 | -4.2857 | -0.358 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1960233 | 1993-07-15 | 7.1 | 7 | 101.4286 | 1.4286 | 0.11933 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 3320302 | 1992-11-27 | 41.9 | 44.1 | 95.0113 | -4.9887 | -1.0479 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1330158 | 1993-05-13 | 43.8 | 44.1 | 99.3197 | -0.68027 | -0.1429 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 3080141 | 1992-11-03 | 11.7 | 11.7 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 3220018 | 1992-11-17 | 11.7 | 11.7 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1250200 | 1993-05-05 | 12.2 | 11.7 | 104.2735 | 4.2735 | 0.5011 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1410012 | 1993-05-21 | 12.2 | 11.7 | 104.2735 | 4.2735 | 0.5011 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 3250266 | 1992-11-20 | 12.6 | 12 | 105 | 5 | 0.59524 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1470152 | 1993-05-27 | 16.1 | 12 | 134.1667 | 34.1667 | 4.0675 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 3230083 | 1992-11-18 | 42.1 | 44.1 | 95.4649 | -4.5351 | -0.95265 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1380038 | 1993-05-18 | 44.5 | 44.1 | 100.907 | 0.90703 | 0.19053 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2800190 | 1992-10-06 | 12.5 | 12 | 104.1667 | 4.1667 | 0.49603 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 990065. | 1993-04-09 | 16 | 12 | 133.3333 | 33.3333 | 3.9683 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2870048 | 1992-10-13 | 7.7 | 7 | 110 | 10 | 0.83532 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1030030 | 1993-04-13 | 7.3 | 7 | 104.2857 | 4.2857 | 0.358 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 410026. | 1993-02-10 | 42.6 | 44.1 | 96.5986 | -3.4014 | -0.71449 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2230117 | 1993-08-11 | 44.1 | 44.1 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 550006. | 1993-02-24 | 12.2 | 11.7 | 104.2735 | 4.2735 | 0.5011 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2220137 | 1993-08-10 | 12.1 | 11.7 | 103.4188 | 3.4188 | 0.40088 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 430071. | 1993-02-12 | 12.7 | 12 | 105.8333 | 5.8333 | 0.69444 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 470012. | 1993-02-16 | 12.9 | 12 | 107.5 | 7.5 | 0.89286 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2250104 | 1993-08-13 | 17.9 | 12 | 149.1667 | 49.1667 | 5.8532 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2380122 | 1993-08-26 | 18 | 12 | 150 | 50 | 5.9524 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 480041. | 1993-02-17 | 44.1 | 44.1 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2320086 | 1993-08-20 | 43.3 | 44.1 | 98.1859 | -1.8141 | -0.38106 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 210011. | 1993-01-21 | 11.3 | 11.7 | 96.5812 | -3.4188 | -0.40088 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2140146 | 1993-08-02 | 12.1 | 11.7 | 103.4188 | 3.4188 | 0.40088 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 3510164 | 1992-12-16 | 7.7 | 7 | 110 | 10 | 0.83532 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1590082 | 1993-06-08 | 7 | 7 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 3440214 | 1992-12-09 | 42.6 | 44.1 | 96.5986 | -3.4014 | -0.71449 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1600107 | 1993-06-09 | 43.9 | 44.1 | 99.5465 | -0.45351 | -0.095265 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 140007. | 1993-01-14 | 5.7 | 7 | 81.4286 | -18.5714 | -1.5513 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1880157 | 1993-07-07 | 7.1 | 7 | 101.4286 | 1.4286 | 0.11933 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 60006.0 | 1993-01-06 | 13.5 | 12 | 112.5 | 12.5 | 1.4881 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 290009. | 1993-01-29 | 13.8 | 12 | 115 | 15 | 1.7857 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1930186 | 1993-07-12 | 13.5 | 12 | 112.5 | 12.5 | 1.4881 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2030009 | 1993-07-22 | 13.5 | 12 | 112.5 | 12.5 | 1.4881 | 0.5 | 1269 |  |  |  | uS/cm | P15
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 760144. | 1993-03-17 | 7.4 | 7 | 105.7143 | 5.7143 | 0.47733 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 2530490 | 1993-09-10 | 7 | 7 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 820067. | 1993-03-23 | 44.3 | 44.1 | 100.4535 | 0.45351 | 0.095265 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 3420002 | 1993-12-08 | 44.2 | 44.1 | 100.2268 | 0.22676 | 0.047633 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 3580007 | 1992-12-23 | 40.1 | 44.1 | 90.9297 | -9.0703 | -1.9053 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 40004.0 | 1993-01-04 | 41.9 | 44.1 | 95.0113 | -4.9887 | -1.0479 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1730188 | 1993-06-22 | 43.9 | 44.1 | 99.5465 | -0.45351 | -0.095265 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1870220 | 1993-07-06 | 43.7 | 44.1 | 99.093 | -0.90703 | -0.19053 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 3440155 | 1992-12-09 | 7.2 | 7 | 102.8571 | 2.8571 | 0.23866 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1993 | 1670034 | 1993-06-16 | 6.7 | 7 | 95.7143 | -4.2857 | -0.358 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 680102. | 1994-03-09 | 12 | 11.7 | 102.5641 | 2.5641 | 0.3089 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 820003. | 1994-03-23 | 11.8 | 11.7 | 100.8547 | 0.8547 | 0.10297 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 2500135 | 1994-09-07 | 11.9 | 11.7 | 101.7094 | 1.7094 | 0.20593 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 2630306 | 1994-09-20 | 12.7 | 11.7 | 108.547 | 8.547 | 1.0297 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 2940001 | 1993-10-21 | 43.9 | 44.1 | 99.5465 | -0.45351 | -0.093563 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 3010177 | 1993-10-28 | 44 | 44.1 | 99.7732 | -0.22676 | -0.046781 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 1090204 | 1994-04-19 | 44.1 | 44.1 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 1180318 | 1994-04-28 | 43 | 44.1 | 97.5057 | -2.4943 | -0.5146 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 3130098 | 1993-11-09 | 12.2 | 11.7 | 104.2735 | 4.2735 | 0.51483 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 3280086 | 1993-11-24 | 12.1 | 11.7 | 103.4188 | 3.4188 | 0.41186 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 1290117 | 1994-05-09 | 12 | 11.7 | 102.5641 | 2.5641 | 0.3089 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 1440127 | 1994-05-24 | 12.1 | 11.7 | 103.4188 | 3.4188 | 0.41186 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 3420077 | 1993-12-08 | 12.5 | 12 | 104.1667 | 4.1667 | 0.50916 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 1520186 | 1994-06-01 | 12.1 | 12 | 100.8333 | 0.83333 | 0.10183 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 2800063 | 1993-10-07 | 6.9 | 7 | 98.5714 | -1.4286 | -0.12469 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 980033. | 1994-04-08 | 6.9 | 7 | 98.5714 | -1.4286 | -0.12469 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 400085. | 1994-02-09 | 4.3 | 7 | 61.4286 | -38.5714 | -3.3666 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 2220113 | 1994-08-10 | 6.9 | 7 | 98.5714 | -1.4286 | -0.12469 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 460011. | 1994-02-15 | 44.6 | 44.1 | 101.1338 | 1.1338 | 0.23391 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 530047. | 1994-02-22 | 44.5 | 44.1 | 100.907 | 0.90703 | 0.18713 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 2340150 | 1994-08-22 | 43 | 44.1 | 97.5057 | -2.4943 | -0.5146 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 2440194 | 1994-09-01 | 42.1 | 44.1 | 95.4649 | -4.5351 | -0.93563 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 60003.0 | 1994-01-06 | 12.1 | 11.7 | 103.4188 | 3.4188 | 0.41186 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 310019. | 1994-01-31 | 12 | 11.7 | 102.5641 | 2.5641 | 0.3089 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 2000169 | 1994-07-19 | 11.9 | 11.7 | 101.7094 | 1.7094 | 0.20593 | 0.5 | 1269 |  |  |  | uS/cm | P18
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 3440015 | 1993-12-10 | 7 | 7 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 1600125 | 1994-06-09 | 7 | 7 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P17
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 200079. | 1994-01-20 | 12.6 | 12 | 105 | 5 | 0.611 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 2020245 | 1994-07-21 | 12 | 12 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 2110203 | 1994-07-30 | 12.2 | 12 | 101.6667 | 1.6667 | 0.20367 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 910175. | 1994-04-01 | 12.3 | 12 | 102.5 | 2.5 | 0.3055 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 2720375 | 1994-09-29 | 12.3 | 12 | 102.5 | 2.5 | 0.3055 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 3560036 | 1993-12-22 | 44.4 | 44.1 | 100.6803 | 0.68027 | 0.14034 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 40089.0 | 1994-01-04 | 41.8 | 44.1 | 94.7846 | -5.2154 | -1.076 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 1710112 | 1994-06-20 | 43.3 | 44.1 | 98.1859 | -1.8141 | -0.37425 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1994 | 1800167 | 1994-06-29 | 43.5 | 44.1 | 98.6395 | -1.3605 | -0.28069 | 0.5 | 1269 |  |  |  | uS/cm | P16
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 670002. | 1995-03-08 | 12.3 | 12 | 102.5 | 2.5 | 0.28791 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 2550154 | 1995-09-12 | 14.1 | 12 | 117.5 | 17.5 | 2.0154 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 2980017 | 1994-10-25 | 12.2 | 12 | 101.6667 | 1.6667 | 0.19194 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 1170188 | 1995-04-27 | 12.2 | 12 | 101.6667 | 1.6667 | 0.19194 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 3130028 | 1994-11-09 | 7.2 | 7.42 | 97.0351 | -2.9649 | -0.28007 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 1430024 | 1995-05-23 | 7.2 | 7.42 | 97.0351 | -2.9649 | -0.28007 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 3270002 | 1994-11-23 | 41.7 | 41.8 | 99.7608 | -0.23921 | -0.036885 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 1320150 | 1995-05-12 | 41.7 | 41.8 | 99.7608 | -0.23921 | -0.036885 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 2910081 | 1994-10-18 | 7.4 | 7.42 | 99.7305 | -0.26953 | -0.02546 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 1040037 | 1995-04-14 | 7.4 | 7.42 | 99.7305 | -0.26953 | -0.02546 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 0390017 | 1995-02-08 | 41.8 | 41.8 | 100 | 2.9203e-05 | 4.5031e-06 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 2210080 | 1995-08-09 | 41.7 | 41.8 | 99.7608 | -0.23921 | -0.036885 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 0540104 | 1995-02-23 | 7.3 | 7.42 | 98.3828 | -1.6172 | -0.15276 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 2340119 | 1995-08-22 | 7.9 | 7.42 | 106.469 | 6.469 | 0.61106 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 0110002 | 1995-01-11 | 7.3 | 7.42 | 98.3828 | -1.6172 | -0.15276 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 2060089 | 1995-07-25 | 7.2 | 7.42 | 97.0351 | -2.9649 | -0.28007 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 3410152 | 1994-12-07 | 42.5 | 41.8 | 101.6747 | 1.6747 | 0.25823 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 1570048 | 1995-06-06 | 42 | 41.8 | 100.4785 | 0.4785 | 0.073783 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 0240046 | 1995-01-24 | 12 | 12 | 100 | 0 | 0 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 1930194 | 1995-07-12 | 11.9 | 12 | 99.1667 | -0.83333 | -0.095969 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 0790013 | 1995-03-20 | 41 | 41.8 | 98.0862 | -1.9138 | -0.29511 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 2630027 | 1995-09-20 | 44.2 | 41.8 | 105.7417 | 5.7417 | 0.88535 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 3540124 | 1994-12-20 | 12.3 | 12 | 102.5 | 2.5 | 0.28791 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1995 | 1670302 | 1995-06-16 | 12.3 | 12 | 102.5 | 2.5 | 0.28791 | 0.5 | 1269 |  |  |  | uS/cm | P19
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 2700091 | 1996-09-26 | 13.6 | 14.2 | 95.7746 | -4.2254 | -0.51564 | 0.5 | 1269 |  |  |  | uS/cm | P23
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 3000033 | 1995-10-27 | 13.9 | 14.2 | 97.8873 | -2.1127 | -0.25782 | 0.5 | 1269 |  |  |  | uS/cm | P23
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 1160179 | 1996-04-25 | 14 | 14.2 | 98.5915 | -1.4085 | -0.17188 | 0.5 | 1269 |  |  |  | uS/cm | P23
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 3240032 | 1995-11-20 | 7.3 | 7.42 | 98.3827 | -1.6173 | -0.15577 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 1280126 | 1996-05-07 | 7.3 | 7.42 | 98.3827 | -1.6173 | -0.15577 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 3280014 | 1995-11-24 | 42.1 | 41.8 | 100.7177 | 0.7177 | 0.10852 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 1450107 | 1996-05-24 | 40.9 | 41.8 | 97.8469 | -2.1531 | -0.32557 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 2850001 | 1995-10-12 | 7.3 | 7.42 | 98.3827 | -1.6173 | -0.15577 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 2400051 | 1996-08-27 | 41.4 | 41.8 | 99.0431 | -0.95694 | -0.1447 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 0380020 | 1996-02-07 | 7.3 | 7.42 | 98.3827 | -1.6173 | -0.15577 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 2220028 | 1996-08-09 | 7.3 | 7.42 | 98.3827 | -1.6173 | -0.15577 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 0120001 | 1996-01-12 | 7.2 | 7.42 | 97.035 | -2.965 | -0.28558 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 1930042 | 1996-07-11 | 8.1 | 7.42 | 109.1644 | 9.1644 | 0.8827 | 0.5 | 1269 |  |  |  | uS/cm | P20
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 0080123 | 1996-01-08 | 41.7 | 41.8 | 99.7608 | -0.23923 | -0.036174 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 1580042 | 1996-06-06 | 41.2 | 41.8 | 98.5646 | -1.4354 | -0.21705 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 0290057 | 1996-01-29 | 13.8 | 14.2 | 97.1831 | -2.8169 | -0.34376 | 0.5 | 1269 |  |  |  | uS/cm | P23
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 2060151 | 1996-07-24 | 13.8 | 14.2 | 97.1831 | -2.8169 | -0.34376 | 0.5 | 1269 |  |  |  | uS/cm | P23
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 2570509 | 1996-09-13 | 41.4 | 41.8 | 99.0431 | -0.95694 | -0.1447 | 0.5 | 1269 |  |  |  | uS/cm | P21
Specific Cond, LAB, UNF, LL | 90095 | WHT01 | UNF | 1996 | 1730083 | 1996-06-21 | 13.7 | 14.2 | 96.4789 | -3.5211 | -0.4297 | 0.5 | 1269 |  |  |  | uS/cm | P23