## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Nitrite (NO2 as N), UNF | 00615 | CL077 | UNF | N32 | 0.0096667 | 0.0030414 | 31.4626 | 9 | mg/L
Nitrite (NO2 as N), UNF | 00615 | CL077 | UNF | N34 | 0.011091 | 0.0048673 | 43.8858 | 11 | mg/L