## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N42 | 1.09 | 0.031623 | 2.9012 | 10 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N43 | 0.095316 | 0.0088919 | 9.3288 | 79 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N44 | 0.92026 | 0.017206 | 1.8697 | 78 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N46 | 0.89382 | 0.03233 | 3.6171 | 76 | mg/L
Orthophosphate (PO4 as P), FIL, COL | 00671 | CL053 | FIL | N48 | 0.59778 | 0.024852 | 4.1574 | 54 | mg/L