## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N43 | 0.10065 | 0.007173 | 7.1264 | 55 | mg/L
Orthophosphate (PO4 as P), FIL, COL, LL | 00671 | CL057 | FIL | N46 | 0.92769 | 0.038763 | 4.1784 | 13 | mg/L