## IBSP Data
Parameter Description | Parmcode | Methcode | Phase | Blind Sample ID | Mean | Standard Deviation | Percent RSD | Number of Observations | Units
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N42 | 1.11 | 0.031623 | 2.8489 | 10 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N43 | 0.1178 | 0.013428 | 11.3984 | 82 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N44 | 0.9002 | 0.026302 | 2.9218 | 50 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N45 | 0.12222 | 0.0097183 | 7.9513 | 9 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N46 | 1.2541 | 0.070593 | 5.6292 | 74 | mg/L
Phosphorus (as P), FIL, CFA, Kjeldahl | 00666 | KJ005 | FIL | N48 | 0.78364 | 0.044819 | 5.7194 | 55 | mg/L